## Table 1
LLOQ (μg/mL) | %Accuracy
0.04_1 | 105.06
0.04_2 | 108.59
0.04_3 | 113.83
0.04_4 | 109.19
0.04_5 | 95.14
Mean | 106.36
SD | 0.0028

## Table 2
Rhodomyrtone(µg/mL)_Rhodomyrtone(µg/mL) | Intra-Day (n = 5)_Mean ± SD | Intra-Day (n = 5)_%CV | Intra-Day (n = 5)_% Accuracy | Inter-Day (n = 5)_Mean ± SD | Inter-Day (n = 5)_%CV | Inter-Day (n = 5)_% Accuracy
0.1 | 0.10 ± 0.01 | 11.83 | 94.87 | 0.10 ± 0.01 | 11.83 | 94.87
50 | 50.79 ± 1.52 | 2.98 | 101.58 | 50.79 ± 1.52 | 2.98 | 101.58
100 | 107.46 ± 9.10 | 8.47 | 107.46 | 107.46 ± 9.10 | 8.47 | 107.46

## Table 3
Concentration (µg/mL) | Mean ± SD (n = 5) | CV (%) | Accuracy (%)
0 h
0.1 | 0.11 ± 0.007 | 6.66 | 108.1
100 | 97.33 ± 1.83 | 1.88 | 97.34
1 h
0.1 | 0.09 ± 0.009 | 9.13 | 93.38
100 | 96.58 ± 4.26 | 4.42 | 96.58
2 h
0.1 | 0.11 ± 0.007 | 6.36 | 108.61
100 | 95.97 ± 4.70 | 4.9 | 95.97
4 h
0.1 | 0.10 ± 0.005 | 4.57 | 101.47
100 | 94.58 ± 5.22 | 5.52 | 94.58
6 h
0.1 | 0.10 ± 0.009 | 8.4 | 101.24
100 | 94.58 ± 5.22 | 2.12 | 92.47
8 h
0.1 | 0.10 ± 0.009 | 9.56 | 95.96
100 | 94.58 ± 5.22 | 5.67 | 96.73

## Table 4
Concentration (µg/mL) | Mean ± SD (n = 5) | CV (%) | Accuracy (%)
Day 0
0.1 | 0.11 ± 0.0026 | 2.35 | 110.31
100 | 103.71 ± 7.44 | 7.17 | 103.71
Day 3
0.1 | 0.11 ± 0.004 | 4.057 | 105.93
100 | 108.10 ± 2.86 | 2.645 | 108.1

## Table 5
Parameters (Unit)_Unnamed: 0_level_1 | Rhodomyrtone Dose_50 mg/kg | Rhodomyrtone Dose_100 mg/kg
Tmax (h) | 1.92 ± 0.29 | 2.00 ± 0.00
Cmax (μg/mL) | 0.57 ± 0.12 | 1.31 ± 0.20
Cmin (μg/mL) | 0.14 ± 0.06 | 0.31 ± 0.09
AUC0–8 (μg·h/mL) | 2.68 ± 1.09 | 6.65 ± 1.13
λz (h−1) | 0.50 ± 0.49 | 0.30 ± 0.10
AUC0–∞ (μg·h/mL) | 3.41 ± 1.04 | 7.82 ± 1.53
Vz/F (L/kg) | 48.47 ± 16.89 | 46.65 ± 13.82
CL/F (L/kg/h) | 15.97 ± 4.69 | 13.26 ± 2.73
t1/2 (h) | 2.20 ± 0.74 | 2.53 ± 0.92

## Table 6
Properties | Predicted Value
Estimated water solubility (mg/mL) | 4.21 × 10−4
Consensus Log P | 4.55
Gastrointestinal absorption | High
Bioavailability Score | 0.56

## Table 7
Pathogens | MIC (μg/mL) | References
Staphylococcus epidermidis ATCC 35984 (biofilm positive) | 0.39 | [38]
Bacillus cereus | 0.39 | [38]
Streptococcus mutans | 0.19 | [36]
Staphylococcus aureus ATCC 29213 | 0.5 | [16,38]
Staphylococcus aureus clinical isolated | 0.5–2 | [39]
MRSA clinical isolated | 0.39–0.78 | [16,36,38]

## Freetext Data
Data | Value | Relevance
Retention time of rhodomyrtone | 5.937 min | Relevant for HPLC method validation ensuring accurate and reliable detection of rhodomyrtone in plasma.
Lower limit of quantification (LLOQ) | 0.04 μg/mL | Relevant for determining the sensitivity of the HPLC method to quantify rhodomyrtone in plasma samples.
Accuracy at LLOQ range | 93.64 to 106.36% | Relevant to validate the reliability and precision of the method at low concentrations of rhodomyrtone.
Plasma concentration linearity range | 0.04 to 128 μg/mL | Relevant for establishing the method's quantification range to support pharmacokinetic studies.
Correlation coefficient (r) | ≥0.999 | Relevant to confirm the calibration curve's linearity and ensure method validity.
Method precision (% CV) | <20% | Relevant for evaluating the reproducibility and repeatability of the HPLC method.
Time to maximum plasma concentration (Tmax) | 2 h | Relevant for understanding the absorption kinetics of orally administered rhodomyrtone.
Area under the curve (AUC) for 50 mg/kg dose | 3.41 ± 1.04 μg·h/mL | Relevant for understanding the drug exposure over time at a 50 mg/kg oral dose.
Area under the curve (AUC) for 100 mg/kg dose | 7.82 ± 1.53 μg·h/mL | Relevant for understanding the dose-dependent pharmacokinetics of rhodomyrtone.
Bioavailability assumption | ~10% | Relevant for assessing the oral bioavailability of rhodomyrtone and its potential limitations.
Elimination half-life (t1/2) | ~2.5 h | Relevant for determining the drug's clearance rate and dosing intervals.
Peak plasma concentration (Cmax) for 50 mg/kg | 0.57 μg/mL | Relevant for assessing the maximum drug concentration achieved for bacterial efficacy.
Peak plasma concentration (Cmax) for 100 mg/kg | 1.31 μg/mL | Relevant to ensure the administered dose achieves levels above the MIC of pathogens.
Pharmacokinetic behavior | Linear | Relevant for confirming dose-proportional drug kinetics between 50 and 100 mg/kg doses.
MIC range of common pathogens | 0.03–1.00 μg/mL | Relevant to validate rhodomyrtone's effectiveness against clinically significant bacteria at observed plasma concentrations.
Tissue distribution (Vz/F) | ~50 L/kg | Relevant for predicting how widely rhodomyrtone distributes in the body's tissues.
Drug mechanism | Membrane-targeting and protein-trapping | Relevant for explaining rhodomyrtone’s unique mode of action against antibiotic-resistant bacteria.
Rhodomyrtone's superior action to vancomycin | Proven for MRSA and other pathogens | Relevant for establishing the therapeutic potential of rhodomyrtone against resistant bacteria.
SwissADME prediction | Poor water solubility, good GI absorption | Relevant for investigating rhodomyrtone's biopharmaceutical classification and expected absorption properties.
Patient sample size | 12 rats per group | The sample size helps assess the pharmacokinetics of rhodomyrtone across a controlled animal study.
Blood sampling time points | 0, 0.25, 0.5, 1, 2, 3, 4, 5, 6, 7, and 8 hours | These time points are crucial for constructing the plasma concentration-time profile and determining pharmacokinetic parameters, such as Tmax and Cmax.
Patient population | Male Sprague Dawley rats weighing 250–350 g | This standardized animal model is commonly used in preclinical pharmacokinetics studies to predict human drug behavior.
Blood sample volume | 500 μL | This standard volume ensures sufficient plasma is available for HPLC-UV analysis while minimizing stress on the animals.
Dietary control | Fasted for 10 hours prior to the experiment | Fasting controls for variables related to food interference in drug absorption and pharmacokinetics.
Drug dose | 50 and 100 mg/kg doses | Examining different doses provides more information about the dose-proportional pharmacokinetic behavior of rhodomyrtone.
Non-compartment pharmacokinetic model | Non-compartment model | The data processing in the study followed a non-compartment pharmacokinetic model approach, treating the organism as a single compartment with homogeneous and instantaneous drug distribution. This directly addresses the pharmacokinetic modeling applied to describe rhodomyrtone’s behavior in the plasma concentration-time profiles.
Reasons for non-compartment model selection | Whole organism treated as a single compartment; assumption of constant volume of distribution | The non-compartment model was chosen based on the simplicity and suitability for bioequivalence studies. This is central to the paper’s objective of analyzing drug plasma concentration using a straightforward pharmacokinetic approach.
Application to pharmacokinetic parameters | Tmax, Cmax, t1/2 derived from observed data | The chosen model allowed for direct determination of key pharmacokinetic parameters using observed plasma concentration-time data, integral to understanding rhodomyrtone’s pharmacokinetics as intended by the study.
Linear pharmacokinetics | Dose proportionality between 50 mg/kg and 100 mg/kg doses | Linear pharmacokinetics behavior aligns with the use of the non-compartment model and its simplicity in assessing dose-dependency of rhodomyrtone’s absorption and clearance.
Lower limit of quantification (LLOQ) | 0.04 μg/mL | Indicates the sensitivity of the HPLC-UV method for detecting rhodomyrtone in rat plasma.
Accuracy at LLOQ level | 93.64 to 106.36% | Reflects the reliability of concentration measurements at the lower limit used in pharmacokinetics.
Precision at LLOQ level | 6.59% | Confirms the precision required to quantify rhodomyrtone plasma concentrations effectively.
Calibration curve range | 0.04 to 128 µg/mL | Defines the concentration range for the analysis of rhodomyrtone in plasma.
Correlation coefficient (r) | ≥ 0.999 | Ensures linearity of the HPLC method for quantifying rhodomyrtone concentrations.
Peak plasma concentration (Cmax) after 50 mg/kg dose | 0.57 μg/mL | Describes the maximum plasma concentration at this dose level, aiding dose-response analysis.
Peak plasma concentration (Cmax) after 100 mg/kg dose | 1.31 μg/mL | Highlights dose-proportional pharmacokinetics.
Area under the curve (AUC0–8) for 50 mg/kg dose | 3.41 ± 1.04 μg·h/mL | Represents plasma drug exposure over time, aiding comparisons with MIC values.
Area under the curve (AUC0–8) for 100 mg/kg dose | 7.82 ± 1.53 μg·h/mL | Demonstrates increased exposure with a higher dose, crucial for pharmacokinetic modeling.
Time to maximum plasma concentration (Tmax) | 2 h | Identifies the absorption rate and suitability for clinical application.
Volume of distribution (Vz/F) | ~50 L/kg | Indicates how rhodomyrtone distributes across body compartments after administration.
Oral clearance (CL/F) | ~constant for both doses | Validates first-order kinetics, essential for dose adjustment strategies.
Terminal elimination half-life (t1/2) | ~2.5 h | Suggests potential dosing intervals for therapeutic effectiveness.
MIC range for pathogens | 0.5–1 μg/mL | Establishes the clinical relevance of measured plasma concentrations for antibacterial efficacy.
SwissADME bioavailability score | ~10% | Hypothesizes oral bioavailability challenges due to physicochemical properties of rhodomyrtone.
Model used for PK data analysis | Non-compartmental pharmacokinetic model | Appropriate for drugs assumed to distribute in a single homogenized compartment, facilitating parameter estimation.
Intra-day precision | <12% CV | Demonstrates method reproducibility within a single analytical day.
Inter-day precision | <10% CV | Confirms reproducibility across multiple analytical days.
SwissADME prediction | High lipophilicity, poor water solubility, good gastrointestinal absorption | Relevant as it suggests characteristics that influence rhodomyrtone's pharmacokinetics such as absorption and solubility.
Biopharmaceutics Classification System (BCS) assumption | Rhodomyrtone hypothesized as a BCS class II compound | Relevant as it indicates that rhodomyrtone's poor water solubility impacts its oral bioavailability and absorption.
Absorption rate comparison | Tmax approximately 2 h, slower than linezolid (10-30 min) | Relevant as the slower absorption rate affects the pharmacokinetic profile in comparison to other antibiotics.
Bioavailability assumption | SwissADME predicted oral bioavailability around 10% | Relevant as low oral bioavailability is a key factor influencing drug effectiveness and dosing.
Absence of entero-hepatic recirculation | No signs observed within 8 h sampling | Relevant as entero-hepatic recirculation could alter drug retention in plasma.
Metabolic and elimination differences between species | Rats show faster metabolism and drug elimination than humans | Relevant as this factor influences extrapolation of pharmacokinetics data to humans.
Linear pharmacokinetics range | Doses of 50–100 mg/kg display linear pharmacokinetics | Relevant as maintaining proportionality between dose and plasma concentration affects predictability and dosing consistency.
Predicted hepatic first-pass metabolism | Possible significant first-pass effect | Relevant as hepatic metabolism influences the systemic availability of rhodomyrtone post-oral administration.