## Table 1
Unnamed: 0_level_0_QCs | pitavastatin (μM)_perfusate | pitavastatin (μM)_liver | pitavastatin (μM)_bile | CPI and CPIII (μM)_liver | CPI and CPIII (μM)_bile
LLOQ | 0.025 | 0.025 | 0.5 | 0.01 | 0.05
low | 0.05 | 0.075 | 1 | 0.025 | 0.15
medium | 0.075 | 0.25 | 2.5 | 0.1 | 0.3
| 0.25 | 0.75 | 10 | 0.25 | 1
high | 0.5 | 2.5 | 30 | 0.3 | 3
| 1.5 | 5 | 50 | 0.5 | 5

## Table 2
Unnamed: 0 | Unnamed: 1 | slope | intercept | R 2
perfusate | pitavastatin | 18,240,000 ± 526,927 | 740,589 ± 344,943 | 0.9967
liver | pitavastatin | 12,480,000 ± 110,659 | –176,332 ± 255,080 | 0.9997
liver | CPI | 4,982,000 ± 118,641 | –14,548 ± 31,135 | 0.9977
liver | CPIII | 3,374,000 ± 83705 | –30,466 ± 21,967 | 0.9975
bile | pitavastatin | 6,307,000 ± 207,732 | 1,138,000 ± 5,023,000 | 0.9953
bile | CPI | 2,855,000 ± 111,234 | –405,162 ± 269,097 | 0.994
bile | CPIII | 5,631,000 ± 249,677 | –114,400 ± 604,018 | 0.9922

## Table 3
Unnamed: 0 | Unnamed: 1 | theoretical (μM) | obtained (μM) | RE (%) | RSD (%)
perfusate | pitavastatin | 0.05 | 0.050 ± 0.006 | 0.15 | 12.81
perfusate | pitavastatin | 0.5 | 0.525 ± 0.023 | 5 | 4.29
liver | pitavastatin | 0.075 | 0.066 ± 0.009 | 11.43 | 12.99
liver | pitavastatin | 2.5 | 2.426 ± 0.047 | 2.97 | 1.94
liver | CPI | 0.025 | 0.024 ± 0.002 | 5.83 | 9.57
liver | CPI | 0.3 | 0.298 ± 0.020 | 0.83 | 6.61
liver | CPIII | 0.025 | 0.026 ± 0.003 | 5.22 | 11.94
liver | CPIII | 0.3 | 0.296 ± 0.013 | 1.42 | 4.56
bile | pitavastatin | 1 | 0.983 ± 0.063 | 1.73 | 6.41
bile | pitavastatin | 30 | 29.469 ± 0.980 | 1.77 | 3.32
bile | CPI | 0.15 | 0.139 ± 0.021 | 7.66 | 14.96
bile | CPI | 3 | 3.213 ± 0.176 | 7.1 | 5.48
bile | CPIII | 0.15 | 0.150 ± 0.018 | 0.09 | 11.75
bile | CPIII | 3 | 3.060 ± 0.150 | 2.01 | 4.91

## Table 4
Unnamed: 0_level_0_Unnamed: 0_level_1 | perfusate_theoretical (μM) | perfusate_obtained (μM) | perfusate_RE (%) | perfusate_RSD (%) | liver_theoretical (μM) | liver_obtained (μM) | liver_RE (%) | liver_RSD (%) | bile_theoretical (μM) | bile_Obtained (μM) | bile_RE (%) | bile_RSD (%)
within-run | 0.025 | 0.022 ± 0.001 | 13.03 | 6.56 | 0.025 | 0.024 ± 0.001 | 3.39 | 3.5 | 0.5 | 0.530 ± 0.015 | 5.95 | 2.88
within-run | 0.05 | 0.053 ± 0.007 | 5.58 | 13.1 | 0.075 | 0.078 ± 0.002 | 4.58 | 2.33 | 1 | 1.035 ± 0.015 | 3.46 | 1.5
within-run | 0.25 | 0.238 ± 0.017 | 4.85 | 6.96 | 0.75 | 0.732 ± 0.016 | 2.46 | 2.17 | 10 | 10.662 ± 0.786 | 6.62 | 7.37
within-run | 0.5 | 0.546 ± 0.017 | 9.25 | 3.05 | 2.5 | 2.660 ± 0.152 | 6.39 | 5.73 | 30 | 31.400 ± 1.794 | 4.67 | 5.71
between-run | 0.025 | 0.021 ± 0.002 | 15.93 | 7.34 | 0.025 | 0.024 ± 0.001 | 2.19 | 2.52 | 0.5 | 0.527 ± 0.016 | 5.33 | 2.95
between-run | 0.05 | 0.050 ± 0.003 | 0.48 | 5.95 | 0.075 | 0.066 ± 0.009 | 11.97 | 13.63 | 1 | 1.033 ± 0.014 | 3.34 | 1.35
between-run | 0.25 | 0.230 ± 0.004 | 8.16 | 1.88 | 0.75 | 0.694 ± 0.050 | 7.52 | 7.2 | 10 | 10.865 ± 0.613 | 8.66 | 5.64
between-run | 0.5 | 0.541 ± 0.022 | 8.29 | 4.13 | 2.5 | 2.525 ± 0.227 | 0.99 | 8.98 | 30 | 31.556 ± 2.062 | 5.187 | 6.53
reinjection | 0.025 | 0.024 ± 0.003 | 3.67 | 14.05 | 0.025 | 0.027 ± 0.004 | 7.4 | 14.64 | 0.5 | 0.560 ± 0.033 | 11.91 | 5.88
reinjection | 0.05 | 0.044 ± 0.006 | 12.78 | 13.55 | 0.075 | 0.067 ± 0.009 | 11.3 | 12.84 | 1 | 1.001 ± 0.039 | 0.11 | 3.89
reinjection | 0.25 | 0.227 ± 0.021 | 9.29 | 9.34 | 0.75 | 0.753 ± 0.002 | 0.35 | 0.32 | 10 | 10.855 ± 0.191 | 8.55 | 1.76
reinjection | 0.5 | 0.531 ± 0.015 | 6.21 | 2.85 | 2.5 | 2.378 ± 0.028 | 4.88 | 1.19 | 30 | 31.423 ± 0.988 | 4.74 | 3.14

## Table 5
Unnamed: 0_level_0_Unnamed: 0_level_1 | liver_theoretical (μM) | liver_obtained (μM) | liver_RE (%) | liver_RSD (%) | bile_theoretical (μM) | bile_obtained (μM) | bile_RE (%) | bile_RSD (%)
within-run | 0.01 | 0.009 ± 0.001 | 7.44 | 9.22 | 0.05 | 0.060 ± 0.002 | 19.26 | 3.64
within-run | 0.025 | 0.024 ± 0.004 | 4.18 | 15.55 | 0.15 | 0.134 ± 0.007 | 10.7 | 4.97
within-run | 0.1 | 0.108 ± 0.014 | 8.37 | 12.91 | 1 | 0.915 ± 0.067 | 8.55 | 7.38
within-run | 0.3 | 0.330 ± 0.037 | 10.01 | 11.24 | 3 | 3.249 ± 0.034 | 8.3 | 1.03
between-run | 0.01 | 0.009 ± 0.001 | 7.08 | 9.52 | 0.05 | 0.058 ± 0.003 | 15.31 | 4.59
between-run | 0.025 | 0.025 ± 0.001 | 1.57 | 4.62 | 0.15 | 0.144 ± 0.019 | 4.23 | 13.05
between-run | 0.1 | 0.107 ± 0.003 | 6.69 | 2.77 | 1 | 0.916 ± 0.068 | 8.41 | 7.4
between-run | 0.3 | 0.337 ± 0.020 | 12.49 | 5.91 | 3 | 3.127 ± 0.188 | 4.23 | 6.01
reinjection | 0.01 | 0.009 ± 0.001 | 7.08 | 9.52 | 0.05 | 0.056 ± 0.003 | 11.56 | 5.57
reinjection | 0.025 | 0.025 ± 0.001 | 1.57 | 4.62 | 0.15 | 0.164 ± 0.002 | 9.26 | 1.45
reinjection | 0.1 | 0.107 ± 0.003 | 6.69 | 2.77 | 1 | 0.988 ± 0.007 | 1.2 | 0.69
reinjection | 0.3 | 0.337 ± 0.020 | 12.49 | 5.91 | 3 | 3.069 ± 0.187 | 2.31 | 6.08

## Table 6
Unnamed: 0_level_0_Unnamed: 0_level_1 | liver_theoretical (μM) | liver_obtained (μM) | liver_RE (%) | liver_RSD (%) | bile_theoretical (μM) | bile_obtained (μM) | bile_RE (%) | bile_RSD (%)
within-run | 0.01 | 0.010 ± 0.000 | 0.17 | 4.81 | 0.05 | 0.053 ± 0.004 | 5.9 | 8.02
within-run | 0.025 | 0.028 ± 0.002 | 10.73 | 6.88 | 0.15 | 0.145 ± 0.019 | 3.28 | 12.82
within-run | 0.1 | 0.096 ± 0.005 | 4.05 | 5.43 | 1 | 0.924 ± 0.023 | 7.64 | 2.52
within-run | 0.3 | 0.306 ± 0.021 | 2.13 | 6.95 | 3 | 3.153 ± 0.018 | 5.09 | 0.59
between-run | 0.01 | 0.009 ± 0.002 | 11.41 | 19.9 | 0.05 | 0.050 ± 0.010 | 0.08 | 19.13
between-run | 0.025 | 0.028 ± 0.002 | 10.2 | 8.67 | 0.15 | 0.148 ± 0.018 | 1.24 | 12.34
between-run | 0.1 | 0.097 ± 0.005 | 3.22 | 4.94 | 1 | 0.937 ± 0.048 | 6.3 | 5.15
between-run | 0.3 | 0.303 ± 0.010 | 0.96 | 3.38 | 3 | 3.114 ± 0.083 | 3.81 | 2.66
reinjection | 0.01 | 0.009 ± 0.002 | 7.55 | 17.66 | 0.05 | 0.047 ± 0.006 | 6.41 | 13.81
reinjection | 0.025 | 0.026 ± 0.002 | 2.52 | 6.52 | 0.15 | 0.152 ± 0.014 | 1.44 | 9.51
reinjection | 0.1 | 0.104 ± 0.004 | 4.16 | 3.74 | 1 | 0.957 ± 0.034 | 4.33 | 3.56
reinjection | 0.3 | 0.345 ± 0.019 | 15.05 | 5.64 | 3 | 3.084 ± 0.175 | 2.79 | 5.68

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Developed Method | LC-MS for simultaneous quantification of pitavastatin, CPI, and CPIII | Relevant as the paper aimed to develop and validate this specific bioanalytical method
Column Type | Restek Raptor C18 (150 × 4.6 mm i.d., 2.7 μm particle size) | The column type directly impacts separation and resolution of analytes, fundamental to the method’s success
Mobile Phase Composition | Water with 0.1% formic acid and acetonitrile with 0.1% formic acid | Provides critical details on chromatography conditions required for method development
Gradient Flow Rate | 0.5 mL/min | Used for optimal separation and elution of analytes, necessary for reproducibility
Ion Source Mode | Positive ionization mode | Plays a role in effective detection of the targeted compounds in LC-MS
Analytes | Pitavastatin, Coproporphyrin I (CPI), and Coproporphyrin III (CPIII) | Centers around the objective of simultaneous quantification in liver and bile matrices
Method Validation Guideline | ICH M10 Bioanalytical Method Validation Guideline (2022) | Establishes regulatory compliance of the developed method
Calibration Ranges | Pitavastatin (Perfusate: 0.025–1.5 μM; Liver: 0.025–5 μM; Bile: 0.5–50 μM); CPI/III (Perfusate: Not applicable; Liver: 0.01–0.5 μM; Bile: 0.05–5 μM) | Describes the analytical sensitivity and quantification ranges for the developed method
Recovery Method | Triple liquid-liquid extraction with MTBE | Indicates the optimized sample preparation strategy critical to achieving high recovery and reproducibility
Matrix Effects | Within ±15% accuracy (perfusate, liver, bile) | Confirms the method’s reliability by minimizing variability introduced by biological sample matrices
In Vivo Model | Isolated Perfused Rat Liver (IPRL) | Demonstrates practical applicability in preclinical pharmacokinetic studies of OATP-mediated transport
Endogenous Biomarkers | CPI and CPIII | Supports the mechanistic understanding of Oatp-mediated transport and informs the use of biomarkers in drug-transporter studies
Experimental Doses | Pitavastatin 1 μM | Establishes how the method applies to real-world pharmacokinetic experiments using a known substrate
End Result Performance | CPIII more abundant than CPI in liver (CPI: 0.013 ± 0.008; CPIII: 0.028 ± 0.017 nmol/g) and bile (CPI: 0.009 ± 0.007; CPIII: 0.016 ± 0.011 nmol/g) | Demonstrates the method’s utility in differentiating and quantifying these biomarkers, aligning with research goals to study Oatp substrates
System Suitability Factors | Symmetry factor <2, Efficiency >2000 | Ensures the analytical system's robustness and accuracy
Chromatographic Resolution | Gradient elution to achieve separation of CPI and CPIII | Highlights key methodology employed for resolving biomarkers, which were not separated under isocratic conditions
Study Objective | Investigating OATP-mediated pharmacokinetics and DDIs | Aligns with the broader aim of assessing transporter-based interactions critical in drug development scenarios
Relevance of Biomarkers | CPI as Tier 1 and CPIII exploratory hepatic OATP markers | Establishes rationale for using these biomarkers in transporter studies
Male Sprague–Dawley rats | n=6 | Describes the sample size and population used in the PK study. Male Sprague-Dawley rats were used to investigate hepatic pharmacokinetics.
Groups | Two groups: blank buffer (n=3) and pitavastatin containing buffer (n=3) | The study design included two groups to compare baseline conditions with the administration of pitavastatin, highlighting the experimental setup.
Body weight (blank group) | 305.60 ± 9.20 g | Provides standardized subject data for the blank buffer group, ensuring consistency in physiological metrics.
Body weight (pitavastatin group) | 261.82 ± 16.41 g | Describes the characteristics of the rat population treated with pitavastatin for PK analysis.
Wet liver weight (blank group) | 7.99 ± 1.88 g | Establishes baseline liver weights for the blank buffer group, critical for normalization in PK studies.
Wet liver weight (pitavastatin group) | 8.25 ± 1.61 g | Indicates liver weights for the treatment group, important for analyzing hepatic drug distribution.
Perfusion method | In situ rat liver perfusion | The in-situ perfusion approach allowed for a controlled environment to investigate hepatic transport and metabolism.
Sampling matrix | Liver, bile, perfusate | Lists the tissues and fluids analyzed, relevant to PK data collection at multiple compartments.
Perfusion buffer composition | Krebs bicarbonate with 3 g/L glucose, 6 mg/L sodium taurocholate, 1% BSA | The buffer formulation ensured physiological conditions for liver perfusion, critical for realistic PK results.
Perfusion stabilization time | 20 min | Ensures the liver is cleared of blood and stabilized prior to initiating experimental conditions, which is vital for consistent PK results.
Perfusion duration | 60 min | Specifies the time for liver perfusion under experimental conditions, which determines the interval for drug distribution and biomarker analysis.
Pitavastatin concentration | 1 μM | Sets the dosage for studying pitavastatin's pharmacokinetics and transporter-mediated effects in rats.
Post-perfusion tissue processing | Liver weighed and homogenized in ice-cold Krebs buffer (1:2 v/v) | Explains how liver samples were processed to prepare for quantitative analysis, maintaining sample integrity.
Sampling time points | After 60 min of perfusion | Indicates the point at which tissues and fluids were collected for PK evaluation, allowing for time-dependent drug and biomarker analysis.
Model | Isolated Perfused Rat Liver (IPRL) Model | The IPRL model simulates physiological liver functions, enabling mechanistic exploration of drug transport and pharmacokinetics, specifically related to OATP-mediated processes.
Model Type | Recirculatory/Single-pass or retrospective manner in IPRL | This procedural design in IPRL provides flexibility to evaluate bidirectional drug transport and the hepatic process, making it appropriate for OATP-mediated pharmacokinetics and DDI studies.
System Design Alteration | Single-pass or other recirculatory setups considered | Altering the system design allows adaptation for capturing specific transport dynamics (e.g., basal CP levels in perfusate), ensuring the model's relevance for various PK assessments.
Model Use | Preclinical evaluation of hepatic drug disposition and DDIs | The IPRL model aids in understanding OATP substrate interactions and endogenous biomarkers like CPI/III, crucial for safe drug development and mechanistic exploration.
Ion Spray Voltage | 4000 V | The ion spray voltage value is directly related to optimizing the ionization efficiency for accurate LC-MS detection in the study.
Source Temperature | 350 °C | This parameter ensures suitable ionization conditions, enhancing the detection of analytes using LC-MS.
Nebulizer Gas Pressure | 45 psi | This parameter was optimized to maintain a proper spray during LC-MS analysis, ensuring high-quality ion detection.
Drying Gas Flow Rate | 10 L/min | This parameter contributes to the evaporation of the solvent in the ion source, directly affecting ionization efficiency for mass spectrometry.
Column Type | Restek Raptor C18 (150 × 4.6 mm i.d., 2.7 μm) | This column selection enabled effective separation of pitavastatin, CPI, and CPIII for simultaneous quantification.
Column Temperature | 60 °C | This temperature was chosen to enhance peak resolution and reduce viscosity-related backpressure during chromatography.
Mobile Phase A | Water with 0.1% formic acid | Used to maintain the ionization of analytes for effective separation and quantification in LC-MS analysis.
Mobile Phase B | Acetonitrile with 0.1% formic acid | Selected as the organic phase, aiding in analyte separation during gradient elution.
Gradient Flow | 35% to 90% B from 0 to 7 min, 90% to 35% B from 7 to 10 min, hold at 35% B for 3 min | This gradient program optimized analyte separation and reduced elution time for the LC-MS method.
Flow Rate | 0.5 mL/min | This optimized flow rate allows for efficient analyte separation and peak resolution during LC-MS.
Injection Volume | 20 µL | The sample injection volume was chosen to maximize analyte signal while maintaining column efficiency.
Ion Mode | Positive | Positive mode ionization was used to enhance detection of all analytes, which are better ionized in this mode.
Peak m/z Ratios | 422.2 for pitavastatin; 655.3 for CPI/III | These values are specific to the targeted analytes and were essential for their identification and quantification in the LC-MS method.
Perfusate Saturation Gas | Carbogen (95% O2/5% CO2) | Contributes to maintaining physiological conditions during liver perfusion studies.
Perfusion Flow Rate | 15 mL/min | Controls the delivery rate of the perfusate through the isolated liver, ensuring consistent sample collection for analysis.
Perfusate Composition | Krebs bicarbonate buffer with 3 g/L glucose, 6 mg/L sodium taurocholate, 1% BSA | Provides essential nutrients and maintains the liver's functionality during perfusion experiments, relevant for data collection.
Perfusion Time | 60 minutes | Duration allowed for adequate interaction between liver and perfusate, relevant to quantify and analyze pitavastatin, CPI, and CPIII.
Carryover Response Threshold | Less than 20% of LLOQ | Ensures method specificity by eliminating interference from previous sample injections in the LC-MS system.
Recovery Efficiency | 42–50% for CPI/III using liquid-liquid extraction with MTBE | Demonstrates the effectiveness of the extraction method for CPC quantification in various matrices.
Accuracy Tolerances | ±15% for all calibers except LLOQ (20%), RSD <15% | Validates the reproducibility and reliability of the LC-MS analytical method.
Calibration Range - Pitavastatin in Perfusate | 0.025–1.5 μM | These values ensure the reliable quantification of pitavastatin under experimental conditions.
Calibration Range - CPI in Liver | 0.01–0.5 μM | Defines the sensitivity range for CPI quantification in tissue—it informs the precision of OATPs biomarker monitoring.
Calibration Range - CPIII in Bile | 0.05–5 μM | These concentrations allow the effective analysis of CPIII as a biomarker in bile samples.
Analyte Baseline Level | Higher CPIII than CPI in both liver and bile (67.19 ± 4.28% CPIII in liver, 64.96 ± 3.91% CPIII in bile) | Biological abundance data were estimated and confirm the method's utility in distinguishing these biomarkers.
Extraction Solvent | MTBE (triple centrifuge) | Liquid-liquid extraction with acidified MTBE provided optimal recovery and minimized matrix interference, key for analyte quantification.
Factors influencing pharmacokinetics | OATP/Oatp-mediated drug transport | OATP/Oatp transporter activity significantly influences the hepatic drug disposition and clearance mechanism, as demonstrated in both preclinical and clinical evaluations.
Factors influencing pharmacokinetics | Use of pitavastatin as a model substrate | Pitavastatin, a selective liver-distributed drug with high sensitivity to OATP1B inhibition, serves as a benchmark in assessing transporter-mediated pharmacokinetics.
Factors influencing pharmacokinetics | Endogenous biomarkers (CPI and CPIII) | CPI and CPIII serve as indicators for OATP activity, with their disposition being useful for understanding OATP-mediated transport mechanisms in pharmacokinetics studies.
Factors influencing pharmacokinetics | Inhibition and induction of OATP transporters | Alterations in OATP function due to inhibitors or inducers may lead to drug-drug interactions, impacting pharmacokinetics.
Factors influencing pharmacokinetics | Species differences in transporter activity | Variability in OATP expression and function between rats and humans affects the translational application of preclinical pharmacokinetic findings.
Factors influencing pharmacokinetics | Role of Mrp2 and Mrp3 in CPI transport | The transport of CPs by Mrp2 and Mrp3 can alter pharmacokinetics via biliary and systemic circulation pathways, impacting hepatic drug clearance.
Factors influencing pharmacokinetics | Hepatic and biliary excretion of CPs | The balance of biliary excretion versus hepatic uptake of CPs affects their systemic and localized pharmacokinetics outcomes.
Factors influencing pharmacokinetics | Effects of transporter inhibitors like rifampicin or cyclosporine | Dedicated use of transporter inhibitors can modify OATP function during investigations of pharmacokinetics or drug interactions.
Factors influencing pharmacokinetics | Dependence on experimental model design (e.g., IPRL) | The isolated perfused rat liver (IPRL) model enables mechanistic insights into hepatic OATP functions that impact pharmacokinetics.
Factors influencing pharmacokinetics | Comparative substrate affinities of CPI and CPIII | The dual and substrate-selective transport by OATP isoforms underscores differences in disposition impacting pharmacokinetics interpretations.