## Table 1
Analytes and Internal standards | Precursor Ion (m/z) | Product Ion (m/z) | Cone Voltage (V) | Collision Energy (eV)
PG | 353.1 | 177.1 (quantifier) | 40 | 29
PG | 353.1 | 113.0 (qualifier) | 40 | 16
1Q-G | 369.1 | 193.1 (quantifier) | 40 | 25
1Q-G | 369.1 | 113.0 (qualifier) | 40 | 17
4Q-G | 369.1 | 193.1 (quantifier) | 40 | 25
4Q-G | 369.1 | 113.0 (qualifier) | 40 | 17
4Q-S | 273.1 | 193.1 (quantifier) | 50 | 25
4Q-S | 273.1 | 150.1 (qualifier) | 50 | 33
PG-D17 (Internal standard for PG, 1-QG, 4-QG, 4-QS) | 370.1 | 194.1 | 40 | 30
Propofol | 177.1 | 177.1 (quantifier) | 50 | 3
P-D17(Internal standard for propofol) | 194.1 | 194.1 | 50 | 3

## Table 2
Unnamed: 0_level_0_Analytes | QC Pool Precision, %CV_0.20 µg/mL | QC Pool Precision, %CV_0.7 µg/mL | QC Pool Precision, %CV_8.0 µg/mL
PG | 7.4 | 8.3 | 1.9
1-QG | 6.9 | 7.2 | 2
4-QG | 13.4 | 9.1 | 2
4-QS | 9.9 | 8.7 | 2
P | 5.6 | 9.9 | 2.5

## Table 3
Unnamed: 0_level_0_Analytes | Mean QC Concentration, µg/mL (% Target Bias)_0.20 µg/mL | Mean QC Concentration, µg/mL (% Target Bias)_0.70 µg/mL | Mean QC Concentration, µg/mL (% Target Bias)_8.0 µg/mL
PG | 0.19 (−4.1 %) | 0.61 (−13.4 %) | 8.3 (4.3 %)
1-QG | 0.22 (7.9 %) | 0.68 (−3.3 %) | 8.3 (4.3 %)
4-QG | 0.23 (13.6 %) | 0.62 (−11.6 %) | 8.1 (1.6 %)
4-QS | 0.21 (3.0 %) | 0.72 (2.8 %) | 8.6 (7.7 %)
P | 0.23 (13.3 %) | 0.73 (3.8 %) | 7.6 (−4.8 %)

## Table 4
Unnamed: 0_level_0_Urine Collection_Urine Collection | Concentration, µg/mL_PG_mean | Concentration, µg/mL_PG_range | Concentration, µg/mL_1-QG_mean | Concentration, µg/mL_1-QG_range | Concentration, µg/mL_4-QG_mean | Concentration, µg/mL_4-QG_range | Concentration, µg/mL_4-QS_mean | Concentration, µg/mL_4-QS_range
Day 1 | 350 | 58–840 | 59 | 13–132 | 40 | 8.6–97 | 28 | 8.7–93
Day 2 | 71 | 21–180 | 22 | 5.8–63 | 12 | 3.7––39 | 11 | 2.3–36
Day 3 | 28 | 6.3–92 | 14 | 1.3–52 | 7.8 | 0.92–35 | 5.5 | 0.52–21
Day 4 | 9.7 | 2.6–26 | 5.8 | 0.86–15 | 3.2 | 0.81–9.8 | 3.7 | 0.8–10
Day 5 | 5.9 | 0.32–18 | 2.8 | 0.18–6.3 | 1.8 | 0.05–4.0 | 1.7 | 0.05–4.2
Day 6 | 5.7 | 1.4–18 | 2.3 | 0.36–5.3 | 1.4 | 0.36–3.5 | 1.6 | 0.21–3.8
Day 7 | 5.3 | 1.4–16 | 1.6 | 0.36–3.5 | 0.91 | 0.36–2.0 | 0.88 | 0.21–2.4
Week 2 | 3.7 | 0.17–8.7 | 0.92 | 0.04–1.8 | 0.52 | 0.06–1.0 | 0.4 | n.d.–0.89
Week 3 | 1.2 | 0.54–2.5 | 0.33 | 0.16–0.51 | 0.17 | n.d.–0.32 | 0.11 | n.d.–0.26
Week 4 | 0.34 | 0.27–0.7 | 0.19 | 0.12–0.33 | n.d. | n.d.–n.d. | n.d. | n.d.–n.d.
Week 5 | 0.25 | 0.17–0.3 | 0.13 | 0.12–0.14 | n.d. | n.d.–n.d. | n.d. | n.d.–n.d.

## Freetext Data
Data | Value | Relevance
Chromatographic method | LC-MS/MS analysis of propofol and metabolites | Relevant for the detection and monitoring of propofol misuse, providing sensitivity and specificity in measurement.
Sample preparation method | Dilute-and-analyze, with stable isotope internal standardization | Relevant as it simplifies sample preparation, making it adaptable for routine laboratory use.
Calibration model | Linear calibration (100–10,000 ng/mL) with r2 ≥ 0.999 | Relevant for ensuring accurate quantification over a broad concentration range during analysis.
Detection window | Up to 30 days for propofol metabolites detectable | Relevant for monitoring propofol misuse over an extended timeframe in clinical and forensic toxicology.
Propofol detection | Undetectable in urine specimens | Relevant for confirming that unmetabolized propofol cannot be used for drug-use identification.
Metabolite analysis | Detection of PG and 1-QG for 30 days, 4-QG and 4-QS for 19–20 days | Relevant for identifying and monitoring drug use through urinary metabolite profiles.
Biotransformation pathways | Glucuronidation via UDP-glucuronosyltransferase, hydroxylation via P450 enzymes | Relevant for understanding major routes of propofol metabolism and clearance.
Unknown metabolites | Detection of additional hydroxylpropofol glucuronides | Relevant for expanding knowledge of propofol elimination processes and potential markers for misuse.
Matrix effects | Acceptable within ±20%, verified sensitivity | Relevant for validating the reliability of LC-MS/MS in varied biological matrices.
Drug misuse mortality insights | High lethality in non-controlled settings, primarily identified postmortem | Relevant for highlighting the clinical necessity of misuse detection methods.
Glucuronidation vs P450 pathways | Shift to increased P450 activity post-administration | Relevant for understanding dynamic metabolic changes influencing metabolite clearance patterns.
Chromatography system | Waters ACQUITY UPLC I-Class interfaced with Xevo® TQD detector | Relevant for method reproducibility and instrumental setup in the reported study.
Detection sensitivity | LLOQ of 0.1 µg/mL for urinary metabolites | Relevant for establishing the analytical threshold for effective monitoring.
Clinical application | Validated for surgical patient monitoring over extended periods | Relevant for practical implementation in healthcare settings.
Sample Size | 12 patients | The study involved monitoring urine samples of 12 patients post-administration of propofol, significant for pharmacokinetic analysis.
Patient Population | Surgical patients at Albany Medical Center Hospital | Relevant because the study population provides real-world context for the administration and clearance of propofol metabolites.
Propofol Administration | Intravenous doses ranging from 100 to 3000 mg | Describes the controlled dose levels, critical for PK modeling and metabolite identification.
Sampling Time Points | Daily urine collection from Day 1 (surgery day) through hospital discharge, up to 30 days | Indicates the timeline used to track propofol metabolite clearance across an extended window.
Monitoring Duration | Between 1-30 days, mean 8.1 days | Captures the length of post-dose observation, crucial for evaluating the extended detection window for drug metabolites.
Ethical Approval | Institutional Review Board of Albany Medical College authorized protocol | Ensures reliability and ethical adherence in patient sampling for pharmacokinetic studies.
Chromatographic method | LC-MS/MS | The paper confirms LC-MS/MS was utilized for metabolite analysis but does not explicitly model the drug distribution kinetics.
Detection model | Linear regression calibration | The linear regression calibration model was validated for data fitting and ensures consistency in concentration determinations. This is not explicitly a kinetic modeling approach like 1-compartment or PBPK.
Drug clearance discussion | Changes in metabolite clearance over time | The paper discusses relative contributions of pathways (glucuronidation vs P450 metabolism) but does not employ compartmental models; instead, observations suggest dynamic shifts in clearance.
Monitoring conclusions | 30 Days PG Detection/Multi-Analyte Approach | Instead of compartment or PBPK drug modeling, monitoring profiles assess metabolite persistence patterns longitudinally.
Biotransformation schematic | Pathways per Fig. 1 | Propofol’s glucuronidation and P450 pathways are mapped visually but derived from empirical data, not modeled computationally.
Calibration Range | 100–10,000 ng/mL | Relevant as the calibration range provides the quantitative limits used to estimate analyte concentrations within the study.
Coefficient of Variation | Average 6.5% | Relevant for assessing precision in the validation of the method employed in the study.
Percent Bias | −4.2 ng/mL (average) | Relevant because it evaluates accuracy in the concentration measurement based on the method's validation criteria.
Post-dose Detection Window Sensitivity | LLOQ cut-off at 0.1 µg/mL | Relevant for understanding the detection sensitivity employed in estimating long-term metabolite monitoring.
Analyte Monitoring Period | Up to 30 days | Relevant since this period defines the timeframe over which metabolite concentrations were estimated and analyzed.
Injection Volume | 10 µL | Relevant because sample preparation and input volume impact method precision and limit estimation reliability.
Matrix Effect Criteria | ±20% or 150% detection sensitivity for 4-QS | Relevant as the matrix effect influences the reliability of estimated concentrations across diverse urine matrices.
Chromatography Column Temperature | 30°C | Relevant for optimizing chromatographic separation, influencing the analyte estimation process.
Mobile Phase Composition | Water and methanol (MP-A and MP-B) with ammonium fluoride 1mM | Relevant for enhancing ion response sensitivity and separation effectiveness during analyte estimation.
Precision (Low Concentration) | %CV 5.6–13.4% | Relevant for confirming precision in analyte concentration estimation at lower levels during validation.
Matrix Effect (4-QS) | 27.0% | Relevant to evaluate sensitivity issues related to matrix presence when estimating analytes.
Retention Time Resolution | Multi-analyte calibrator (2.0 µg/mL) with baseline resolution | Relevant as optimized chromatographic resolution impacts analyte identification and concentration estimation.
Monitoring Patients | 12 surgical patients | Relevant as patient samples provide the biological matrices from which metabolites were estimated.
Extrahepatic glucuronidation during anhepatic phase of liver transplantation | Demonstrated in kidney, intestines, lungs, and brain tissue | Demonstrates that propofol metabolism occurs outside the liver, influencing overall pharmacokinetics.
Renal clearance role | Increased propofol metabolite accumulation in renal failure studies | Highlights the importance of kidney function in metabolizing and clearing propofol.
Neonatal metabolism | Differed from adults with predominance of 4-hydroxypropofol conjugates | Indicates developmental factors influence metabolism pathways, affecting pharmacokinetics in neonates.
Liver transplantation studies | Rapid post-dose inactivation in organ systems | Provides evidence that propofol clearance is influenced by distributed metabolism across multiple organs.
Propofol-induced P450 saturation/inhibition | Dose-dependent inhibition or saturation of P450 evident post-dose | Suggests changes in metabolic clearance patterns and pharmacokinetic pathways due to drug concentration.
Neonate glucuronidation capacity | Lower than in adults during the early postnatal period | Suggests developmental limitations in metabolism, altering pharmacokinetics in neonates.
P450 relative clearance shift | 70% clearance via PG shifting to >60% P450 metabolites post-dose | Demonstrates temporal changes in pathway dominance based on dose and timing, which affects pharmacokinetics dynamics.
Unknown metabolites detected via LC-MS/MS | Suggest additional pathways for hydroxylation/glucuronidation | Reflects the complexity of metabolism influencing pharmacokinetics, suggesting uncharted pathways for drug clearance.
Tissue distribution effects on clearance | Slow release from adipose and muscle tissues observed | Indicates that the pharmacokinetics of propofol are influenced by retention in lipophilic body compartments.
Inhibition from high-dose administration | Dose-dependent effects causing altered enzyme activity | Highlights drug concentration as a factor modulating pharmacokinetic enzyme activity and clearance speed.