## Table 1
Pharmacokinetic Parameter_Pharmacokinetic Parameter | Model_T | Model_ET | Model_Patlak | Model_2CU
Plasma volume fraction |  | vp | vp | vp
Extravascular extracellular volume fraction | ve | ve
Plasma flow |  |  |  | Fp
Transfer constant | Ktrans | Ktrans | Ktrans | Ktrans = EFp
Rate constant | kep = Ktrans/ve | kep = Ktrans/ve
Permeability surface area product |  |  |  | PS
Extraction fraction |  |  |  | E = PS/(PS + Fp)
Plasma mean transit time |  |  |  | MTTp = vp/(PS + Fp)
Capillary transit time |  |  |  | Tc = vp/Fp

## Table 2
Parameter | Value
TE | 0.96 ms
TR | 2.871 ms
Flip Angle | 10°
Field of View | 180 mm
Acquisition Matrix | 110 × 110
Reconstruction Matrix | 256 × 256
In-Plane Resolution | 0.703 × 0.703 mm
Bandwidth per Pixel | 41.67 Hz
Acceleration Factor | 1.75 × 2
Slice Thickness | 3 mm
Number of Slices | 26
Time per Dynamic | 1.695 s
Number of Dynamics | 150
Duration | 4:14 min:s

## Table 3
Model | Parameter | Unit of Measure | Range
2CU | vp | none (mL/mL) | [0,10]
2CU | PS | min−1 (mL/min/mL) | (0,10]
2CU | Fp | min−1 (mL/min/mL) | [0,10]
2CU | Tc | min | [0,5)
2CU | MTTp | min | [0,5)
2CU | E | none | [0,1]
2CU | Ktrans | min−1 (mL/min/mL) | [0,10]
Exponential EMM | A | none | none
Exponential EMM | α | time−1 (# of dynamics)−1 | (0–1]
Exponential EMM | t0 | time (# of dynamics) | none
Sigmoidal EMM | A0 | none | none
Sigmoidal EMM | A1 − T0 | time (# of dynamics) | (0,100]
Sigmoidal EMM | A2 | time (# of dynamics) | (0,100]
Curve Shape | TTP | time (# of dynamics)

## Table 4
Unnamed: 0 | Characteristic | ValueMean (Range) or Count (%)
Patients (N = 25) | Age (years) | 67 (55–84)
Patients (N = 25) | PI-RADS ≥ 3 lesions per patient
Patients (N = 25) | 1 | 16 (64%)
Patients (N = 25) | 2 | 8 (32%)
Patients (N = 25) | 3 | 1 (4%)
Region of interest: | PI-RADS Category
Lesion (N = 35) | 3 | 4 (11.4%)
| 4 | 21 (60.0%)
| 5 | 10 (28.6%)
Healthy Tissue (N = 35) | assumed ≤ 1 | 35 (100%)
Prostate Zone
| Peripheral Zone | 29 (82.9%)
| Transition Zone | 6 (17.1%)
Biopsy Samples (N = 35) | Grade Group
| negative | 11 (31.4%)
| 1 | 6 (17.2%)
| 2 | 9 (25.7%)
| 3 | 5 (14.3%)
| 4 | 4 (11.4%)

## Table 5
Model_Model_Model | Parameter_Parameter_Parameter | Prostate Zone_PZ_Mean Value | Prostate Zone_TZ_Mean Value | Unnamed: 4_level_0_t-Test p-Values ^_t-Test p-Values ^
2CU | vp | 1.761 | 1.912 | 0.684
2CU | PS | 0.108 | 0.094 | 0.597
2CU | Fp | 1.363 | 2.105 | 0.0245
2CU | MTTp | 1.439 | 1.196 | 0.235
2CU | Tc | 1.534 | 1.254 | 0.195
2CU | E | 0.0861 | 0.0589 | 0.0512
2CU | Ktrans | 0.0938 | 0.0839 | 0.657
Exponential EMM | α | 0.0723 | 0.119 | 2.10 × 10−3
Sigmoidal EMM | A1 − T0 | 16.671 | 12.099 | 0.0724
Sigmoidal EMM | A2 | 15.071 | 11.287 | 0.0932

## Table 6
Model_Model_Model | Parameter_Parameter_Parameter | Radiological Evaluation_ANOVA p-Values by Factor °_Prostate Zone | Radiological Evaluation_ANOVA p-Values by Factor °_PI-RADS Category
2CU | vp | 0.866 | 0.418
2CU | PS | 0.348 | 0.443
2CU | Fp | 0.403 | 2.72 × 10−5
2CU | MTTp | 0.151 | 1.45 × 10−4
2CU | Tc | 0.118 | 1.53 × 10−4
2CU | E | 0.0236 | 6.99 × 10−3
2CU | Ktrans | 0.374 | 0.298
Exponential EMM | α | 2.43 × 10−3 | 2.44 × 10−7
Sigmoidal EMM | A1 − T0 | 0.0264 | 4.28 × 10−6
Sigmoidal EMM | A2 | 0.0321 | 4.94 × 10−6
Curve Shape | TTP | 0.605 | 4.88 × 10−7

## Table 7
Model_Model_Model_Model | Parameter_Parameter_Parameter_Parameter | Peripheral Zone_Biopsy Only_t-Test p-Value ^_−ve vs. +ve | Peripheral Zone_Biopsy Sample+ Normal-Appearing_One-Way ANOVA p-Value °_−ve, GG1, GG2, GG3, GG4
2CU | vp | 0.355 | 0.236
2CU | PS | 0.186 | 0.318
2CU | Fp | 0.0527 | 9.41 × 10−5
2CU | MTTp | 0.117 | 0.002
2CU | Tc | 0.0995 | 1.73 × 10−3
2CU | E | 0.391 | 0.0346
2CU | Ktrans | 0.168 | 0.234
Exponential EMM | α | 0.153 | 4.1 × 10−5
Sigmoidal EMM | A1 − T0 | 0.95 | 8.73 × 10−3
Sigmoidal EMM | A2 | 0.94 | 7.03 × 10−3
Curve Shape | TTP | 0.0608 | 4.72 × 10−6

## Freetext Data
Data | Value | Relevance
Radiologists reported PI-RADS categories | 11.4% PI-RADS 3, 60% PI-RADS 4, 28.6% PI-RADS 5 | Provides the distribution of lesion severity according to PI-RADS, important for understanding lesion assessment in this study.
Biopsy results stratified by grade group | 31.4% negative, 11.4%-25.7% GG1-GG4 | Provides the distribution of pathological outcomes, linking imaging findings to histopathological results.
Temporal resolution of DCE-MRI | 1.695 s per dynamic | Ensures the high temporal resolution required to study early enhancement parameters.
Parameters showing differences in PI-RADS | Fp, MTTp, Tc, E, α, A1-T0, A2, TTP | Directly relevant as these derive from DCE-MRI and showed PI-RADS associations.
Fp difference in prostate zones | p = 0.0245 | Indicates that plasma flow (Fp) differentiates between TZ and PZ, contributing to prostate zone analysis.
Statistical significance in parameters and GG | None showed differences limited to biopsy samples; added normal-appearing ROIs required | Contextualizes the challenges in using early enhancement parameters for GG differentiation alone.
2CU Model Parameters with PI-RADS differences | Fp, MTTp, Tc, E | These differences suggest potential for these parameters to contribute to diagnostic stratification.
EMM and TTP Differentiation | α, A1-T0, A2, TTP significant for both PI-RADS and GG in PZ | Identifies useful early enhancement metrics for diagnostic and histopathological differentiation in peripheral zone.
PS and Ktrans validation | No significant associations with PI-RADS, GG, or zones | Validates previous failures of these parameters, justifying exploration of alternative metrics.
Reason for exclusion due to imaging quality | 5 patients due to movement or metal artifact | Ensures focus on high-quality imaging data aligned to study goals.
Patients included with lesions PI-RADS ≥ 3 | 25 patients | Establishes the study population relevant to assessing the lesion severity.
Key results localization | Most lesions (82.9%) in the peripheral zone | Highlights the majority lesion location for focusing parameter impact.
ROI delineation approach | Manually defined on T2 images | Relevant to understanding potential operator variance in parameter analysis.
Limitations of 2CU assumption | Two compartments may not account for glandular lumen presence | Contextualizes potential inaccuracies in fitting biophysical PK models.
Improved DCE-MRI diagnostic potential | High temporal resolution supports α, A1-T0, etc., over PI-RADS primary inputs | Links model parameters to improvements in objective DCE-MRI indices.
Patient Sample Size | 25 men with a total of 35 PI-RADS category 3 or higher tumors | Relevant to describing the study sample size and its representation in prostate cancer analysis.
Patient Age Range | 40 to 85 years | Relevant to defining the demographic inclusion criteria for the patient population in this pharmacokinetic study.
Inclusion Criteria | Adult males, PI-RADS category 3-5 lesions, biopsy targeted within 6 months of mpMRI exams | Relevant to specifying the population targeted for evaluation within the study design.
Exclusion Criteria | Prior prostate cancer treatment, no contrast agent injection, MRI contraindications | Relevant to defining participants excluded, ensuring accurate pharmacokinetic modeling.
Temporal Resolution of DCE-MRI | 1.695 seconds per dynamic phase | Relevant to the precision and timing of blood/tissue sampling in the pharmacokinetic study.
Duration of DCE-MRI Data Analysis | First 2 minutes of early enhancement phase | Relevant to the specific time points chosen for pharmacokinetic parameter extraction and analysis.
Contrast Agent Used | Dotarem, 0.1 mmol/kg at 3 mL/s | Relevant to understanding the type and administration dynamics of the contrast agent for modeling.
Procedure Location | MRI scans performed at Centro Medicina Nucleare N1, Centro Morrone, Italy | Relevant to the study’s generalizability and methodologies within a clinical setting.
DCE-MRI Scanner | GE Signa Pioneer, 3T MRI | Relevant to describing the equipment used, impacting the temporal resolution and image acquisition.
Tissue Sampling | Lesions and adjacent healthy tissue were analyzed through ROIs on T2-weighted images and DCE-MRI time series | Relevant to the methodology used for differentiation of cancerous and normal tissues for PK modeling.
Biopsy Procedure | Ultrasound/MRI fusion-guided with 2 targeted samples per lesion | Relevant to the pathology verification used for validating prostate cancer zones.
Study Design Period | November 2021 to December 2022 | Relevant to the timeframe within which the study data was collected, contributing to temporal aspects of the design.
Pathological Analysis Protocol | ISUP pathological criteria | Relevant to the reference standard applied in sample pathological verification, which validates correlation with models.
Model | Two-compartment uptake (2CU) model | The paper extensively evaluates the 2CU model for analyzing early enhancement patterns in prostate DCE-MRI and compares it to other pharmacokinetic modeling approaches.
Model | Patlak model | The Patlak model is mentioned as a generalization of the 2CU model and is applicable for data with poor temporal resolution, providing context for its utility in early enhancement phases.
Model | Extended Tofts (ET) model | The ET model is discussed as a commonly used pharmacokinetic model, highlighting its limitations in highly perfused tissue like the prostate, making it less relevant for this study.
Model | Tofts model | Included as a baseline pharmacokinetic model, but its insufficiency in handling plasma volume and other physiological dynamics led to exploring alternatives like the 2CU model.
Model | Empirical Mathematical Models (EMM) | The paper evaluates exponential and sigmoidal EMMs as alternatives that do not require AIF extraction and make fewer rigid assumptions about tissue architecture.
Model | Time to Peak (TTP) | A curve shape parameter that provides additional metrics for early enhancement analysis, reinforcing the focus on quick contrast dynamics relevant to the study.
Fp | 0.4 min−1 | Fp is a parameter derived from the 2CU model and is relevant because it showed a difference between PI-RADS categories and between prostate zones in normal and abnormal tissues.
PS | 0.4 min−1 | Estimated using the 2CU model; it did not show significant associations with PI-RADS or GG, which is important for understanding its limited diagnostic utility in PCa.
vp | 0.2 | Estimated from the 2CU model; relevant because vp was included in the physiological constraints for certain areas, helping determine plasma volume's role in enhancement.
E | Derived from the fitting of 2CU; values determined the extraction fraction. | Relevant due to its association with PI-RADS and GG in the peripheral zone.
MTTp | vp/(PS+Fp); derived parameter | Significant in its differentiation between PI-RADS categories reflecting plasma mean transit time differences.
TC | vp/Fp; calculated after fitting 2CU parameters | Relevant for differentiating PI-RADS and peripheral GG lesion categories.
α | Derived from EMM fitting | Demonstrated strong differentiation capacity within prostate zones and abnormal PI-RADS tissues, important as a diagnostic parameter.
t0 | Derived from exponential EMM fitting | Indicates arrival time in contrast uptake metrics, though it showed little discriminative utility overall.
A1–T0 | Derived from sigmoidal EMM fitting | Key to understanding slope midpoints for sigmoidal models demonstrating advanced PI-RADS differentiation.
A2 | Derived from sigmoidal EMM fitting | Related to slope sharpness—significant because of associations with PI-RADS and GG.
TTP | Curve shape parameter, calculated voxel-wise as time to peak | Expressed early tumor signal change dynamics relative plausibly aiding path categorization.
Violation of model assumptions | Errors in fitting or unrealistic parameter estimates in DCE-MRI data | Highlights the impact of unmet assumptions on pharmacokinetic modeling reliability.
Necrotic regions or intracellular leakage | Potentially violates two-compartment assumptions | Provides context for structural issues in prostate tissue composition affecting modeling.
AIF dispersion | Leads to parameter errors due to bolus propagation changes | Showcases the impact of arterial input function inaccuracies on DCE-MRI-derived pharmacokinetics.
Temporal resolution | Poor temporal resolution (>5 s/frame) is insufficient to detect pathological changes | Emphasizes the importance of ultrafast imaging for accurate pharmacokinetics.
Tissue perfusion variability | Lack of consideration for bidirectional exchange in high-perfusion tissues | Highlights limitations of existing models like Tofts in representing real tissue conditions.
Contrast agent ill-distribution | Glandular lumens may need more complex uptake modeling | Suggests the potential oversimplification in conventional PK models for prostate.
Capillary and plasma transit times (MTTp, Tc) | Affected by temporal data window selection | Indicates inherent sensitivity of pharmacokinetic parameters to acquisition strategies.
Relaxation time inaccuracies (T10) | Incorrect T10 values lead to unreliable parameter quantifications (e.g., ve > 1) | Shows the dependency of physiologic parameter accuracy on imaging startup conditions.
Plasma flow rates (Fp variability) | Significant zone differences (PZ vs. TZ) in perfusion parameters like Fp | Demonstrates a crucial zone-related influence on pharmacokinetics.
Tracer back flux | Negligible in early enhancement phase, suitable for some models like 2CU | Suggests refined early-phase dynamics reduce model violations.
Normalization by voxel and plasma volume (vp + ve) | Assumption failure leads to overestimated compartment concentrations | Reflects spatial-anatomical constraints impacting parameter reliability.