## Table 1
Time(min) | Flow rate(mL/min) | Mobile phase A (%) | Mobile phase B (%) | Curve
0 | 0.4 | 95 | 5 | /
2 | 0.4 | 95 | 5 | 6
3 | 0.4 | 50 | 50 | 6
4 | 0.4 | 25 | 75 | 6
5 | 0.4 | 95 | 5 | 6

## Table 2
Analyte | Retentiontime (min) | Precursorion (m/z) | Production (m/z) | Declustering potential (V) | Collisionenergy (eV)
ERY | 4.34 | 734.5 | 158.2*576.4 | 9595 | 3825
CLA | 4.51 | 748.6 | 158.1*590.4 | 9595 | 3525
N-d-ERY | 4.32 | 720.4 | 144.0*562.2 | 9595 | 3522
ROX | 4.53 | 837.7 | 679.5*158.2 | 110110 | 2841

## Table 3
Matrix | Analyte | Regression equation | Determination coefficient(R2) | CCα (μg/kg) | CCβ (μg/kg) | ME
Muscle | ERY | y = 0.14x − 0.0039 | 0.9994 | 105.21 | 110.42 | 0.6
Muscle | CLA | y = 0.2105x − 0.008 | 0.9998 | 2.23 | 2.39 | 0.7
Muscle | N-d-ERY | y = 0.041x − 0.0033 | 0.9996 | 2.34 | 2.58 | 0.5
Liver | ERY | y = 0.1094x + 0.0316 | 0.9991 | 103.52 | 107.04 | 0.5
Liver | CLA | y = 0.1995x + 0.0104 | 0.9987 | 2.19 | 2.32 | 0.7
Liver | N-d-ERY | y = 0.04x + 0.0047 | 0.9997 | 2.36 | 2.61 | 0.5
Kidney | ERY | y = 0.1195x − 0.0162 | 0.9997 | 101.68 | 103.36 | 0.5
Kidney | CLA | y = 0.2545x − 0.0418 | 0.9992 | 2.27 | 2.46 | 0.9
Kidney | N-d-ERY | y = 0.0416x − 0.0048 | 0.9999 | 2.42 | 2.72 | 0.5
Whole egg | ERY | y = 0.1559x − 0.0836 | 0.9979 | 52.45 | 54.9 | 0.7
Whole egg | CLA | y = 0.2793x − 0.0114 | 0.9995 | 2.15 | 2.26 | 1
Whole egg | N-d-ERY | y = 0.0499x − 0.0086 | 0.9983 | 2.21 | 2.36 | 0.6
Albumen | ERY | y = 0.1528x − 0.0619 | 0.9988 | 53.26 | 56.52 | 0.7
Albumen | CLA | y = 0.2327x − 0.044 | 0.9996 | 2.2 | 2.34 | 0.9
Albumen | N-d-ERY | y = 0.0508x + 0.0045 | 0.9961 | 2.25 | 2.43 | 0.7
Yolk | ERY | y = 0.1265x + 0.0192 | 0.9994 | 54.62 | 59.24 | 0.6
Yolk | CLA | y = 0.2596x −0.0302 | 0.9978 | 2.17 | 2.29 | 0.9
Yolk | N-d-ERY | y = 0.0395x + 0.0153 | 0.9995 | 2.18 | 2.31 | 0.6

## Table 4
Matrix | Analyte | Added level(μg/kg) | Recovery(%)(n = 5) | RSD(%)(n = 5) | Intraday RSD(%)(n = 5) | Interday RSD(%)(n = 15)
Muscle | ERY | 2 | 90.20 ± 2.80 | 3.1 | 2.68 | 2.89
Muscle | ERY | 20 | 99.60 ± 4.17 | 4.19 | 5.11 | 5.09
Muscle | ERY | 200 | 97.11 ± 4.44 | 4.57 | 3.14 | 4.28
Muscle | CLA | 2 | 91.40 ± 3.81 | 4.17 | 4.25 | 4.36
Muscle | CLA | 20 | 94.20 ± 3.92 | 4.16 | 2.81 | 3.65
Muscle | CLA | 200 | 100.97 ± 4.16 | 4.12 | 5.55 | 4.97
Muscle | N-d-ERY | 2 | 92.57 ± 4.91 | 5.3 | 3.13 | 3.83
Muscle | N-d-ERY | 20 | 92.83 ± 2.87 | 3.09 | 3.15 | 3.51
Muscle | N-d-ERY | 200 | 95.55 ± 2.97 | 3.11 | 2.36 | 3.38
Liver | ERY | 2 | 93.57 ± 2.77 | 2.96 | 2.83 | 2.88
Liver | ERY | 20 | 97.25 ± 6.23 | 6.41 | 6.52 | 6.48
Liver | ERY | 200 | 94.68 ± 3.17 | 3.35 | 4.08 | 3.91
Liver | CLA | 2 | 94.08 ± 2.35 | 2.5 | 3.94 | 2.91
Liver | CLA | 20 | 95.30 ± 5.57 | 5.84 | 6.69 | 5.86
Liver | CLA | 200 | 100.67 ± 2.83 | 2.81 | 3.16 | 3.6
Liver | N-d-ERY | 2 | 92.97 ± 3.06 | 3.29 | 3.96 | 3.71
Liver | N-d-ERY | 20 | 95.12 ± 4.69 | 4.93 | 4.78 | 5.42
Liver | N-d-ERY | 200 | 91.47 ± 2.97 | 3.25 | 3.74 | 3.61
Kidney | ERY | 2 | 90.35 ± 3.65 | 4.04 | 3.82 | 4.21
Kidney | ERY | 20 | 89.60 ± 2.48 | 2.77 | 3.24 | 3.58
Kidney | ERY | 200 | 93.77 ± 2.82 | 3.01 | 2.25 | 3.27
Kidney | CLA | 2 | 92.18 ± 3.28 | 3.56 | 4.36 | 4.59
Kidney | CLA | 20 | 94.25 ± 3.05 | 3.24 | 3.97 | 3.77
Kidney | CLA | 200 | 94.03 ± 2.96 | 3.15 | 3.53 | 3.38
Kidney | N-d-ERY | 2 | 89.40 ± 2.51 | 2.81 | 3.69 | 3.78
Kidney | N-d-ERY | 20 | 90.95 ± 3.28 | 3.61 | 4.29 | 4.53
Kidney | N-d-ERY | 200 | 89.72 ± 2.87 | 3.2 | 4.48 | 3.83

## Table 5
Matrix | Analyte | Added level(μg/kg) | Recovery(%)(n = 5) | RSD(%)(n = 5) | Intraday RSD(%)(n = 5) | Interday RSD(%)(n = 15)
Whole egg | ERY | 2 | 91.75 ± 3.48 | 3.79 | 4.6 | 4.02
Whole egg | ERY | 20 | 93.75 ± 2.66 | 2.84 | 4.07 | 6.02
Whole egg | ERY | 200 | 104.22 ± 4.00 | 3.84 | 4.18 | 5.89
Whole egg | CLA | 2 | 92.07 ± 2.92 | 3.17 | 2.24 | 3.64
Whole egg | CLA | 20 | 96.68 ± 3.52 | 3.64 | 4.89 | 5.54
Whole egg | CLA | 200 | 99.32 ± 3.52 | 3.54 | 4.64 | 4.11
Whole egg | N-d-ERY | 2 | 93.52 ± 3.39 | 3.62 | 2.66 | 4.2
Whole egg | N-d-ERY | 20 | 101.35 ± 3.83 | 3.78 | 5.01 | 4.89
Whole egg | N-d-ERY | 200 | 96.52 ± 3.57 | 3.7 | 4.89 | 5.47
Albumen | ERY | 2 | 92.77 ± 4.80 | 5.17 | 3.56 | 4.17
Albumen | ERY | 20 | 87.88 ± 4.06 | 4.62 | 3.49 | 5.2
Albumen | ERY | 200 | 95.40 ± 4.98 | 5.22 | 5.34 | 5.48
Albumen | CLA | 2 | 92.97 ± 5.59 | 6.01 | 4.65 | 5.24
Albumen | CLA | 20 | 88.23 ± 3.72 | 4.21 | 5.35 | 4.04
Albumen | CLA | 200 | 96.98 ± 5.86 | 6.04 | 6.16 | 6.79
Albumen | N-d-ERY | 2 | 90.62 ± 5.06 | 5.58 | 4.69 | 4.97
Albumen | N-d-ERY | 20 | 91.28 ± 3.21 | 3.52 | 3.74 | 4.25
Albumen | N-d-ERY | 200 | 96.05 ± 6.56 | 6.83 | 6.9 | 7.1
Yolk | ERY | 2 | 90.07 ± 3.21 | 3.56 | 4.17 | 3.8
Yolk | ERY | 20 | 90.83 ± 4.16 | 4.58 | 5.09 | 5.79
Yolk | ERY | 200 | 99.05 ± 6.54 | 6.6 | 5.7 | 6.21
Yolk | CLA | 2 | 94.18 ± 3.06 | 3.25 | 4.02 | 4.18
Yolk | CLA | 20 | 102.70 ± 3.39 | 3.3 | 4.87 | 6.41
Yolk | CLA | 200 | 92.50 ± 3.86 | 4.17 | 3.03 | 3.16
Yolk | N-d-ERY | 2 | 87.78 ± 3.93 | 4.48 | 4.45 | 4.75
Yolk | N-d-ERY | 20 | 89.87 ± 4.30 | 4.78 | 4.52 | 5.91
Yolk | N-d-ERY | 200 | 91.48 ± 3.79 | 4.14 | 5.32 | 4.42

## Table 6
Detection method | Sample preparation method | Animal-derived food | Analyte | Recovery(%) | LOD(μg/kg) | LOQ(μg/kg) | Detection time(min) | Ref.
HPLC–MS/MS | QuEChERS-DLLME | Fish | ERY | 103–110 | 0.1 | 1 | 7 | Campanharo et al. (2023)
HPLC-DAD | MIM-SPE | Milk | ERY | 86.1 | 0.22 | 0.75 | 30 | Cañadas et al. (2022)
Electrochemical sensor | − | Honey | ERY | 96.4–104.2 | 2.01 nM | − | − | Lai et al. (2023)
Electrochemical sensor | LLE | Pork and eggs | ERY | 95.4–103.0 | 2.7 nM | − | − | Li et al. (2022)
TLC densitometric | LLE | Chicken tissues | ERY | 96.9–103.4 | 0.16 μg/band | 0.48μg/band | 15 | Sharkawi et al. (2023)
UHPLC–MS/MS | QuEChERS | Chicken tissues and eggs | ERY, CLA and N-d-ERY | 87.8–104.2 | 0.5 | 2.0 | 5 | This study

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Developed Method | QuEChERS-UHPLC–MS/MS | Relevant as it describes the method used for detecting antibiotic residues.
Best Cartridge | Cleanert MAS-Q cartridge | Relevant as it was identified as the best adsorbent in the developed QuEChERS method.
Targets Identified | ERY, CLA, N-d-ERY | Relevant as the method is specifically designed to detect these macrolide antibiotics in chicken tissues and eggs.
Average Recoveries | 87.78–104.22% | Relevant for understanding the accuracy of the developed method.
Precision (RSDs) | < 7.10% | Relevant as it reflects the precision of the detection protocol.
Detection Limits | LOD: 0.5 μg/kg, LOQ: 2.0 μg/kg | Relevant to assess the method's sensitivity.
Stability of Standards | Stable for 3 months at -70°C (stock solutions) | Relevant for confirming the reliability of the standards during prolonged storage.
MRLs Compliance | 100 μg/kg in chicken tissues, 50 μg/kg in eggs (China) | Relevant as it establishes thresholds for evaluating detected residues.
Matrix Effects | Suppression effect for chicken tissue samples | Relevant to explain challenges and adjustments for accurate detections.
Animal Welfare | Ethical approval from Yangzhou University | Relevant for demonstrating compliance in animal sample collection.
Antibiotic Risk | Chronic and acute health problems for consumers | Relevant for emphasizing the motivation behind developing a detection method.
Detection Time | 5 minutes | Relevant as it highlights the efficiency of the detection process.
Sample Processing Time | Approximately 20 minutes | Relevant for practitioners seeking time-effective methodologies.
Validation Standards | EU 2021/808, FDA 2018, Commission Decision 2002/657/EC | Relevant for confirming the method meets regulatory and scientific validation requirements.
Real Sample Results | 12.5 µg/kg ERY in one egg sample | Relevant to demonstrate the applicability of the method in practical settings.
Mobile Phase | 0.1% formic acid in water-ACN | Relevant for understanding the optimized analytical conditions for UHPLC-MS/MS.
Comparison to Other Methods | Shorter processing and detection time, higher sensitivity | Relevant for positioning the developed method against existing alternatives.
Experiment | Thirty 35-day-old Shaobo chickens (equal proportion of males and females) | Relevant as it specifies the sample size and type used for the study population, crucial for PK analysis in the context of animal research.
Chicken housing method | Single cages with free access to water and complete feed without antibiotics | Relevant to ensure controlled conditions minimizing variables that could affect PK outcomes.
Feed composition testing | Complete feed given in the morning and evening for three weeks | Relevant as consistency in feeding establishes a baseline for tissue sampling and any potential PK alterations linked to diet.
Euthanasia method | chickens euthanized via cervical dislocation without anesthesia | Relevant as it affects postmortem sample quality and timing of tissue extraction for PK analysis.
Sample type | chicken tissues (muscle, liver, kidney) & eggs (whole egg, yolk, albumen) | Relevant because specific tissues aid in determining PK distribution points.
Sampling preparation | Blank chicken muscle, liver & kidney along egg-derived components stored at -20 ° Celcius analyses stability!
N/A | N/A | The paper does not describe a pharmacokinetic model such as 1-compartment, 2-compartment, physiologically based, or IVIVE. It focuses on an analytical method for detecting antibiotic residues in chicken tissues and eggs using QuEChERS-UHPLC-MS/MS without modeling pharmacokinetics or in vitro to in vivo extrapolation.
--- | --- | ---
QuEChERS method adsorbent | Cleanert MAS-Q cartridge | Used in the QuEChERS protocol for efficient sample preparation, improving recovery and precision.
Average recoveries | 87.78–104.22% | Indicates the accuracy of the method for detecting the target compounds in real samples.
Intraday RSDs | <7.10% | Demonstrates the repeatability of the method for short-term sample processing.
Interday RSDs | <7.10% | Shows the reproducibility of the method across multiple days.
Decision limits (CCα) for chicken tissues | 2.15–105.21 μg/kg | Determined from spiked chicken tissue samples; reflects the point where the target analyte can be distinguished from background noise in context to EU regulations.
Detection capabilities (CCβ) for chicken tissues | 2.26–110.42 μg/kg | Also derived from spiked chicken tissue samples; represents the concentration reliably detected to meet regulatory limits.
Limits of Detection (LOD) | 0.5 μg/kg | Calculated based on a signal-to-noise ratio of 3 using spiked samples in different matrices.
Limits of Quantification (LOQ) | 2.0 μg/kg | Calculated based on a signal-to-noise ratio of 10 to ensure quantifiable levels in the matrices.
Mobile phase composition | 0.1% formic acid in water-ACN | Optimized to ensure strong ionization and accurate separation in UHPLC-MS/MS.
Column type | Waters ACQUITY UPLC BEH C18 (50 mm × 2.1 mm, 1.7 μm) | Chosen to accomplish optimal separation of ERY, CLA, and N-d-ERY during chromatographic steps.
Sample extractant | Acetonitrile-water (80:20, v/v) | Selected for its high efficiency in extracting the target compounds from chicken and egg matrices.
Processing time (QuEChERS sample preparation) | ~20 minutes per sample | Highlights efficiency improvement compared to other extraction methods for high-throughput analysis.
Detection time | 5 minutes per sample | Indicates a rapid analytical process supporting the method's suitability for routine testing.
Matrix effects range (ME) | 0.8–1.2 for CLA (in some matrices); suppression observed for ERY and N-d-ERY | ME was measured by comparing slopes of matrix-matched vs. standard calibration curves to assess accuracy in complex matrices.
Linearity range | 0.2–30 ng/mL | Evaluated with matrix-matched calibration curves; indicates method responsiveness across relevant concentrations.
Stability of standard stock solution | -70°C for 3 months | Determined by testing on different days, ensuring long-term reliability.
Number of spiked concentrations for validation | Six spiked concentrations (0.2, 2, 5, 10, 20, and 30 ng/mL) | Used to evaluate linearity and ME for accuracy across different analyte levels.
Number of replicates for recovery testing | Five (n=5) | Conducted for statistical reliability during recovery assessments.
Temperature for sample storage (homogenized samples) | -20°C | Ensures consistency and minimizes degradation before analysis.
Chromatographic gradient program | Adjusted for retention/separation | Optimization ensures reproducible results tailored to specific analyte properties.
Analyzing spiked samples per Commission Implementing Regulation (EU) 2021/808 | At LOQ and above MRLs | Ensures regulatory compliance for method validation steps in food safety.
Analyzed real samples | 20 chicken muscles, 20 eggs | Demonstrates the applicability of the method to real-world scenarios for method validation.
Homogenized chicken tissue and egg samples | Composition affects extraction efficiency | Relevant because extraction efficiency influences purity and recovery, indirectly affecting the pharmacokinetics study of the analytes.
Matrix effect (ME) | Impacts ionization efficiency of analytes | Relevant as the matrix effect can alter accurate quantification, which is critical for pharmacokinetics parameters.
Cleanert MAS-Q cartridge in QuEChERS method | Adsorbs matrix impurities | Relevant since reduction of impurities improves analytical accuracy, influencing pharmacokinetics assessments.
Formic acid in mobile phase | Enhances ionization efficiency | Relevant for better MS detection crucial for pharmacokinetic profiling.
Volume of ACN-Water (80:20, v/v) | Affects recovery and detection | Directly impacts the accuracy in quantifying pharmacokinetic parameters.
Matrix suppression effects | Observed for ERY and N-d-ERY | Relevant as suppression might influence apparent concentration results used in pharmacokinetics analysis.
Standard solution storage conditions | Stability evaluated | Relevant because unstable standards would affect the pharmacokinetic reliability of analyte quantification.