## Table 1
Anatomical region_Unnamed: 0_level_1 | Tissue Parameters_Ktrans [1/min] | Tissue Parameters_Vp [%] | Tissue Parameters_Ve [%] | Tissue Parameters_T1 [ms] | Tissue Parameters_BAT [sec] | Tissue Parameters_PD [a.u.]
a Healthy subjects
Cervix | 0.21±0.07 | 2±1 | 59±3 | 1596±293 | 55±5 | 0.1±0.03
CV [%] | 35.7 | 51.4 | 5.3 | 18.3 | 11.8 | 30.6
Uterine myometrium | 0.28±0.06 | 4±3 | 56±5 | 1624±159 | 55±5 | 0.11±0.02
CV [%] | 23.1 | 88.4 | 8.9 | 9.8 | 8.1 | 23.5
b Tumor patient | b Tumor patient | b Tumor patient | b Tumor patient | b Tumor patient | b Tumor patient | b Tumor patient
Uterine myometrium | 0.25±0.03 | 8±5 | 6±1 | 1706±219 | 50±25 | 1.43±0.27
CV [%] | 14.4 | 60.2 | 1.9 | 12.8 | 46.8 | 18.5
Tumor | 0.18±0.02 | 4±2 | 58±3 | 1560±21 | 50±20 | 1.9±0.1
CV [%] | 11.9 | 46.7 | 4.5 | 1.4 | 37.8 | 5.5

## Table 2
Reference | No. of subjects | Field (T) | Contrast Agent | Model | AIF | Ktrans | Vp [%] | Ve [%]
This study | 10 (healthy) | 3 | Magnevist | Extended Tofts | Parker | 0.21±0.07 (healthy) | 2±1 (healthy) | 59±3 (healthy)
| 1 (tumor) |  |  |  |  | 0.18±0.02 (tumor) | 4±2 (tumor) | 58±3 (tumor)
a Kallehauge et al., 2013 [37] | 16 | 3 | Dotarem | Extended Tofts | Various | 0.46±0.29 | 6±5 | 54±14
b Liu et al., 2020, [38] | 48 | 3 | Omniscan | Extended Tofts | Image-derived | 1.24±0.34 | 64±21 | 14±9
Andersen et al., 2011, [39] | 78 | 1.5 | Magnevist | Tofts | Population based | 0.18±0.06 | –––– | 42±16
Donaldson et al., 2010, [32] | 30 | 1.5 | Magnevist | Extended Tofts | Image-derived | 0.35±0.26 | 4±3 | 34±17
Yang et al., 2010, [40] | 39 | 1.5 | Omniscan | Extended Tofts | Parker | 0.18±0.05 | 2±1 | 36±11
c Feng et al., 2020, [41] | 38 | 1.5 | Gado-diamide | Extended Tofts | Image-derived | 0.71±0.32 | 73±15 | 24±21

## Freetext Data
Data | Value | Relevance
Study Objective | DCE-Qnet was developed to provide comprehensive DCE-MRI quantification without requiring separate T1 acquisition or bolus arrival time (BAT) processing. | This addresses the challenge of simplifying DCE-MRI analysis for more robust and clinically applicable pharmacokinetic modeling.
Neural Network Design | A 7-dimensional neural network with a 60-node input layer, five 300-node hidden layers, and a 5-node output layer. | This specifies the architecture of DCE-Qnet, which underpins its ability to estimate multiple parameters simultaneously.
Training Data | 100,000 tissue parameter sets generated using latin-hypercube (LH) sampling. | Demonstrates how the training dataset was constructed for the DNN, ensuring broad coverage of physiological parameter ranges.
Accuracy Comparison | DCE-Qnet outperformed nonlinear least-squares (NLSQ) fitting in estimating parameters, with correlations ≥ 0.85 for all parameters. | Highlights the improved accuracy and reliability of the proposed method compared to conventional approaches.
T1 Estimation Innovation | T1 was estimated using only dynamic contrast enhancement data, eliminating the need for a separate T1 acquisition. | This innovation simplifies the DCE-MRI process and mitigates errors from misregistration.
Clinical Application | In vivo testing included 10 healthy subjects and 1 cervical cancer patient, with maps generated for Ktrans, vp, ve, T1, and BAT. | Demonstrates clinical feasibility and the relevance for assessing both healthy and pathological tissues.
Time Efficiency | DCE-Qnet reduces scan time by approximately 10 minutes per acquisition. | Emphasizes the clinical utility by making the process faster and more patient-friendly.
Reproducibility Results | The coefficient of variation (CV) for tumor parameters ranged from 1–47%. | Addresses consistency and reliability, which are crucial for clinical adoption.
Noise Robustness | Injecting noise during training improved robustness to signal variations, but higher noise resulted in larger absolute errors. | Shows how the training methodology balances accuracy and robustness, which is relevant for real-world noisy data.
Comparison to Literature | Tumor parameter values (Ktrans, vp, ve) agreed with previous studies despite differences in methodology. | Validates the method against existing standards and enhances its credibility.
Clinical Device and Acquisition | Acquisitions were performed on a 3T scanner with a specific DCE-MRI protocol using a stack-of-stars k-space technique. | Relevant for replication and understanding the hardware implications of DCE-Qnet.
Parameter Variability | The CV in healthy cervix tissues ranged between 5–51%, while for myometrium it ranged between 8–88%. | Indicates variability in parameter estimation, which is important for interpreting results across populations.
Ethical Approval | IRB informed consent was obtained for all human participants in the study. | Ensures ethical compliance, laying the groundwork for future clinical application.
Extended Tofts Model | DCE-Qnet utilized the Extended Tofts model with Parker AIF for pharmacokinetic modeling. | Relevant as the choice of modeling framework directly impacts the parameter estimation accuracy.
Study population size | 10 healthy subjects and 1 cervical cancer patient | Describes the number of participants involved in the study, helping to evaluate the study’s statistical power and relevance to the patient population.
Age range of healthy subjects | 24–40 years (mean age 29±4.9 years) | Provides demographic information about the healthy subject group, which is relevant for generalizing the findings to this age range.
Patient age | 41 years | Indicates the age of the cervical cancer patient, relevant for understanding patient population characteristics for clinical utility.
Timing of test-retest | Scans were conducted 24 hours apart | Details how reproducibility and test-retest reliability of the parameter maps were evaluated.
Bolus injection protocol | 0.1 mmol/kg Gadavist followed by 20 ml saline flush at 3 ml/s | Describes the method of contrast agent administration, which is crucial for pharmacokinetic modeling and dynamics of tissue uptake.
Acquisition timing for DCE-MRI | 6.3 minutes | Provides the duration of the imaging acquisition, crucial for understanding the time points when the sampling occurred.
Scan temporal resolution | 5 seconds per frame | Indicates the frequency of data acquisition during the scan, relevant to the timing of tissue sampling in the pharmacokinetic analysis.
Segmentation for analysis | ROIs segmented in the cervix, uterine myometrium, and cervical tumor | Describes how and where tissue sampling was performed, which directly impacts the PK study design.
In vivo mapping performed | Ktrans, vp, ve, T1, PD, BAT | Lists the pharmacokinetic and biophysical parameters analyzed, demonstrating the scope of the study and its relevance to PK modeling.
T1 and B1 acquisition approach | Separate T1 or B1 scan removed | Changes to conventional PK study design affecting sampling and modeling process for DCE-MRI data.
Model | Extended Tofts model | The Extended Tofts model was used as the pharmacokinetic model in this study to interpret the DCE-MRI data, which is essential for understanding quantitative perfusion parameters.
AIF | Parker arterial input function | The Parker AIF was employed in conjunction with the Extended Tofts model to simulate DCE-MRI signals, ensuring consistency and reproducibility across evaluations.
Ktrans | Range: [0, 0.5] 1/min | Relevant because Ktrans is one of the perfusion parameters estimated by DCE-Qnet. It is modeled as part of the Extended Tofts model to quantify perfusion in DCE-MRI.
vp | Range: [0, 70]% | This is the plasma volume fraction estimated by DCE-Qnet and crucial for modeling blood flow and vascular volume in tissues.
ve | Range: [0, 80]% | ve is the extracellular extravascular space volume fraction, significant for analyzing tumor heterogeneity and perfusion characteristics.
T1 | Range: [0, 3000]ms in training; estimated from cervix values as 1596±293 ms, myometrium as 1624±159 ms | Relevant because T1 relaxation time is a fundamental tissue property estimated directly by DCE-Qnet, with implications for many MR-related quantifications.
BAT | Range: [25, 175] seconds (training set) | BAT is the bolus arrival time, critical in DCE-MRI quantification, and provides insights into tissue-specific drug delivery patterns.
PD | Calculated from signal intensities in each voxel using synthesized and measured data | Proton density is estimated as a scaling factor of synthesized signals, providing foundational information for tissue characterization.
Cervix Ktrans CV | Range: 5–51% | Relevant as it shows the variability in perfusion parameter estimates across subjects and is used to evaluate robustness and accuracy.
Tumor Ktrans CV | Range: 1–47% during test-retest | Demonstrates how reproducible the DCE-Qnet approach is when applied to cancer patient scans, a test of clinical applicability.
Cervix vp CV | Varied for corresponding region in study, not explicitly provided individual value | Relevant because vp variability impacts the interpretation of vascular volume heterogeneity in the studied regions.
Tumor vp CV | Exhibited higher test-retest variation | This reveals the limitation of vp reproducibility in regions like tumors, essential for treatment planning.
Data Source | Digital phantom, 10 healthy subjects, cervical cancer patient | Relevant as it contextualizes where data (parameters) originated and their computational or biological test origins.
T1 sensitivity | Dependent on tracer uptake | Relevant as it highlights how tracer uptake affects the estimation of T1 values, influencing pharmacokinetics.
Bolus arrival time (BAT) | Operator-dependent and affected by injection time | Relevant because variability in BAT can influence pharmacokinetics estimates.
Subject-specific variables | T1, arterial input function (AIF), bolus arrival time (BAT), blood hematocrit | Relevant as these factors are directly tied to the accuracy of pharmacokinetics modeling.
Patient-specific AIF | Not universally available; population-based AIF used in this study | Relevant as variability in patient AIFs is a factor in pharmacokinetics quantification.
B1 inhomogeneity | Affects T1 accuracy and hence concentration-time curves | Relevant because B1 field inhomogeneities introduce errors in quantifying pharmacokinetics.
Heterogeneity of cervical tumors | Wide range of Ktrans, vp, ve values reported | Relevant as tumor heterogeneity influences pharmacokinetics estimation and interpretation.
Contrast agent relaxivity and T1 reduction | Relates to concentration-time curves | Relevant because T1 reduction directly impacts pharmacokinetics calculations.
Scan/acquisition parameters | Need for protocol-specific network training | Relevant since scan protocol differences can change pharmacokinetic assessment.
Bladder filling and subject positioning | Affects organ deformation and parameter reproducibility | Relevant because these physical factors impact pharmacokinetics reproducibility.
Training noise in neural network | Influences sensitivity to small parameter variations | Relevant as training noise optimizations improve pharmacokinetics estimation accuracy.
Menstrual cycle and age | Affects MRI characteristics of uterine tissue | Relevant as physiological factors influence pharmacokinetics in cervix and uterus tissues.