## Table 1
0 | 1
Subject | Pharmaceutical Sciences
Specific subject area | Evaluation of skin integrity for in vitro permeation tests
Type of data | Figs., Text File.Raw, Analysed.
Data collection | Electrical resistance measurement (Agilent 4263B LCR Meter, Microlease, I), Franz's diffusion cells (PermeGear, US)
Data source location | University of Milan, Milan, Italy
Data accessibility | Repository name: Electrical resistance and permeation fluxes through pig ear skinData identification number: 10.17632/kjxjk4×88s.2 Direct URL to data: https://data.mendeley.com/datasets/kjxjk4×88s/2
Related data article | [1] U.M. Musazzi, A. Casiraghi, S. Franzé, F. Cilurzo, P. Minghetti. Data on the determination of human epidermis integrity in skin permeation experiments by electrical resistance. Data Brief, 2018, 26;21:1258-1262.
Related research article | [2] P. Volontè, U.M. Musazzi, L. Arnaboldi, M.A. Ortenzi, A. Casiraghi, F. Cilurzo, P. Minghetti. Equivalence assessment of creams with quali-quantitative differences in light of the EMA and FDA regulatory framework. European Journal of Pharmaceutical Sciences, 2024, 195, 106726, doi:10.1016/j.ejps.2024.106726

## Freetext Data
Data | Value | Relevance
Electrical resistance cut-off value | 10 kΩcm2 | Relevant as it establishes a clear standard for assessing pig-ear skin integrity in IVPT experiments.
Model compounds used in IVPT | Caffeine (0.1%), Benzoic Acid (0.3%) | Relevant for correlating permeation flux with electrical resistance in pig-ear skin studies.
Permeation flux range for benzoic acid | Maximal value: 72.56 µg/cm2h | Demonstrates alignment with previous human epidermis data for validating pig-ear skin models.
Permeation flux range for caffeine | Maximal value: 1.45 µg/cm2h | Supports the validity of using pig-ear skin for less permeable compounds like caffeine.
Method for electrical resistance measurement | Voltage: 100 mV; Frequency: 100 Hz | Critical for standardizing membrane integrity assessment conditions.
Skin membrane thickness | 0.630 mm - 0.770 mm | Relevant to ensure uniformity and comparability in skin model experiments.
Membrane preparation source | Local slaughterhouse, dermatomized pig ear skin | Highlights the protocol followed for obtaining and preparing skin models, key for reproducibility.
Impact of low electrical resistance samples | Discard samples with lower than 10 kΩcm2 | Establishes quality control for ensuring reliable IVPT performance.
Temperature condition during permeability study | 32 ± 1°C | Ensures experimental consistency across studies using pig-ear skin models.
Inter-laboratory variability factors | Animal source, membrane thickness, methodological setup | Relevant for addressing challenges in IVPT reproducibility among different labs.
Skin integrity method used | Correlation between electrical resistance and J-value | Vital for validating skin sample integrity in IVPT protocols.
Sample Size | 26 pig-ear skin donors per permeant | Relevant as the study design involves testing permeability on a sample size of 26 for each permeant to gather statistically significant data.
Permeant Details | 0.1% caffeine and 0.3% benzoic acid solutions | Relevant because these specific concentrations were used to measure permeation flux and link findings to electrical resistance values.
Sample Time Points | 1, 3, 5, 7, and 24 hours | Relevant because these time points were utilized to monitor drug permeation, allowing analysis of the temporal flux pattern.
Sampling Method | 200 µL samples withdrawn and replaced at each time point | Relevant as it describes the exact methodology for obtaining receptor compartment samples to measure permeation.
Skin Preparation | Skin thickness between 0.630 and 0.770 mm | Relevant because standardized thickness was used to ensure consistent experimental conditions across samples.
Experimental Temperature | Membrane surface temperature kept at 32 ± 1°C | Relevant because maintaining the temperature is critical for replicating physiological conditions in the study design.
Membrane Type | Pig ear skin specimens dermatomized and stored frozen at -20°C | Relevant as the chosen animal model impacts the study design and findings regarding permeability and electrical resistance.
Franz's diffusion cell method | In vitro permeation study (IVPT) | The experimental model used is the Franz's diffusion cell, which is critical for assessing the biopharmaceutical performance of topically applied products in IVPT, highlighting its role as the chosen model in this paper.
Porcine ear skin | Model skin membrane | The paper describes the use of pig-ear skin as the membrane model for the permeation experiments, which contrasts with human epidermis, supporting methodological equivalence to validate a specific IVPT system.
Electrical resistance measurement | 10 kΩcm2 cut-off value | The use of electrical resistance as a parameter in Franz's diffusion cell setup represents a methodological feature directly relevant to evaluating the integrity of the pig-ear skin as the chosen model membrane.
Membrane thickness control | 0.630–0.770 mm | This operational criterion ensures consistent membrane characteristics for the Franz’s diffusion cell model, directly impacting the reliability of results within the model system.
Flux measurement parameters | Cumulative amount permeated per unit area vs. time | Flux determination is integral to the Franz's diffusion cell model for IVPT, ensuring quantitative validation of the system's performance for permeability studies.
Voltage | 100 mV | Relevant as the electrical resistance measurements were conducted at this voltage to assess the integrity of the pig-ear skin membranes.
Frequency | 100 Hz | Relevant for electrical resistance measurements as it is a standard operational condition for this study setup.
Electrical Resistance | 10 kΩcm2 cut-off | Relevant as this value was estimated as the threshold for discarding specimens with lower electrical resistance during IVPT experiments.
Membrane Thickness Range | 0.630–0.770 mm | Relevant as it represents the standardized thickness of pig-ear skin used for IVPT and helps ensure consistency in permeability assessment.
Skin Temperature | 32 ± 1°C | Relevant as maintaining a stable temperature mimics physiological conditions of human skin during IVPT experiments.
Pig-Ear Skin Specimens | Frozen and thawed, stored at -20°C within 6 months | Relevant as the condition of storage and use of pig-ear skin defines the structural consistency and its suitability for permeation experiments.
Permeation Area | 0.636 cm2 | Relevant for precision in estimating drug permeation across the pig-ear skin using Franz's diffusion cells.
Receptor Volume | ≈3 mL | Relevant as receptor compartment size in Franz's diffusion cells impacts sink conditions and the permeability assessment.
Voltage Applied During Electrical Resistance Measurement | Agilent 4263B LCR Meter | Relevant as it details the instrument utilized to gather accurate electrical resistance values.
Permeation Flux of Benzoic Acid | 72.56 µg/cm2h (Maximal acceptance range) | Relevant for confirming electrical resistance of pig-ear skin aligns with permeability characteristics obtained through human epidermis.
Permeation Flux of Caffeine | 1.45 µg/cm2h (Maximal acceptance range) | Relevant for validating skin integrity in relation to permeability of poorly permeable compounds compared to human epidermis.
HPLC Injection Volume | 20 µL | Relevant for accuracy in measuring drug concentrations during permeability studies.
Benzoic Acid Analysis Temperature | 25°C | Relevant as it ensures consistency during HPLC analysis and contributes to result reliability.
Caffeine Analysis UV Wavelength | 272 nm | Relevant for accurate drug detection during HPLC analysis for permeability flux measurements.
Benzoic Acid Analysis UV Wavelength | 235 nm | Relevant for detecting the model compound during HPLC analysis in permeation flux estimation.
Calibration Range for Benzoic Acid | 0.1–500 µg/mL | Relevant for ensuring quantification accuracy during permeability flux calculations of benzoic acid.
Calibration Range for Caffeine | 0.01–100 µg/mL | Relevant for producing reliable permeability flux estimates of caffeine during permeability studies.
Control of membrane integrity | Electrical resistance measurement as a cut-off value for skin specimen selection | Influences the accuracy and reliability of permeability data, demonstrating its significance for pharmacokinetic studies.
Skin thickness | Between 0.630 and 0.770 mm | Directly affects the permeation rates, impacting pharmacokinetic assessments.
Temperature | Kept at 32 ± 1°C during experiments | Ensures consistent skin behavior, influencing drug release and absorption.
Frequency and voltage | 100 Hz and 100 mV used for resistance measurement | Affects the precision in assessing skin integrity critical for pharmacokinetics.
Model permeants | 0.1% caffeine and 0.3% benzoic acid | Choice of permeants influences absorption characteristics and comparative pharmacokinetic profiling.
Receptor phase | Saline solution, sink condition maintained | Critical for maintaining steady-state diffusion necessary for pharmacokinetic evaluations.
Membrane model | Pig ear skin as alternative to human epidermis | Provides a comparable and more widely accessible platform for pharmacokinetic testing.
Skin storage | Frozen at -20°C and thawed | Potentially influences skin permeability and pharmacokinetic performance during studies.
Animal source variability | Variations based on donor pigs | May impact consistency and comparability in pharmacokinetic profiles.
HPLC UV settings | 235 nm for benzoic acid; 272 nm for caffeine | Ensures accurate quantification of permeant concentrations critical for pharmacokinetic analysis.