## Table 1
Parameter investigated | Range | Optimum value
Buffer pH | 7 to 10 | 9.3
Buffer concentration (mM) | 5 to 50 mM | 15 mM
Organic modifier | 5 to 20% | 10%
Applied voltage (kV) | 15 to 30 kV | 30 kV
Injection time (seconds) | 30 to 90 seconds | 30 seconds
Pressure (mbar) | 20 to 40 mbar | 40 mbar
Temperature (°C) | 15 to 50 °C | 25 °C

## Table 2
Analyte | Migration time (min) | Number of theoretical plates | Capacity factor (1–10) | Selectivity (>1) | Resolution (>1.5) | Tailing factor (0.9–1.2)
PAR | 7.1 ± 0.756 | 17 203 | 1.03 |  |  | 1.1
|  |  |  | 1.33 | 6
PIP | 8.3 ± 0.551 | 15 876 | 1.37 |  |  | 1.12
|  |  |  | 1.35 | 11.3
IBU | 10 ± 0.451 | 16 796 | 1.85 |  |  | 1.02
|  |  |  | 1.09 | 4
TAZ | 10.6 ± 0.843 | 14 231 | 2.03 |  |  | 1.11

## Table 3
Parameters | PIP | TAZ | IBU
Calibration range (μg mL−1) | 1–200 | 3–200 | 1–200
Slope | 0.0290 | 0.0314 | 0.0270
Intercept | 0.0512 | −0.1198 | 0.02465
Determination coefficient (r 2) | 0.9998 | 0.9994 | 0.9990
LOD (μg mL−1) | 0.3 | 0.7 | 0.3
LOQ (μg mL−1) | 1.0 | 2.3 | 0.9

## Table 4
Drug concentration (μg mL−1)_Drug concentration (μg mL−1) | Intra–day_Recoverya (%) | Intra–day_RSDa (%) | Intra–day_Biasb (%) | Inter–day_Recoverya (%) | Inter–day_RSDa (%) | Inter–day_Biasb (%)
PIP | PIP | PIP | PIP | PIP | PIP | PIP
50 | 95.81 | 3.50 | −4.19 | 103.02 | 6.22 | 3.02
100 | 96.90 | 2.50 | −3.13 | 98.30 | 2.04 | −1.71
150 | 97.78 | 3.14 | −2.32 | 99.09 | 3.81 | −0.91
TAZ | TAZ | TAZ | TAZ | TAZ | TAZ | TAZ
50 | 93.76 | 3.31 | −3.25 | 93.75 | 6.31 | −6.25
100 | 95.54 | 1.10 | −4.46 | 96.55 | 2.65 | −3.45
150 | 99.47 | 1.20 | −0.53 | 99.24 | 2.01 | −0.76
IBU | IBU | IBU | IBU | IBU | IBU | IBU
50 | 96.01 | 5.28 | −3.99 | 99.16 | 3.25 | −0.84
100 | 94.40 | 2.17 | −5.60 | 94.40 | 2.17 | −5.60
150 | 101.45 | 0.68 | 1.45 | 100.58 | 1.06 | 0.58

## Table 5
Drug concentration (μg mL−1)_Drug concentration (μg mL−1) | Recoverya (%)_Three freeze thaw cyclesb | Recoverya (%)_Bench top stability
PIP | PIP | PIP
50 | 110.57 | 106.10
100 | 87.23 | 116.20
150 | 107.85 | 100.37
Mean ± RSD (%) | 101.88 ± 1.24 | 107.55 ± 8.01
TAZ | TAZ | TAZ
50 | 95.94 | 98.09
100 | 103.81 | 107.05
150 | 111.70 | 99.43
Mean ± RSD (%) | 103.82 ± 7.15 | 101.53 ± 4.83
IBU | IBU | IBU
50 | 94.82 | 97.83
100 | 109.03 | 100.07
150 | 112.12 | 99.76
Mean ± RSD (%) | 105.32 ± 5.27 | 99.22 ± 1.21

## Table 6
Unnamed: 0_level_0_Unnamed: 0_level_1 | PIP_Concentration (μg mL−1) | PIP_Recoverya (%) | TAZ_Concentration (μg mL−1) | TAZ_Recoverya (%) | IBU_Concentration (μg mL−1) | IBU_Recoverya (%)
| 50 | 108.65 | 50 | 90.95 | 50 | 109.91
| 100 | 102.10 | 100 | 105.05 | 100 | 110.19
| 150 | 104.15 | 150 | 103.07 | 150 | 103.46
Mean ± RSD (%) |  | 104.97 ± 3.35 |  | 99.69 ± 7.63 |  | 107.85 ± 3.81

## Table 7
Unnamed: 0 | PIP | PIP.1 | TAZ | TAZ.1 | IBU | IBU.1
Parameters | Group administered with PIP and TAZ | Group administered with PIP,TAZ and IBU | Group administered with TAZ and PIP | Group administered with PIP,TAZ and IBU | Group administered with IBU | Group administered with PIP,TAZ and IBU
T max (h) | 0.5 | 0.75 | 0.5 | 0.75 | 1.5 | 1
T 1/2 (h) | 1.08 | 0.67 | 2.28 | 1.66 | 1.30 | 1.41
C max (μg mL−1) | 117.46 | 132.82 | 18.35 | 28.41 | 59.23 | 84.56
Elimination constant (k) | 0.64 | 1.03 | 0.30 | 0.42 | 0.53 | 0.49
V d,a (mg) (μg−1 mL−1) | 1.55 | 0.61 | 2.17 | 1.32 | 0.45 | 0.36
Cl,b (mg) (μg−1 mL−1) h−1 | 0.99 | 0.64 | 0.66 | 0.55 | 0.24 | 0.18
AUC 0 → t (μg mL−1 h−1) | 199.72 | 313.33 | 55.62 | 70.42 | 202.94 | 277.78
AUC 0 → ∞ (μg mL−1 h−1) | 201.59 | 313.87 | 60.75 | 72.84 | 208.59 | 282.13

## Table 8
ESA tool (PPs) | ESA tool (PPs).1 | GAPI tool | GAPI tool.1 | AGREE tool
Methanol | 6
Acetonitrile | 4 | Details of GAPI tool | Details of GAPI tool | 1- Sample treatment
Distilled water | 0 | Sample preparation | Sample preparation | 2- Sample amount
Energy used (instrument) | 0 | 1-Offline (red) | 2-None (green) | 3- Device positioning
Waste | 1 | 3-None (green) | 4-Storage (yellow) | 4- Sample prep. Stages
Occupational hazards | Total | 5- Simple procedure (yellow) | 6-Micro-extraction (yellow) | 5- Method automation/miniaturization
PPs | 11 | 7- Solvents and reagents (yellow) | 8-None (green) | 6- Derivatization
ESA score | 89 | Reagent and solvents | Reagent and solvents | 7- Waste
|  | 9- Less than 10 mL (green) | 9- Less than 10 mL (green) | 8- Analysis throughput
|  | 10- NFPA = 3, moderate toxicity (yellow) | 10- NFPA = 3, moderate toxicity (yellow) | 9- Energy consumption
|  | 11- NFPA = 3; high flammability (yellow) | 11- NFPA = 3; high flammability (yellow) | 10- Source of reagent
|  | Instrumentation | Instrumentation | 11- Toxicity
|  | 12- ≤ 1.5 kW h per sample (yellow) | 12- ≤ 1.5 kW h per sample (yellow) | 12- Operator's safety
|  | 13- Hermetic sealing of analytical procedure (green) | 13- Hermetic sealing of analytical procedure (green)
|  | 14- 1–10 (green) | 14- 1–10 (green)
|  | 15- Recycling possible (green) | 15- Recycling possible (green)

## Table 9
Method | Analyte | Linearity range | Remarks | Ref.
CE-PDA | PIP, TAZ, and IBU | 1–200 μg mL−1 for both PIP and TAZ, and 3–200 μg mL−1 for IBU | The first method for ternary mixture and applied to pharmacokinetic studies | Proposed study
UHPLC-MS/MS | PIP, TAZ, and IBU | 0.5–500 μg mL−1 for PIP and 0.625–62.5 μgmL−1 for TAZ. | The method was not applied to pharmacokinetic studies | 13
HPLC-UV | PIP and TAZ | 0.5–400 μg mL−1 and 1–100 μgmL−1 for PIP and TAZ, respectively | The method was not applied to pharmacokinetic studies | 1
RP-HPLC | PIP and TAZ | 1.0–200 μg mL−1 for PIP and 0.78–50 μg mL−1 for TAZ | The method was not applied to pharmacokinetic studies | 10
RP-HPLC | PIP and TAZ | 50–100 ppm for both PIP and TAZ | The method was not applied to pharmacokinetic studies | 11
Capillary zone electrophoresis | PIP and TAZ | 20–400 for PIP and 10–100 μg mL−1 for TAZ | The method was not applied to pharmacokinetic studies | 15

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Combination Therapy | PIP, TAZ, and IBU | Demonstrates the study's focus on analyzing pharmacokinetic interactions among these drugs, relevant to clinical co-prescription practices.
Detection Method | Capillary electrophoresis (CE) with a photodiode array detector | Highlights the study's contribution to developing a novel CE method for simultaneous drug analysis, addressing a gap in analytical methodologies.
Instrument Manufacturer | Agilent | Identifies the specific equipment used for the CE method, aiding reproducibility for future research.
Buffer Composition | Methanol/borax solution (15 mM, pH 9.3) in 10:90 v/v ratio | Indicates the optimized conditions critical for successful CE analysis, relevant to method development.
Linearity Range (PIP) | 1–200 μg mL−1 | Key to establishing the validated performance of the CE method for PIP.
Linearity Range (TAZ) | 1–200 μg mL−1 | Defines the method’s efficiency for TAZ quantification, relevant for simultaneous drug analysis.
Linearity Range (IBU) | 3–200 μg mL−1 | Demonstrates method robustness for the NSAID (IBU) analyzed in combination therapy.
Reproducibility | Rinsing capillary (deionized water) between runs; equilibrating capillary with buffer | Ensures reliability and precision of results, critical for extending the method to pharmacokinetic studies.
Cmax Increase (PIP) | 13.7% | Shows pharmacokinetic enhancement when PIP is co-administered with TAZ and IBU, significant for clinical dosing considerations.
Cmax Increase (TAZ) | 55.5% | Highlights significant elevation in drug maximum plasma concentration, relevant to therapeutic efficacy monitoring.
Cmax Increase (IBU) | 44% | Indicates altered pharmacokinetics due to the combination, impacting IBU’s anti-inflammatory effects.
Bioavailability Increase (PIP) | 55.4% | Relevant to understanding enhanced efficiency from concurrent drug administration.
Bioavailability Increase (TAZ) | 19.7% | Provides evidence of pharmacokinetic impact in combination therapy, aiding dosage optimization.
Bioavailability Increase (IBU) | 35.6% | Demonstrates improved IBU availability, relevant for its anti-inflammatory and analgesic roles in therapy.
LOD (PIP) | Not explicitly stated; indicated as achievable at low levels | Reflects the method’s sensitivity towards low drug concentrations, important for therapeutic drug monitoring.
LOD (IBU) | Not explicitly stated; indicated as achievable at low levels | Indicates method application for monitoring IBU pharmacokinetics.
LOD (TAZ) | Not explicitly stated; indicated as achievable at low levels | Suggests relevance for TAZ detection in plasma during concomitant therapy studies.
Validation Tool | FDA guidelines | Shows adherence to robust standards, affirming the method’s credibility for clinical applications.
Pharmacokinetic Analysis | Non-compartmental analysis using PKSolver | Identifies the computational tool employed, ensuring transparency and reproducibility of pharmacokinetic findings.
Greenness Score (ESA) | 89/100 | Verifies eco-friendliness of the proposed method, relevant to sustainable analytical chemistry practices.
Eco-Scale Tool Findings | Low solvent use, rapid analysis time | Indicates environmental sustainability, vital for broader adoption in pharmaceutical studies.
Temperature | 25 °C during operation | Essential parameter for method reproducibility and applicability to future research.
Injection Pressure | 40 mbar | Provides operational details influencing peak resolution in CE analysis.
Pharmacokinetic Study Subject | Wistar albino rats | Specifies the experimental model, important for understanding the study’s preclinical relevance.
Funding Source | Researchers Supporting Project number (RSP2024R215), King Saud University, Saudi Arabia | Indicates a research-supporting entity, relevant for acknowledging contributors and potential bias implications.
Patient sample size | 28 Wistar albino rats divided into 4 groups of 7 rats each | Describes the experimental subjects used for the pharmacokinetic study, aligning with the question about sample size.
Blood sampling time points | 0.25, 0.5, 0.45, 1, 1.5, 2, 3, 5, and 8 hours after drug administration | Demonstrates the time points at which plasma samples were collected, relevant to understanding the PK study's temporal design.
Patient population | Wistar albino rats (250 ± 30 g) housed under 25 °C and 50% relative humidity | Provides information on the animal model and controlled conditions, which contributes to understanding the study's population characteristics.
Treatment group I | Received 160/40 mg kg−1 of PIP/TAZ dissolved in dimethyl sulfoxide-saline (5%, v/v) | A relevant detail of how one experimental group was designed for single drug administration.
Treatment group II | Received 30 mg kg−1 of IBU dissolved in dimethyl sulfoxide–saline (5%, v/v) | Describes the second group's treatment, relevant to single IBU administration.
Treatment group III | Received mixed doses of 160/40 mg kg−1 of PIP/TAZ and 30 mg kg−1 of IBU | Indicates the group designed for studying drug interaction upon co-administration, directly relevant to PK study design.
Control group | Received no treatment (control group IV) | Provides context for the untreated control population, essential for comparative PK analysis.
Blood sample volume | ∼400 μL collected from each rat | Details how much blood was collected for analysis, relevant to study methodology.
Blood sample storage | Plasma samples stored at −20 °C until the analysis | Important for understanding sample handling and how it impacts the PK study's reliability.
Pharmacokinetic Model | Non-compartmental pharmacokinetic analysis (NCA) | The study employed NCA to analyze the pharmacokinetics of PIP, TAZ, and IBU when administered singly and concurrently, assessing their plasma concentrations over time for comparison.
Background Electrolyte Solution | Methanol/borax buffer solution (15 mM and pH 9.3) in a 10:90 v/v ratio | Critical parameter for achieving the separation of analytes, determined from optimal elution tests.
Capillary Dimensions | 58 cm effective length, 75 μm ID | Fused silica capillary dimensions used for separation, empirically chosen for optimal resolution.
Driving Voltage | 30 kV | Voltage used for electrophoresis, optimized for efficient separation with minimal migration time.
Detection Wavelength | 210 nm | Wavelength used for diode array detector, optimized based on highest analyte response.
Elution Time (PIP) | 8.3 ± 0.551 minutes | Specific migration time for piperacillin, estimated from electropherogram validation.
Elution Time (TAZ) | 10.6 ± 0.843 minutes | Specific migration time for tazobactam, estimated from electropherogram validation.
Elution Time (IBU) | 10 ± 0.451 minutes | Specific migration time for ibuprofen, estimated from electropherogram validation.
Injection Pressure | 40 mbar | Pressure used during sample injection to achieve reproducible results, determined empirically.
Injection Time | 30 seconds | Injection duration optimized to balance efficient resolution with peak shape.
Capillary Temperature | 25 °C | Operating temperature used to avoid Joule heating and ensure reproducibility, determined experimentally.
Organic Modifier Concentration | 10% methanol | Methanol percentage in background electrolyte, optimized for peak shape and resolution.
Buffer Concentration | 15 mM | Borate buffer concentration in BGE, optimized for proper separation without overlap.
pH of Buffer | 9.3 | pH of borax buffer chosen for best drug ionization and migration behavior.
LOD (PIP) | 0.82 μg mL−1 | Limit of detection for piperacillin, estimated using signal-to-noise ratio method.
LOD (TAZ) | 0.99 μg mL−1 | Limit of detection for tazobactam, estimated from sensitivity checks.
LOD (IBU) | 0.92 μg mL−1 | Limit of detection for ibuprofen, calculated similarly to other analytes.
LOQ (PIP) | 1.0 μg mL−1 | Limit of quantitation for piperacillin, defined by precision and accuracy thresholds.
LOQ (TAZ) | 3.0 μg mL−1 | Limit of quantitation for tazobactam, determined through linearity studies.
LOQ (IBU) | 1.0 μg mL−1 | Limit of quantitation for ibuprofen, validated using FDA guidelines.
Linearity (Range for PIP) | 1–200 μg mL−1 | Concentration range exhibiting linear responses for piperacillin.
Linearity (Range for TAZ) | 3–200 μg mL−1 | Concentration range for linear detection of tazobactam.
Linearity (Range for IBU) | 1–200 μg mL−1 | Defined range for ibuprofen linear quantification.
Calibration Curve Correlation (PIP) | r2 = 0.9998 | Indicator of calibration accuracy for piperacillin.
Calibration Curve Correlation (TAZ) | r2 = 0.9994 | Indicator of calibration reliability for tazobactam.
Calibration Curve Correlation (IBU) | r2 = 0.9990 | Linear fit determination for ibuprofen, showcasing high analytical accuracy.
Regression Equation (PIP) | P = 0.0290C – 0.0512 | Mathematical relation defining the linear response of piperacillin.
Regression Equation (TAZ) | P = 0.0314C + 0.1198 | Linear regression for tazobactam detection.
Regression Equation (IBU) | P = 0.0270C – 0.02465 | Linear curve for ibuprofen quantitation.
Extraction Recovery (PIP) | 104.96 ± 3.35% | Efficiency of plasma sample preparation, showcasing the method's reliability.
Extraction Recovery (TAZ) | 99.68 ± 7.63% | Validates the analyte recovery efficiency for accurate quantitation.
Extraction Recovery (IBU) | 107.85 ± 3.81% | Quantifies the efficacy of the method for ibuprofen.
Plasma Sample Volume | 400 μL | Amount of rat plasma used in pharmacokinetic sampling.
Blood Sample Collection Time Points | 0.25, 0.5, 0.45, 1, 1.5, 2, 3, 5, and 8 hours | Time intervals for pharmacokinetic sampling, critical for drug profiling.
Time to reach maximum concentrations (Tmax) | Increased by 0.25 h for PIP and TAZ, 0.5 h for IBU when co-administered | Relevant as it shows altered absorption rates due to drug-drug interaction.
Maximum concentration (Cmax) | Increased by 13.7% (PIP), 55.5% (TAZ), and 44% (IBU) when co-administered | Relevant because it demonstrates enhanced systemic exposure due to concurrent administration.
Bioavailability | Increased by 55.4% (PIP), 19.7% (TAZ), and 35.6% (IBU) when co-administered | Relevant as it indicates changes in drug absorption and systemic circulation under combined therapy.
Half-life (t1/2) | Reduced from 1.07 to 0.66 (PIP), 2.06 to 1.66 (TAZ), and 1.20 to 1.09 (IBU) during co-administration | Relevant as it reflects how the drugs' elimination was affected when combined.
Onset concentrations | Increased by 21.7% (PIP), 80% (TAZ), and 14.2% (IBU) in combination therapy | Relevant in showing the faster systemic availability of the drugs when co-prescribed.
Clearance (Cl) | Reduced by 57.1% (PIP), 20% (TAZ), and 33.3% (IBU) when co-administered | Relevant to understanding how combined use affects the excretion and elimination of these drugs.
Volume of distribution (Vd) | Reduced by 145.9% (PIP), 66.2% (TAZ), and 20% (IBU) during co-administration | Relevant as changes in Vd indicate alterations in drug distribution in tissues.