## Table 1
Calibration Curve_Unnamed: 0_level_1_Unnamed: 0_level_2 | Calibration Curve_For Media without Lipids_Solvent (Lower Range) | Calibration Curve_For Media without Lipids_Solvent (Normal Range) | Calibration Curve_For Media with Lipids_0.2% FA (Lower Range) | Calibration Curve_For Media with Lipids_0.2% FA (Normal Range)
concentration range (mg/L) | 0.51–2.56 | 1.76–88.02 | 0.55–13.12 | 6.75–168.75
slope | 10.596 | 10.389 | 2.142 | 2.105
intercept | −0.125 | −1.4118 | −0.140 | −1.150
R2 | 0.9999 | 1.0000 | 0.9995 | 1.0000

## Table 2
Accuracy (%)_Unnamed: 0_level_1_Unnamed: 0_level_2 | Accuracy (%)_SMOFlipid® (Undiluted)_SMOFlipid® (Undiluted) | Accuracy (%)_DMB pH 3_No Lipid | Accuracy (%)_DMB pH 3_+Lipid 8.8 mg/mL | Accuracy (%)_DMB pH 3_+Lipid 35.2 mg/mL | Accuracy (%)_DMB pH 5_No Lipid | Accuracy (%)_DMB pH 5_+Lipid 8.8 mg/mL | Accuracy (%)_DMB pH 5_+Lipid 35.2 mg/mL | Accuracy (%)_DMB pH 7_No Lipid | Accuracy (%)_DMB pH 7_+Lipid 8.8 mg/mL | Accuracy (%)_DMB pH 7_+Lipid 35.2 mg/mL
QCL-1 | 115 | 97.5 | 99 | 103.3 | 96.6 | 109.1 | 105.3 | N.D. | 101.9 | 110
QCL-2 | 107.1 | 96.9 | 97.5 | 101.8 | 95.0 | 102.9 | 104.9 | N.D. | 97.6 | 101.2
QCM | 106.8 | 98.8 | 94.8 | 97.2 | N.D. | 100.3 | 103.4 | N.D. | 96.8 | 102.7
QCH | 105.2 | 100.8 | 101.6 | 99.4 | N.D. | 96.8 | 104.3 | N.D. | 96.4 | 97.7

## Table 3
Precision (% RSD)_Unnamed: 0_level_1_Unnamed: 0_level_2 | Precision (% RSD)_SMOFlipid® (Undiluted)_SMOFlipid® (Undiluted) | Precision (% RSD)_DMB pH 3_No Lipid * | Precision (% RSD)_DMB pH 3_+Lipid 8.8 mg/mL | Precision (% RSD)_DMB pH 3_+Lipid 35.2 mg/mL | Precision (% RSD)_DMB pH 5_No Lipid * | Precision (% RSD)_DMB pH 5_+Lipid 8.8 mg/mL | Precision (% RSD)_DMB pH 5_+Lipid 35.2 mg/mL | Precision (% RSD)_DMB pH 7_No Lipid * | Precision (% RSD)_DMB pH 7_+Lipid 8.8 mg/mL | Precision (% RSD)_DMB pH 7_+Lipid 35.2 mg/mL
QCL-1 | 2.4 | 1.4 | 3.3 | 3.4 | 3.1 | 2.3 | 2.1 | 21.8 ** | 5.1 | 3.1
QCL-2 | 2.5 | 2.3 | 0.8 | 1.9 | 1.0 | 2.6 | 0.5 | N.D. | 2 | 0.4
QCM | 2.9 | 3.1 | 3.4 | 0.9 | N.D. | 1.5 | 1.1 | N.D. | 2.4 | 1.4
QCH | 3.4 | 1.2 | 0.5 | 0.8 | N.D. | 4 | 2.7 | N.D. | 2.2 | 0.3

## Freetext Data
Data | Value | Relevance
Impact of pH on cinnarizine dissolution | Decreased dissolution with increasing pH | Relevant to understanding drug release dynamics and solubility under varying gastrointestinal pH conditions.
Impact of lipid concentration on cinnarizine dissolution | Higher lipid concentration increased dissolution at pH values 5 and 7 | Relevant to assessing the role of lipid-rich environments in enhancing poorly soluble drug bioavailability.
Comparison of cinnarizine release at pH 3 vs. pH 5 and pH 7 | Release was immediate and complete at pH 3, lower at pH 5 and pH 7 | Relevant for evaluating drug solubility dependency on physiological pH levels.
Effect of lipid phase distribution | Most cinnarizine distributed to lipid phase, particularly at pH 5 and 7 | Relevant for understanding drug partitioning mechanisms and interactions with lipid components.
Comparative solubility in aqueous vs. lipid phases | High solubility in lipids even at low pH | Relevant for developing lipid-based drug delivery systems and predicting food effects.
Positive food effect relationship | Increased Cinnarizine bioavailability observed postprandially | Relevant for predicting in vivo drug absorption based on in vitro findings.
Dissolution media pH range tested | pH values of 3, 5, and 7 | Relevant for simulating variable gastrointestinal conditions in vitro dissolution studies.
Components of SMOFlipid used in the medium | Soybean oil, medium-chain triglycerides, olive oil, fish oil, egg phospholipids | Relevant to the design of dissolution media mimicking lipid-rich postprandial stomach conditions.
HPLC Method Validation | Achieved selectivity, linearity (R2 > 0.999), accuracy, robustness | Relevant to ensuring reliable and reproducible quantification of cinnarizine in complex dissolution media.
Mass balance confirmation | Sum of percentages of CIN in aqueous and lipid phases approx. 100% | Relevant for validating analytical method accuracy in assessing drug distribution.
Drug release kinetics in presence of lipids | Release facilitated by lipids at higher pH values | Relevant for investigating mechanisms of food-lipid interactions in drug dissolution.
Impact of formulation excipients on solubility | Excipients influenced drug dissolution slightly | Relevant for understanding formulation effects on drug release.
Lipids concentration simulated | Concentrations 8.8 mg/mL and 35.2 mg/mL | Relevant to replicating fed-state gastric conditions in dissolution studies.
Positive food effect mechanism | Enhanced bioavailability due to lipid-micelle interactions reducing drug precipitation | Relevant for drug formulation strategies targeting fed-state dosing advantages.
Patient population | Healthy volunteers | This defines the subject demographic used to investigate the pharmacokinetics (PK) of cinnarizine.
Study design | In vivo bioavailability studies | Indicates the study context was to assess cinnarizine's PK in the fed state.
PK sampling points | Not specified | The paper does not provide details on the specific blood or tissue sampling time points for PK measurement.
Patient sample size | Not specified | The exact number of participants is not mentioned but is critical for understanding statistical power in PK studies.
Purpose of study | Evaluate Cmax and AUC under fed and fasted states | Relevant because it directly relates to PK parameters and food effects on drug bioavailability.
Model Type | Dissolution medium simulating gastrointestinal conditions | This model was used to mimic variable postprandial conditions like pH and lipid concentration specifically for poorly soluble drug dissolution.
Model Description | In vitro dissolution system | This system was developed to assess drug dissolution kinetics in varied physiological conditions, aligning with in vivo fed-state data.
Pharmacokinetic Model Implication | No explicit pharmacokinetic compartmental model mentioned | The study focuses on dissolution medium characteristics rather than direct pharmacokinetic modeling.
Experimental Medium Basis | SMOFlipid® and McIlvaine buffers | These components simulate fed gastric conditions in terms of lipid presence and pH variation, critical for dissolution behavior.
Evaluative Outcome | Drug dissolution/pH-dependent variability | The study evaluates dissolution rather than absorption or compartmental pharmacokinetics models.
pH values | 3, 5, 7 | Relevant as they were varied within the physiological range of the postprandial stomach to test CIN dissolution.
Lipid concentrations | 8.8 mg/mL, 35.2 mg/mL, 100 mg/mL | Relevant as they simulate the lipid impact on drug solubility in fed-state gastric conditions.
Cinnarizine solubility | Decreases with increasing pH | Relevant to understanding CIN behavior in dissolution media, reflecting its pH-dependent solubility.
Bile salt concentration | Influences intestinal precipitation of CIN | Relevant for correlating it to variability in observed Cmax and drug bioavailability dynamics.
Drug partitioning results | Higher distribution into lipid phase at higher pH values | Relevant as drug solubility behavior was studied across aqueous and lipid phases.
Lipid medium | Based on SMOFlipid® | Relevant as it simulates postprandial lipid content in the stomach.
pKa values of CIN | 1.95, 7.47 | Relevant as they govern CIN's solubility behavior at different pH levels.
High-fat meal composition | Lipid content comprising up to 10% gastric content postprandially | Relevant as it aligns with the lipid concentrations tested in dissolution studies.
Dissolution time points | 0h, 4h, 24h | Relevant for tracking CIN release and distribution kinetics.
CIN solubility in soy oil | 27.6 mg/g | Relevant for estimating CIN solubility in lipid-rich phases of dissolution media.
Standardized meal recommendations | EMA and FDA guidelines on high-fat meals | Relevant for establishing biorelevant fed-state conditions in drug interaction studies.
Calibration curve linear range | R2 ≥ 0.999 | Relevant for validating the analytical method across drug concentration ranges.
Sample preparation variables | Ice-cold AcN with 1% FA | Relevant for ensuring effective CIN extraction from lipid-containing media.
Dissolution apparatus | Paddle system at 37°C, 75 rpm | Relevant as experimental setup for simulating gastric drug release conditions.
Gastric fluid pH postprandially | 4.6 on average | Relevant as in vivo data informing pH range simulation in dissolution studies.
Sources of lipid comparison | Lipofundin® vs. SMOFlipid® | Relevant for baseline medium composition and lipid ratio reference from prior research.
Food ingestion | Impacts gastric fluid volume, pH, motility pattern, and gastric transit times | Relevance: The factors outlined affect the GI environment influencing drug dissolution, ionization, stability, and absorption, thus impacting pharmacokinetics.
pH value | Decreasing solubility of cinnarizine with increasing pH | Relevance: Drug dissolution and absorption are influenced by pH, which is a key factor in predicting pharmacokinetics in different gastrointestinal states.
Lipid concentration | Addition of lipids increased cinnarizine dissolution in the gastric environment | Relevance: Lipids enhance solubility of poorly soluble drugs such as cinnarizine, influencing drug absorption and pharmacokinetics.
Bile acids presence | Increased bile acid concentrations in small and large intestine fluids | Relevance: Bile acids can lead to mixed micelles formation, enhancing solubilization and absorption of lipophilic drugs, impacting pharmacokinetics.
Drug ionization | Cinnarizine ionization changes with pH | Relevance: Drug ionization influences solubility and permeability, directly impacting absorption and pharmacokinetics.
Postprandial pH | Postprandial gastric pH ranges from 4.6 upwards | Relevance: Variable pH levels post-meal significantly alter drug solubility, influencing absorption rates and overall pharmacokinetics.
Mixed micelles formation | Encouraged by lipids and bile | Relevance: Micelle formation enhances drug solubilization and bioavailability, directly affecting pharmacokinetics of lipophilic drugs.
Fat content in stomach | Up to 10% of total gastric content post-meal | Relevance: Increased lipid content fosters solubility improvement for lipophilic drugs, influencing pharmacokinetics.
Cinnarizine distribution | High affinity for lipid phase even at low pH | Relevance: Drug distribution between lipid and aqueous phases impacts bioavailability and pharmacokinetic patterns.
Supersaturation generation | Occurs with lipid-based drug delivery systems | Relevance: Supersaturation allows greater absorption of poorly soluble drugs, directly impacting pharmacokinetics.
Enzyme presence | Increased concentration of enzymes post-food ingestion | Relevance: Enzymes participate in drug metabolism and solubility modulation, influencing pharmacokinetics.
Short-chain fatty acids | Presence in distal intestine fluids post-prandially | Relevance: Fatty acids influence the solubilization and permeability of drugs, affecting pharmacokinetics.