## Table 1
QC (Nominalconc) (ng/mL)_QC (Nominalconc) (ng/mL) | Intra-batch (n = 5)_Measured concMean ± SD (ng/mL) | Intra-batch (n = 5)_RSD% | Intra-batch (n = 5)_Accuracy (%) | Inter-batch (n = 15)_Measured concMean ± SD (ng/mL) | Inter-batch (n = 15)_RSD% | Inter-batch (n = 15)_Accuracy (%)
1 | 1.01 ± 0.04 | 3.48 | 101.29 | 1.04 ± 0.09 | 8.81 | 103.79
2 | 2.08 ± 0.08 | 3.85 | 103.9 | 2.02 ± 0.13 | 6.23 | 101.18
80 | 86.36 ± 1.68 | 1.95 | 107.95 | 79.62 ± 5.76 | 7.23 | 99.52
800 | 867.7 ± 27.56 | 3.18 | 108.46 | 803.06 ± 74.32 | 9.25 | 100.38

## Table 2
Stability experiment | Nominal conc. (ng/mL) | Measured conc.Mean ± SD (ng/mL) | Accuracy (%) | RSD (%)
Autosampler for 24 h | 1 | 0.89 | 88.77 | 4.51
Autosampler for 24 h | 2 | 1.96 | 98.02 | 2.98
Autosampler for 24 h | 80 | 76.53 | 95.67 | 1.9
Autosampler for 24 h | 800 | 752.44 | 94.05 | 4.81
Room temperature for 4 h | 1 | 0.87 | 86.54 | 7.97
Room temperature for 4 h | 2 | 1.85 | 92.25 | 7.23
Room temperature for 4 h | 80 | 79.18 | 98.97 | 2.22
Room temperature for 4 h | 800 | 834.44 | 104.3 | 2.37
3 freeze-thaw cycles at −80°C | 1 | 1 | 100.2 | 4.58
3 freeze-thaw cycles at −80°C | 2 | 1.98 | 98.79 | 1.14
3 freeze-thaw cycles at −80°C | 80 | 84.87 | 106.09 | 1.88
3 freeze-thaw cycles at −80°C | 800 | 819.08 | 102.39 | 7.5
−80°C for 4 months | 1 | 0.99 | 99.17 | 6.34
−80°C for 4 months | 2 | 2.05 | 102.56 | 5.78
−80°C for 4 months | 80 | 84.28 | 105.35 | 4.66
−80°C for 4 months | 800 | 845.12 | 105.64 | 2.68

## Table 3
Baseline information | Modeling group
Number of patients | 50
Number of concentrations | 158
AGE (year) | 60.5 ± 11.9 (53 34–68)
HT (cm) | 73.4 ± 24.4 (158,150–166)
WT (kg) | 163.7 ± 23.0 (61.5 52.5–86)
BMI(kg/m2) | 24.0 ± 2.6 (24.2 17.0–31.6)
Na (mmol/L) | 22.7 ± 14.1 (138.6 123.2–145.2)
K (mmol/L) | 25.4 ± 13.2 (4.1 2.27–5.47)
ALB (g/L) | 66.3 ± 6.1 (41.4 12.2–51.5)
GLB (g/L) | 40.0 ± 3.8 (26.1 15.1–38.1)
TP (g/L) | 26.6 ± 5.0 (67.2 49.0–80.7)
AST (U/L) | 94.9 ± 30.3 (19.8 11.8–327.1)
ALT (U/L) | 5.9 ± 2.4 (16.7 6.6–193.6)
TBIL (μmol/L) | 8.7 ± 23.9 (8.0 3.3–77.0)
DBIL (μmol/L) | 232.9 ± 86.8 (2.2 0.1–49.9)
IBIL (μmol/L) | 10.1 ± 5.3 (5.3 0.3–27.1)
SCR (μmol/L) | 3.5 ± 2.1 (60.5 30.8–419.0)
DRH (yes/no) | 24 (48%)/26 (52%)
MP (yes/no) | 9 (18%)/41 (82%)
LC (yes/no) | 15 (30%)/35 (70)
ER (positive/negative) | 28 (56%)/18 (36%)
PR (positive/negative) | 25 (50%)/21 (42%)

## Table 4
Parameter | Estimates | RSE (%) | SHRINKSD (%)
Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter
CL/F (L/h) | 127 | 14.1 | —
V/F(L) | 3900 | 26.1 | —
KA (h-1) | 0.357 | FIXED | —
Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability
BSV-CL (%CV) | 50.3 | 28.9 | 27.3
BSV-V (%CV) | 95.1 | 23.6 | 23.2
Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability
ERR-1 (%CV) | 28.6 | 5.9 | 15.9

## Table 5
Model no. | Model description | OFV | ΔOFV | P值
Forward inclusion | Forward inclusion | Forward inclusion | Forward inclusion | Forward inclusion
Base model | Base model | −837.585
1 | TP-CL | −849.969 | −12.384 | P<0.05
2 | 1+HT-V | −855.245 | −5.276 | P<0.05
3 | 2+HT-CL | −859.140 | −3.895 | P<0.05
full covariate model | full covariate model | −859.140
Backward elimination | Backward elimination | Backward elimination | Backward elimination | Backward elimination
4 | 3-HT-CL | −855.245 | 3.895 | P> 0.001
5 | 4-HT-V | −849.969 | 5.276 | P> 0.001
6 | 5-TP-CL | −837.585 | 12.384 | P<0.001

## Table 6
KA (h-1) | OFV | CL/F (L/h) | TP-CL/F | V/F(L) | BSV-1 (%CV) | BSV-2 (%CV) | ERR-1 (%CV)
Finalmodel | −849.969 | 88 | 0.376 | 3940 | 0.515 | 0.965 | 0.27
KA = 0.10 | −839.288 | 108 | 0.128 | 2380 | 0.457 | 1.25 | 0.276
KA = 0.30 | −850.167 | 89.5 | 0.346 | 3630 | 0.515 | 0.981 | 0.267
KA = 0.35 | −850.077 | 88.9 | 0.373 | 3900 | 0.515 | 0.966 | 0.269
KA = 0.357 | −849.969 | 88.8 | 0.376 | 3940 | 0.515 | 0.965 | 0.27
KA = 0.40 | −848.965 | 88.7 | 0.393 | 4150 | 0.515 | 0.956 | 0.272
KA = 0.45 | −847.312 | 88.9 | 0.407 | 4370 | 0.515 | 0.948 | 0.276
KA = 0.50 | −847.054 | 89 | 0.409 | 4400 | 0.515 | 0.947 | 0.276

## Table 7
Parameter_Parameter | Final model_Estimates | Final model_RSE% | Final model_SHRINKSD (%) | Bootstrap_Median | Bootstrap_2.5th–97.5th percentile | Relative bias (%)_Relative bias (%)
Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter
CL/F (L/h) | 88.8 | 15.1 | — | 82.8 | 36.4∼217.75 | −6.7
TP -CL/F | 0.376 | 18.0 | — | 0.373 | −0.481∼1.272 | −0.8
V/F(L) | 3940 | 25.8 | — | 3770 | 2,538∼6476 | −4.3
KA (h-1) | 0.357 | FIXED | — | — | — | —
Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability
BSV-CL (%CV) | 51.5 | 27.3 | 26.5 | 49.5 | 11.9∼75.0 | −3.9
BSV-V (%CV) | 96.5 | 22.6 | 23.2 | 92.5 | 47.0∼29.3 | −4.1
Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability
ERR-1 (%CV) | 27.0 | 6.6 | 16.5 | 27.0 | 24.0∼36.7 | 0

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Pyrotinib Approval | Approved for treatment of HER2-positive advanced or metastatic breast cancer in China, August 2018 | Highlights the clinical context and treatment indication of pyrotinib, relevant for therapeutic discussions.
Variation in Plasma Concentration | Plasma concentration of pyrotinib varies greatly among patients | Addresses the need for population pharmacokinetics (PPK) modeling to understand influential factors and optimize usage.
UPLC-MS/MS Sensitivity Range | Good selectivity and linearity in the range of 1–1,000 ng/mL; LLOQ = 1 ng/mL | Pertinent to the methodological sensitivity for detecting pyrotinib plasma levels, crucial for pharmacokinetics analysis.
Sample Size | 50 patients provided 158 plasma samples | Demonstrates the study's scale in assessing pharmacokinetics, ensuring a robust dataset.
Population Pharmacokinetic Model Type | Single-compartment PPK model with first-order absorption and elimination | Identifies the foundational model employed for pharmacokinetic analysis of pyrotinib.
Influence of Total Protein | Low serum total protein reduced clearance rate of pyrotinib | Key covariate influencing pyrotinib pharmacokinetics, relevant for dose adjustment considerations.
Adverse Reaction Frequency | High incidence of diarrhea reported (Grade 3–4: up to 80%) | Highlights safety concerns impacting pyrotinib treatment and implications for patient management.
Mechanism of Metabolism | Metabolized by hepatic cytochrome P450 3A4, excreted mainly in feces | Provides insight into pyrotinib’s elimination pathway, relevant for assessing inter-patient variability.
Suggested Dose Adjustment | No dosage adjustment advised despite covariates | Concludes applicability of findings for individualized patient administration.
Impact on Patient Monitoring | Liver function abnormalities require monitoring during pyrotinib treatment | Stresses the clinical management aspect for potentially hepatotoxic treatments.
Correlation with Patient Data | Low serum total protein associated with reduced drug clearance | Links patient-specific variables to pharmacokinetics, guiding individualized therapy approaches.
Validation of Analytical Methodology | UPLC-MS/MS method validated using FDA and Chinese Pharmacopoeia guidelines | Establishes the reliability of measuring pyrotinib plasma levels, strengthening study findings.
Patient population size | 50 patients | Relevant as it indicates the sample size for the PK study and the breadth of data collection.
Blood sampling points | 158 plasma samples | Relevant because it specifies the number of individual samples used for PK modeling, reflecting the data comprehensiveness.
Sampling strategy | Opportunistic blood sampling | Relevant as it defines the approach used to collect blood samples and ensures applicability to real-world settings.
Eligibility criteria | HER2-positive breast cancer; regular oral pyrotinib (400 mg, 320 mg, 240 mg); age 18-80 years | Relevant as it describes the inclusion criteria, ensuring that the patient population aligns with clinical goals.
Exclusion criteria | Demographic and lab data missing; incomplete medical records; treatment discontinued for ≥1 month | Relevant as it specifies constraints for patient inclusion, maintaining data quality and relevance.
Doses included | 240 mg, 320 mg, 400 mg of pyrotinib | Relevant for understanding the dynamic dosing scenario and variability in the patient population.
Study period | November 2020 to November 2023 | Relevant as it establishes the timeframe of the data collection and study validity.
Covariate inclusion | Patient demographics, pathophysiology, pharmacotherapeutic characteristics | Relevant because these variables were analyzed for potential PK influences, enriching the study design.
Focus of study | Real-world PK analysis | Relevant as it highlights the study's emphasis on real-world applicability, complementing previous clinical trial data.
Base Model | One-compartment model with first-order absorption and elimination | The paper uses a pharmacokinetic model to characterize how pyrotinib is absorbed and cleared in HER2-positive breast cancer patients in the real world.
Ka | 0.357 h-1 (fixed) | The absorption rate constant is a critical model parameter for determining the drug's pharmacokinetic profile.
CL/F | 88.8 L/h modified by serum total protein (TP) | Apparent clearance was estimated as part of the 1-compartment model to show drug elimination in relation to TP.
Vd/F | 3940 L | Apparent distribution volume parameter was modeled to describe how the drug is distributed in the body after administration.
Covariate | Influence of total protein (TP) on clearance rate (CL/F) | TP was incorporated into the model as it significantly impacted how the drug clears from the system, highlighting the role of individual variability.
Model Validation | Goodness-of-Fit (GOF), Visual Predictive Check (VPC), Bootstrap Evaluation | These techniques evaluated and validated the 1-compartment PPK model, ensuring its reliability for clinical and real-world applications.
Structural Model Estimation Technique | FOCE-I (First-order conditional estimation with η–ε interaction) | This was used for building and refining the structural pharmacokinetic 1-compartment model.
--- | --- | ---
Ka | 0.357 FIXED | Relevant as the absorption rate constant is essential for modeling the pharmacokinetics (PK) and was derived from published PPK models.
CL/F | 88.8 × e^(TP/67.2×0.376) | Relevant as apparent clearance is a fundamental parameter in PPK studies and was modeled incorporating the effect of serum total protein (TP).
Vd/F | 3940 L | Relevant to the apparent volume of distribution, a key PK parameter, estimated in the study’s PPK model.
Model Type | Single-compartment with first-order absorption and elimination | Describes the structural model used for PK characterization, essential for understanding parameter estimation.
CL/F at 400 mg steady state | 88.8 L/h | Relevant as it compares the clearance rate derived in this study to phase 1 trials for consistency checks.
V/F Estimation | 3940 L | Relevant as compared with values from previous studies to validate findings in real-world patient populations.
KA Sensitivity | KA = 0.357/h | Sensitivity analysis validated this assumption for accuracy in the final model.
Phase I CLss/F Range | 149 ± 25.8 to 213 ± 66.8 L/h | Compared to current parameters to check for compatibility in real-world versus trial pharmacokinetics.
Estimation Method | Nonlinear mixed-effect modeling with FOCE-I | Indicates the computational methodology used to derive estimates, crucial for reproducibility.
Total Protein (TP) | Decreased TP observed to reduce clearance rate of pyrotinib | Relevant because TP levels serve as a critical covariate impacting pyrotinib pharmacokinetics in this study.
Liver Function | Abnormal liver function affects TP levels and clearance of pyrotinib | Relevant as impaired liver function is closely tied to pharmacokinetics, reflecting in altered drug metabolism or toxicity risks.
Age | Explored as a covariate but ultimately excluded in the final model | Indicates age does not significantly affect pharmacokinetics in this study but was considered during analysis.
Diarrhea | Impact on gastrointestinal absorption considered minimal in the model | Relevant as diarrhea is a common adverse effect of pyrotinib and may influence absorption rates.
Body Weight (WT) | Explored but not included in the final model | Indicates body weight does not strongly influence pharmacokinetics in this study.
Montmorillonite Powder | Reported to decrease bioavailability of pyrotinib in limited concurrent cases | Relevant as it addresses potential drug-drug interaction affecting pharmacokinetics.
Albumin | Monitored as part of TP levels, impacting drug elimination | Relevant since albumin levels contribute to protein binding capacity and liver function assessment.
Patient Dosage Adjustment | Dosage dynamically changes in real-world applications | Relevant as dosage adjustments directly impact the pharmacokinetic profile of pyrotinib.
Combined Medications | Less than 10% used montmorillonite powder, affecting analysis inclusion | Relevant as combined medications can influence overall drug bioavailability and response.
Sex Hormone Receptor Status (ER, PR) | Not included as significant factors in the model | Indicates that receptor status does not significantly alter pharmacokinetics within this dataset.
Serum Bilirubin (TBIL) | Explored due to liver function relevance but not included in final model | Indirectly relevant as bilirubin levels indicate liver metabolism capability.