## Table 1
Validation parameter | Total Ang-2 ELISA | Free Ang-2 ELISA | Free VEGF-A MSD assay | Total VEGF-A LC-HRMS
Calibration range | 0.05–2 ngEq/mL | 0.04–1.5 ngEq/mL | 3.7–1000 pgEq/mL | 1–50 ngEq/mL
LLOQ (at minimum required dilution) | 0.1 ngEq/mL (1:2), S/N (Clow/blank) = 1.4 | 0.08 ngEq/mL (1:2), S/N (Clow/blank) = 1.3 | 7.4 pgEq/mL (1:2), S/N (Clow/blank) = 3 | 1 ngEq/mL, S/N (LLOQ/blank) = 5
Intra-assay precision | 2% (LLOQ 4%) CV, n = 7 runs × 3 aliquots | 2–5% (LLOQ 8%) CV, n = 7 runs × 3 aliquots | 3–5% CV (n = 5 runs × 3) | 4% CV (QC.1, quantifier), 2% CV (QC.2, quantifier), n = 2 runs × 7 aliquots
Inter-assay precision | 3% (LLOQ 6%) CV, n = 3 aliquots × 7 runs | 4–11% (LLOQ 24%) CV, n = 3 aliquots × 7 runs | 5–8% CV (n = 3 aliquots × 6 runs) | 8% CV (QC.1, quantifier), 7% CV (QC.2 quantifier), n = 2 runs × 7 aliquots and n = 2 runs × 3 aliquots
Basal levels healthy volunteers EDTA plasma = biological inter-subject variance | 1–5 ngEq/mL, median: 1.8 ngEq/mL, CV 42% (n = 24 subjects) | 0.7–6 ngEq/mL, median: 1.7 ngEq/mL, CV 57% (n = 22 subjects) | 12–74 pgEq/mL, mean 29 pgEq/mL, CV 50% (n = 20 subjects) | Not detectable
Biological longitudinal intra-subject variance | 7% CV (n = 3 healthy volunteers × 15 samples within 1 week), no circadian rhythm | 8% CV (n = 3 healthy volunteers × 15 samples within 1 week), no circadian rhythm | 36% CV (n = 3 healthy volunteers × 15 samples within 1 week), no significant circadian rhythm
Short term stability endogenous analyte | + 3 F/T cycles (− 20 °C, − 70 °C), > 24 h RT | + 3 F/T cycles (− 20 °C, − 70 °C), > 19 h RT | + 3 F/T cycles (− 20 °C, − 70 °C), > 4 h RT, slight instability at -20 °C 3 F/T cycles and for longer periods at RT | + 2 F/T cycles (− 70 °C), > 4 h RT
Long term stability endogenous analyte (isochronic approach) | > 36 months at − 20 °C and − 70 °C | > 36 months at − 20 °C and − 70 °C | > 36 months at − 20 °C and − 70 °C
Parallelism | Yes (1:2–1:20,000, n = 6) | Yes (1:2–1:50, n = 6) | Yes (1:2–1:20, n = 4) | Not needed due to undetectable VEGF-A levels in the plasma of healthy volunteers
Selectivity (lipemic, hemolytic plasma) | No interference | No interference | No interference of lipemic plasma but significant interference of hemolytic plasma > 0.5 vol% hemolytic blood | No interference (only performed in sample buffer)
Specificity (second target, drug) | No interference of 100 ng/mL of VEGF-A; no interference of drug up to 100 µg/mL | No interference of 100 ng/mL of VEGF-A; strong interference of drug as expected | No interference of 10 ng/mL of Ang-2; strong interference of drug as expected
Autosampler stability (8 °C) |  |  |  | 20 days (dev. QC.1: 12%, dev. QC.2: 9%)

## Table 2
BI 836880 dose_BI 836880 dose | Cycle_Cycle | Percentage patients_> 90% Ang-2 inhibition | Percentage patients_> 95% Ang-2 inhibition
40 mg | 1 | 8.8 (4.8‒13.7) | 1.8 (0.6‒3.7)
40 mg | 2 | 14.2 (8.7‒20.6) | 3.5 (1.4‒6.7)
40 mg | 3 | 16.5 (10.6‒23.7) | 4.4 (1.9‒8.1)
40 mg | 4 | 17.4 (11.0‒24.6) | 4.8 (2.2‒8.7)
40 mg | 5 | 17.7 (11.5‒25.0) | 5.0 (2.4‒8.7)
120 mg | 1 | 35.3 (26.2‒44.2) | 13.8 (8.1‒19.8)
120 mg | 2 | 46.9 (36.4‒55.7) | 21.4 (13.9‒29.5)
120 mg | 3 | 50.4 (40.1‒59.9) | 24.3 (16.5‒32.9)
120 mg | 4 | 51.8 (41.3‒61.1) | 25.6 (17.6‒34.1)
120 mg | 5 | 52.1 (41.9‒61.4) | 26.0 (17.7‒34.7)
360 mg | 1 | 73.8 (64.8‒81.2) | 47.5 (37.0‒57.1)
360 mg | 2 | 82.5 (75.1‒88.6) | 59.6 (49.1‒68.4)
360 mg | 3 | 84.4 (77.4‒90.4) | 62.9 (52.4‒72.1)
360 mg | 4 | 85.4 (77.9‒90.8) | 64.4 (53.9‒73.2)
360 mg | 5 | 85.5 (78.6‒90.7) | 64.6 (54.5‒73.6)
500 mg | 1 | 82.8 (75.3‒88.7) | 59.7 (49.8‒69.1)
500 mg | 2 | 89.2 (83.5‒93.7) | 71.0 (61.4‒79.0)
500 mg | 3 | 90.6 (84.8‒94.8) | 73.7 (64.5‒81.7)
500 mg | 4 | 91.2 (85.7‒94.9) | 75.0 (65.6‒82.5)
500 mg | 5 | 91.4 (86.0‒95.2) | 75.2 (66.5‒82.6)
720 mg | 1 | 90.1 (84.4‒94.4) | 72.4 (62.9‒80.3)
720 mg | 2 | 94.3 (90.0‒97.0) | 81.5 (73.8‒87.9)
720 mg | 3 | 95.2 (91.3‒97.7) | 83.6 (76.1‒89.8)
720 mg | 4 | 95.4 (91.8‒97.9) | 84.5 (76.7‒90.4)
720 mg | 5 | 95.6 (91.6‒98.0) | 84.7 (77.4‒90.3)

## Table 3
0 | 1
Free, total target concentration | Free target levels are defined as the fraction of total target present in the plasma sample that is unbound to drug and still able to bind to drug at assay conditions. Total target levels are the sum of free and bound target.
Precise | Here defined as ≤ 30% coefficient of variation between-runs.
Parallel/Parallelism | The ability of the assay to quantify the endogenous analyte in the same manner as the recombinant (surrogate) calibration standard. Non-spiked individual matrix samples are serially diluted and measured. The measured concentration adjusted to pure matrix should be independent from the dilution factor over a range of dilutions. Parallelism is the prerequisite for a quantitative immunoassay.
Relative quantitative manner | An assay that quantifies the analyte relative to the used (surrogate) calibration standard and the specificity of the antibodies. The measured concentration can be used for quantitative data evaluation but are not the “true” absolute concentrations of the analyte that in case of proteins most often is heterogenous and without a defined molecular weight.
Isochronic approach | A long term stability investigation approach that stresses various aliquots of stability samples at different conditions for different time periods and store them thereafter at ultra cold conditions (− 150 °C) together with a non-stressed reference aliquot that has not been stored at higher temperatures. At the day of measurement all aliquots are thawed and measured together in the same run. Possible relative deviations in concentration between the stressed and the reference aliquot would indicate instability of the analyte.
Intra/Inter-assay Precision | The coefficient of variation of several results of a homogenous test sample that have been measured within a run (within-run/assay precision) or in several runs on several days (between-run/assay precision).

## Table 4
0 | 1
PopPK | Population Pharmacokinetics (PopPK) analysis is a well-established, quantitative method that can explain some of the variability in drug concentrations over time among individuals. This variability can be attributed to intrinsic factors, such as differences in body weight or the presence and extent of liver or renal impairment or to extrinsic factors, such as effects of food on drug absorption. Population PK analysis has the potential to integrate all relevant PK information across a range of doses and populations to identify factors that can affect a drug’s exposure.
PopPK/PD | Population Pharmacokinetics/Pharmacodynamics (PopPK/PD) analysis is an extension of the PopPK analysis by additionally considering the pharmacological effect of the drug (binding and blocking of Ang2, in this example) and its variability.
Non-linear mixed effects (NLME) model | Nonlinear mixed-effects models are frequently used for pharmacokinetic and or pharmacodynamic data analysis. They account for inter-subject variability in pharmacokinetic and/or pharmacodynamic parameters by incorporating subject-specific random effects into the model. The random effects are often assumed to follow a (multivariate) normal distribution. Using NLME models, pharmacometricians have the ability to leverage data from multiple studies, dosing routes, and administration schedules.
Interindividual variability (IIV) | The interindividual variability reflects the variance of a parameter across individuals of a population.
Interoccasion variability (IOV) | The interoccasion variability (also called Intra-individual variability) reflects a transient, within-person change of a parameter estimated as variability between different occasions.
Residual variability | Residual variability is unexplained variability after controlling for other sources of variability.
Covariates | In the current manuscript, this refers to intrinsic or extrinsic factors that can impact the pharmacokinetics behavior of a drug (e.g. factors that can affect a drug’s absorption, distribution or elimination into/from the human body). Examples of intrinsic factors are patient characteristics such as the presence and extent of liver or renal impairment (potentially affecting the drugs elimination). An example of an extrinsic factor is food (potentially affecting the drugs absorption). Population PK analysis has the potential to identify factors that can affect a drug’s exposure.

## Freetext Data
Data | Value | Relevance
BI 836880 Mechanism of Action | "BI 836880 is a humanized bispecific nanobody® that binds to and blocks vascular endothelial growth factor (VEGF) and angiopoietin-2 (Ang-2)." | Relevant as it describes the molecular mechanism and biological function of BI 836880, which is fundamental to its therapeutic application.
Dose Ranges in Clinical Trials | "40 mg to 1000 mg q3w or qw" | Relevant to question of dosage optimization in oncology studies addressing safe and biologically effective dose determination.
Recommended Dose of BI 836880 | "720 mg q3w as a monotherapy" | Relevant for therapeutic guidance and dose optimization for future clinical development.
Patient Population | "Adults with confirmed locally advanced or metastatic solid tumors, refractory to standard therapy or for which standard therapy was not reliably effective." | Relevant to identify target demographic and solid tumor applicability of the studied drug.
Phase I Study Design | "Two non-randomized, open-label, dose-escalation studies (study 1336.1, q3w schedule; and study 1336.6, qw schedule)." | Crucial for evaluating the methodology of dose finding and safety profiling in early-phase trials.
Free VEGF-A Inhibition | "Free VEGF-A was completely blocked at all doses from 40 to 720 mg q3w." | Demonstrates effective target engagement, an important proof of biological activity at varying dose levels.
Free Ang-2 Inhibition Dose Dependency | "Free Ang-2 decreased dose-dependently, reaching depletion in most patients from 360 mg q3w onwards." | Relevant to understanding the relationship between dose level and the extent of target inhibition.
Dynamic Contrast-Enhanced MRI Usage | "DCE-MRI scans supported target engagement in the tumor." | Demonstrates non-invasive method to confirm vascular effects at the tumor site, linking mechanism to observed tumor response.
PopPK/PD Model Findings | ">90% inhibition of free Ang-2 predicted at doses ≥360 mg q3w at steady state, with 720 mg q3w achieving high target suppression in >95% of patients." | Key data for dose modeling and determining optimal biologically effective dose levels.
Total VEGF-A Levels Saturation | "Total VEGF-A levels increased dose-dependently and appeared to reach saturation at 360 mg q3w or higher." | Threshold may inform understanding of drug action limits and receptor occupancy dynamics.
Study Name | NCT02674152 and NCT02689505 | Relevant as it identifies the two studies where the PK study was conducted, providing a foundation for understanding study protocols.
Study Design | Non-randomized, open-label, dose escalation studies | Relevant because it describes the structure and methodology of the studies and indicates they followed dose-escalation protocols.
Patient Population | Adult patients with locally advanced or metastatic solid tumors refractory after standard therapy or for which standard therapy was not reliably effective | Relevant as it defines the target patient population for the study, critical for understanding sample characteristics.
Patient Sample Size | Study 1336.1 included multiple patients across dosing levels; study 1336.6 included patients in weekly dosing cohorts | Relevant because it indicates the number and distribution of test subjects across different dosing schedules.
Inclusion Criteria | Written informed consent for study participation, advanced solid tumors, refractory to standard therapy | Relevant to ensure ethical compliance and understand who was eligible for the study.
Blood Sampling Time Points | 6 mL of blood taken on days 1, 2, 3, 8, and 15 in cycles 1, 2, and 4; days 1, 2, and 3 in cycle 3; day 1 in cycles 5‒12 | Relevant because it details the timing of blood sampling which is crucial for assessing drug pharmacokinetics.
Tissue Sampling | No tumor tissue sampling, reliance on peripheral blood biomarker analysis | Relevant because it indicates that PK analysis relied on blood samples rather than tissue, which impacts methodology.
Primary Measurement Focus | Free and total plasma VEGF-A and Ang-2; circulating angiogenic factors including sVEGFR3, sTie2, and PlGF | Relevant as it informs what was measured in the samples, directly relevant to understanding PK profiling.
Patients’ Location | International trial settings, with specified country adjustments in PK covariate modeling | Relevant because trial location variability impacts covariate analysis and generalizability.
Dosing Schedule | 40 mg starting dose escalated in q3w or qw schedules; maximum tolerated dose identified as 720 mg q3w and 180 mg qw | Relevant because dosing schedules are key variables in PK evaluation.
Assay Type for PK | Bioanalytical assay validated for plasma BI 836880 concentrations | Relevant as choice of assay influences data quality used for PK analysis.
Two-compartment PK model | A two-compartment PK model was used to describe the measured plasma concentrations of BI 836880 from studies 1336.1 and 1336.6. | The relevance of this information lies in the utilization of a two-compartment model to characterize the pharmacokinetics of BI 836880 in human subjects during the clinical trials, aiding in understanding distribution and elimination patterns that are critical for dose selection.
PopPK/PD model | A PopPK/PD model integrating data from the Phase I studies was employed, involving a mass action model where BI 836880 binds free Ang-2 in the central compartment. | Critical for understanding both pharmacokinetics and pharmacodynamics, the PopPK/PD model combined with a two-compartment PK approach supported dose selection and evaluated free Ang-2 inhibition, which underpins dosing decisions for BI 836880.
Mass action model for PD | The PD model utilized binding kinetics where BI 836880 interacts with free Ang-2, leading to sequestration in a drug-target complex. | This model explains the drug’s mechanism of action and its effect on the Ang-2 target, directly supporting the clinical dose optimization process aligned with drug efficacy and safety.
Total VEGF-A | Range of 0.022 to 0.669 µgEq/L pre-dose; dose-dependent increase observed; saturation reached at ≥360 mg q3w | Relevant to pharmacodynamic analysis for BI 836880 in targeting VEGF-A, indicating the dose level at which VEGF-A saturation occurs.
Free VEGF-A | Completely depleted (below LLOQ) at all doses; remained blocked until the next cycle | Key for assessing the drug’s pharmacological effect on VEGF-A across all dose levels.
Total Ang-2 | Dose-dependent increase observed but saturation was not reached; higher levels in 120 mg and 1000 mg cohorts | Identifies the effect of BI 836880 on Ang-2, helping to evaluate dose escalation effects.
Free Ang-2 | Range of 0.72 to 13 µgEq/L pre-dose; dose-dependently blocked, with depletion observed at ≥360 mg q3w | Establishes the minimum dose threshold for effective Ang-2 depletion.
sVEGFR3 | Decreased at ≥360 mg q3w | Indicates engagement with alternative angiogenesis-related biomarkers and their dose-response relationship.
sTie2 | Decreased at ≥360 mg q3w | Relevant as another biomarker altered due to BI 836880 pharmacodynamics.
PlGF | Increased at doses ≥360 mg q3w | Reflects compensatory responses linked to VEGF-A and Ang-2 blockade.
Ktrans (DCE-MRI parameter) | Clinically significant reduction (≥40%) observed in 9 patients across relevant dose levels | Indicates direct biological activity in tumor vasculature, supporting dose optimization.
BI 836880 half-life | Approximately 11 days due to HSA binding | Important for pharmacokinetic modeling, informing dosing intervals of q3w.
Target engagement (free Ang-2 inhibition) | >90% inhibition achieved in most patients at ≥360 mg q3w | Supports dose selection for optimal patient response.
Population PK/PD model | Two-compartment model with mass-action interaction; parameters incorporated measured free and total Ang-2 | Essential for predicting pharmacokinetic/pharmacodynamic effects of BI 836880 under different dosing strategies.
Covariates (on clearance [CL]) | Body weight: exponent fixed at 0.75; Human serum albumin (HSA): inverse effect on clearance | Relevant for variability analysis, customizing dose guidelines for patient demographics.
PK variability | Driven significantly by body weight and HSA variability | Important for individualizing dosing regimens based on patient-specific factors.
Dose levels simulated in the PopPK/PD model | 40, 120, 360, 500, 720 mg q3w | Defines the ranges evaluated to predict drug inhibition performance.
Probability of target attainment | >90% Ang-2 inhibition for 91.4% of patients at 500 mg q3w, and for 95.6% of patients at 720 mg q3w | Critical for determining an effective and biologically relevant dose level.
CL (clearance) | Small effects of body weight (BW) and HSA observed with low parameter uncertainty | Explains PK variability and its impact on dosing.
HSA impact on clearance | Higher HSA reduces central clearance | Highlights a specific PK determinant influencing dose adjustments.
Body weight at baseline | Included as a covariate on volumes and clearance PK parameters | Relevance: Body weight influenced BI 836880 pharmacokinetics, affecting volume and systemic clearance, making it a significant factor.
Human serum albumin (HSA) | Higher HSA levels tend to show lower central clearance of BI 836880 | Relevance: HSA influences the pharmacokinetics by extending plasma half-life and reducing drug clearance.
Gender | Explored as a covariate but not retained in final PopPK model | Relevance: Initially considered, but gender had no significant effect on pharmacokinetics.
Estimated glomerular filtration rate (eGFR) | Explored as a covariate but removed in final PopPK model | Relevance: eGFR showed small effect sizes and high uncertainty, thus deemed not significant in influencing pharmacokinetics.
Alkaline phosphatase (ALP) | Explored as a covariate but removed in final PopPK model | Relevance: ALP was associated with small effects and high uncertainty, and thus deemed insignificant.
ECOG performance status | Explored as a covariate but removed in final PopPK model | Relevance: While considered, ECOG status had negligible effects on pharmacokinetics in the study population.