## Table 1
Unnamed: 0 | Antipyrine | Atenolol | Midazolam | Quinidine | Sulfasalazine
Papp, basal to apical, inhibitor (-) (10−6 cm/s) | 13.2 ± 1.1 | not determined | not determined | 4.37 ± 0.15 | 6.44 ± 0.45
Papp, apical to basal, inhibitor (-) (10−6 cm/s) | 20.1 ± 2.7 | 1.31 ± 0.19 | 11.2 ± 0.6 | 2.15 ± 0.33 | 0.505 ± 0.072
Papp, basal to apical, inhibitor (+) (10−6 cm/s) | 14.4 ± 0.7 | not determined | not determined | 4.37 ± 1.53 | 1.10 ± 0.29
Papp, apical to basal, inhibitor (+) (10−6 cm/s) | 18.5 ± 1.2 | 0.865 ± 0.173 | 14.4 ± 1.9 | 3.88 ± 1.12 | 0.557 ± 0.095
Efflux ratio (ER), inhibitor (-) | 0.656 ± 0.120 | - | - | 2.02 ± 0.37 | 12.7 ± 2.3
Efflux ratio (ER), inhibitor (+) | 0.780 ± 0.076 | - | - | 1.12 ± 0.63 | 1.97 ± 0.76

## Table 2
Compounds | Mass-to-charge | Retention time(min) | Ion mode | calibration curve range (nM)
midazolam | 326.923→292.0 | 1.83 | ESI positive | 0.3–1000
1-hydroxymidazolam | 342.01→168.0 | 1.89 | ESI positive | 0.3–1000
4-hydroxymidazolm | 342.073→325.0 | 1.75 | ESI positive | 0.3–300
antipyrine | 189.118→104.1 | 1.82 | ESI positive | 0.3–300
antipyrine-d3 | 192.075→106.0 | 1.82 | ESI positive | 1–300
quinidine | 325.266→184.1 | 1.58 | ESI positive | 0.3–1000
quinidine-d3 | 328.113→163.0 | 1.58 | ESI positive | 0.3–1000
sulfasalazine | 396.980→196.0 | 2.32 | ESI positive | 0.3–1000
sulfasalazine-d4 | 401.086→293.2 | 2.32 | ESI negative | 0.3–1000
atenolol | 267.01→145.1 | 1.56 | ESI positive | 0.3–1000

## Freetext Data
Data | Value | Relevance
Gut MPS device developed for study | Fluid3D-X® | This novel device is central to the study, designed to evaluate intestinal absorption of small-molecule drugs by mimicking human gut physiology and drug transport processes.
Model cells used | Human iPSCs-derived small intestinal epithelial-like cells (hiSIECs) | hiSIECs closely mimic the gene expression profiles of adult intestinal cells, making them relevant for studying drug absorption and metabolism.
Key feature of MPS device | Dimethylpolysiloxane (PDMS)-free | Ensures limited adsorption of compounds to the device, which is a critical improvement over PDMS-based systems that might otherwise interfere with results.
Bone fide function of transporters tested | P-gp and BCRP | Demonstrating these efflux transporter mechanisms is essential for evaluating directional drug transport in intestinal absorption.
Metabolism model substance | Midazolam | Used to validate CYP3A4 functionality in the gut MPS/Fluid3D-X, which is crucial for drug metabolism studies related to the intestine.
Barrier integrity indicator | Lucifer yellow permeability measurements | Used to ensure a leak-tight monolayer in the gut MPS/Fluid3D-X, which validates the functional barrier properties necessary for absorption studies.
Metabolite detection | 1-hydroxymidazolam formation | Confirms CYP3A4 enzyme activity in the gut MPS/Fluid3D-X, relevant for understanding the metabolic capability of the system.
Comparison of practical application | Fluid3D-X® vs Emulate platform | Highlights the advantages of Fluid3D-X®, such as larger channel volumes, which are more suitable for accurate assessment of drug permeability and absorption kinetics.
Drug permeability markers | Antipyrine and atenolol | Selected for their known effective permeability values in the human intestine, validating the system in studying drug transport characteristics.
Role of advanced bioengineering | MPS as predictive tools for human physiology | Discussed as a transformative approach to predict human ADME profiles, bypassing interspecies differences encountered in animal models.
Incubator time for cell culture | 11 days | Relevant for determining the timeline needed for efficient barrier and differentiation properties of hiSIEC monolayers.
Air-liquid interface (ALI) culture benefit | Improved expression/activities of drug-metabolizing enzymes | ALI conditions in Fluid3D-X® established enhanced model fidelity for drug absorption and metabolism studies.
Quantitative analysis method | Papp, ER, and Fg parameters derived from studies | Essential measurements to validate the system’s ability to predict human intestinal drug absorption and metabolism.
Successful marker gene expression | FABP2, MUC2, REG4, LYZ, GP2 | Indicates multilineage differentiation and physiological relevance of the hiSIECs in these studies.
Primary aim of study | Evaluate gut MPS/Fluid3D-X for intestinal drug absorption prediction | Provides a focused rationale for the study’s design and its implications for drug discovery and development.
Funding agency | Japan Agency for Medical Research and Development (AMED) | Key supporter of the study, emphasizing the broader goal of supporting MPS technology in drug evaluation.
Gut MPS device | Fluid3D-X® | The study used the Fluid3D-X® device, showcasing the design of the in vitro PK study platform for drug absorption evaluation.
Human cells used | hiSIECs (human iPSCs-derived small intestinal epithelial-like cells) | hiSIECs were used, offering a human-relevant model for intestinal drug absorption studies.
Culture period | 11 days | Provides the specific culture duration for hiSIEC-based experiments, impacting the study's metabolic and transport results.
Sampling time points for transport studies | 0, 30, 60, 90, 120 minutes | Indicates the time points for sampling during PK evaluation, offering insight into the study design for temporal resolution.
Number of replicates for inhibitor studies | n=4 (without inhibitors), n=3 (with inhibitors) | This shows the sample size for inhibitor condition validation of drug transport and metabolism, important for data reliability.
Preincubation duration | 10 minutes | Details the preincubation protocol used before dosing test compounds, reflecting the preparation step in the study.
Volume of sampling buffer | 150 μL | Highlights the volume used for sample collection during transport studies, crucial for consistent measurements.
Cell density for seeding | 5.3 × 105 cells/MPS | Reveals the initial cell density per device, fundamental to the reproducibility and validity of the PK study design.
Transcellular marker substances | Antipyrine and atenolol | Describes substances used to ensure integrity and functionality of the gut barrier, relevant to PK validation.
Drugs tested | Quinidine, sulfasalazine, midazolam, antipyrine, atenolol | The selected compounds reflect the study's focus on evaluating drug transport and metabolism in the gut MPS.
Inhibitors used | Ketoconazole (10 µM), PSC833 (5 µM), Ko143 (5 µM) | Specifies inhibitors utilized to assess transporter and enzyme activity, directly related to PK study endpoints.
Transport assay setup | Static condition in Fluid3D-X®, fluidic condition in Emulate | Describes two assay conditions used, pertinent to drug transport and metabolism under variable conditions.
Monitoring metabolism | Formation of 1-hydroxymidazolam (metabolite) | PK-relevant endpoint focusing on metabolic activity within the MPS system.
Integrity measurement | Lucifer yellow permeability (<1.0 × 10−6 cm/s) | Validates monolayer integrity, crucial for accurate PK outcomes related to drug absorption.
Protein quantification method | LC-MS/MS | Analytical method used to quantify drug and metabolite concentrations, central to PK assessment.
FG estimation | 0.64 for midazolam in gut MPS | This showcases the correlation between in vitro estimated Fg and clinical data, a valuable PK study outcome.
Model | Gut Microphysiological System (MPS) | The paper evaluated the potential of a novel gut MPS/Fluid3D-X model to predict intestinal absorption of drugs in humans, offering an alternative to conventional models.
Model Device | Fluid3D-X® | Fluid3D-X® is the MPS device used in the study; it incorporates features required for drug absorption studies, such as flow control and PET material to prevent adsorption of compounds.
Cell Type | Human induced pluripotent stem cells-derived small intestinal epithelial cells (hiSIECs) | These cells simulate the human small intestinal epithelium, making them critical for evaluating the transport and metabolism of orally administered drugs.
Flow Dynamics | Flow-controllable microchannels under air-liquid interface (ALI) | The MPS utilizes flow dynamics under ALI to replicate in vivo-like microenvironments relevant for physiologically based drug absorption studies.
Representation | Physiologically relevant simulation of small intestinal absorption | The MPS mimics key physiological features, such as transporter and CYP3A activities, for assessing drug kinetics, aligning with the objectives of IVIVE or physiologically based models.
Study Framework | In vitro intestinal absorption and metabolism model | The study framework aligns closely with IVIVE methods, translating in vitro gut model results to predict in vivo human intestinal drug absorption behavior.
Inhibition Study | CYP3A4, P-gp, and BCRP inhibitors | Functional studies in the MPS assessed transporter-mediated and enzyme-mediated drug absorption, which are standard features of physiologically based pharmacokinetic (PBPK) modeling.
Transport Monitoring | Directional and inhibitor-sensitive transport studies | This feature is vital to assess active/passive transport mechanisms in a manner consistent with physiologically based modeling needs.
Drug Clearance Mechanism | Measurement of net flux and intrinsic clearance | These parameters are critical for providing insights into the absorption and metabolization processes within the model.
Metabolite Formation | Measurement of CYP3A4-mediated 1-hydroxymidazolam formation | Demonstrates gut metabolic activity, ensuring that the MPS can model drug metabolism, a key factor in drug bioavailability prediction.
Fg Value Estimation | Calculated Fg value for midazolam (0.64) | The study calculated Fg values as a means to simulate absorption and metabolism in vivo, a practice connected to physiologically based models.
--- | --- | ---
Cell culture duration under flow conditions | 11 days | Relevant to the construction and experimental validation of the gut MPS/Fluid3D-X system as it determines the development of functional intestinal properties.
Pore size of Fluid3D-X device membrane | 0.45 μm | This parameter is crucial for the separation of the microchannel structure and permeability studies in the MPS.
Culture flow rate | 3.8 ± 0.1 µL/min | Establishes the medium flow conditions to maintain hiSIECs and reflects physiological relevance in the system.
Papp of antipyrine (apical-to-basal) | 20.1 × 10−6 cm/s | Demonstrates the permeability assessment of the gut MPS for a high-permeability compound.
Papp of atenolol (apical-to-basal) | 1.31 × 10−6 cm/s | Reflects the permeability evaluation of a low-permeability compound in the gut MPS.
Efflux ratio of quinidine | 2.02 | Indicates active efflux transport by P-gp in the MPS and evaluates transporter functionality.
Efflux ratio of sulfasalazine | 12.7 | Reveals the active transport mediated by BCRP and validates transporter activity in the model.
Fraction escaping gut metabolism (Fg) for midazolam | 0.64 | Indicates the prediction of intestinal availability based on transport and metabolism studies in the system, correlating well with in vivo data.
Trans-epithelial electrical resistance (TEER) measurement | Not implemented | While TEER is a common integrity measure, this parameter emphasizes that lucifer yellow permeability was used alternatively for leak-tight monolayer confirmation.
Lucifer yellow permeability threshold for leak-tight monolayer | < 1.0 × 10−6 cm/s | Ensures monolayer integrity during transport experiments and signifies functional barrier properties.
Permeability reduction of midazolam in the presence of inhibitors | Increase in apical-to-basal transport | Demonstrates metabolic activity and CYP3A4 enzyme function supported by drug transport studies.
Metabolism indicator for midazolam | 1-hydroxymidazolam formation | Validates CYP3A4-mediated metabolic activity and drug metabolism capability in gut MPS/Fluid3D-X.
Drug concentration consistency for donor side (Fluid3D-X) | Relatively constant throughout the study | Highlights the effect of the device material and design in maintaining drug levels.
Reduction in quinidine inlet concentration in Emulate platform | 29% in 6 h, 18% after 24 h | Relevant to fluid dynamics and absorption differences between platforms.
Fg calculation equation | Fg = 1 / [2 × (CLapical→basal (+inhibitor) / CLapical→basal (−inhibitor)) − 1] | Provides the methodology for computing the fraction escaping gut metabolism.
ALP culture's dome-shaped formation | Observed in the dome structure during hiSIEC culture | Reflects a novel and possibly relevant structural trait for functional intestinal modeling.
Gene expression levels monitored | FABP2, MUC2, REG4, LYZ, GP2 | Indicates differentiation into specific intestinal cell types, validating physiological relevance.
Presence of efflux transporter inhibitors | Ketoconazole 10 µM, PSC833 5 µM, Ko143 5 µM | Supports assessment of active transport processes and drug interaction studies in the platform.
Drug test concentrations used for experiments | Ranges from 0.5 µM to 10 µM | Relevant to the experimental design ensuring non-cytotoxic levels during ADME studies.
Drug transporters | P-gp (P-glycoprotein), BCRP (breast cancer resistance protein), and multidrug resistance-associated proteins | Relevant as these transporters influence the intestinal absorption and pharmacokinetics of orally administered drugs.
Cytochrome P450 enzymes | CYP3A4, CYP2C9, CYP2C19 | Relevant because the metabolism of drugs by cytochrome P450 enzymes significantly impacts pharmacokinetics.
UDP-glucuronosyltransferases | Involved in intestinal metabolism | Relevant as they play a key role in determining the extent of drug metabolism in the intestine, thus affecting pharmacokinetics.
Species differences | Significant differences in bioavailability among humans and animal models | Relevant because species differences influence the predictability of pharmacokinetics from preclinical models to humans.
Cell model limitations | Caco-2 cells exhibit low expression of CYP3A4, CYP2C9, and CYP2C19 enzymes | Relevant since this limitation affects the ability of traditional in vitro techniques to predict drug pharmacokinetics accurately.
Active efflux transport inhibition | Quinidine and sulfasalazine transport reduced by inhibitors | Relevant as inhibitor studies demonstrate the impact of efflux mechanisms on pharmacokinetics.
Stem cell-derived cells | hiSIECs maintaining CYP3A4 activity under ALI culture conditions | Relevant because the metabolic functionality of hiSIECs under ALI influences the accuracy of pharmacokinetics predictions.
Surface area variance | Larger surface area of Fluid3D-X compared to other microphysiological systems | Relevant as it impacts the handling of flow dynamics and drug transport, affecting pharmacokinetics.
Drug sequestration by materials | PDMS leads to adsorption of compounds in Emulate platform | Relevant as it alters drug concentrations, affecting pharmacokinetics assessments.
Efflux ratios (ERs) | 2.02 for quinidine, 12.7 for sulfasalazine | Relevant because they indicate the extent of efflux transport activity, which directly affects pharmacokinetics.
Fraction escaping metabolism (Fg) | Fg value of 0.64 for midazolam | Relevant as it correlates in vitro results to in vivo pharmacokinetics assessments.
Culture conditions | ALI conditions improve CYP3A4 expression/activity | Relevant since culture conditions impact cellular physiology, influencing pharmacokinetics outcomes.
Directional transport | Observed for quinidine and sulfasalazine | Relevant as it highlights directional efflux contributing to pharmacokinetics.
Inhibition of metabolic enzymes | Midazolam metabolism affected by CYP3A4 inhibitors | Relevant because the reduction in metabolism by inhibitors provides insights into enzyme-mediated pharmacokinetics.
Differentiation factors affecting transporters | Forskolin influences hiSIECs differentiation | Relevant as changes in differentiation states can impact transporter expression and pharmacokinetics.
Leakage on later days of culture | Lucifer yellow permeability increased on day 13 | Relevant because monolayer integrity is a factor in accurate pharmacokinetics modeling.
Differential gene expression | Increases in ABCB1, CYP3A4 over time in ALI-cultured hiSIECs | Relevant as gene expression levels correlate with functional pharmacokinetics properties.