## Table 1
Mobile phase (volume ratio) | Column | Sample preparation | Volume of plasma (µL) | LOQ (ng/mL) | Run time (min) | Considerations | Ref
ACN-water- acetic acid (60:40:0.1) | C18 (250 × 4.6 mm, 5 µm) | Protein precipitation | 150–300 (blood) | Not available | Not available | Protein precipitation method | [29]
Ammonium phosphate monobasic ACN-triethylamine (55:45) | Not available | Protein precipitation | 100 | 250 | Not available | Protein precipitation method, high LOQ | [30]
ACN-water (70:30) | C18 (250 × 4.6 mm, 5 µm) | Protein precipitation | 400 | 250 | 12 | Protein precipitation method, high LOQ | [31]
ACN- potassium dihydrogen orthophosphate (gradient mode) | C18 (250 × 4.6 mm, 5 µm) | Extraction (6 mL diethyl ether and 0.03 mL NaOH 0.1 M) | 200 | 50 | 11 | Large volume of extraction solvent | [28]
ACN-water (60:40) | C18 (150 × 4.6 mm, 5 µm) | Protein precipitation | 150 | 125 | 11 | Protein precipitation method | [32]
ACN-water, gradient mode | C18 (150 × 4.6 mm, 5 µm) | Protein precipitation | 150 | 250 | 15 | Protein precipitation method, high LOQ | [33]
ACN-ammonium bicarbonate (gradient mode) | C18 (150 × 2.1 mm, 1.7 µm) | Extraction (5 mL dichloromethane-hexane-diethyl ether-n-amyl alcohol) | 1000 | 50 | 13 | Utilizing the ultra-HPLC method, large volume of plasma, large volume of extraction solvent | [19]
ACN-phosphate buffer (60:40) | C18 (150 × 4.6 mm, 4 µm) | Protein precipitation | 3000 (blood) | 20 | ~ 11 | Protein precipitation method, large volume of blood | [20]
ACN-MeOH-phosphate buffer (49:8:43) | C8 (150 × 4.6 mm, 5 µm) | Solid phase extraction | 450 | 50 | 10 | Solid phase extraction method, large volume of plasma | [22]
ACN-phosphate buffer (gradient mode) | C18 (250 × 4.6 mm, 5 µm) | Solid phase extraction (microextraction by packed sorbent) | 150 | 50 | 36 | Solid phase extraction method, long run time | [17]
ACN-water- trifluoroacetic acid (48:52:0.02) | C8 | Protein precipitation | 500 | 50 | Not available | Protein precipitation method, large volume of plasma | [9]
ACN- phosphate buffer (gradient mode) | C6 (150 × 4.6 mm, 5 µm) | Solid phase extraction | 300 | 50 | 19 | Solid phase extraction method, long run time | [16]

## Table 2
Chromatographic conditions_Unnamed: 0_level_1_Unnamed: 0_level_2 | Chromatographic conditions_Codes_Codes | Chromatographic conditions_Factors_Factors | Chromatographic conditions_Unit_Unit | Chromatographic conditions_Levels_Low (-1) | Chromatographic conditions_Levels_Medium (0) | Chromatographic conditions_Levels_High (1)
Independent factors | A | Total organic phase | % v/v | 52 | 56 | 60
Independent factors | B | MeOH | % v/v | 0 | 3 | 6
Independent factors | C | Mobile pH |  | 3 | 5 | 7
Independent factors | D | Column temperature | °C | 25 | 33 | 40
Independent factors | E | Flow rate | mL/min | 0.70 | 0.85 | 1.00
|  |  |  | Desired response | Desired response | Desired response
Responses |  | PCZ RT | min | Minimum | Minimum | Minimum
|  | IS RT | min | Minimum | Minimum | Minimum
|  | Resolution |  | > 2 | > 2 | > 2

## Table 3
Experiment number_Experiment number_Experiment number | Chromatographic conditions_Factors_A (%v/v) | Chromatographic conditions_Factors_B (%v/v) | Chromatographic conditions_Factors_C | Chromatographic conditions_Factors_D (℃) | Chromatographic conditions_Factors_E (mL/min) | Unnamed: 6_level_0_Responses_PCZ RT (min) | Unnamed: 7_level_0_Responses_IS RT(min) | Unnamed: 8_level_0_Responses_Resolution
1 | 52 | 0 | 3 | 25 | 1 | 11.3 ± 0.1 | 11.3 ± 0.1 | 0.0 ± 0.0
2 | 60 | 0 | 3 | 25 | 0.7 | 13.3 ± 0.0 | 14.5 ± 0.0 | 1.3 ± 0.0
3 | 52 | 6 | 3 | 25 | 0.7 | 24.8 ± 0.1 | 20.8 ± 0.0 | 4.6 ± 0.1
4 | 60 | 6 | 3 | 25 | 1 | 8.6 ± 0.0 | 9.0 ± 0.0 | 0.9 ± 0.0
5 | 52 | 0 | 7 | 25 | 0.7 | 23.3 ± 0.7 | 18.3 ± 0.2 | 4.7 ± 0.4
6 | 60 | 0 | 7 | 25 | 1 | 8.3 ± 0.0 | 8.3 ± 0.0 | 0.0 ± 0.0
7 | 52 | 6 | 7 | 25 | 1 | 20.7 ± 0.0 | 13.4 ± 0.0 | 10.1 ± 0.1
8 | 60 | 6 | 7 | 25 | 0.7 | 16.3 ± 0.3 | 14.5 ± 0.3 | 2.3 ± 0.3
9 | 52 | 0 | 3 | 40 | 0.7 | 20.6 ± 0.0 | 16.9 ± 0.9 | 1.9 ± 0.1
10 | 60 | 0 | 3 | 40 | 1 | 7.9 ± 0.1 | 8.3 ± 0.0 | 1.0 ± 0.1
11 | 52 | 6 | 3 | 40 | 1 | 15.6 ± 0.0 | 11.9 ± 0.0 | 5.8 ± 0.1
12 | 60 | 6 | 3 | 40 | 0.7 | 15.0 ± 0.0 | 15.0 ± 0.0 | 0.0 ± 0.0
13 | 52 | 0 | 7 | 40 | 1 | 14.3 ± 0.3 | 10.7 ± 0.0 | 5.4 ± 0.1
14 | 60 | 0 | 7 | 40 | 0.7 | 13.5 ± 0.1 | 12.8 ± 0.1 | 0.7 ± 0.1
15 | 52 | 6 | 7 | 40 | 0.7 | 31.8 ± 0.0 | 20.2 ± 0.1 | 9.9 ± 0.0
16 | 60 | 6 | 7 | 40 | 1 | 9.7 ± 0.2 | 8.4 ± 0.2 | 2.2 ± 0.4
17 | 56 | 3 | 5 | 33 | 0.85 | 14.5 ± 0.0 | 12.3 ± 0.0 | 3.5 ± 0.2
18 | 56 | 3 | 5 | 33 | 0.85 | 14.6 ± 0.1 | 12.3 ± 0.1 | 3.5 ± 0.4
19 | 56 | 3 | 5 | 33 | 0.85 | 15.4 ± 0.1 | 12.8 ± 0.0 | 3.8 ± 0.2
20 | 56 | 3 | 5 | 33 | 0.85 | 14.2 ± 0.2 | 11.8 ± 0.3 | 3.8 ± 0.2

## Freetext Data
Data | Value | Relevance
Posaconazole (PCZ) quantification method | High-performance liquid chromatography with UV detection | Relevant to the question of method development for posaconazole quantification in plasma samples.
Optimized chromatography conditions | Organic phase 58% v/v, methanol 6% v/v, mobile pH 7, column temperature 39°C, flow rate 1.2 mL/min | Relevant for understanding the specific conditions optimized for rapid and efficient PCZ detection.
Retention time (RT) | 8.2 ± 0.2 minutes | Relevant to the goal of developing a rapid chromatographic method for PCZ quantification.
Extraction solvent volume | 500 µL tertiary butyl methyl ether | Relevant to optimizing the plasma sample preparation process.
Plasma sample volume | 100 µL | Relevant to the use of low-volume plasma samples necessary for preclinical pharmacokinetics.
Recovery of PCZ | Above 98% | Relevant to assessing the effectiveness of the optimized extraction method for quantifying PCZ.
Limit of quantification (LOQ) | 50 ng/mL | Relevant for establishing the sensitivity of the developed method.
Calibration curve linearity | Range: 50–2000 ng/mL, R2 = 0.992 | Relevant for validating the reliability and accuracy of the method.
Machine learning models | Artificial Neural Network (ANN) combined with Genetic Algorithm (GA) | Relevant to the innovative method optimization approach using AI tools.
Pharmacokinetic parameters | t1/2 = 7.1 ± 0.6 h, MRT = 10.5 ± 0.9 h, AUC = 1725.7 ± 44.1 ng × h/mL | Relevant to tracking how PCZ nanomicelles behave within the body in a preclinical context.
Nanomicelle size | Mean size: 40.1 ± 3.1 nm | Relevant to the formulation of PCZ-loaded micelles, which were studied in pharmacokinetics.
Analytical validation parameters | Precision (%CV ≤15), accuracy (%RE ≤ ± 15%), selectivity, carry-over: acceptable | Relevant to confirming the robustness and compliance of the developed method with ICH guidelines.
Method robustness | No significant impact from ± variations in setup parameters | Relevant to demonstrating consistency and reliability of the optimized chromatographic conditions.
Previous extraction methods | Protein precipitation and solid-phase extraction | Relevant for contextual comparison to the liquid-liquid extraction used here and its benefits.
Applicability | Analysis of PCZ-loaded nanomicelles in rat plasma | Relevant to understanding the preclinical application of the developed method for drug formulations.
Blood sampling time points | Blood samples were collected at specific time intervals (0, 0.25, 0.5, 0.75, 1, 2, 4, 6, 8, and 10 h) after the injection. | The time points are crucial for capturing the drug concentration-time profile in pharmacokinetics studies.
Patient population | Male Wistar rats weighing 220–250 g were used. | Understanding the patient population helps define the study scope and applicability to preclinical pharmacokinetics.
Sample size | Blood samples of rats were collected for pharmacokinetic analysis. | Reflects the model organism sample size used to collect data essential for pharmacokinetics evaluation.
Sampling method | Blood samples were obtained from the tail vein and collected in heparinized tubes. | This specifies the method used for extracting blood samples, ensuring reproducibility and accuracy in pharmacokinetics evaluation.
Blood sampling volume | 100 μL of plasma was used for storage and processing. | Relevant for optimizing analytical methods in preclinical studies, particularly for small animals.
Non-compartmental method | Used | The paper used a non-compartmental method during pharmacokinetic evaluations, which helps calculate parameters like half-life and mean residence time without assuming a specific compartmental model.
Chromatographic Factors | Total organic phase 58% v/v | Relevant for optimizing the chromatography method based on ANOVA and desirability functions.
Chromatographic Factors | Methanol (MeOH) 6% v/v | Critical for achieving peak resolution and retention time of PCZ and IS during chromatography.
Chromatographic Factors | Mobile pH = 7 | Important for minimizing retention time and maximizing selectivity.
Chromatographic Factors | Column temperature = 39 °C | Enhances peak resolution and possibly narrows peak widths during chromatographic runs.
Chromatographic Factors | Flow rate = 1.2 mL/min | Balances resolution and run time during chromatographic analysis as per optimization results.
Extraction Parameters | Volume of extraction solvent = 500 μL | Determined to improve recovery while ensuring clean plasma matrix using TBME as solvent.
Extraction Parameters | Plasma pH = 11 | Estimated during optimization to favor unionized form of PCZ for efficient extraction.
Extraction Parameters | NaCl = 10% w/v | Optimized to leverage the salting-out effect for improved extraction efficiency.
Extraction Parameters | Extraction time = 10 min | Determined for maximum recovery of PCZ and to ensure efficient extraction.
Extraction Parameters | Centrifuge time = 1 min | Optimized for clean separation of organic phase with minimal loss of analyte.
Machine Learning Optimization | Fractional factorial design (25–1 with V resolution) and ANN-GA hybrid model | Used to screen and optimize chromatographic and extraction conditions in the study.
Relevant Parameter Source | ICH Guideline | Validation parameters including linearity, selectivity, accuracy, precision, LOQ estimated as per International Council for Harmonization guidelines.
Relevant Analytical Instrument | Knauer HPLC system | Instrument setup was critical for defining the parameters and ensuring accurate chromatographic results.
Optimization Model | Desirability function values and ANN predictions | Parameters were determined by combining chemometry with machine learning for precise estimations.
Factors affecting PCZ retention time | Organic phase %, methanol %, mobile pH, column temperature, flow rate | Retention time impacts the accuracy and speed of pharmacokinetic assessments, which are essential for drug analysis and optimization processes.
Factors affecting recovery in extraction | Volume of extraction solvent, NaCl %, plasma pH, extraction time, centrifuge time | Efficient recovery is crucial for quantifying pharmacokinetics accurately, especially in preclinical studies requiring precise drug concentration measurements in plasma samples.
Extraction solvent | Tertiary butyl methyl ether (TBME) | Selection of a clean and effective extraction solvent influences the reliability of pharmacokinetic analysis by reducing impurities that may interfere with results.
Plasma pH | pH 11 increases recovery efficiency | Plasma pH modulates drug ionization states, directly affecting its recovery during extraction and influencing pharmacokinetics accurately.
Addition of salt | 10% w/v NaCl enhances recovery due to salting-out effect | Salting-out enhances drug transfer into the organic phase, improving extraction efficiency relevant for pharmacokinetic sample preparation.
Optimization techniques | 2-level fractional factorial design, ANN, GA | Optimization methods directly determine the experimental conditions under which pharmacokinetics can be accurately assessed, with minimal error and environmental waste.
Validated method linearity | Range of 50–2000 ng/mL | Accurate calibration for analyzing pharmacokinetics ensures reliable and reproducible measurement of drug concentrations in plasma.
Half-life | 7.1 ± 0.6 h | Half-life is a critical pharmacokinetic parameter, influencing drug dosing and administration schedules.
Mean residence time | 10.5 ± 0.9 h | MRT provides insights into cumulative drug presence in the body and is closely tied to pharmacokinetic profiles.
Area under the curve (AUC) | 1725.7 ± 44.1 ng × h/mL | AUC reflects the extent of drug exposure over time, central to evaluating the pharmacokinetics of formulations or drugs.