## Table 1
Assay Type | Assay Type.1 | Assay Type.2 | Assay Type.3
LFIA | LFIA | LFIA | LFIA
Meat sample | Added GAT, ng/g | Revealed GAT, ng/g | Recovery ± SD *, %
Chicken | 12 | 12.2 ± 1.2 | 101.4 ± 10.1
Chicken | 36 | 43.6 ± 3.7 | 121.2 ± 10.2
Turkey | 12 | 13.3 ± 1.5 | 110.7 ± 12.3
Turkey | 36 | 25.8 ± 5.4 | 71.8 ± 15.1
Rabbit | 12 | 11.8 ± 1.2 | 98.1 ± 9.9
Rabbit | 36 | 41.3 ± 3.8 | 114.8 ± 10.5
Pork | 12 | 13.4 ± 1.6 | 111.3 ± 13.4
Pork | 36 | 33.9 ± 5.4 | 94.1 ± 15.1
Lamb | 12 | 12.2 ± 1.2 | 101.5 ± 9.8
Lamb | 36 | 28.5 ± 5.4 | 79.1 ± 15.0
Beef | 12 | 14.2 ± 1.4 | 118.4 ± 12.0
Beef | 36 | 36.1 ± 4.1 | 100.2 ± 11.5
ELISA | ELISA | ELISA | ELISA
Meat sample | Added GAT, µg/g | Revealed GAT, µg/g | Recovery ± SD *, %
Chicken | 0.96 | 0.86 ± 0.02 | 89.1 ± 2.6
Chicken | 1.44 | 1.33 ± 0.02 | 90.3 ± 1.3
Turkey | 0.96 | 0.93 ± 0.001 | 97.3 ± 0.1
Turkey | 1.44 | 1.31 ± 0.04 | 91.3 ± 2.7
Rabbit | 0.96 | 0.86 ± 0.02 | 89.4 ± 2.1
Rabbit | 1.44 | 1.24 ± 0.02 | 86.3 ± 1.3
Pork | 0.96 | 0.82 ± 0.01 | 85.9 ± 1.5
Pork | 1.44 | 1.20 ± 0.07 | 83.2 ± 4.8
Lamb | 0.96 | 0.84 ± 0.02 | 87.6 ± 2.0
Lamb | 1.44 | 1.06 ± 0.06 | 73.3 ± 4.0
Beef | 0.96 | 0.83 ± 0.02 | 87.1 ± 2.2
Beef | 1.44 | 1.27 ± 0.05 | 88.2 ± 3.2

## Table 2
0 | 1 | 2 | 3 | 4
Immunoassays | Immunoassays | Immunoassays | Immunoassays | Immunoassays
Assay type | Hapten usedfor antibody production | Sensitivity | Matrix | Reference
icELISA with electrochemical detection | GAT | IC 50 = 8.9 ng/mL | Swine urine | [76]
icELISA with colorimetric detection | GAT | LOD = 0.05 ng/mL | Milk | [77]
icELISA with colorimetric detection | GAT | IC 50 = 4.7 ng/mL | Buffer | [45]
icELISA with chemiluminescent detection | GAT | LOD = 1 pg/mL | Milk | [78]
icELISA with colorimetric detection | PAZ | LOD = 1.43 ng/mL | Buffer | [79]
icELISA with colorimetric detection | PAZ | LOD = 1.72 ng/mL | Milk | [80]
LFIA | NOR and SAR | LOD/cutoff = 10/100 ng/mL | Milk | [81]
LFIA with enhancement | GAT | LOD = 0.8 pg/mLCutoff = 20 ng/mL | Different kind of raw meat | This study
Other analytical methods | Other analytical methods | Other analytical methods | Other analytical methods | Other analytical methods
LC-MS/MS | n/n * | Linear range = 1.56–400 ng/mL | Rabbit tear fluid | [15]
Ultra HPLC | n/n * | LOD = 0.09 ng/mL | Milk, honey | [16]
HPLC | n/n * | LOD = 25 µg/mL | Ophthalmic solution | [17]
Micellar LC | n/n * | Linear range = 5–45 µg/mL | Pharmaceutical formulation | [18]
UV-Vis spectrometric analysis | n/n * | Linear range = 0.075–0.25 µg/mL | Human urine, lake water | [19]
UV-Vis spectrometric analysis | n/n * | Linear range = 4–14 µg/mL | Pharmaceutical formulation | [20]
Microbiological assay | n/n * | Linear range = 4–16 µg/mL | Pharmaceutical formulation | [21]
Electrochemical detection | n/n * | LOD = 2.61 × 10−15 M | Real water samples | [22]
Electrochemical detection | n/n * | LOD = 1.2 nM | Milk, human serum, pharmaceutical formulation | [23]

## Freetext Data
Data | Value | Relevance
Instrumental LOD | 0.8 pg/mL | The instrumental limit of detection (LOD) of Gatifloxacin (GAT) in the enhanced LFIA was identified as 0.8 pg/mL, highlighting the sensitivity of the developed test system.
Cutoff | 20 pg/mL | The cutoff corresponds to the concentration at which a visible signal completely disappears in the test zone, essential for determining the threshold in food safety testing.
Test Duration | 21 minutes | The LFIA procedure, including the amplification step, was completed in 21 minutes, emphasizing the assay's rapid applicability for screening purposes.
Recovery Range | 78.1–114.8% | GAT recoveries from spiked meat samples demonstrate the efficacy of the test system in detecting the antibiotic in food matrices.
Specific Antibodies | Monoclonal Anti-GAT Antibodies | The specificity of monoclonal antibodies ensures accurate identification and quantification of GAT compared to other antibiotics.
Signal Amplification Mechanism | Chemical Enhancement via H2O2 | Signal amplification was facilitated through the oxidative etching of Au@Ag NPs by hydrogen peroxide, forming bare AuNPs and Ag+ ions for enhanced substrate oxidation.
Relevance to Antibiotic Detection | Food Contamination Control | The study addresses the critical need for rapid and sensitive methods to monitor antibiotic residues, ensuring food safety and combating antimicrobial resistance.
Sensitivity Improvement | 625-fold compared to AuNP-Based LFIA | The enhanced method demonstrates significant sensitivity gains in detecting GAT, making it applicable for ultra-trace analysis in complex matrices.
Validation in Real Matrices | Raw Meat Samples | Demonstrates applicability in detecting GAT residues in various types of meat, showcasing the method's operational versatility in food safety monitoring.
Test System Application | On-Site Screening | Designed for rapid and cost-effective food product testing outside laboratory settings, ideal for large-scale screening of antibiotic residues.
Patient Population | N/A | The paper focuses on method development for GAT detection and does not describe any patient population used for PK study.
Sample Size | N/A | The study does not mention a specific patient sample size as it is not a clinical pharmacokinetic study but an analytical method development.
Blood Sampling Time Points | N/A | The study does not involve blood sampling or describe time points as it focuses on the detection of GAT in food matrices like meat.
Tissue Sampling | Meat from local grocery stores | Analyzing raw meat to detect GAT contamination is relevant for understanding the potential tissue distribution of antibiotics but not in the context of a patient PK study.
PK Study Design Mention | Absent | The paper does not describe or conduct a pharmacokinetic study, thus no relevant design metrics are provided.
Model | Indirect competitive format of lateral flow immunoassay (LFIA) | The study uses an indirect competitive format for the LFIA model, critical for ultrasensitive detection methods of gatifloxacin in the study context.
Instrumental LOD (AuNP) | 0.5 ng/mL | Demonstrates sensitivity benchmark established for gatifloxacin detection using the AuNP-based LFIA.
Cutoff (AuNP) | 7.5 ng/mL | Indicates point at which test fails to visually detect GAT using AuNP label, relevant for visual assessments.
WR (AuNP) | 0.7–5.4 ng/mL | Specifies the effective quantification range in AuNP-based LFIA, aiding in determining GAT presence in sample concentrations.
Instrumental LOD (common Au@Ag NP) | 1.4 pg/mL | Reflects improved sensitivity using Au@Ag NPs versus AuNPs for gatifloxacin detection.
Cutoff (common Au@Ag NP) | 50 pg/mL | Identifies baseline for visual detection under common LFIA format employing Au@Ag NPs.
WR (common Au@Ag NP) | 2–40 pg/mL | Provides the range of applicable GAT detection concentrations using common Au@Ag NP-based LFIA.
Instrumental LOD (enhanced Au@Ag NP) | 0.8 pg/mL | Marks high sensitivity achieved through catalytic signal enhancement in enhanced LFIA format.
Cutoff (enhanced Au@Ag NP) | 20 pg/mL | Determines the threshold for visual detection when using enhanced signal amplification via Au@Ag NPs.
WR (enhanced Au@Ag NP) | 0.8–20 pg/mL | Defines operational detection zone for enhanced LFIA, underlining its analytical improvement.
Extract buffer (raw meat) | MESTW1 (10mM MES, pH 7.7, 1% Tween-20) | Optimized for effective extraction of GAT from raw meat samples, reducing matrix effect.
Dilution factor for meat extract | 3× | Ensures minimized matrix interference, facilitating accurate GAT quantification in LFIA testing.
Assay duration (enhanced LFIA) | 21 min | Highlights rapid testing timeline including sample processing and signal enhancement, emphasizing efficiency.
Sample preparation method | Minced meat + centrifugation | Importance lies in homogenization and matrix extraction protocol specific for LFIA in real meat samples.
Antibody concentration (LFIA with Au@Ag NP) | 2.5 µg/mL | Chosen concentration optimizing interaction specificity and performance in LFIA of gatifloxacin.
Volume of GAMI–Au@Ag NP | 1.5 µL | Parameter crucial for determining label application and consistent zone formation in common LFIA format.
Substrate mixture for amplification | 0.1mM sodium citrate, 0.83mM TMB, 2µM dextran sulfate, 1.76M H2O2 | Maximizes catalytic activity for signal enhancement during LFIA, effectively lowering GAT detection limits.
Calibration curves leverage | ELISA competitive interaction models | Basis for estimating analytical sensitivity parameters (LOD, WR) across immunoassay formats.
The widespread use of antimicrobial drugs in agriculture and veterinary medicine | May lead to accumulation in livestock products | Indicates factors like agricultural practices influencing pharmacokinetics through contamination pathways.
Regular consumption of food contaminated with antibiotic residues | Can cause serious harm to human health | Factors such as dietary intake influence the pharmacokinetics when antibiotics like GAT are inadvertently ingested.
Presence of antibiotic residues in food matrices | Influences detection sensitivity in assays | The extraction and test preparation processes impact pharmacokinetics by affecting drug residue recovery and consequent measurements.
Matrix effects in real meat samples | Requires dilution of raw meat extracts | Demonstrates how food composition impacts pharmacokinetics by modifying drug bioavailability or detectability.
Dextran sulfate addition | Promotes insoluble product formation during signal enhancement | Illustrates chemical composition effects on interactions relevant pharmacokinetically in testing accuracy pathways.