## Table 1
Analyte | Transition | CE (eV)
Neoeriocitrin/Eriocitrin | m/z 595 ˃ m/z 287 m/z 595 ˃ m/z 459 | 25
Naringin/Narirutin | m/z 579 ˃ m/z 271 m/z 579 ˃ m/z 459 | 25
Neohesperidin/Hesperidin | m/z 609 ˃ m/z 301 m/z 609 ˃ m/z 325 m/z 609 ˃ m/z 489 | 25
Quercetin-3-O-glucoside (IS) | m/z 463 ˃ m/z 301 | 22

## Table 2
Spiked Samples80% Neohesperidosides20% Rutinosides | S1 | S2 | S3 | S4
Neoeriocitrin Found (%) | 78.6 ± 0.1 | 75.6 ± 0.5 | 80.5 ± 0.6 | 74.2 ± 1.1
Accuracy (%) | 96 | 95 | 101 | 93
Matrix effect | 0.99 | 1.02 | 0.99 | 0.98
Naringin Found (%) | 77.3 ± 1.2 | 68.4 ± 1.3 | 57.8 ± 0.6 | 56.1 ± 0.6
Accuracy (%) | 97 | 86 | 72 | 70
Matrix effect | 0.94 | 0.81 | 0.63 | 0.60
Neohesperidin Found (%) | 72.1 ± 7.5 | 72.1 ± 1.9 | 71.0 ± 3.2 | 65.8 ± 7.7
Accuracy (%) | 90 | 90 | 89 | 82
Matrix effect | 0.92 | 0.92 | 0.91 | 0.85

## Table 3
Unnamed: 0_level_0_Fortified Samples(Neohesperidosides:Rutinosides) | Neoeriocitrin/Eriocitrin_Accuracy (%) | Naringin/Narirutin_Accuracy (%) | Neohesperidin/Hesperidin_Accuracy (%) | Unnamed: 4_level_0_Unnamed: 4_level_1 | RSD% *_Unnamed: 5_level_1
FS1 (100:0) | 101/100 | 103/100 | 102/100 | FS2 (90:10) | 8.2
FS2 (90:10) | 102/91 | 91/92 | 100/102 | FS3 (10:90) | 6.3
FS3 (10:90) | 103/90 | 106/90 | 100/100
FS4 (0:100) | 102/98 | 95/105 | 118/98
FS5 (95:5) | 100/96 | 91/˃120 | 99/115
FS6 (5:95) | 106/95 | ˃120/95 | ˃120/93

## Table 4
Unnamed: 0_level_0_Unnamed: 0_level_1 | Neoeriocitrin/Eriocitrin_Concentration(mg/L) | Neoeriocitrin/Eriocitrin_Ratio(%) | Naringin/Narirutin_Concentration(mg/L) | Naringin/Narirutin_Ratio(%) | Neohesperidin/Hesperidin_Concentration(mg/L) | Neohesperidin/Hesperidin_Ratio(%)
Citron | 15 ± 1 | 0:100 | - | - | 9 ± 1 | 0:100
Grapefruit | - | - | 319 ± 34 | 75:25 | - | -
Bergamot | 76 ± 10 | 100:0 | 72 ± 8 | 100:0 | 49 ± 5 | 100:0
Orange | - | - | 27 ± 3 | 0:100 | 86 ± 8 | 0:100
Lemon | 106 ± 4 | 5:95 | 14 ± 1 | 30:70 | 185 ± 5 | 10:90
Orange–Clementine | - | - | 37 ± 3 | 10:90 | 21 ± 2 | 100:0
Clementine–Bergamot | 80 ± 6 | 85:15 | 75 ± 6 | 84:16 | 134 ± 7 | 52:48

## Table 5
Concentration (µM)_Unnamed: 0_level_1 | DPPH Inhibition (%)_Neoeriocitrin | DPPH Inhibition (%)_Eriocitrin | DPPH Inhibition (%)_Naringin | DPPH Inhibition (%)_Narirutin | DPPH Inhibition (%)_Neohesperidin | DPPH Inhibition (%)_Hesperidin
4 | 22 | 19 | 3 | 0.3 | 6 | 2
8 | 48 | 37 | 4 | 0.5 | 13 | 3
18 | 100 | 70 | 5 | 4 | 40 | 37

## Freetext Data
Data | Value | Relevance
Conceptualization | L.B. and L.D.D. | Relevant to understanding project initiation and direction, showcasing the authors' roles in framing the study.
Methodology | L.B. and L.D.D. | Provides insight into the analytical techniques developed for flavonoid analysis, emphasizing their contribution to innovation.
Validation | L.B. and F.M. | Highlights the processes ensuring accuracy and reliability of the developed protocol, essential for confirming results.
Preferred Instrument | Paper Spray Tandem Mass Spectrometry (PS-MS/MS) | It is critical to the study as the novel method was based on this instrument for rapid and accurate isomer identification and quantification.
Key Isomers Studied | Neoeriocitrin, eriocitrin, naringin, narirutin, neohesperidin, hesperidin | Relevant because these flavonoid isomers were the primary focus of the analytical method and nutraceutical evaluation.
DPPH Assay Outcome | Neohesperidosides exhibited superior antioxidant activity at low concentrations compared to rutinosides | Shows the relevance of quantitatively separating isomers related to antioxidant potential evaluation.
Matrix | Citrus juices, cola soft drink matrix | Highlights the importance of matrix in developing reliable calibration and addressing matrix effect on flavonoid quantification.
Sample Preparation | Rapid centrifugation and dilution | Relevant because it simplifies traditional complex chromatographic methods and supports the emphasis on efficiency.
Antioxidants Evaluated | Flavanone glycosides | Relevant to addressing health benefits and quality control of citrus juice, aligning with food authenticity goals.
Data Validation | Comparison with HPLC-MS/MS results | Ensures robustness and reliability of the paper spray method and its practical applicability.
Total Experiment Time | 2-minute acquisition | Relevant for illustrating efficiency and throughput advantage compared to traditional methods.
Quantitative Protocol Calibration | Ratio calibration curves | A crucial step for ensuring accuracy despite complex sample matrices, important in method reliability discussion.
Reproducibility | RSD <15% | Relevant for confirming the reliability and consistency of the analytical method across tests.
Matrix Impact Mitigation | Ratio calibration in diluted cola matrix | Demonstrates adaptation of method to minimize matrix effects and achieve accurate results, a key challenge addressed.
Key Health Benefit | Strong antioxidant activity in neohesperidosides | Relevant for supporting the argument on the enhanced nutraceutical value of specific flavonoid isomers.
Real-World Application | Authentication of citrus drinks | Demonstrates the applied practical utility of the analytical method in food quality assurance.
Patient Population | Not applicable as the study focuses on analytical methods, not on patient-derived pharmacokinetic studies | The study is not related to pharmacokinetics or human trials; relevance lies solely in analytical chemistry and food science methodology.
Sample Size | Seven citrus drinks analyzed, including four freshly squeezed juices and two commercial juices, plus fortified blank samples | Indicates that the study designs its assessments around food matrices rather than human pharmacokinetic data, highlighting the methodological scope.
Sampling Time Point | Not applicable as there is no mention of specific time-points for biological sample collection | The study is centered on chemical analysis protocols rather than timed biological sampling, reflecting its non-clinical nature.
Sample Preparation | Simple dilution and centrifugation (10-fold dilution) for citrus juices before PS-MS/MS analysis | Relevant as it provides insight into preparation protocols for analyzing flavanones but diverges from pharmacokinetic sampling structure.
Blood/Tissue Sampling | Not applicable; the study does not involve biological matrices | This underscores that the study is unrelated to pharmacokinetic design and human sample analysis.
Model used | Paper Spray Tandem Mass Spectrometry (PS-MS/MS) | Relevant as it represents the model used for direct determination of flavanone glycosides' isomer ratio and quantification.
Additional comparative model | HPLC-MS/MS | Relevant because HPLC-MS/MS analysis was conducted to validate and verify the robustness of the PS-MS/MS results.
Matrix calibration approach for quantification | Ratio Calibration Curves | Relevant for ensuring reliable quantification in complex matrices, crucial for the novel model's accuracy and reproducibility enhancement.
Spray voltage | 5.0 kV | Parameter relevant for PS-MS/MS ionization, critical for ensuring effective detection of analytes.
Vaporizer temperature | 280 °C | Parameter optimized for desorption of ions, ensuring accurate mass spectrometry analysis.
Capillary temperature | 290 °C | Maintains optimal ion transfer conditions to reduce noise during PS-MS/MS.
Collision gas | Argon | Essential for collision-induced dissociation experiments in MS/MS; ensures precise fragmentation of analytes.
Pressure in collision cell | 1.5 mTorr | Ensures adequate control for fragmentation in MS/MS experiments.
Mass resolution in quadrupoles (Q1 and Q3) | 0.7 Da (full width at half-maximum) | Critical for accurate mass detection and peak identification in MS/MS.
Scan time | 0.4 s | Increases throughput during PS-MS/MS analysis, making the method fast and efficient.
Micro scans | 2 | Provides representative ion measurements while optimizing signal reproducibility.
Collision energy | 25 eV | Optimized to achieve the distinct fragmentation patterns for flavonoid isomers, enabling better discrimination.
Slens settings | 160 V | Ensures efficient ion transfer across mass analyzers for reliable detection.
MRM scan mode transitions | Specific precursor-product ion transitions monitored (e.g., m/z 595 → m/z 459) | Allows reliable quantification and distinction of flavonoid isomer pairs.
Spectrophotometric wavelength | 517 nm | Measured for DPPH assay, directly assessing antioxidant activity of flavonoid standards.
Dilution factors for juices | 10-fold in water for PS-MS/MS; 500-fold for HPLC-MS/MS | Important for minimizing matrix effects and standardizing sample concentrations across methods.
Internal standard for PS-MS/MS | Quercetin-3-O-glycoside at 5 mg/L | Used to enhance calibration and accuracy during concentration quantification.
Internal standard for HPLC-MS/MS | Caffeic acid at 100 μg/L | Ensures reliable calibration and reduces variability in chromatographic analysis.
Accuracy threshold (matrix effect evaluation) | ≥80% | Determines how well the matrix composition interferes with analyte quantification in real and fortified samples.
RSD% for reproducibility analysis | ≤13% | Validates the methodology's consistency over time and across repeated analyses.
Linear correlation coefficient | ≥0.98 | Criterion used to ensure proper calibration curve fitting across all flavonoid pairs.
DPPH concentration range for antioxidant assay | 2–140 µmol/L | Determines antioxidant efficiency of flavonoid isomers at varying concentrations.
DPPH inhibition comparator values | Superior (%) for neohesperidosides at lower concentrations, plateau observed at 40 µM | Indicates structural influence on antioxidant efficiency relevant for nutraceutical evaluation.
Flavanones’ structural backbone | 2,3-dihydro-2-phenylchromen-4-one backbone | Flavanones' structural properties, including the backbone, influence their bioavailability and metabolism in pharmacokinetics.
Linkage to glycoside moiety | Diglycosides, such as neohesperidoside and rutinose derivatives | Glycoside linkage impacts absorption, metabolism, and transformation in the body, affecting pharmacokinetics.
Antioxidant concentration dependency | Neohesperidosides showed superior activity at lower concentrations compared to rutinosides | Concentration-dependent activities may influence bioavailability and effectiveness during metabolism.
Matrix effects | Cola as blank matrix shows variability in interaction | Matrix effects, as quantified, highlight potential alterations in the detection and absorption of flavanones in complex systems.
Fragmentation profiles | Unique CID-MS/MS patterns for positional isomers | Fragmentation patterns exemplify structural distinctions that could impact pharmacokinetic behaviors such as metabolic pathways.
Absorption modulation by substituents | Substituents on the aglycone molecule influence DPPH radical quenching | Structural substituents dictate interactions, affecting absorption rates and pharmacokinetic outcomes.
Ratios of rutinose to neohesperidose derivatives in juices | Higher levels of neohesperidose derivatives versus rutinosides | Differential pharmacokinetics could arise from variable glycosylation ratios in naturally occurring sources.
Detection Limitations | 10% difference needed for clear differentiation between isomers | Demonstrates variability factors that could influence pharmacokinetic modeling accuracy.