## Table 1
Analyte | Linear Equation | Linear Range(ng/mL) | R2 | LODs (ng/ mL) | LOQs (ng/ mL)
Lamivudine | Y = 2.64 × 10−4X + 0.0478193 | 10–1000 | 0.998 | 2.281 | 7.6
Telbivudine | Y = 1.03 × 10−4X + 0.0780841 | 10–1000 | 0.999 | 2.344 | 7.81
Emtricitabine | Y = 5.68 × 10−3X + 0.00688369 | 10–1000 | 0.998 | 4.236 | 9.28
Entecavir | Y = 1.11 × 10−4X + 0.0259589 | 10–1000 | 0.996 | 2.381 | 7.94
Tenofovir | Y = 5.83 × 10−3X + 0.00739558 | 10–1000 | 0.9998 | 3.182 | 8.27
Nedaplatin | Y = 1.18 × 10−3X + 0.0182244 | 1–100 | 0.997 | 0.089 | 0.3
Oxaliplatin | Y = 7.67 × 10−3X + 0.0104116 | 1–100 | 0.9995 | 0.095 | 0.32
Adefovir dipivoxil | Y = 2.22 × 10−3X + 0.00575538 | 1–100 | 0.997 | 0.152 | 0.5

## Table 2
Analyte_Analyte | Nominal Concentration(ng/mL)_Nominal Concentration(ng/mL) | Intra-Day_RE (%) | Intra-Day_RSD (%) | Inter-Day_RE (%) | Inter-Day_RSD (%)
Lamivudine | 10 | −3.27 | 5.44 | 6.74 | 9.19
Lamivudine | 25 | 3.52 | 1.87 | 2.48 | 1.02
Lamivudine | 500 | 4.36 | 2.45 | 2.67 | 2.25
Lamivudine | 800 | −4.23 | 5.56 | 2.46 | 6.72
Telbivudine | 10 | 2.18 | 6.42 | −3.26 | 7.87
Telbivudine | 25 | 4.62 | 7.88 | 5.74 | 8.66
Telbivudine | 500 | −2.95 | 1.45 | −0.28 | 3.43
Telbivudine | 800 | −3.36 | 3.7 | 3.84 | 7.04
Emtricitabine | 10 | 4.84 | 7.71 | 1.27 | 8.51
Emtricitabine | 25 | −1.90 | 2.4 | 3.28 | 0.32
Emtricitabine | 500 | 6.30 | 3.03 | −2.80 | 5.4
Emtricitabine | 800 | 4.27 | 1.91 | 1.43 | 6.02
Entecavir | 10 | 5.07 | 8.43 | 3.06 | 7.52
Entecavir | 25 | −2.46 | 1.25 | 1.21 | 4.4
Entecavir | 500 | −2.84 | 1.95 | 2.94 | 1.85
Entecavir | 800 | 6.28 | 3.64 | −0.94 | 6.05
Tenofovir | 10 | 2.37 | 3.08 | 2.74 | 5.27
Tenofovir | 25 | 5.78 | 6.22 | 3.81 | 5.83
Tenofovir | 500 | −3.21 | 2.35 | 5.27 | 6.05
Tenofovir | 800 | 7.36 | 8.09 | −4.06 | 6.39
Nedaplatin | 1 | 7.82 | 9.35 | 1.68 | 4.97
Nedaplatin | 2 | 3.46 | 6.21 | 2.05 | 2.86
Nedaplatin | 50 | −5.32 | 8.9 | 1.36 | 4.82
Nedaplatin | 80 | 3.26 | 7.34 | −0.68 | 3.2
Oxaliplatin | 1 | −6.72 | 4.48 | −2.47 | 9.68
Oxaliplatin | 2 | −3.46 | 7.25 | 1.38 | 4.04
Oxaliplatin | 50 | 5.43 | 9.17 | 2.44 | 1.06
Oxaliplatin | 80 | 5.89 | 6.68 | 5.42 | 4.9
Adefovir dipivoxil | 1 | −3.72 | 1.73 | 5.28 | 4.19
Adefovir dipivoxil | 2 | 4.58 | 5.61 | 3.81 | 7.01
Adefovir dipivoxil | 50 | 3.24 | 7.09 | 1.28 | 5.9
Adefovir dipivoxil | 80 | 1.36 | 2.52 | 2.34 | 1.89

## Table 3
Analyte_Analyte | Nominal Concentration(ng/mL)_Nominal Concentration(ng/mL) | Matrix Effect (%)_Mean | Matrix Effect (%)_RSD | Recovery (%)_Mean | Recovery (%)_RSD
Lamivudine | 25 | 93.45 | 3.84 | 101.65 | 7.49
Lamivudine | 500 | 110.49 | 9.87 | 93.06 | 2.77
Lamivudine | 800 | 87.02 | 2.16 | 108.94 | 1.49
Telbivudine | 25 | 108.96 | 3.63 | 98.65 | 3.7
Telbivudine | 500 | 97.78 | 2.76 | 93.32 | 1.29
Telbivudine | 800 | 101.72 | 6.11 | 96.92 | 2.15
Emtricitabine | 25 | 97.14 | 10.22 | 96.48 | 2.6
Emtricitabine | 500 | 109.73 | 4.14 | 96.25 | 3.76
Emtricitabine | 800 | 92.9 | 1.6 | 91.37 | 5.46
Entecavir | 25 | 84.53 | 2.89 | 97.37 | 3.37
Entecavir | 500 | 89.25 | 4.84 | 96.54 | 1.09
Entecavir | 800 | 92.11 | 1.54 | 98.36 | 2.46
Tenofovir | 25 | 104.19 | 1.31 | 106.57 | 2.03
Tenofovir | 500 | 99.66 | 3.84 | 91.21 | 3.29
Tenofovir | 800 | 102.4 | 7.96 | 101.26 | 3.45
Nedaplatin | 2 | 97.7 | 1.48 | 90.41 | 8.03
Nedaplatin | 50 | 97.37 | 3.2 | 92.16 | 1.16
Nedaplatin | 80 | 105.42 | 3.11 | 95.25 | 2.75
Oxaliplatin | 2 | 97.63 | 1.14 | 87.59 | 6.34
Oxaliplatin | 50 | 105.31 | 3.45 | 91.12 | 1.55
Oxaliplatin | 80 | 87.51 | 7.6 | 97.7 | 2.65
Adefovir dipivoxil | 2 | 90.64 | 1.2 | 97.52 | 3.53
Adefovir dipivoxil | 50 | 98.61 | 4.54 | 97.01 | 6.57
Adefovir dipivoxil | 80 | 96.18 | 2.98 | 103.39 | 2.63

## Table 4
Analyte_Analyte | NominalConcentration(ng/mL)_NominalConcentration(ng/mL) | Recovery% (RSD%)_25 °C/ 24 h | Recovery% (RSD%)_Autosampler(4 °C)/24 h | Recovery% (RSD%)_3 Freeze–ThawCycles | Recovery% (RSD%)_−20 °C/7 Days
Lamivudine | 25 | 90.59 (2.21) | 91.37 (7.98) | 92.43 (9.94) | 90.60 (1.38)
Lamivudine | 800 | 94.04 (1.57) | 98.95 (1.66) | 96.78 (9.65) | 95.89 (3.57)
Telbivudine | 25 | 97.77 (6.74) | 96.03 (1.99) | 93.25 (3.81) | 92.84 (3.31)
Telbivudine | 800 | 110.33 (8.75) | 98.49 (4.96) | 89.84 (7.91) | 93.45 (5.12)
Emtricitabine | 25 | 107.86 (9.96) | 104.94 (9.42) | 102.32 (4.37) | 96.26 (1.26)
Emtricitabine | 800 | 103.93 (2.15) | 106.18 (2.44) | 104.75 (3.89) | 101.05 (1.35)
Entecavir | 25 | 94.03 (1.47) | 92.85 (1.58) | 92.82 (9.28) | 95.69 (3.98)
Entecavir | 800 | 94.96 (4.28) | 94.66 (1.60) | 97.45 (6.27) | 97.35 (2.67)
Tenofovir | 25 | 88.77 (2.25) | 96.33 (1.64) | 95.51 (1.32) | 96.82 (6.78)
Tenofovir | 800 | 89.23 (2.90) | 93.84 (8.97) | 101.96 (2.71) | 92.56 (2.01)
Nedaplatin | 2 | 94.18 (6.24) | 98.19 (4.44) | 94.58 (1.65) | 98.40 (10.78)
Nedaplatin | 80 | 92.47 (6.35) | 103.58 (2.57) | 98.13 (1.71) | 94.19 (4.69)
Oxaliplatin | 2 | 95.29 (2.69) | 93.83 (3.98) | 96.89 (1.84) | 90.81 (3.09)
Oxaliplatin | 80 | 94.38 (5.58) | 96.61 (2.12) | 92.63 (1.26) | 91.89 (1.21)
Adefovir dipivoxil | 2 | 96.84 (1.03) | 95.77 (8.90) | 97.50 (2.59) | 96.73 (9.02)
Adefovir dipivoxil | 80 | 98.12 (1.63) | 98.60 (3.81) | 95.31 (3.04) | 91.34 (6.89)

## Table 5
Compound | Precursor (m/z) | Product (m/z) | Collision Voltage (V) | RF Lens Voltage (V) | Retention Time (min)
Lamivudine | 230.05 | 95.0 a/112.0 | 13/38 | 30 | 0.77
Carbamazepine | 237.1 | 192.1 a/194.2 | 20/24 | 68 | 0.69
Telbivudine | 243.088 | 127.0 a/225.0 | 5/10 | 44 | 0.78
Emtricitabine | 248 | 113.0 a/130.0 | 12/38 | 30 | 0.78
Entecavir | 278.088 | 135.0 a/152.0 | 19/36 | 59 | 0.79
Tenofovir | 288.1 | 176.0 a/270.0 | 19/26 | 90 | 0.8
Nedaplatin | 304.125 | 212.3 a/287.0 | 12/22 | 61 | 0.73
Oxaliplatin | 398.038 | 304.1 a/378.0 | 5/27 | 71 | 0.77
Adefovir dipivoxil | 502.2 | 256.0 a/442.1 | 19/30 | 69 | 0.88

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Conceptualization | Yanan Liu and H. L. | Highlights the individuals responsible for conceptualizing the study, relevant to understanding the primary authorship and study design.
Funding Acquisition | H. L. | Identifies the person responsible for securing funding, relevant for understanding resource support for the research.
Key Drugs Analyzed | Lamivudine, Telbivudine, Emtricitabine, Entecavir, Tenofovir, Nedaplatin, Oxaliplatin, and Adefovir Dipivoxil | Relevant as it identifies the focus of the method and its clinical application.
Primary Methodology Used | UPLC-MS/MS and QuEChERS | Relevant because it describes the analysis technique central to the study.
Sample Preparation | Utilized 200 mg anhydrous MgSO4 and 30 mg PSA | Relevant to understanding the method's sample-preparation specifics.
Mobile Phase Composition | 0.1% formic acid in water and acetonitrile with 0.1% formic acid | Relevant as it outlines the chromatography conditions essential for drug separation.
Column Used | Agilent Eclipse Plus C18 (4.6 × 100 mm, 3.5 μm) | Relevant because the selection of column impacts chromatographic resolution.
Drug Linearity Range | 10-1000 ng/mL for Lamivudine, Telbivudine, Emtricitabine, Entecavir, Tenofovir; 1-100 ng/mL for Nedaplatin, Oxaliplatin, Adefovir Dipivoxil | Important to determine the assay's quantitative range and sensitivity.
Accuracy | Ranges from −6.72% to 7.82% | Relevant for demonstrating the reliability of the method.
Selectivity | Between 84.53% and 110.49% | Relevant to confirm the method’s ability to measure analytes without interference.
Run Time | 10 minutes for complete separation | Relevant to the efficiency and throughput of the analysis method.
Temperature for Column | 40 °C | Core condition influencing chromatographic performance.
Internal Standard | Carbamazepine | Important for improving accuracy and data normalization.
Stability Conditions | Stable after 1 month at −20 °C; RSD ≤ 10.78% | Relevant to the long-term application and reliability of sample measurements.
Pretreatment Optimization | 1 mL methanol, 200 mg MgSO4, 30 mg PSA | Relevant as it outlines the preparation for plasma sample chemistry.
MS Mode | Positive Ionization | Key choice for method optimization in this analysis.
Patient Study Conducted | 69-year-old male with entecavir and oxaliplatin therapy | Relevant because this demonstrates practical application of the method in an HCC treatment context.
Application | Therapeutic drug monitoring for NRTIs and platinum-based drugs in plasma | Demonstrates the real-world application relevance for clinical treatment optimization.
Limit of Detection (LOD) | Range: 0.089–4.236 ng/mL | Important to evaluate method sensitivity.
Equipment Used | Vanquish Flex UHPLC and TSQ Altis Triple Quadrupole Mass Spectrometer | Relevant for understanding the instrumentation deployed.
Validation Standards Followed | US FDA Bioanalytical Method Validation Guidelines | Ensures relevance by confirming that methodology adheres to accepted standards.
--- | --- | ---
Patient Sample Size | One patient | The study featured a pilot collection of plasma drug concentrations for validation, which reflects its focus on method capability rather than a large clinical PK study.
Patient Population | 69-year-old male with HCC | This patient represents the target population for the method's intended use in monitoring drugs in hepatocellular carcinoma patients.
Drug Administration | Entecavir, once daily at 0.5 mg; oxaliplatin via injection | Demonstrates the therapeutic regimen being monitored in this specific patient population.
Blood Sampling | Plasma collected post-treatment | Critical for determining the real-world applicability and accuracy of the quantification method in measuring drug concentrations.
Storage Conditions | Plasma stored at −80°C | Ensures sample stability for accurate PK analysis.
Sampling Process | Centrifugation (3000× g, 20 min, 4°C) | Describes the preparation of plasma samples for method validation, ensuring quality and consistency of the biomatrix.
Analyte Detection Example | 640 ng/mL entecavir in patient plasma | Demonstrates the method's practicality for monitoring drug levels in a clinical context.
Model | Not explicitly mentioned (assumed observational/analytical study based on TDM) | The study focused on developing and validating an analytical method for monitoring drug levels in plasma, rather than fitting the data into a pharmacokinetic (PK) compartmental model.
Calibration curve range for lamivudine, telbivudine, emtricitabine, entecavir, tenofovir | 10–1000 ng/mL | Relevant for assessing the sensitivity and dynamic range of the developed method for these NRTIs.
Calibration curve range for nedaplatin, oxaliplatin, adefovir dipivoxil | 1–100 ng/mL | Ensures accurate measurement of platinum-based drugs in varying plasma concentrations.
LOD for analytes | 0.089–4.236 ng/mL | Indicates the minimum concentration of the drugs that can be reliably detected.
LOQ for analytes | 0.30–9.28 ng/mL | Represents the smallest concentration that can be quantitatively measured with acceptable precision and accuracy.
Method accuracy range | −6.72% to 7.82% | Relevant for validating the reliability of drug concentration estimation.
R² values for all analytes | ≥0.9962 | Confirms the strong linearity of the calibration curves, ensuring precision in quantification.
Recovery percentage for analytes | 84.53–110.49% | Indicates the efficiency of the QuEChERS-based sample preparation and extraction method.
Stability in storage conditions | −20 °C for one month, 3 freeze-thaw cycles | Provides evidence for the robustness of the method under different experimental conditions.
Injection volume in UPLC | 5 μL | Specifies the parameter for optimal chromatographic performance.
Column type | Agilent Eclipse Plus C18 column (4.6 × 100 mm, 3.5 μm) | Indicates the stationary phase used to achieve drug separation.
Mobile phase composition | Acetonitrile with 0.1% formic acid (Phase A) & Aqueous 0.1% formic acid (Phase B) | Relevant for chromatographic optimization.
Flow rate | 0.420 mL/min | Adjusted for efficient analyte separation.
Column temperature | 40 °C | Maintains consistent chromatographic performance.
Run time | 10 min | Determines the rapid throughput capability of the developed method.
MS ion mode | Positive ionization | Chosen for better response intensity and sensitivity of the analytes in UPLC-MS/MS.
Electric spray voltage | 3500 V | Optimizes ionization during mass spectrometry analysis.
Sheath gas flow rate | 40 Arb | Enhances desolvation and ionization efficiency.
Auxiliary gas flow rate | 10 Arb | Supports secondary desolvation processes during ionization.
Ion transfer tube temperature | 275 °C | Ensures stable ion transport in the mass spectrometer.
Vaporizer temperature | 350 °C | Maintains optimal conditions for analyte vaporization and ionization.
Internal standard | Carbamazepine | Used for normalization and controlling variability in MS quantification.
MgSO4 dosage optimized | 200 mg | Ensures effective matrix component removal during plasma pretreatment.
PSA dosage optimized | 30 mg | Chosen as the best adsorbent for removing inhibitory molecules during QuEChERS preparation.
Analyte recovery with methanol | Superior compared to ethyl acetate and acetone | Ensures efficient analyte extraction and recovery with minimal losses.
--- | --- | ---
Factors affecting peak shape and response intensity | Organic solvents such as acetonitrile and the composition of the aqueous phase (e.g., 0.1% formic acid in water) | These factors influence the chromatographic separation, which is critical for accurately determining pharmacokinetic parameters of the drugs.
Matrix complexity | Complex plasma composition requires adsorbents like PSA to remove large molecules and potential interferences | Addressing matrix complexity is essential for eliminating matrix effects, which could skew pharmacokinetic measurements.
Quantity of methanol used in extraction | Optimal recovery achieved using 1 mL of methanol | The extraction efficiency directly impacts the accuracy of pharmacokinetic assessments.
Dosage of anhydrous MgSO4 | 200 mg provided the highest analyte recovery | Efficient precipitation and purification influence the reliability of pharmacokinetic data.
Adsorbent selection | PSA demonstrated effective performance for purification | Proper adsorbent ensures minimal interference, directly affecting the pharmacokinetic analysis.
Ionization mode | Positive ion mode showed higher response intensities for all analytes | Improved ionization efficiency enhances the sensitivity of quantifying drug concentrations, affecting pharmacokinetic profiling.
Temperature conditions for sample storage | Plasma samples were stable at −20 °C for one month | Stability under specified conditions ensures reliable pharmacokinetic data over time.
Freeze–thaw stability | No significant degradation observed over three freeze–thaw cycles | Preserving analyte integrity supports consistent pharmacokinetic analysis during handling.
Injection volume optimization | 5 μL ensured effective quantification without saturation | Precise injection volume is crucial for reproducibility in pharmacokinetics.
Mobile phase composition | Acetonitrile with 0.1% formic acid and 0.1% formic acid in water provided optimal conditions | An appropriate mobile phase ensures robust separation and accurate measurements critical for pharmacokinetics.