## Table 1
Analytes | Derivatives | Rt (min) | Parent ion | Daughter ion | CE (eV)
ImP | C10H16N2O2 | 3 | 197 | 81a | 27
ImP | C10H16N2O2 | 3 | 197 | 123 | 14
IS | C11H22N2O2 | 2.99 | 215 | 77 | 32
IS | C11H22N2O2 | 2.99 | 215 | 99a | 19

## Table 2
Sample | (ng/mL) | ImP- Area | IS- Area | Area ratio | calcd conc (ng/mL) | Accuracy (%)
1 | 0.5 | 186558 | 3510941 | 0.053 | 0.501 | 100.2
2 | 1 | 302388 | 3182558 | 0.095 | 0.996 | 99.6
3 | 2.5 | 680441 | 3166654 | 0.215 | 2.411 | 96.4
4 | 5 | 1483371 | 3135199 | 0.473 | 5.461 | 109.2
5 | 10 | 2609566 | 3136478 | 0.832 | 9.699 | 97
6 | 20 | 5730446 | 3403891 | 1.683 | 19.76 | 98.8
7 | 50 | 13677090 | 3260745 | 4.194 | 49.41 | 98.8

## Table 3
Concentration (ng/mL)_Concentration (ng/mL) | Intrabatches (n = 6)_Mean ± SD | Intrabatches (n = 6)_Precision (RSD, %) | Intrabatches (n = 6)_Accuracy (RE, %) | Interbatches (n = 18)_Mean ± SD | Interbatches (n = 18)_Precision (RSD, %) | Interbatches (n = 18)_Accuracy (RE, %)
0.5 | 0.4321 ± 0.03 | 6.4 | 86.41 | 0.4561 ± 0.03 | 11.3 | 91.21
1 | 0.9734 ± 0.05 | 4.8 | 97.34 | 0.9907 ± 0.04 | 4 | 99.07
5 | 4.391 ± 0.05 | 1.4 | 87.81 | 4.528 ± 0.12 | 6.6 | 90.57
20 | 17.88 ± 0.32 | 2.1 | 89.41 | 17.80 ± 0.24 | 1.4 | 89

## Table 4
Analyte | Concentration (ng/mL) | Extraction recovery (RSD) (%) | Relative recovery (RSD) (%) | Matrix effect (RSD) (%) | IS-normalized Matrix effect (RSD) (%)
ImP | 1 | 80.0 (5.82) | 86.6 (5.56) | 89.7 (8.56) | 235 (9.37)
ImP | 20 | 87.6 (10.2) | 97.7 (6.11) | 73.9 (9.41) | 310 (7.40)
IS | 10 | 91.2 (11.2) | / | 30.2 (6.58) | /

## Table 5
Experimental Procedures | ConcentrationLevels | Stability (%) | RSD (%)
Working solution (−20℃, 6 days) | L | 90.94 | 3.54
Working solution (−20℃, 6 days) | H | 104.6 | 1.4
Storage solution (−20℃, 26 days) | L | 87.29 | 3.34
Storage solution (−20℃, 26 days) | H | 97.06 | 1.52
Long term (−80℃, 40 days) | L | 101.3 | 4.57
Long term (−80℃, 40 days) | H | 96.49 | 0.77
Freeze-ThawCycles—1 st (−80℃) | L | 110.2 | 6.06
Freeze-ThawCycles—1 st (−80℃) | H | 101.9 | 1.91
Freeze-ThawCycles—2nd (−80℃) | L | 107 | 11.92
Freeze-ThawCycles—2nd (−80℃) | H | 107.3 | 2.67
Freeze-ThawCycles—3rd (−80℃) | L | 105.5 | 6.18
Freeze-ThawCycles—3rd (−80℃) | H | 96.78 | 0.97
Injection plate (4℃, 72 h) | L | 107.1 | 2.97
Injection plate (4℃, 72 h) | H | 98.53 | 9.71

## Table 6
Variables | Total ( n = 113) | HC (Healthy Control) ( n = 29) | CCA (Conventional Colorectal Adenoma) ( n = 29) | ACA (Advanced Colorectal Adenoma) ( n = 29) | CRC (Colorectal Cancer) ( n = 26) | Statistic | P
ImP (nmol/L), [M (Q₁, Q₃)] | 52.25 (28.942, 97.686) | 27.164 (18.295 ~ 31.723) | 48.557 (31.270, 78.074) | 95.777 (53.804, 148.13) | 99.412 (56.609, 229.021) | χ 2 = 59.319* | < 0.001
BMI (Kg/M 2 ), [Mean ± SD] [95%CI(Mean)] | 23.609 ± 3.345 95%CI (22.986 ~ 24.233) | 23.327 ± 3.530 95%CI (21.985 ~ 24.670) | 23.751 ± 3.002 95%CI (22.609 ~ 24.893) | 23.566 ± 3.059 95%CI (22.403 ~ 24.730) | 23.813 ± 3.930 95%CI (22.226 ~ 25.401) | F = 0.955 | 0.417
Age, [Mean ± SD] [95%CI(Mean)] | 52.86 ± 12.94 95%CI (50.45 ~ 55.27) | 41.28 ± 10.55 95%CI (37.26 ~ 45.29) | 55.07 ± 8.84 95%CI (51.71 ~ 58.43) | 55.52 ± 11.35 95%CI (51.20 ~ 59.83) | 60.35 ± 12.88 95%CI (55.14 ~ 65.55) | F = 11.711 | < 0.001
Gender [n(%)] | [5 empty] | χ 2 = 10.924 | 0.012
Female | 43 (38.1) | 17 (58.6) | 12 (41.4) | 10 (34.5) | 4 (15.4)
Male | 70 (61.9) | 12 (41.4) | 17 (58.6) | 19 (65.5) | 22 (84.6)
Smoking [n(%)] | [5 empty] | χ 2 = 6.931 | 0.069
N | 95 (84.1) | 27 (93.1) | 27 (93.1) | 19 (65.5) | 22 (84.6)
Y | 18 (15.9) | 2 (6.9) | 2 (6.9) | 10 (34.5) | 4 (15.4)
Alcohol [n(%)] | [5 empty] | χ 2 = 5.429 | 0.128
N | 99 (87.6) | 28 (96.6) | 24 (82.8) | 23 (79.3) | 24 (92.3)
Y | 14 (12.4) | 1 (3.4) | 5 (17.2) | 6 (20.) | 2 (7.7)

## Table 7
Variables_Variables | HC—CCA_OR (95% CI ) | HC—CCA_P | HC—ACA_OR (95% CI ) | HC—ACA_P | HC—CRC_OR (95% CI ) | HC—CRC_P
ImP (nmol/L) | 1.109 (95% CI : 1.037 ~ 1.186) | 0.003 | 1.368 (95% CI : 1.019 ~ 1.835) | 0.037 | 1.234 (95% CI : 1.035 ~ 1.470) | 0.019
Age | 1.144 (95% CI : 1.043 ~ 1.254) | 0.004 | 1.157 (95% CI : 0.956 ~ 1.401) | 0.135 | 1.372 (95% CI : 0.994 ~ 1.895) | 0.055
Smoking | - | - | 0.349 (95% CI : 0.000 ~ 2788.806) | 0.819 | - | -

## Freetext Data
Data | Value | Relevance
Study aim | Validate a novel method for detecting serum ImP levels and compare ImP levels among different patient groups | The study's primary goal informs its relevance in assessing ImP as a biomarker for CRC.
Patient groups analyzed | Healthy Control, Conventional Colorectal Adenoma, Advanced Colorectal Adenoma, Colorectal Cancer | Provides context about the populations studied to determine the role of ImP in CRC progression.
Detection method | Ultra-Performance Liquid Chromatography Tandem Mass Spectrometry (UPLC-MS/MS) with 3-piperazin-1-yl-propionic acid as IS | Methods validate the precise quantification of ImP, crucial in biomarker relevance.
Significant ImP finding | ImP levels significantly elevated in CRC patients compared to other groups | Demonstrates ImP’s potential role as a colorectal cancer biomarker.
ImP role in CRC | Potential link between ImP and CRC development shown through increased levels | Highlights ImP as a potential biomarker for early diagnosis in CRC progression research.
Sample Size | 113 participants | Defines the participant base, which influences the study's statistical power and applicability.
Statistical tools | Multivariable logistic regression, ROC curve analyses | Used to establish ImP concentration relevance and diagnostic performance, addressing the biomarker analysis question.
Conclusion on diagnostic utility | ImP concentrations exhibit diagnostic efficacy for colorectal adenomas and CRC with high AUC values in ROC analysis | Establishes ImP as a potential diagnostic tool for CRC screening.
Significant trends | Stepwise increase in ImP levels from healthy controls to CRC patients | Indicates ImP’s correlation with disease progression, making it relevant for biomarker determination.
Detection sensitivity | LOQ = 0.06 ng/mL, LOD = 0.02 ng/mL | Demonstrates the high sensitivity of UPLC-MS/MS in quantifying ImP, aiding early detection.
ROC results | HC-ACA (AUC=0.986), HC-CRC (AUC=0.955), HC-CCA (AUC=0.839) | Evaluates ImP’s effectiveness as a diagnostic biomarker across disease stages.
Controlled factors | BMI, smoking, alcohol, and age-related adjustments | Reduces confounding, ensuring ImP’s role in CRC is isolated accurately.
Increased ImP cause | Likely modulation by gut microbiota converting histidine via UrdA enzyme | Provides biological context for ImP’s role in CRC pathogenesis.
Method advantage | Cost-effective, efficient use of 3-piperazin-1-yl-propionic acid as IS over isotope labeling | Indicates a practical pathway to widespread clinical adoption for ImP measurement.
Significance of colonoscopy | Participant categorization based on colonoscopy and histopathology | Demonstrates a robust method to group patients for studying biomarker relevance like ImP in CRC pathways
Study Sample Size | 113 participants | The study's patient sample size is foundational for determining the scope and statistical reliability of the PK study.
Study Duration | July 2023 - July 2024 | This provides the timeline for patient recruitment and sample analysis in the context of the PK study design.
Blood Sampling Method | 3–5 mL of fasting venous blood drawn after overnight fasting | Indicates the method and timing for blood sample collection, which is central to pharmacokinetics (PK) measurement.
Sample Processing | Blood samples centrifuged at 3,000 g for 10 min at 4°C and 300 µL serum stored at −80°C | Details processing standardization, crucial for consistency in PK studies.
Patient Grouping | Stratified into Healthy Control (HC), Conventional Colorectal Adenoma (CCA), Advanced Colorectal Adenoma (ACA), and Colorectal Cancer (CRC) groups | Relevant for patient population stratification, aiding targeted PK comparisons.
Inclusion Criteria | Age ≥18, colonoscopy results, informed consent | Defines the patient population, ensuring uniform criteria for PK study participants.
Exclusion Criteria | History of chronic illnesses, prior cancer treatments, or inability to provide medical history | Helps define the patient population by excluding confounders impacting PK assessment.
Study Design | Cross-sectional, single-center observational | Indicates the non-longitudinal design, which influences the type of data collected, impacting the PK study parameters.
Fasting Condition | Participants fasted overnight before sample collection | Ensures basal conditions for serum biomarker (ImP) measurement, critical for PK consistency.
Age Distribution | Median ages ranged from approximately 52.86 to 60.35 years across groups | Highlights the demographic characteristics of the patient population, relevant for PK variability analysis.
Gender Distribution | Statistically different among groups | Gender distribution impacts metabolic differences and is thus pertinent to PK analysis.
Analysis Software | IBM SPSS, GraphPad Prism | Relevant for data analysis and modeling of PK parameters.
Storage Conditions | Serum samples stored at −80°C | Ensures sample integrity, critical for PK biomarker quantification accuracy.
Model | Not explicitly a pharmacokinetic or physiologically based model | The study focuses on developing and validating a detection method for ImP in serum using UPLC-MS/MS, not on compartmental modeling or IVIVE approaches. Therefore, the study does not employ a specific pharmacological model.
The spray voltage | 5500 V | It is a mass spectrometry parameter optimized for detecting ImP under positive ionization conditions.
Source temperature | 250℃ | A critical mass spectrometry setting to ensure accurate ionization of compounds during analysis.
Curtain gas | 140 kPa | Used to stabilize the ionization conditions during mass spectrometry experiments.
Collision gas pressure | 35 kPa | Controls the collision energy for producing suitable ion fragments for detection.
Retention time for ImP | 2.93 min | Identified through LC-MS/MS analysis to determine ImP's chromatographic behavior.
Retention time for IS | 2.96 min | Established to ensure congruence between the IS and ImP for reliable quantification.
Limit of detection (LOD) for ImP | 0.02 ng/mL | Determined using the signal-to-noise method, indicating high sensitivity of the method.
Lower limit of quantification (LOQ) for ImP | 0.06 ng/mL | Derived through standardized approaches to set the minimum measurable concentration.
Correlation coefficient (R2) | 0.9974 | Obtained from the calibration curve regression analysis, indicating a strong linear relationship for the assay.
ImP calibration slope | 0.08468 | Reflects the sensitivity of the ImP quantification method.
Calibration intercept | 0.01071 | Represents a baseline value in the calibration curve for ImP.
Matrix effect factor for ImP | 89.7% (low), 73.9% (high) | Evaluates the influence of endogenous serum components on ImP ionization efficiency.
Extraction recovery rates for ImP | 80.0% (low), 87.6% (high) | Quantifies the method's efficacy in extracting ImP from serum matrices.
Intrabatch accuracy range for ImP | 86.41% to 97.34% | Derived from controlled quality control serum samples to assess assay precision within a batch.
Interbatch accuracy range for ImP | 89.00% to 99.07% | Evaluated across batches to ensure consistency and reliability in the assay.
Signal-to-noise ratio for LOQ | Approximately equal to 10 | Used to confirm the method's quantification sensitivity threshold.
Body Mass Index (BMI) range | 23.327 to 23.813 across groups | Measured as a baseline patient characteristic, indirectly relevant for comparing ImP concentration trends.
Temperature for derivatization reaction | 70℃ | Essential for chemical modification of ImP to improve chromatographic retention analyzed during method validation.
Matrix Effect | 30.2% ion suppression effect of the IS within the mass spectrometry ion source | This demonstrates the influence of the matrix components on the detection of ImP during pharmacokinetic analysis, highlighting the relevance of matrix effects in the context of accurate quantification.
Recovery Rates | ImP recovery rates were 80.0% (L level) and 87.6% (H level) before IS correction, improved to 86.6% and 97.7% after IS correction | Recovery rates indicate how well the method extracts ImP during sample preparation, influencing its pharmacokinetic analysis accuracy.
Stability Conditions | ImP stability confirmed during storage at -20°C for 26 days and -80°C for 40 days, freeze-thaw stability (three cycles), and processed sample stability for up to 72 hours | Highlights the importance of storage and handling conditions as factors affecting ImP's quantification during pharmacokinetic assessments.
Derivatization | Modified the compound's polarity, improving chromatographic retention and detection sensitivity by converting ImP to butyl ImP | This modification enhances detection, addressing challenges in pharmacokinetics related to the highly polar nature of ImP.
Matrix-Matched Calibration | Calibration curve constructed using a biological sample-aligned blank matrix | The method ensures consistency and accuracy in quantifying ImP by neutralizing endogenous matrix effects, critical for pharmacokinetic accuracy.
Internal Standard | Use of 3-piperazin-1-ylpropionic acid as a structural analogue IS | The IS corrects errors during sample pretreatment, ensuring precision in pharmacokinetic measurements.
Mass Spectrometry Parameters | Optimized for ImP and IS in MRM mode | The systematic parameter optimization ensures sensitivity and accuracy for pharmacokinetic evaluations.
Limit of Detection (LOD) | 0.02 ng/mL | Indicates the method's sensitivity in detecting minimal pharmacokinetic concentrations of ImP.
Sample Preparation | Use of multi-step extraction and derivatization | The detailed preparation method minimizes external influencing factors in pharmacokinetic analysis.
Retention Time | Improved retention on Waters HSS T3 column at 2.96 min for butyl ImP derivatives | Chromatographic column choice influences detection efficiency, impacting the pharmacokinetics study.