## Table 1
Compound name | Retention time (min) | Precursor ion (m/z) | Product ion (m/z) | CE (eV)
MTX-PG2 | 2.8 | 584.3 | 308.1 | 25
MTX-PG3 | 1.62 | 713.4 | 308.1 | 35
MTX-PG4 | 1.21 | 842.6 | 308.1 | 45
MTX-PG2-d3 | 2.73 | 587.3 | 311.1 | 25
MTX-PG3-d3 | 1.6 | 716.4 | 311.1 | 35
MTX-PG4-d3 | 1.2 | 845.6 | 311.1 | 45

## Table 2
Compound name_Compound name | Level_Level | Nominal concentration (ng/mL)_Nominal concentration (ng/mL) | Inter-day assay (n = 15)_Observe concentration (ng/mL) | Inter-day assay (n = 15)_Precision (%) | Inter-day assay (n = 15)_Mean accuracy (%) | Intra-day assay (n = 5)_Observed concentration (ng/mL) | Intra-day assay (n = 5)_Precision (%) | Intra-day assay (n = 5)_Mean accuracy (%)
MTX-PG2 | LLOQ | 1 | 1.02 ± 0.03 | 2.468 | 102.31 | 1.05 ± 0.03 | 2.397 | 104.79
MTX-PG2 | LQC | 3 | 2.80 ± 0.04 | 1.571 | 93.41 | 2.82 ± 0.03 | 0.949 | 93.96
MTX-PG2 | MQC | 60 | 59.79 ± 0.38 | 0.626 | 99.65 | 60.03 ± 0.12 | 0.192 | 100.05
MTX-PG2 | HQC | 300 | 306.20 ± 6.61 | 2.158 | 102.07 | 302.06 ± 2.32 | 0.769 | 100.69
MTX-PG3 | LLOQ | 1 | 1.05 ± 0.12 | 11 | 104.96 | 1.08 ± 0.10 | 9.008 | 107.52
MTX-PG3 | LQC | 3 | 2.90 ± 0.17 | 5.844 | 96.73 | 2.99 ± 0.11 | 3.603 | 99.54
MTX-PG3 | MQC | 60 | 57.87 ± 1.33 | 2.289 | 96.46 | 56.72 ± 1.14 | 2.012 | 94.53
MTX-PG3 | HQC | 300 | 310.82 ± 10.38 | 3.34 | 103.61 | 301.68 ± 5.83 | 1.932 | 100.56
MTX-PG4 | LLOQ | 1 | 1.07 ± 0.11 | 10.269 | 106.68 | 1.04 ± 0.05 | 5.258 | 103.64
MTX-PG4 | LQC | 3 | 3.20 ± 0.18 | 5.645 | 106.71 | 3.28 ± 0.24 | 7.195 | 109.37
MTX-PG4 | MQC | 60 | 58.48 ± 1.71 | 2.929 | 97.47 | 59.63 ± 1.77 | 2.965 | 99.38
MTX-PG4 | HQC | 300 | 318.91 ± 8.773 | 2.751 | 106.3 | 325.33 ± 9.40 | 2.889 | 108.44

## Table 3
Compound name | Peak area of extracted QC | Peak area of spiked QC | Recovery (%) | Mean recovery (%) | CV (%)
MTX-PG2 | 194102 | 255297 | 76.03 | 77.67 ± 1.75 | 2.247
MTX-PG2 | 491038 | 617621 | 79.51 | 77.67 ± 1.75 | 2.247
MTX-PG2 | 466970 | 602667 | 77.48 | 77.67 ± 1.75 | 2.247
MTX-PG3 | 73445 | 85982 | 85.42 | 85.40 ± 1.39 | 1.631
MTX-PG3 | 74537 | 85883 | 86.79 | 85.40 ± 1.39 | 1.631
MTX-PG3 | 71611 | 85247 | 84 | 85.40 ± 1.39 | 1.631
MTX-PG4 | 25915 | 28801 | 89.98 | 93.02 ± 2.75 | 2.953
MTX-PG4 | 26600 | 28370 | 93.76 | 93.02 ± 2.75 | 2.953
MTX-PG4 | 26443 | 27740 | 95.32 | 93.02 ± 2.75 | 2.953

## Table 4
Compound name | Area | ISTD ratio* | Mean ISTD ratio | CV (%)
MTX-PG2 | 261236 | 10.433 | 9.12 | 8.017
MTX-PG2 | 237268 | 8.529 | 9.12 | 8.017
MTX-PG2 | 147769 | 8.492 | 9.12 | 8.017
MTX-PG2 | 208613 | 9.416 | 9.12 | 8.017
MTX-PG2 | 194550 | 8.781 | 9.12 | 8.017
MTX-PG2 | 160176 | 9.067 | 9.12 | 8.017
MTX-PG3 | 119457 | 9.934 | 8.38 | 9.386
MTX-PG3 | 99000 | 8.177 | 8.38 | 9.386
MTX-PG3 | 104558 | 7.76 | 8.38 | 9.386
MTX-PG3 | 86804 | 7.95 | 8.38 | 9.386
MTX-PG3 | 92960 | 8.306 | 8.38 | 9.386
MTX-PG3 | 97212 | 8.133 | 8.38 | 9.386
MTX-PG4 | 32961 | 4.785 | 4.59 | 11.971
MTX-PG4 | 30527 | 4.315 | 4.59 | 11.971
MTX-PG4 | 28580 | 4.113 | 4.59 | 11.971
MTX-PG4 | 30364 | 4.348 | 4.59 | 11.971
MTX-PG4 | 25447 | 4.342 | 4.59 | 11.971
MTX-PG4 | 41738 | 5.613 | 4.59 | 11.971

## Freetext Data
Data | Value | Relevance
MTX-PG2 Mean Concentration | 10.61 ng/mL | Relevant to understanding the intracellular accumulation of MTX polyglutamates in RBCs for therapeutic drug monitoring.
MTX-PG3 Mean Concentration | 34.41 ng/mL | Indicates that MTX-PG3 is the predominant form in RBCs, which is likely the key driver of sustained therapeutic effects.
MTX-PG4 Mean Concentration | 15.91 ng/mL | Identifies the presence and relative contribution of MTX-PG4 to therapeutic efficacy, emphasizing its role in sustained intracellular drug action.
Plasma MTX Mean Concentration | 0.26 ng/mL | Illustrates the rapid clearance of plasma MTX and its limited correlation with intracellular drug accumulation and therapeutic response.
7-OH-MTX Mean Concentration | 0.63 ng/mL | Highlights that plasma MTX metabolite levels strongly correlate, aiding in understanding MTX disposition but lacking RBC MTX-PG association.
Lower Limit of Quantification | 1 ng/mL | Demonstrates the high sensitivity achieved in the LC-MS/MS method, essential for detecting low MTX-PG levels in clinical monitoring.
Calibration Curve Range | 1–400 ng/mL | Ensures the method's broad applicability in quantifying varied intracellular MTX-PG concentrations.
Correlation Coefficient for MTX-PG3 | r² = 0.9986 | Indicates excellent linearity for MTX-PG3 detection, ensuring precision in therapeutic drug monitoring monitoring protocols.
RBC MTX-PG3 + MTX-PG4 Correlation to Plasma MTX | p = 0.585 | Supports the conclusion that plasma-based MTX monitoring does not reflect intracellular MTX-PGs, emphasizing the need for RBC-based approaches.
RBC MTX-PGs Recovery | 77.67% (MTX-PG2), 85.40% (MTX-PG3), 93.02% (MTX-PG4) | Confirms reliable extraction efficiency during the analytical validation process, ensuring reproducibility for clinical application.
Inflammatory Marker Negative Correlation | MTX-PG3 vs. Fecal Calprotectin | Suggests potential utility of MTX-PG3 as a marker for reduced inflammation, supporting its importance in disease activity monitoring.
Sample Size | 12 Patients with Crohn’s Disease | Indicates the preliminary nature of this study and highlights the importance of expanding research to larger cohorts for generalization.
Study Duration | September 2021 to November 2023 | Provides context for the data collection period, ensuring relevance to current therapeutic practices.
MTX Quantification Method | LC–MS/MS for RBC MTX-PG2–4 | Facilitates the precise and sensitive assessment of intracellular MTX-PG levels, crucial for therapeutic drug monitoring.
MTX Conversion Process | Intracellular via Folyl-polyglutamate Synthetase | Explains the biological mechanism leading to MTX-PG formation, central to understanding therapeutic action in Crohn's Disease patients.
Blood samples collected | Time points: at enrollment, 14 weeks, and 24 weeks thereafter | Details timing of the blood collection, providing specific sampling time points for PK evaluation.
Patient sample size | 12 (10 males, 2 females) | Indicates the number of participants included in the study, relevant for assessing study power and variability.
Patient diagnosis | Crohn’s disease (CD) | Defines the specific patient population studied, important for understanding the therapeutic context of the PK study.
Age range (median, IQR) | Median age: 26 years; IQR: 22–39.75 years | Characterizes the demographic profile of the study population, relevant for potential age-related PK variability.
Location | Seoul National University Bundang Hospital | Indicates the study setting, adding context to patient recruitment and standard care practices.
Sampling methodology | Whole blood centrifuged at 2,000 × g at 4°C for 5 minutes; plasma and RBCs separated | Specifies the blood sampling and processing protocol used, critical for PK and metabolite analysis accuracy.
Exclusion criteria for hemolysis | Visual inspection of supernatant during RBC washing; excluded if significant hemolysis observed | Ensures the integrity of RBC samples, which is essential for reliable PK measurements.
MTX dosing in the patient population | Oral maintenance dose: 10–15 mg per week | Provides dosing information, crucial for interpreting the PK profile and drug exposure levels.
Number of measurements analyzed | Total of 33 measurements for each MTX-PG species | Reflects the data size contributing to the PK analysis, indicating sample representation across time points.
Informed consent requirement | Yes, obtained from all participants | Ensures ethical conduct of the study, relevant for clinical research design compliance.
Model Used | No explicit compartmental model was mentioned; the study focused on measuring intracellular accumulation of MTX-polyglutamates (MTX-PGs) in RBCs rather than using pharmacokinetic modeling | The paper aims to quantify MTX-PGs in clinical samples to assess therapeutic response, focusing more on direct biomarker measurement rather than compartmental or physiologically based modeling, which is typical in PK studies.
Calibration curve range | 1–400 ng/mL | Vital for assessing accuracy of extracted MTX-PG concentrations from RBCs and measuring therapeutic response.
Lower limit of quantification (LLOQ) | 1 ng/mL | Indicates the sensitivity of the LC-MS/MS method, necessary for detecting low intracellular MTX-PG levels.
Correlation coefficients (r2) | 0.9936 to 0.9986 | Demonstrates linearity of the calibration curves, essential for quantifying MTX-PGs accurately.
Precision (Relative standard deviation) | < 15% | Ensures reproducibility and reliability of measurement within permissible bioanalytical limits in intra- and inter-day assays.
Accuracy (Range) | 93.41–109.37% | Validates the correctness of measurement and closeness to true MTX-PG concentrations in RBCs.
Recovery values for MTX-PG2 | 77.67% | Reflects extraction efficiency of the analytical method for isolating polyglutamates from RBCs.
Recovery values for MTX-PG3 | 85.40% | Important for understanding long-chain MTX-PG isolation and monitoring predominant species.
Recovery values for MTX-PG4 | 93.02% | Key for assessing contribution of longer-chain MTX-PGs to therapy-response metrics.
Mean Plasma Methotrexate | 0.26 ng/mL | Reference plasma concentration for comparison against RBC-based intracellular analysis metrics.
Column temperature during LC-MS/MS | 40°C | Ensures optimized chromatographic separation during MTX-PGs analysis.
Mobile phase composition | 10 mM ammonium bicarbonate (Water) and acetonitrile | Defined for optimal analyte separation corresponding to MTX-PG structure during MS ionization.
Agilent Poroshell 120 EC-C18 column specs | 50 × 3 mm, 2.7 μm | Necessary hardware utilized to establish effective separation of MTX-PG species during sample analysis.
Electrospray ionization gas temperature | 300°C | Helps maintain stable ion formation for MTX-PGs during tandem mass spectrometry process.
Sample injection volume | 7 µL | Standardizes quantity for accurate detection and chromatography outcomes.
Measurement source for method validation | Human RBC samples from healthy donors | Ensures all calibration standards mimic real clinical samples for accurate testing of Crohn’s patient RBCs.
Perchloric acid concentration for protein precipitation | 70% | Necessary for efficient sample preparation to separate intracellular metabolites in RBCs.
Pearson’s correlation value for 7-OH-MTX and Plasma MTX | r = 0.819 | Reflects a strong correlation between 7-OH-MTX and MTX plasma levels, aiding comparative intracellular monitoring reasoning.
Sample origin for analyte estimation | Prescription MTX maintenance therapy Korean patients | Highlights specific cohort used to estimate therapeutic relevance of intracellular biomarkers.
Intracellular MTX-PGs formation | Covalent attachment of sequential glutamic residues to MTX by folyl-polyglutamate synthetase (FPGS) | Relevant as FPGS-mediated polyglutamation affects intracellular MTX-PG levels, which are key pharmacokinetic determinants.
Rapid plasma MTX clearance | Plasma MTX half-life ranges from 4.5 to 10 hours | Relevant because the short plasma half-life influences the need for intracellular MTX-PG monitoring as a surrogate of drug activity.
MTX uptake into cells | Mediated by reduced folate carrier 1 | Relevant because cellular uptake impacts the intracellular accumulation of active drug metabolites.
Intracellular persistence of MTX-PGs | MTX-PGs can persist for weeks due to prolonged intracellular half-life | Relevant as this persistence contributes to sustained pharmacological effects of MTX despite low plasma levels.
Degradation of MTX-PGs | Regulated by γ-glutamyl hydrolase | Relevant because enzymatic degradation influences the intracellular concentration and duration of MTX-PG activity.
7-OH-MTX metabolism | Metabolized from MTX by aldehyde oxidase | Relevant as the presence of metabolite 7-OH-MTX may affect the overall disposition and response to MTX therapy.
Correlation of plasma MTX and intracellular MTX-PGs | No significant correlation between plasma MTX and RBC MTX-PGs | Relevant as this lack of correlation highlights the need for evaluating intracellular pharmacokinetics independently from plasma levels.
Long-chain MTX-PGs pharmacological potency | More potent inhibition of target enzymes and prolonged anti-inflammatory action | Relevant because the pharmacokinetic behavior of long-chain MTX-PGs influences drug efficacy.