## Table 1
Sessions/Pharmacokinetic Parameters | CDF * | CDF *.1 | CD ** | CD **.1
| CDF-1 | CDF-2 | CD-1 | CD-2
Concentrations in the CC (mg/L):
T0 min | 58.6 | 49.3 | 50.7 | 47.0
T360 min | 2.9 | 3.0 | 6.0 | 6.1
AUC0–360 (mg.min/L)
CC | 5824 | 5375 | 6968 | 6893
Instantaneous effluents | 3814 | - | 5833 | 5003
Extraction coefficient (%) | 10 +/− 4 | 9 +/− 4 | 12 +/− 3 | 15 +/− 1
% Eliminated from the CC | 95.1 | 93.9 | 86.2 | 87.0
Clearance from CC (L/h) | 2.41 | 2.34 | 2.18 | 2.05
Clearance calculated from AUCefflu instant (L/h) | 4.4 | - | 1.9 | 2.5
% Eliminated by CDF or CD | 114 | 114 | 113 | 102
% Sequestrated | 0 | 0 | 0 | 0

## Freetext Data
Data | Value | Relevance
Mean initial vancomycin concentration in the central compartment (CC) | 51.4 +/− 5.0 mg/L | Relevant to the assessment of initial drug levels used in the study to evaluate vancomycin behavior and potential sequestration in the ST® filter.
Mean percentage of vancomycin eliminated from the CC over 6 hours | 91 +/− 4% | Relevant to understanding the efficacy of vancomycin elimination in the central compartment which helps in determining whether any sequestration occurred.
Mean clearances from the CC by CDF and CD | 2.8 L/h and 1.9 L/h | Relevant to evaluating the pharmacokinetic clearance of vancomycin in different modes (CDF and CD) when interacting with the filter.
Mean clearances assessed using cumulative effluents for CDF and CD | 4.4 L/h and 2.2 L/h | Relevant as it indicates the efficiency of vancomycin removal through effluent pathways without significant sequestration.
Percentage of initial vancomycin dose eliminated in the effluents by CDF and CD | 114% and 108% | Relevant as it confirms that vancomycin elimination matches intended clearance rates, strengthening the conclusion of no sequestration in the ST® filter.
Concentration variation in the central compartment at +6 hours | −2.6% and −1.2% | Relevant to the consideration of drug stability throughout the study period, ensuring that sequestration artifacts are not due to degradation.
Mean AUC in the CC for CDF and CD modes | 5599 and 6930 mg.min.L−1 | Relevant for calculating vancomycin clearance as part of the study's pharmacokinetic modeling.
Extraction coefficient (EC) for CDF and CD modes | 9% and 14% | Relevant because it characterizes how well the drug was extracted by the filter, providing direct evidence against significant sequestration.
Vancomycin recovery in effluents (CDF and CD modes) | 100% (no sequestration indicated) | Relevant for validating that vancomycin was quantitatively recovered, ruling out significant ST® filter sequestration.
Comparison between theoretical and measured flow rates | CDF: 4 L/h = 76 +/− 9 min; CD: 2.5 L/h = 123 +/− 1 min | Relevant to ensure study accuracy in experimental settings replicating clinical flow-rate conditions.
Time course of vancomycin concentrations at inlet and outlet ports | Stable levels with no significant decrease | Relevant as it directly assesses whether there was any adsorption or disappearance of vancomycin due to filter interaction.
Vancomycin concentration in pre-dilution crystalloid medium | Validated therapeutically at 50 mg/L | Relevant for ensuring that the chosen concentration realistically reflects therapeutic conditions.
Study method | NeckEpur® technology with an open model | Relevant for understanding the methodology which minimizes bias and accurately assesses vancomycin interaction with the ST® filter in different modes.
Statistical threshold for clinical relevance in differences | 20% | Relevant for defining the parameters for assessing whether sequestration levels, if any, would be significant in a clinical context.
Filter composition | ST® filter with polyethylene imine coating | Relevant as the filter's biocompatible coating diminishes sequestration potential compared to older polyacrylonitrile filters.
Study limitation noted | Only one initial concentration of vancomycin (50 mg/L) assessed | Relevant as it acknowledges the limitation in not studying a range of concentrations, which may affect broader conclusions.
Study Design | In vitro NeckEpur® technology | Relevant as it defines the methodology employed to assess pharmacokinetics (PK) of vancomycin and filter interaction.
Initial Vancomycin Concentration | 51.4 +/− 5.0 mg/L | Relevant because the concentration forms the baseline for studying pharmacokinetics.
Study Population | No human/patient subjects; simulated in vitro model using crystalloid solution | Relevant as it indicates that the study employed a controlled in vitro setup, not human subjects.
Duration of Study | 6 hours | Relevant as it establishes the timeframe for PK sampling and drug assessment.
Modes of Operation | Continuous Diafiltration (4 L/h) and Continuous Dialysis (2.5 L/h) | Relevant as it describes the dialysis modes under which vancomycin elimination was tested.
Blood/Tissue Sampling Time Points | 0, +15 min, +30 min, +45 min, +60 min, +2 h, +3 h, +4 h, +6 h | Relevant as it specifies the frequency and timing of sampling during the pharmacokinetic study.
Sampling Sites | Central compartment (CC), inlet, outlet, instantaneous effluent ports | Relevant as these sites allow assessment of vancomycin levels at various points in the circuit, integral to the PK study design.
Medium Used | Hemosol® crystalloid solution | Relevant as it defines the experimental medium, affecting vancomycin pharmacokinetics and interactions with the filter.
Anticoagulation Use | Not applicable (crystalloid medium used) | Relevant as it contrasts with blood-based studies and eliminates anticoagulant impacts on PK measurements.
Filter Type | ST®150 filter | Relevant as it specifies the filter studied for interaction with vancomycin in the PK setup.
Model used | Open model with separate collection of effluents | Relevant because the open model used in the paper mimics more closely clinical conditions and allows for direct measurement of drug elimination through dialysis/filtration and potential sequestration in filters.
Alternative model | Closed one-compartment model described in other studies | Relevant as it provides a contrasting methodological reference, but was not used in this study.
Comparison justification | Open model vs. closed model | Relevant as the study justifies using the open model due to its better replication of clinical conditions and avoidance of overestimation of drug sequestration.
Analysis principles | Based on general pharmacokinetics methodologies | Relevant because adherence to pharmacokinetics principles is central to understanding the filter-drug interaction studied using this specific technological model.
Technology employed | NeckEpur® technology | Relevant since the NeckEpur® technology integrates the open model to evaluate drug elimination routes systematically during the study.
Mean initial vancomycin concentration in CC | 51.4 ± 5.0 mg/L | This is a key parameter estimated from the central compartment (CC) to set the study's baseline concentration for assessing elimination and sequestration.
Mean percentage eliminated from CC over 6 hours | 91 ± 4% | Reflects the extent of vancomycin removal, estimated from CC data to determine drug clearance.
Clearance from CC by CDF | 2.8 L/h | Estimated from CC for continuous diafiltration mode, provides insights into how the therapy clears the drug.
Clearance from CC by CD | 1.9 L/h | Estimated from CC for continuous dialysis mode, informs clearance efficiency in this modality.
Clearance from cumulative effluents by CDF | 4.4 L/h | Derived from cumulative effluent data, illustrating broader clearance dynamics of vancomycin via diafiltration.
Clearance from cumulative effluents by CD | 2.2 L/h | Calculated from cumulative effluent data, showcasing overall clearance in dialysis mode.
Mean percentages of eliminated vancomycin via cumulative effluents (CDF and CD) | CDF: 114%; CD: 108% | Estimated via effluent data to verify total drug elimination and support the conclusion of no sequestration.
Extraction coefficient (EC) in CDF and CD modes | CDF: 9%; CD: 14% | Calculated using concentrations from inlet and outlet ports to assess filter efficiency in removing vancomycin without sequestration.
Initial vancomycin concentration in CC in CDF | 48.9 mg/L | Derived from CC at the start of continuous diafiltration sessions, validating drug stability and consistent methodology.
Mean AUC in CDF mode | 5599 mg.min.L−1 | Estimated from CC data to assess total drug exposure over time and clearance efficiency.
Mean clearance from effluents in CDF mode | 4.4 L/h | Calculated from collected effluent samples to reinforce findings on diafiltration efficiency.
Mean initial concentration in CC in CD mode | 54.0 mg/L | Measured from CC to establish the study's baseline parameter in dialysis mode.
Mean AUC in CD mode | 6930 mg.min.L−1 | Estimated via CC data to gauge total drug exposure for clearance comparisons.
Clearance from cumulative effluents in CD mode | 2.2 L/h | Data from collected effluents used to affirm dialysis impact on vancomycin elimination.
Measured time for collection of a 5-L bag during CDF | 76 ± 9 min | Assessed from effluent collection data to confirm flow rate agreement with prescribed values in diafiltration.
Measured time for collection of a 5-L bag during CD | 123 ± 1 min | Estimated from effluent filling rates to validate flow rate accuracy in dialysis sessions.
Stability of vancomycin in the reservoir | Percentage variations were -2.6% at +6 hours | Stability of vancomycin is a prerequisite for pharmacokinetics assessment, ensuring results are accurate in in vitro studies.
Stability of vancomycin in tubing | Percentage variations were -1.2% at +6 hours | Tube stability influences the accuracy of vancomycin pharmacokinetics, as degradation could alter measurements.
Dialysis/filtration flow rates | 4 L/h (CDF) and 2.5 L/h (CD) with accurate matching of theoretical to actual flow | Flow rates directly determine the elimination rate and clearance of vancomycin, a major factor influencing drug pharmacokinetics in CRRT.
Negative vs. reduced negative charge of filter membranes | ST® filters (covered with PEI) are less electronegative compared to AN69 filters | Membrane charge influences the likelihood of ionic interactions and drug sequestration, impacting pharmacokinetics.
Protein binding of vancomycin | 11–55% protein binding | Protein binding affects the unbound fraction of vancomycin available for filtration, influencing its elimination rates and overall pharmacokinetic profile.
Blood-to-plasma ratio for vancomycin | 0.55; determines 13% decrease due to erythrocyte distribution | The variable KpBC heavily influences vancomycin distribution in plasma, which in turn modifies the pharmacokinetics in in vitro studies using blood.
Medium used in studies | Crystalloid (this study) vs. blood (others) | Affects the direct drug-filter interaction (crystalloid) or drug-protein interactions and filter sequestration (blood), thereby altering pharmacokinetics.
Anticoagulant use | Heparin added by Tian et al. but not used in this study | Heparin may bind vancomycin, potentially decreasing its free concentration and altering the pharmacokinetic profile.
Surface area of dialysis filters | Filters used range from 0.6 m² to 1.7 m² | Surface area affects the extent of drug interaction and sequestration, thereby influencing the clearance of vancomycin.
Mode of exposure to vancomycin | Bolus dose mode (50 mg/L simulated concentration) | In vitro bolus exposure may not match clinical conditions of CRRT, affecting pharmacokinetic interpretations.
Duration of study sessions | 6 hours in this study vs. 2–4 hours in others | Longer durations allow more comprehensive pharmacokinetic data collection, highlighting differences in drug elimination pathways over time.
Impact of hemolysis in blood studies | Leads to potential drug concentration artifacts | Hemolysis alters vancomycin concentrations and thus impacts the reliability of pharmacokinetics in in vitro studies using blood.