## Table 1
CMP_CMP | The range for each parameter used for_Low | The range for each parameter used for_High | CQA_CQA | ATP_Targeted ATP
% Ethanol | 10 | 20 | Resolution (Res 1) between Deg 1 and Deg 2 | NLT 2
Mobile phase pH | 5 | 7.5 | Resolution (Res 2) between Deg 2 and TGC | NLT 2
% EDTA | 0.01 | 0.04 | Theoretical plates (T plate) | 2000-4000
% TEA | 0.1 | 0.3 | Symmetry factor (sym) | 0.8-1.2
% TEA | 0.1 | 0.3 | Capacity factor (K factor) | 2-10
% TEA | 0.1 | 0.3 | Run time | NMT 6

## Table 2
Runs | % Ethanol | pH | EDTA Conc | % TEA | Res 1 | Res 2 | Sym | T-plates | K factor | Run time
1 | 15 | 6.25 | 0.02 | 0 | 7.17 | 4.9 | 1.31 | 3303.45 | 4.05 | 5.06
2 | 10 | 5 | 0.01 | 0.1 | 1.02 | 1.61 | 1.37 | 2652.43 | 1.25 | 2.25
3 | 15 | 6.25 | 0.04 | 0.2 | 4.23 | 3.77 | 1.32 | 3254.47 | 2.76 | 3.77
4 | 20 | 5 | 0.01 | 0.3 | 0.4 | 2.64 | 1.08 | 2111.3 | 0.49 | 1.5
5 | 15 | 6.25 | 0.02 | 0.2 | 6.56 | 4.33 | 1.25 | 3449.69 | 3.77 | 4.78
6 | 10 | 5 | 0.01 | 0.3 | 1.65 | 2 | 1.5 | 2667.43 | 1.34 | 2.35
7 | 25 | 6.25 | 0.02 | 0.2 | 3.5 | 2.25 | 1.5 | 2000.88 | 1.45 | 3
8 | 10 | 5 | 0.03 | 0.3 | 3.26 | 1.53 | 1.24 | 2633.59 | 0.98 | 1.98
9 | 15 | 6.25 | 0.02 | 0.2 | 5.81 | 4.04 | 1.27 | 3117.93 | 3.49 | 4.5
10 | 15 | 3.75 | 0.02 | 0.2 | 0.3 | 0.3 | 1.2 | 1493 | 0.4 | 0.7
11 | 20 | 5 | 0.03 | 0.3 | 1.5 | 1.78 | 1.3 | 1763 | 0.5 | 1.5
12 | 20 | 7.5 | 0.01 | 0.3 | 10 | 3.28 | 1.5 | 3788.11 | 4.16 | 6
13 | 20 | 5 | 0.03 | 0.1 | 0.51 | 1.68 | 1.13 | 1780.37 | 0.32 | 1.32
14 | 15 | 6.25 | 0.02 | 0.2 | 7.08 | 4.5 | 1.23 | 3535.91 | 3.93 | 4.94
15 | 15 | 6.25 | 0.02 | 0.2 | 7.03 | 4.49 | 1.23 | 3477.36 | 3.89 | 4.89
16 | 15 | 6.25 | 0 | 0.2 | 9.09 | 4.28 | 1.21 | 3511.16 | 4.43 | 5.43
17 | 15 | 6.25 | 0.02 | 0.2 | 6.9 | 4.45 | 1.23 | 3556.05 | 3.81 | 4.82
18 | 20 | 5 | 0.01 | 0.1 | 0.42 | 1.71 | 0.7 | 2005.69 | 0.33 | 1.33
19 | 15 | 6.25 | 0.02 | 0.2 | 2.96 | 3.73 | 1.19 | 3395.66 | 3.57 | 4.57
20 | 10 | 5 | 0.03 | 0.1 | 0.5 | 1.57 | 1.25 | 2612.54 | 1.44 | 2.06

## Table 3
Regression equation in terms of coded factors *_Regression equation in terms of coded factors * | ANOVA p-value_Model | ANOVA p-value_Lack of fit | Adjusted R 2_Adjusted R 2 | Predicted R 2_Predicted R 2 | Adequate precision_Adequate precision
ln (Res 1) = +1.70-0.2517A+1.70B-0.1774C-0.1621D+0.1240AB+0.2004AC-0.1726AD-0.3560BC-0.5922BD+0.3221CD | >0.0001 | 0.4881 | 0.9204 | 0.7736 | 16.1628
(Res 2) = +4.11-0.9781A+2.16B-0.1039C-0.4412D-1.13AB-0.0357AC+0.0732AD+0.0829BC-0.6254BD-0.1457CD | >0.0001 | 0.3111 | 0.9359 | 0.7906 | 20.1691
(sym) = +1.24-0.1340A+0.0350B+0.0247C-0.0324D+0.2781AB+0.1276AC+0.0541AD+0.0102BC-0.1158BD-0.0449CD | >0.0001 | 0.4035 | 0.9739 | 0.9296 | 38.6394
ln (plate) = +8.13-0.2665A+0.4150B-0.0.0187C-0.00148D-0.1044AB-0.0338AC+0.0033AD+0.0223BC-0.0077BD-0.0072CD | >0.0001 | 0.9847 | 0.9832 | 0.98 | 34.138
(k factor) = -3.65-1.22A+2.78B-3563C-0.3249D-0.8293AB+0.0519AC+0.0581AD-0.3044BC -0.3518BD-0.0356CD | >0.0001 | 0.0879 | 0.9728 | 0.8023 | 20.8663
(Run time) = +4.68-0.9073A+2.87B-0.3822C-0.2572D-0.5507AB+0.0849AC+0.0241AD-0.2954BC-0.3186BD-0.0031CD | >0.0001 | 0.3514 | 0.9864 | 0.9469 | 33.2867

## Table 4
Parameter | Results
Linearity range | 8-60 μg mL -1
Slope | 67478
Intercept | - 58699
Correlation coefficient | 0.9999
LOD | 0.5 μg mL -1
LOQ | 1.6 μg mL -1
Resolution | 3.54
Peak symmetry | 1.19
Theoretical plate | 3284.85
Capacity factor | 3.42

## Table 5
Unnamed: 0 | Labeled concentration μg mL -1 | Found concentration μg mL -1 | %Recovery | %RSD
Accuracy | Accuracy | Accuracy | Accuracy | Accuracy
80% | 32 | 31.8±0.02 | 99.47±0.10 | 0.19
100% | 40 | 39.9±0.01 | 99.79±0.03 | 0.03
120% | 48 | 48.0±0.01 | 99.98±0.03 | 0.03
Repeatability | Repeatability | Repeatability | Repeatability | Repeatability
80% | 32 |  | 99.56±0.09 | 0.09
100% | 40 |  | 99.81±0.02 | 0.02
120% | 48 |  | 100.22±0.44 | 0.05
Intermediate | Intermediate | Intermediate | Intermediate | Intermediate
80% | 32 |  | 99.47±0.14 | 0.14
100% | 40 |  | 99.79±0.04 | 0.04
120% | 48 |  | 99.98±0.10 | 0.10

## Table 6
Unnamed: 0 | Conditions | Changes | R%
1 | Proposed method * | --- | 99.90%
2 | Flow rate | 0.9 mL min -1 | 100.11%
3 | Flow rate | 1.1 mL min -1 | 100.42%
4 | Mobile phase pH | 6.1 | 99.82%
5 | Mobile phase pH | 6.4 | 100.34%
6 | % ETOH | 13% | 100.15%
7 | % ETOH | 17% | 100.36%
8 | Temperature | 38°C | 99.76%
9 | Temperature | 42°C | 100.50%
10 | UV detection | 273 nm | 100.36%
11 | UV detection | 275 nm | 100.23%

## Table 7
Type_Type | Proposed method_Proposed method | Reported methods_34 | Reported methods_35 | Reported methods_39 | Reported methods_40
Acidic degradation (60°C for 1 hour) | 30.2% | Slow | 32% iii | 16% | 10.1%
Basic degradation (25°C for 2 hours) | 66.8% | Fast | 28% iii | 35% | 5.3%
Oxidative degradation (25°C for 2 hours) | 78.5% | Very Fast | 20% iii | 57% | 3.6%
Thermal degradation (60°C for 2 hours) | 11.8% | Fast | 14% |  | 31%
Photo-degradation (RT for 24 hours) | 22.6% | Medium | 8% |  | 8.0%

## Table 8
Reagents/ instruments_Reagents/ instruments | The proposed method_The proposed method | Report methods_33 | Report methods_34 | Report methods_35 | Report methods_36 | Report methods_37 | Report methods_39 | Report methods_40
Ethanol | 0 | - | - | - | - | - | - | -
Acetonitrile | - | 8 | 8 | 8 | 8 | 8 | 8 | -
Ammonium acetate buffer | 0 | 2 | - | - | - | - | - | -
Sodium acetate buffer | - | - | 0 | - | - | - | - | -
Acetic acid (glacial) | 2 | - | - | 2 | - | - | - | -
DMSO | - | 5 | - | - | - | - | - | -
EDTA | 3 | - | - | - | 3 | - | - | -
Methanol | - | - | - | - | - | - | - | 12
Oxalic acid | - | - | 3 | - | - | - | - | -
Phosphate buffer | - | - | 2 | - | 2 | 2 | - | -
Triethylamine | 0 | - | - | - | - | - | - | 3
Trifluoroacetic acid | - | - | - | - | - | - | 2 | -
HPLC instrument | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Occupational hazard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Waste | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Total Penalty points | 12 | 22 | 20 | 17 | 20 | 17 | 17 | 22
Analytical Eco-Scale Total Score | 88 | 78 | 80 | 83 | 88 | 83 | 83 | 78

## Table 9
Method | Test conditions/ Validation parameters | GAPI | NEMI
The proposed method | Waters HPLC instrument using A mobile phase of buffer solution (50 mM ammonium acetate, 20 mM disodium edetate, 0.2% triethylamine) and ethanol 85:15 (v:v) was used for the liquid chromatography. The column thermostat was maintained at 40°C. It was filtered with a membrane filter.
33 | Waters HPLC instrument using Zorbax Eclipse plus C18 column with eluent-A: pH 6.50 buffer: acetonitrile: DMSO (90:5:5 %v/v/v) and eluent-B: pH 6.50 buffer: acetonitrile: DMSO (71:24:5 %v/v/v) as mobile phase at a 1.0 mL/min flow rate.
34 | HPLC instrument using the mobile phase consisted of buffer containing sodium phosphate monobasic (0.015M) and oxalic acid (0.015M) (pH 7.0)–acetonitrile (75:25, v/v), run at a flow rate of 1.0 mL/min.
35 | HPLC instrument using a reversible phase C18 column with a mobile phase consisting of a mixture of acetonitrile and acetic acid (0.1% aqueous solution, pH: 3.5) in the ratio of 20:80. Flow rate was 0.4 mL/min. Detection was carried out at 250 nm.
36 | The analytical column was Thermo Acclaim™ 120 C18 with a volatile salt mobile phase at the flow rate of 1.5 mL min−1 (right pump). The mobile phase consisted of dipotassium hydrogen phosphate and EDTA solution adjusted to pH 6.4 with phosphoric acid)–acetonitrile (95:5) (A) pH 6.4 with phosphoric acid)–acetonitrile (50:50) (B).
37 | RP-HPLC method was carried out on a Kromasil ODS C-18 column using Buffer: Acetonitrile 83: 17 as mobile phase at a 1.2 mL/min flow rate.
39 | HPLC using a Kinetex C18 column. The mobile phase was composed of 0.1% trifluoroacetic acid (TFA) in water (A) and 0.1% TFA in acetonitrile B). The flow rate is 1 mL/min.
40 | The stationary phase is Agilent ZORBAX Eclipse XDB column, Methanol and 10 mmol Triethylamine Buffer at pH 6.1 in the ratio of 75:25 (v/v). The flow rate is 1 mL/min.

## Freetext Data
Data | Value | Relevance
Background of Tigecycline (TGC) | Tigecycline is a recently developed antibiotic to combat resistant bacteria and is the first agent of the glycylcycline family. | Relevant as it sets the context for the study and its significance in addressing antibiotic resistance.
Chemical properties of Tigecycline (TGC) | TGC has a chemical formula of C29H39N5O8, a molecular weight of 585.65, and is freely soluble in water but slightly soluble in alcohol. | Relevant as these properties affect the analytical technique used for its quantification.
Research Aim | To create a sustainable and stable HPLC technique for quantifying Tigecycline in lyophilized powder. | Relevant as it defines the study’s purpose and its importance in pharmaceutical analysis.
Method Description | HPLC method uses an aqueous buffer (ammonium acetate, EDTA, TEA) and ethanol (85:15 v/v) as a green mobile phase on a reversed-phase symmetry C18 column. | Relevant as it details the analytical approach focusing on eco-friendly solutions.
Environmental Assessment | Analytical eco-scale and Green Analytical Procedure Index (GAPI) utilized to assess the eco-friendliness of the developed method. | Relevant as it evaluates the environmental impact, a key aspect of the paper’s methodology.
Greenness tools | Used Eco-scale and NEMI for environmental assessment. | Relevant as it highlights additional tools employed for a comprehensive green assessment.
Specificity Verification | Specificity was verified through stress degradation testing, ensuring separation of TGC from its degradation products. | Relevant for assessing the method's reliability and usability for pharmaceutical stability studies.
Validation Guidelines | Validation adhered to International Conference on Harmonization (ICH) standards. | Relevant as it provides the credibility framework for the study's methodology.
Forced Degradation Studies | Acidic, basic, thermal, oxidative, and photolytic degradation conditions were used to test TGC’s stability. | Relevant for understanding the robustness and stability-indicating nature of the new HPLC method.
Optimization Approach | Response Surface Methodology and Central Composite Design (CCD) were used with Design Expert software. | Relevant as this highlights the advanced optimization techniques employed to enhance method performance.
Comparison with Previous Methods | Includes greenness assessment tools (GAPI, NEMI, Eco-scale) and degradation results against existing methods. | Relevant as it provides a contextual comparison showcasing the advantages of the developed method.
Key Analytical Parameters | LOD and LOQ values were determined statistically based on standard deviation (not specified numerically but discussed). | Relevant because these metrics establish the sensitivity of the developed method.
Robustness Testing | Changes in analytical parameters like solvent ratio, pH, and flow rate tested; robustness confirmed through system suitability parameters. | Relevant as robustness ensures usability under varying conditions.
Analytical Figures of Merit | Analytical parameters include linearity (8–60 μg mL−1 range), precision, and accuracy validated per ICH standards. | Relevant for ensuring the developed method meets high-quality analytical norms.
Degradation Pathways | Oxidative and basic stress conditions more impactful on TGC according to results when compared with previously published methods. | Relevant for informing the comparative performance of the developed method.
Optimization Parameters (CMPs) | Ratio of green solvent (% Ethanol), mobile phase pH, concentration of EDTA, and TEA used as critical method parameters (CMPs). | Relevant as these factors were fine-tuned to improve the method's efficiency and greenness.
System Suitability | Evaluated parameters included peak symmetry, theoretical plates, and resolution, ensuring method reliability. | Relevant as it confirms compliance with analytical standards for HPLC methods.
Patient Sample Size | Not mentioned in the text | The paper does not provide explicit details on the patient sample size, indicating this was not the focus of the study.
Blood/Tissue Sampling Time Points | Not mentioned in the text | This information is not provided in the study as it focuses on the development and validation of the HPLC method rather than a pharmacokinetic evaluation.
Patient Population | Not mentioned in the text | The study does not describe the patient population as it does not involve pharmacokinetic trials but rather analytical method development.
Experimental Design (ED) Model | Central Composite Design (CCD) | CCD is used to optimize experimental conditions in the study.
Chemometric Model | Response Surface Methodology (RSM) | The RSM explores the interactions between variables to achieve optimal separation and quantification of Tigecycline and its degradation products.
Statistical Model | ANOVA (Analysis of Variance) | ANOVA is applied to assess the significance of variable coefficients in the model for accuracy and robustness.
Regression Model | Quadratic Model | The quadratic model evaluates significant parameters in chromatographic performance.
Optimization Model | Numerical and Graphical Approaches | Optimization was performed to identify ideal chromatographic parameters for method effectiveness.
Quality by Design (QbD) Framework | Risk-based Analytical Method Development | QbD ensures robust analytical performance incorporating critical quality attributes (CQA).
Optimum Ethanol Percent | 85% | Parameter derived during chromatographic optimization, relevant for establishing the mobile phase composition.
Buffer pH | 6.25 | Parameter estimated from trials for mobile phase pH optimization to improve peak shape and resolution during chromatographic analysis.
EDTA Molar Concentration | 20 mM | Used to chelate metal ions to prevent chelate complex formation, relevant for improving peak symmetry and stability.
TEA Percent | 0.2% | Added to mobile phase to enhance TGC peak shape, determined during method optimization.
Mobile Phase Ratio | 85:15 (Buffer:Ethanol) | Essential parameter defining mobile phase composition for RP-HPLC separation.
Detection Wavelength | 275 nm | Established based on UV spectrophotometry, relevant for TGC detection and sensitivity.
Column Temperature | 40°C | Set to ensure column performance and chromatographic stability.
Flow Rate | 1.0 mL/min | Parameter estimated for achieving optimal resolution and peak symmetry.
Injection Volume | 40 μL | Parameter relevant for maintaining consistency in sample loading during HPLC.
Experimental Design | Center Composite Design (CCD) | Methodology applied to optimize experimental conditions and study parameter effects systematically.
Buffer Composition | 50 mM ammonium acetate, 20 mM EDTA, 0.2% TEA | Composition determined during trials, critical for maintaining pH and preventing metal-ion interference.
Forced Degradation Conditions | Acidic (HCl 100 mM, 60°C), Alkaline (NaOH 100 mM, 25°C), Oxidative (5% H2O2), Photolytic, Thermal (60°C) | Defined conditions used to challenge the method during validation to assess stability-indicating features.
LOD (Limit of Detection) | Not explicitly mentioned | Parameter indicates sensitivity thresholds but not detailed in extracted text.
LOQ (Limit of Quantification) | Not explicitly mentioned | Represents the quantification threshold but specific values not detailed in text.
Linearity Range | 8–60 μg mL^-1 | Parameter derived for validation of linearity, ensuring method reliability over the range.
Calibration Equation | Regression Analysis (least-squares method) | Tool used for deriving the relationship between peak area and TGC concentration.
Regression Equation | Not explicitly mentioned | Essential for establishing correlation but value not detailed in extracted text.
Precision Levels | 32, 40, and 48 μg mL^-1 (repeatability and intermediate precision) | Parameters chosen for assessing method precision under consistent conditions.
Recovery Levels | 80%, 100%, 120% of analytical level | Parameters estimated to evaluate the accuracy of TGC analysis in spiked samples.
Validation Guidelines | ICH standards (Q1A, Q1B, Q2R1) | Source methodology used for defining validation parameters and criteria.
Chromatographic Column | Symmetry C18 | Specific column identified as providing excellent performance, critical for method development.
Software | Design Expert 13 | Tool used for experimental design and response optimization, relevant in determining parameter effects and interactions.
TGC molecular weight | 585.65 | The molecular weight of TGC affects its pharmacokinetic properties, such as distribution and elimination.
TGC solubility | Freely soluble in water, slightly soluble in alcohol | Solubility impacts absorption and bioavailability, critical for pharmacokinetics.
TGC polarity | High degree of polarity | Polarity affects the drug's distribution and ability to traverse biological membranes, influencing pharmacokinetics.
TGC pharmacodynamics and pharmacokinetics | Role in treating complicated intra-abdominal and severe skin infections | These aspects are linked as they inform suitable dosages and administration routes based on the drug's behavior in the body.
Administration route | Intravenous | The chosen route (IV) directly influences the bioavailability and onset of action, essential for pharmacokinetics.
Stability testing | Under acidic, basic, thermal, oxidative, and photolytic conditions | Stability can impact the drug's shelf-life and pharmacokinetics when subjected to various physiological environments.
pKa values of TGC | 3.19, 6.4, 7.54, 9.14 | These values influence ionization in different pH environments, affecting absorption and distribution in pharmacokinetics.
Log P value of TGC | -3.86 | Log P determines lipid solubility and membrane permeability, which are pharmacokinetically relevant.