## Table 1
Nominal Concentration (μg/mL)_Nominal Concentration (μg/mL) | Intra-Day 1 (n=6)_Accuracy (%) | Intra-Day 1 (n=6)_Precision (CV%) | Intra-Day 2 (n=6)_Accuracy (%) | Intra-Day 2 (n=6)_Precision (CV%) | Intra-Day 3 (n=6)_Accuracy (%) | Intra-Day 3 (n=6)_Precision (CV%) | Inter-Day (n=18)_Accuracy (%) | Inter-Day (n=18)_Precision (CV%)
LLOQ (0.10) | 100 | 0 | 110 | 9.09 | 110 | 9.09 | 106.43 | 6.51
Low (0.30) | 98.33 | 3.39 | 88.33 | 1.89 | 91.67 | 3.64 | 92.67 | 4.98
Medium (3.00) | 97.67 | 2.39 | 91 | 4.76 | 93 | 5.73 | 93.93 | 5.11
High (24.00) | 96.54 | 2.33 | 89.67 | 1.3 | 89.17 | 3.18 | 91.78 | 4.38

## Table 2
Nominal Concentration (μg/mL) | Recovery (%) | IS Normalized Matrix Factor (%)
Low (0.30) | 104.98±3.74 | 101.65±8.37
Medium (3.0) | 119.98±5.56 | 100.23±7.33
High (24.0) | 111.09±2.65 | 105.55±9.59

## Table 3
Tested Conditions_Tested Conditions | Low (0.30)_Accuracy (%) | Middle (3.00)_Accuracy (%) | High (24.00)_Accuracy (%)
24 hours in plasma at room temperature | 101.67±6.56 | 100.33±3.32 | 96.25±2.77
3 days in plasma at 4°C | 100.00±5.00 | 98.00±4.76 | 100.96±7.92
24 h post-preparative stability in the auto sampler | 98.33±3.39 | 101.00±2.31 | 98.33±4.62
Freeze-thaw for 3 cycles at −70°C | 103.33±6.45 | 99.67±4.68 | 99.37±4.86
150 days in plasma at −70°C | 96.67±3.98 | 93.33±3.32 | 97.62±1.28
24 hours in whole blood at room temperature | 102.74*±4.90 | - | 106.65*±9.63
5 days in whole blood at 4°C | 104.59*±2.63 | - | 106.38*±3.88

## Table 4
Parameters_Parameters | Mean ± SD (%CV)_FLC (n=6) | Mean ± SD (%CV)_FLC+DHM (n=6)
Tmax (h) | 0.89±0.86 | 1.08±0.59
Cmax (mg/L) | 25.68±7.37 | 27.05±6.31
AUC0-t (h*mg/L) | 317.23±80.17 | 353.17±159.55
AUC0-∞(h*mg/L) | 317.5±80.25 | 353.40±159.51
t1/2 (h) | 10.49±2.16 | 8.93±0.62
Vz/F (L/kg) | 2.08±0.58 | 1.70±0.47
CLz/F (L/h/kg) | 0.14±0.03 | 0.13±0.04
MRT (h) | 10.41±1.34 | 10.57±1.37

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Authors developed a method for measuring FLC plasma levels | Sensitive, rapid, selective HPLC-MS/MS method | Relevant for analyzing pharmacokinetics of FLC in presence of DHM.
FLC pharmacokinetics assessed in two groups | FLC only group and combined DHM + FLC group | Relevant to study the drug-drug interaction effect of DHM on FLC.
DHM pretreatment's effect on FLC pharmacokinetics | No significant differences between groups | Relevant to establish safety and efficacy of DHM co-administration with FLC.
Dose of FLC administered | 42 mg/kg orally | Relevant for determining pharmacokinetics of FLC in rats.
Dose of DHM administered | 100 mg/kg orally | Relevant to study the interaction and pharmacokinetic effect on FLC.
Pharmacokinetic properties measured | Area under curve, Tmax, Cmax, half-life | Relevant for understanding any changes in FLC pharmacokinetics due to DHM.
Analysis software for PK parameters | WinNonLin v.8.1 | Relevant to ensure accurate determination of pharmacokinetic data.
Plasma sample preparation | Protein precipitation method (PPT) | Relevant for the reliability of FLC concentration measurements in plasma.
LLOQ of FLC in plasma | 0.1 μg/mL | Relevant for the sensitivity of the HPLC-MS/MS method in pharmacokinetic analysis.
Results on specificity/selectivity | No interference in measuring FLC | Relevant for validating the method's reliability for research use.
HPLC column specifications | XBrige C18 column | Relevant to ensure appropriate chromatographic separation during analysis.
Limits of accuracy and precision | Within ±15% for QC samples | Relevant for the reliability of results during the pharmacokinetic study.
Carry-over effects observed? | Negligible for FLC and IS | Relevant for confirming no impact on accuracy of measurements.
Study sample and conditions | 12 SD rats, healthy, climate-controlled environment | Relevant to establish test validity and reliability of results.
Route of drug co-administration | Oral for both FLC and DHM | Relevant to simulate their likely administration in a clinical setting.
DHM metabolism timeframe used for study | Almost completely metabolized within 12 hours | Relevant to study single-dose interaction and avoid confounding multiple-dose effects.
No change in FLC pharmacokinetics due to DHM | All PK parameters similar between groups | Directly answers whether DHM affects FLC kinetics.
Chromatographic run-time, practicality | Total run time 4 minutes | Relevant for assessing the method’s efficiency for pharmacokinetic studies.
Effects of DHM on CYP enzymes | Shown as a CYP3A4 inhibitor; no significant effect on FLC at studied concentration | Relevant for understanding enzymatic interactions during metabolism.
Study limitations noted | Healthy rats only; no assessment of liver/kidney abnormalities or FLC effects on DHM | Relevant as possible caveats for extrapolating findings.
Funding and ethical approval | Ethics committee-approved, funded study | Relevant for compliance and reliability of the presented research.
Interpretation of combined drug use | Safe co-administration at studied doses | Relevant for suggesting practical therapeutic combinations.
--- | --- | ---
Sample Size | 12 SD rats (6 males, 6 females) | Relevant as it defines the study population used for pharmacokinetics testing.
Treatment Groups | Two groups: (1) FLC-only group (42 mg/kg) and (2) FLC + DHM group (100 mg/kg DHM followed by 42 mg/kg FLC) | Relevant as it explains how the treatment arms were structured for comparison.
Rat Characteristics | Male rats: 310 ± 20 g; Female rats: 270 ± 20 g | Relevant to describe the experimental animal population.
Housing Conditions | 25°C ± 2°C, 50% ± 10% relative humidity, 12-h light/dark cycle | Relevant for ensuring environmental consistency in animal studies.
Dietary Conditions | Free access to food for 3 days before the experiment, fasted for 12 h before drug administration | Relevant as fasting and dietary controls can influence pharmacokinetics.
Blood Sampling Time Points | 0.33, 0.67, 1, 1.5, 2, 3, 4, 6, 9, 12, 24, 48, 72, and 96 hours post-FLC administration | Relevant as it defines the temporal resolution of pharmacokinetics data collection.
Plasma Collection Method | Ocular choroidal vein; spun for 10 minutes at 2800 × g | Relevant to describe the method used to extract samples for analysis.
Ethical Approval | Guidelines for Care and Use of Laboratory Animals (China), ethics approval obtained from Beijing Chaoyang Hospital, Capital Medical University | Relevant to ensure that the study complies with ethical research standards.
Model | Non-compartmental analysis | This model was used to calculate pharmacokinetic parameters for fluconazole in the study, relevant as it characterizes the pharmacokinetics in a straightforward manner without assuming a specific compartmental structure.
Area under the plasma concentration-time curve (AUC) | Parameter, plasma | The AUC is a primary pharmacokinetic parameter indicating the extent of drug exposure over time, crucial for understanding fluconazole (FLC) bioavailability in plasma.
Maximal plasma concentration (Cmax) | Parameter, plasma | Cmax reflects the peak level of FLC in blood plasma and is vital for assessing its efficacy and pharmacokinetics.
Time to maximal plasma concentration (Tmax) | Parameter, plasma | Tmax provides insight into the absorption rate of FLC in plasma, helping evaluate the speed of therapeutic onset.
Elimination half-life (t1/2) | Parameter, plasma | The half-life indicates how quickly FLC is being eliminated from the body, a key factor in understanding dosing intervals.
Plasma clearance (CL) | Parameter, plasma | CL reflects the efficiency of FLC elimination from the systemic circulation, an essential pharmacokinetic measure.
Apparent volume of distribution (Vd) | Parameter, plasma | Vd provides insights into the degree of FLC distribution into body tissues relative to plasma.
Mean residence time (MRT) | Parameter, plasma | MRT reflects the average duration FLC remains in the body, aiding in optimization of dosing schedules.
Plasma samples | SD rats, analyzed by HPLC-MS/MS | Plasma samples from Sprague–Dawley rats were used as the biological medium to estimate all pharmacokinetic parameters, ensuring direct measurement of FLC concentration and effects.
HPLC-MS/MS | Analytical Method | High-performance liquid chromatography–tandem mass spectrometry was the method used for precise quantification and calculation of FLC pharmacokinetic parameters.
Factors that influenced FLC pharmacokinetics | Individual differences | This factor is relevant because it highlights possible variability in drug metabolism and transport between individuals, which may affect FLC pharmacokinetics.
Factors that influenced FLC pharmacokinetics | DHM as a CYP3A4 inhibitor | This is relevant as DHM has been shown to inhibit cytochrome P450 enzymes like CYP3A4, which could theoretically affect FLC metabolism, although no significant impact was observed at the concentrations in this study.
Factors not influencing FLC pharmacokinetics | DHM did not significantly alter FLC pharmacokinetics in SD rats | This finding is relevant as it confirms that DHM does not interfere with FLC metabolism at tested doses, ruling out a common factor for drug-drug interactions.
Pharmacokinetics variability | Potential differences in liver and kidney functionality not evaluated | This is relevant as liver and kidney function are critical in drug metabolism and excretion, so their impact on FLC pharmacokinetics remains unknown from this study.