## Table 1
PRM on Thermo QE plus_Nominal added Tac concentration (ng/mL)_Nominal added Tac concentration (ng/mL) | PRM on Thermo QE plus_Inter-run (n = 24)_Mean(ng/mL) | PRM on Thermo QE plus_Inter-run (n = 24)_SD | PRM on Thermo QE plus_Inter-run (n = 24)_Precision(%CV) | PRM on Thermo QE plus_Inter-run (n = 24)_Accuracy (%bias) | PRM on Thermo QE plus_Intra-run (n = 6)_Mean (ng/mL) | PRM on Thermo QE plus_Intra-run (n = 6)_SD | PRM on Thermo QE plus_Intra-run (n = 6)_Precision (%CV) | PRM on Thermo QE plus_Intra-run (n = 6)_Accuracy (%bias)
LLOQ, 2.0 | 1.96 | 0.17 | 8.61 | −1.85 | 1.83 | 0.09 | 4.95 | −8.28
QCLOW, 5.0 | 4.87 | 0.48 | 9.82 | −2.54 | 4.63 | 0.36 | 7.75 | −7.48
QCMED, 15.0 | 14.9 | 1.1 | 7.39 | −0.68 | 14.82 | 0.66 | 4.44 | −1.17
QCHIGH, 20.0 | 19.93 | 1.83 | 9.16 | −0.36 | 19.14 | 0.99 | 5.18 | −4.29

## Table 2
Variable | Assay Development Cohort(N = 24) | Assay validation Cohort(N = 10) | Home Assay Subgroup(N = 18)
Age | 9.66 (4.39, 13.8) | 8.58 (1.00, 17.08) | 11.6 (4.64, 15.9)
Sex
Male | 11 (45.8 %) | 7 (70 %) | 8 (44.4 %)
Female | 13 (54.2 %) | 3 (30 %) | 10 (55.6 %)
Race
White | 23 (95.8 %) | 8 (80 %) | 17 (94.4 %)
Unknown/not checked | 1 (4.2 %) | 2 (20 %) | 1 (5.6 %)
Ethnicity
Not Hispanic or Latino | 24 (100 %) | 10 (100 %) | 18 (100.0 %)
Hematocrit (%) | 39.5 (36.4, 41.7) | 37.74 (27, 45.1) | 39.5 (36.9, 42.6)
Hemoglobin (g/dL) | 12.9 (12.1, 13.9) | 12.25 (8.7, 15.1) | 12.7 (12.2, 13.9)
BUN (mg/dL) | 12 (7, 16)* | 15.1 (7, 23) | 11 (6.5, 15.5)**
Creatinine (mg/dL) | 0.4 (0.3, 0.5)* | 0.44 (0.2, 1.0) | 0.45 (0.3, 0.6)**

## Table 3
Variable | N = 18
Shipment time (hours)*
Median (min–max) | 50 (24–175)
Median (Q1, Q3) | 50 (29.7, 75.5)
Patient/Parent Survey Questions
1. How would you describe the process of collecting a drug level sample?
Very easy | 14 (77.8 %)
Somewhat easy | 1 (5.6 %)
No opinion | 0 (0 %)
Somewhat difficult | 0 (0 %)
Very difficult | 0 (0 %)
I could not collect a sample | 0 (0 %)
Did not answer/survey not returned | 3 (16.7 %)
2. If you could use this method to collect some of your child’s required drug levels, would you?
Yes | 15 (83.3 %)
No | 0 (0 %)
Did not answer/survey not returned | 3 (16.7 %)

## Freetext Data
Data | Value | Relevance
--- | --- | ---
High-Resolution PRM Mass Spectrometry Used | Yes | High-resolution PRM was developed and validated for improved accuracy and specificity in measuring tacrolimus concentrations, directly relevant to patient monitoring.
Comparison Between PRM and MRM Methods | PRM showed greater specificity and accuracy | This comparison establishes the superiority of PRM in eliminating matrix interferences, thus ensuring reliable clinical decision-making.
Tacrolimus Stability on VAMS Tips | Stable for 14 days | Stability is critical for home-based sampling since samples may take time to reach the lab.
Tacrolimus Calibration Range | 1–50 ng/mL | Validating this range ensures the assay can accurately quantify therapeutic levels of tacrolimus.
VAMS Validated for Home Use | Yes | Enables collection for pediatric heart transplant patients, allowing patient-friendly, minimally invasive sampling outside of clinical settings.
Correlation Between VAMS and Venipuncture Samples | Pearson’s correlation coefficient 0.97 | Demonstrates that VAMS collected samples are comparable to venipuncture, supporting home use.
Patient Satisfaction with VAMS Collection | Rated as “very easy” or “somewhat easy” | Indicates acceptability of home sampling by pediatric patients/guardians, enhancing adherence.
Impact on Pediatric Patients | Reduces venipuncture and blood volume requirements | This is especially relevant for small or anxious children, improving patient experience and sample feasibility.
Shipping Effect on Tacrolimus Measurements | No significant impact | Confirms that VAMS samples are robust against postal shipment delays, which supports remote monitoring.
Findings on Routine Chemiluminescence vs LC–MS/MS | LC–MS/MS is more specific | Immunoassays, often used clinically, lack specificity compared to the assay validated in this study.
Patient Demographics Evaluated | 35 pediatric heart transplant patients | Validates therapy effectiveness and sample handling in a critical patient population.
Clinical Application of PRM with VAMS | Used in therapeutic drug monitoring at home | Ensures proper dosing of immunosuppressants, improving transplant outcomes for immunocompromised patients.
Key Limitation of Home Sampling | Small collection failure rate | Provides insight for addressing potential patient/guardian mistakes during sampling procedures.
Patient Sample Size | 35 pediatric heart transplant patients | The sample size of 35 pediatric heart transplant patients provides a sufficient cohort for validating the methodology in a clinically relevant population.
Patient Population | Pediatric (<18-years-old) post-heart transplant patients | The study focused on pediatric heart transplant recipients, who represent a critical and vulnerable population requiring accurate tacrolimus dosing due to small blood volumes and venipuncture challenges.
Blood Sampling Method | Venipuncture and capillary finger-prick blood collection | The use of both venipuncture and finger-prick methods allows comparison of traditional clinical blood draws with minimally invasive home-based sampling.
Blood Collection Technique | Volumetric Absorptive Microsampling (VAMS) | VAMS is highlighted as a patient-friendly alternative that reduces sampling volume and facilitates remote monitoring, addressing challenges in pediatric patient management.
Time Points for Blood Sampling | 30 minutes prior to the morning dose of tacrolimus | Blood sampling at this time ensures measurement of trough levels, which are critical for therapeutic drug monitoring in transplant patients.
Sample Stability | Stable for 14 days on VAMS tips at room temperature | Demonstrates viability for real-world home collection and mailing scenarios, facilitating adherence to therapeutic monitoring schedules.
Home Sampling Subgroup | 24 patients enrolled; 21 completed home sampling | Validation of this method in a home sampling setting highlights its practicality for remote tacrolimus monitoring in pediatric patients living far from healthcare centers.
Time for Mailed Samples to Reach Lab | Mean time: 50 hours (24–175 hours range) | Verification of sampling conditions and stability over extended periods of shipping time is essential for implementing home-based therapeutic monitoring.
Duplicate Home Samples | Average difference in tacrolimus concentrations between duplicates: 0.12 ng/mL | Confirms the reliability and reproducibility of VAMS in home sampling, vital for accurate PK studies.
Model | Not explicitly mentioned | The paper does not describe a pharmacokinetic model such as a 1-compartment, 2-compartment, physiologically based model, or IVIVE. Instead, it focuses on validating the use of high-resolution PRM mass spectrometry and volumetric absorptive microsampling (VAMS) for monitoring tacrolimus levels in pediatric heart transplant patients.
Linear range of PRM assay | 1–50 ng/mL | Describes the quantifiable range of the high-resolution PRM assay, relevant for understanding the assay's capabilities in measuring tacrolimus levels.
Lower Limit of Quantification (LLOQ) | 2 ng/mL | Indicates the minimum detectable concentration of tacrolimus using PRM, relevant for assay sensitivity.
Automatic Gain Control (AGC) target | 1e5 | Parameter relevant to optimizing ion selection during mass spectrometer operation, ensuring accurate measurement of tacrolimus.
Resolution for PRM | 70,000 | Determines the specificity of the PRM assay in distinguishing tacrolimus from background noise, ensuring high accuracy.
Normalized Collision Energy (NCE) | 15 | A parameter used during high-energy collision dissociation, critical for fragmentation of tacrolimus ions in the PRM method.
Sample Injection Volume | 20 μL | Volume of the sample introduced into the LC-MS system, relevant for replicability and sample handling during analysis.
Flow rate | 0.45 mL/min | Liquid chromatographic condition affecting tacrolimus separation and measurement, ensuring consistent results.
Tacrolimus peak transition (quantification) | m/z 821.5158 → 576.3165 | Specific transition monitored for tacrolimus in PRM, indicative of precise ion detection for the drug.
Internal Standard (IS) peak transition | m/z 824.5288 → 579.3325 | Monitored transition for the internal standard, critical for correcting variations in detection.
Stability of Tacrolimus on VAMS Tips | 14 days | Represents the stability window for at-home samples, ensuring reliable analysis even after shipping delay.
Extraction Recovery | 89.1 ± 14.5% | Percentage of tacrolimus retrieved during sample preparation, relevant for assay efficiency determination.
Study Population | 35 pediatric heart transplant patients | Provides the patient demographics from which most assay parameters were validated.
Capillary Collection Comparisons | R2 = 0.95 | Indicates strong linear correlation between capillary blood and venous blood measurements, establishing reliability of the home collection method.
Imprecision (%CV) | Within ±10% | Reflects both inter- and intra-run variability, relevant for assay reproducibility and accuracy.
Mobile Phase A Composition | 100% water with 2 mM ammonium acetate and 0.1% formic acid | Parameter for chromatography solvent, ensuring proper tacrolimus separation during analysis.
Mobile Phase B Composition | 100% methanol with 2 mM ammonium acetate and 0.1% formic acid | Parameter for chromatography solvent affecting tacrolimus elution.
Run Time per Sample | 5 minutes | Length of time required per sample analysis, relevant for laboratory workflows.
Protein Precipitation Agent | Acetonitrile with 0.5 ng/mL IS | Key parameter in enhancing the cleanliness of extracted samples, ensuring accurate tacrolimus quantification.
Sonication Time | 30 minutes | Parameter for tacrolimus extraction from VAMS tips, optimizing recovery during sample preparation.
Tacrolimus stability | Stable for up to 14 days on VAMS tips at room temperature | Stability of tacrolimus on VAMS tips ensures reliable measurement over a period, which directly influences accurate pharmacokinetic analysis in home sampling scenarios.
Hematocrit impact | Tacrolimus concentration on VAMS devices is independent of hematocrit levels within a range of 20–60% | Minimizing hematocrit-induced variability improves the reliability of tacrolimus pharmacokinetics compared to traditional dried blood spots on paper.
Shipping time | Tacrolimus concentrations unaffected by postal shipping; average time to receive sample ~50 hours | Stability during shipping ensures accurate pharmacokinetics determination, especially for home-collected samples.
Extraction recovery | Mean extraction recovery of 89.1 ± 14.5% | Reliable recovery ensures accurate quantification of tacrolimus, critical for pharmacokinetics analysis.
Immunoassay specificity | Immunoassays overestimate tacrolimus due to cross-reactivity with metabolites | Differences in analytical specificity can bias pharmacokinetic data if methods are not considered.
Instrument specificity | PRM has greater specificity and eliminates background matrix interferences compared to MRM | Enhanced specificity ensures precise pharmacokinetic parameters by reducing potential analytical error.
Sample preparation factors | Efficient extraction achieved using sonication with H2O:MeOH (60:40) and ZnSO4 (0.4M) | Proper sample preparation is crucial for accurate tacrolimus quantification, affecting pharmacokinetic analysis consistency.
Temperature variations | Samples mailed in August–March showed no effect on tacrolimus levels | Stability under various temperature conditions ensures that handling does not bias pharmacokinetic results.
Duplicate sample variability | Average difference of 0.12 ± 0.94 ng/mL in duplicate VAMS samples | Low variability indicates consistent sampling, crucial for accurate pharmacokinetics monitoring.