## Table 1
Sample_1 | \documentclass[12pt]{minimal} \usepackage{amsmath} \usepackage{wasysym} \usepackage{amsfonts} \usepackage{amssymb} \usepackage{amsbsy} \usepackage{upgreek} \usepackage{mathrsfs} \setlength{\oddsidemargin}{-69pt} \begin{document} $R_{e}$\end{document} [%]_57.73 | \documentclass[12pt]{minimal} \usepackage{amsmath} \usepackage{wasysym} \usepackage{amsfonts} \usepackage{amssymb} \usepackage{amsbsy} \usepackage{upgreek} \usepackage{mathrsfs} \setlength{\oddsidemargin}{-69pt} \begin{document} $R_{i}$\end{document} [%]_10.48 | CPE-T [%]_-376.67 | CPE-p [%]_17.24 | \documentclass[12pt]{minimal} \usepackage{amsmath} \usepackage{wasysym} \usepackage{amsfonts} \usepackage{amssymb} \usepackage{amsbsy} \usepackage{upgreek} \usepackage{mathrsfs} \setlength{\oddsidemargin}{-69pt} \begin{document} $C_{a}$\end{document} [%]_-49.68
2 | 20.14 | 1.42 | -9.91 | 0 | -4.85
3 | 27.82 | 1.11 | -22.53 | -3.03 | 9.74
4 | 20.13 | 1.1 | -3.55 | 0 | 1.89
5 | 41.35 | 9.16 | -33.54 | 0.51 | -11.91
6 | 19.41 | 17.07 | -20.5 | 1.81 | 0.98
7 | 29.07 | 6.42 | 0.44 | -1.4 | 10.22
8 | 53.41 | 23.91 | -197.02 | 11.3 | -26.13
9 | 43.42 | 8.1 | -22.8 | 0.38 | 11.02
10 | 30.95 | 14.17 | -15.74 | 0.36 | 5.79
Mean | 33.34 | 8.25 | -70.18 | 3.02 | -5.29
Std Dev | 14.8 | 6.96 | 122.2 | 5.83 | 19.42

## Table 2
Sample | Sensitivity [ml 1] | Nonlinearity [%]
1 | 391.14 | 17.5
2 | 126.04 | 6.45
3 | 125.43 | 6.29
4 | 133.35 | 6.45
5 | 314.13 | 12.32
6 | 161.92 | 2.39
7 | 187.26 | 7.11
8 | 366.32 | 9.77
9 | 269.44 | 9.31
10 | 184 | 6.66

## Table 3
Parameter | BIA-based method [32] | BIS-based method
Reproducibility | 71.00 % | 40.98 %
Repeatability | 0.45 % | 0.78 %
Sensitivity | 69.98 ml1 | 225.90 ml1
nonlinearity | 9.03 % | 8.43 %
Determinist error | 5.00 % | 2.78 %
Uncertainty | 0.14 % | 0.25 %

## Freetext Data
Data | Value | Relevance
Electrical Component Sensitive to Insulin Injection | Extracellular Fluid Resistance (Re) | This was identified as the parameter most sensitive to insulin injections, crucial for determining insulin bioavailability through impedance.
Sensitivity Improvement | 223% | Sensitivity improvement enhances the precision of measuring insulin absorption, supporting personalized models in clinical applications.
Uncertainty for Smart Insulin Pen Measurement | Reduced from 4.2 µl to 1.3 µl | Lower uncertainty enables quicker detection of insulin migration into capillaries, critical for real-time diabetes management.
Study Models | Modified Hayden’s Model | The model provides a framework for analyzing the electrical properties of tissues, essential for calibrating the bioimpedance transducer.
Measurement Technique | Bioimpedance Spectroscopy (BIS) | BIS was chosen for its ability to analyze wide frequency ranges, increasing the accuracy of insulin bioavailability measurements.
Emulation Tissue | Eggplant Pulp | Eggplants mimic human tissue properties under quasi-static conditions, facilitating pre-clinical validation of the method.
Impact on Diabetes Management | Proposed Smart Insulin Pen for non-invasive measurement | Enables real-time tracking of synthetic insulin absorption, advancing diabetic treatment protocols.
Experimental Setup Temperature | 20°C ± 2°C | Controlled conditions ensured accurate measurement of tissue properties, minimizing extraneous error during emulation.
Frequency Range | 1–100 kHz | These frequencies were used for impedance spectroscopy, providing detailed insights into insulin-tissue interactions.
Signal Amplitude | 100 mV | A consistent sinusoidal signal ensured stable impedance readings across experimental setups.
Injection Device | Lilly’s Insulin Pen | Standard equipment ensured uniform delivery of insulin, critical for validating the measurement method.
Injection Units | 14 IU | Sequential injections allowed the method to track gradual bioavailability changes, validating sensitivity improvements.
Repeatability | 0.78% | High repeatability ensures reliability of measurements, minimizing variability in clinical applications.
Reproducibility | 40.98% | Moderate reproducibility illustrates variability in tissue samples, emphasizing the need for personalized modeling for patients.
Improved Uncertainty Reduction | 0.25% | Enhanced precision supports better real-time tracking in Smart Insulin Pen applications.
Current Clinical Challenges | Lack of in-vivo insulin absorption measurement tools | Non-invasive methods address the gap in current diabetes management technologies.
Future Validation | Experiments underway on diabetic patients | Human trials aim to confirm efficacy and adaptability in diverse physiological conditions.
Source of Support | IEEE Instrumentation and Measurement Graduate Fellowship Award 2022 | Financial aid underlines the research’s credibility and progress in instrumentation.
Eggplants used to emulate human tissue behavior | Eggplants | Relevant as eggplants served as a proxy for human tissue to study bioimpedance changes due to insulin injections.
Insulin injection intervals | Seven consecutive steps of 20 µl (2 IU) | Relevant because it describes the time points and process for insulin administration and spectral measurements.
Samples size | 10 eggplant samples | Relevant for understanding the scope of tissue variability within this study emulation, which is analogous to patient population diversity in PK studies.
Pre- and post-injection impedance measurements | Baseline measurement prior to injection and measurement after each step | Relevant because these time points mirror a PK study approach to assess changes over time.
Time duration per experiment | 15 minutes | Relevant as it indicates the quasi-static measurement duration, highlighting experimental time points' alignment with dynamics minimally influenced by diffusion.
Injection methodology | Controlled through Lilly’s Insulin Pen with 0.4 cm long needle | Relevant as it ensures uniform delivery of insulin for studying bioavailability, akin to accurate dosing in human PK studies.
Measurement environment | Climate-controlled room at 20°C ± 2°C and 50% ± 10% humidity | Relevant as a controlled environment replicates conditions necessary for consistent tissue responses in PK analysis.
Model | Modified Hayden’s model | The model employed in the study was the Modified Hayden’s model, which uses an equivalent electrical circuit approach for describing biological tissues, particularly to assess the impact of synthetic insulin injections. This is crucial as it improves the transducer's sensitivity for measuring insulin bioavailability.
Model Type | Equivalent electrical circuit approach | The use of an equivalent electrical circuit model, adapted from Hayden's original model, enables representation of the electrical behavior of vegetable and human tissue during insulin injections. This approach aligns with the need for biological tissue modeling in impedance-based transducers.
Model Components | Extracellular and intracellular fluid resistances, constant phase element | These components of the Modified Hayden's model are tailored to mimic the conductive and capacitive properties of biological tissue, with extracellular resistance found to be the most insulin-sensitive parameter. This contributes to the relevance by identifying key electrical parameters for real-time insulin bioavailability measurements.
Model Application | Eggplants as surrogate human tissue | To validate the model's capability, eggplants were used given their similar electrical properties to human skin in the [1–100] kHz frequency range under quasi-static assumptions. This demonstrates initial validation of the model's applicability for non-invasive drug monitoring systems.
Final Integration | Embedded in Smart Insulin Pen | The model underpins the bioimpedance transducer architecture integrated into a Smart Insulin Pen for personalized, real-time insulin tracking, showcasing its practical application in real-world healthcare solutions.
Angular frequency | [1–100] kHz | Specifies the frequency range used for impedance measurements, which is essential to extract sensitivity parameters in bioimpedance analysis.
Amplitude of sinusoidal voltage signal | 100 mV | Used for stimulating the tissue during impedance measurements, directly impacting parameter estimations.
Extracellular resistance (Re) | Identified as most sensitive parameter | Found through fitting the Modified Hayden’s Model, it quantifies insulin's effect on extracellular fluid properties.
Intracellular resistance (Ri) | Model parameter | Estimation derived from impedance spectra fitted to equivalent circuit models to describe tissue conductivity.
Constant-phase element parameters (CPE-T, CPE-p) | Computed from Modified Hayden Model | These parameters address dielectric dispersivity; though less sensitive to insulin, their values describe tissue interaction.
Apparent capacitance (Ca) | T^(1/p)(Re + Ri)^((1-p)/p) | Derived from the third model (modified Hayden approach), indicates frequency-dependent capacitance effects.
Sensitivity | 225.91 ml^(-1) | Reflects the slope of personalized models correlating impedance changes to insulin amounts.
Repeatability | 0.78 % | Evaluated from intra-sample measurements to validate the reliability of impedance-based parameter estimations.
Reproducibility | 40.98 % | Assesses variability across different samples, impacting confidence in parameter estimation.
Nonlinearity | <7 % | Estimated from the deviation of experimental impedance data from fitted linear model predictions for the calibration process.
Deterministic error (MRMSE) | 2.78 % | Demonstrates the precision of personalized impedance-based models formulated for parameter identification.
Uncertainty | 0.25 % | Derived from repeatability and instrument precision, representing confidence in parameter estimations.
Intra-electrodic distance | 1 cm | Experimental setup detail critical for estimating parameters accurately through impedance measurement.
Experimental sample | Eggplant | Used to estimate parameters emulating human tissue electrical properties under insulin injections.
R_e sensitivity | Identified as the electrical component most sensitive to insulin injections | Relevant as R_e models extracellular fluids, impacting how insulin pharmacokinetics are measured.
Inter-variability | High inter-variability between eggplant samples | Relevant as variability affects consistent pharmacokinetic measurements, requiring personalized modeling.
Drug chemical characteristics | Ionic charge and viscosity influenced sensitivity | Relevant since these chemical factors affect drug movement and absorption, which are key to understanding pharmacokinetics.
Experimental setup proximity | Proximity of the injected drug to the maximum current density | Relevant as physical setup intricacies directly influence accurate pharmacokinetic measurement.
Metabolic noise absence | Eggplants lack mechanical noise and metabolic processes | Relevant since human metabolic processes will inherently influence insulin pharmacokinetics, unlike emulated eggplants.
Skin condition variability | Variability due to lipodystrophy or skin alterations in humans | Relevant for clinical pharmacokinetics, where skin conditions affect insulin absorption.
Measuring time | Kept much lower than insulin absorption time (quasi-static approximation) | Relevant as faster measuring time reduces impact on pharmacokinetic dynamics.
Patient adaptability | Personalized models to adapt to individual physiological conditions | Relevant for pharmacokinetics, as patient-specific factors affect insulin uptake rates.