## Table 1
Analyte | Calibration range(μg/mL) | Regression equation | R2 | LOD(ng/mL) | LOQ(ng/mL)
Betaine | 1.0–100.0 | Y = 0.0445× + 0.2195 | 0.9962 | 60 | 200
Trigonelline | 0.01–100 | Y = 0.0973× + 0.2852 | 0.9946 | 1.8 | 5.9

## Table 2
Analyte | Intraday precision(RSD %, n = 4) | Interday precision(RSD %, n = 4)
Betaine (LCM extract) | 0.7 | 2.1
Trigonelline (LCM extract) | 4.8 | 8.3
Trigonelline (light-roasted coffee beans extract) | 1.1 | 2.8

## Table 3
Compound | Added(μg/mL) | Recovery(n = 6, %) | RSD(n = 6, %)
Betaine (LCM extract) | 20 | 99.1 | 1.56
| 30 | 99.1 | 1.32
| 40 | 97.5 | 0.47
Trigonelline (LCM extract) | 1 | 107.6 | 7.66
| 2 | 114.1 | 2.22
| 3 | 116 | 1.75
Trigonelline (light-roasted coffee beans extract) | 20 | 99.2 | 0.77
| 30 | 108.6 | 2.41
| 40 | 92.2 | 5.07

## Table 4
CompoundSamples | Betaine(%) | Trigonelline(%)
LCM extract | 0.90 | 0.0046
Green coffee beans extract | – | 1.71
Light-roasted coffee beans extract | – | 1.35
Dark-roasted coffee beans extract | – | 0.53

## Table 5
Detectiontechnique | Samplepreparation | Processingtime (min) | LOD (s) | Reference
HPLC-UV | SLE | > 95 | 1.46 μg/g | (Hefni, McEntyre, Lever, & Slow, 2015)
HILIC-MS/MS | ASE/SPE | >8 | 19 μg/g | (Rivoira, Studzińska, Szultka-Młyńska, Bruzzoniti, & Buszewski, 2017)
HILIC-MS/MS | SLE | >40 | 2–5 μg/g | (Xiong et al., 2012)
LC–MS/MS | SPE | >15 | 5.6 μg/g | (MacKinnon, Hiltz, Ugarte, & Craft, 2009)
HILIC-ELSD | SPE | >17 | 115.5–150 μg/g | (Shin et al., 2012; Zhao et al., 2013)
MALDI-TOF MS | – | <1 | 60 ng/mL | This work

## Table 6
Detectiontechnique | Samplepreparation | Processingtime (min) | LOD (s) | Reference
HPLC-DAD | SPE | > 70 | 75.5–188.5 μg/g | (Rodrigues & Bragagnolo, 2013)
HPLC-UV | SPE | >10 | 375 μg/g | (Martín, et al., 1997)
UPLC-MS/MS | SPE | >5 | 60 ng/mL | (Wadhwa et al., 2021)
HILIC-MS/MS | SPE | >2.5 | 10 ng/mL | (Szczesny et al., 2017)
HPLC-VWD | SPE | >25 | 5 μg/g | (Caprioli et al., 2014)
MALDI-TOF MS | – | <1 | 1.8 ng/mL | This work

## Freetext Data
Data | Value | Relevance
Betaine concentration linearity range | 1–100 μg/mL | Relevant as it defines the detection range for betaine in the MALDI-TOF MS method and supports the validation for routine analysis in LCM samples.
Trigonelline concentration linearity range | 0.01–100 μg/mL | This defines the detection range for trigonelline, supporting its relevance in validating coffee and LCM quality control.
Correlation coefficients for linearity | r² = 0.9962 for betaine, r² = 0.9946 for trigonelline | Relevant in demonstrating the accuracy and reliability of the MALDI-TOF MS method for betaine and trigonelline quantification.
Intraday precision RSD values | <8.3% | Indicates the method's reproducibility and reliability for daily analysis of betaine and trigonelline.
Recovery range for betaine and trigonelline | 92.2%–116.0% | Relevant in validating the accuracy and practical application of the methodology for analyzing samples like LCM and coffee.
Detection time per sample | <1 minute | Highlights the efficiency and speed of the MALDI-TOF MS method for routine applications.
Matrix used for analysis | α-Cyano-4-hydroxycinnamic acid (CHCA) | Relevant since it supports optimal detection conditions and performance of MALDI MS analysis.
Betaine content in Lycium chinense Mill. | 0.9% | Demonstrates the method's practical application in determining betaine levels in LCM for quality control purposes.
Trigonelline content in Lycium chinense Mill. | 0.046% | Relevant to the applicability of the method in analyzing minor components in LCM.
Trigonelline content in raw coffee beans | 1.71% | Indicates the method's utility in analyzing coffee components, aiding in understanding coffee quality and roasting effects.
Trigonelline content in light-roasted coffee beans | 1.35% | Relevant in studying roasting impact on trigonelline levels, linked to coffee quality.
Trigonelline content in dark-roasted coffee beans | 0.53% | Highlights the degradation of trigonelline during roasting, validating the method for industrial coffee analysis.
Limit of detection for betaine | 60 ng/mL | Demonstrates the sensitivity of the MALDI MS method for analyzing betaine in LCM samples.
Limit of detection for trigonelline | 1.8 ng/mL | Indicates high sensitivity of the MALDI-TOF MS method, beneficial for coffee quality evaluation.
Limit of quantification for betaine | 0.2 μg/mL | Relevant for assessing the method’s lower quantification limits for betaine in routine analysis.
Limit of quantification for trigonelline | 5.9 ng/mL | Supports the method’s utility in detecting low levels of trigonelline in coffee.
Method comparison advantage | Does not require chromatographic separation | Relevant for indicating the method’s efficiency and applicability in routine analysis as opposed to traditional methods.
Matrix effects normalization | Betaine-d9 and trigonelline-d3 used | Relevant for improving method accuracy and ensuring reliable quantitation through matrix effect correction.
PCA cluster analysis | Significant differences in metabolite profiles of different roasted coffee groups | Indicates applicability of method beyond quantification, elucidating metabolomic changes and quality control in coffee.
Funding support | Henan Provincial Science and Technology Research Project, Grant No.242102311184 | Relevant as it contributes to the feasibility and financial backing of this methodological research for industrial applications.
Data sharing policy | Data will be made available on request | Relevant for transparency and collaboration, facilitating further research validations and applications.
PK Study Design | Not applicable | The manuscript does not discuss any pharmacokinetics (PK) study design but focuses on the analytical methodology for the determination of betaine and trigonelline.
Patient Sample Size | Not applicable | No patient population is included in the study as it is centered on the chemical analysis of botanical and coffee extracts.
Blood/Tissue Sampling Time Points | Not applicable | The study does not involve biological sampling but rather chemical extraction and MALDI MS-based analysis of betaine and trigonelline in LCM and coffee beans.
Patient Population | Not applicable | No human or patient population was investigated since the research is focused on food quality and analysis methodology optimization.
Methodological Model | The MALDI-TOF MS quantitative approach | The model used in the paper relates to the methodological framework for rapid determination of betaine and trigonelline without chromatographic separation.
Mass Spectrometry Compensation Model | Use of isotopic internal standards (Betaine-d9 and Trigonelline-d3) | This compensation model addresses the matrix effects in MALDI MS spectra and ensures accurate quantitation.
Analytical Context Model | Validation through linearity, precision, recovery metrics | This model framework confirms the reliability of the MALDI-TOF MS approach in quantitative analysis.
Metabolomics Profiling | UHPLC-HRMS for metabolic changes | While secondary to the primary MALDI focus, this structural model enriches understanding of roasting effects on coffee metabolites.
Limit of detection (LOD) of betaine | 60.0 ng/mL | Indicates the sensitivity of the method for detecting betaine; critical for assessing the analytical performance of MALDI MS.
Limit of detection (LOD) of trigonelline | 1.8 ng/mL | Indicates the sensitivity of the method for trigonelline detection, reflecting its precision for coffee and LCM analysis.
Limit of quantification (LOQ) of betaine | 0.2 μg/mL | Defines the minimum measurable quantity of betaine when using the MALDI MS technique, essential for proper sample quantification.
Limit of quantification (LOQ) of trigonelline | 5.9 ng/mL | Defines the minimum quantifiable value for trigonelline using MALDI MS; vital for consistency in coffee analysis.
Detection range for betaine concentration | 1.0–100.0 μg/mL | Establishes the linear concentration range for betaine detection; fundamental for method validation and calibration.
Detection range for trigonelline concentration | 0.01–100.0 μg/mL | Establishes the detection range for trigonelline, pivotal for coffee quality determination.
Correlation coefficient for betaine detection | r2 = 0.9962 | Evaluates the precision of the calibration curve for betaine, ensuring reliable quantification in LCM samples.
Correlation coefficient for trigonelline detection | r2 = 0.9946 | Indicates the reliability of the calibration curve for trigonelline analysis, validating the method for coffee quality control.
Matrix substrate used for betaine and trigonelline analysis | CHCA (α-Cyano-4-hydroxycinnamic acid) | Optimized as the matrix for MALDI MS due to high response intensity, proven by experimental spectra analysis.
Internal standard (IS) for betaine | Betaine-d9 at 25 μg/mL | Corrects for matrix effects during quantification of betaine using MALDI MS, ensuring accuracy in LCM extracts.
Internal standard (IS) for trigonelline | Trigonelline-d3 at 5 μg/mL | Corrects matrix effects during trigonelline quantification, ensuring reliable coffee extract measurements.
Intraday precision for analytes | RSD < 8.3% | Ensures reproducibility and reliability of results within the same day for betaine and trigonelline detection.
Recovery of betaine and trigonelline | Range: 92.2% to 116.0% | Validates the accuracy of the MALDI MS method through spiked sample analysis in coffee and LCM matrices.
Roasting temperature's influence on trigonelline | Reduced from 1.71% (raw coffee beans) to 0.53% (dark-roasted beans) | Demonstrated experimentally to establish the impact of roasting on trigonelline content, relevant for coffee quality assessments.
Pulse frequency for MALDI MS | 1000 Hz | A technical parameter optimizing detection efficiency during MALDI MS analysis of betaine and trigonelline.
Detector voltage for MALDI MS | -0.57 kV | A technical setup specific to the MALDI-MS instrument ensuring optimal ion detection.
Extraction voltage ratio | 0.136 | Configured to achieve precise ion extraction, critical for analyte quantification during MALDI MS experiments.
Betaine characteristics | Zwitterionic quaternary ammonium compounds produced by specific biosynthetic pathways | Relevant as physicochemical properties of betaines influence their absorption, distribution, and metabolism, affecting pharmacokinetics.
Structural features | Special structural characteristics of betaines with quaternary ammonium and carboxylic acid group dipolar ions | Relevant as these features impact their solubility, extraction, and bioavailability, influencing pharmacokinetics dynamics.
Functionality | Betaine acts as an osmolyte and a donor of methyl groups | Relevant for pharmacokinetics because these biological roles suggest mechanisms of metabolic transformation and utilization in organisms.
Extraction Challenges | Glycine betaine analogues have poor UV chromophores and are highly soluble in water | Relevant since solubility and chromophore properties impact analytical methods tied to pharmacokinetics measurements.
Medicinal roles | Regulates lipid metabolism, adjusts blood sugar levels, anti-inflammation, neuroprotection | Relevant because these functions imply critical involvement in metabolic pathways, directly impacting pharmacokinetics behavior.
Matrix Effects | Betaine-d9 and trigonelline-d3 employed to normalize matrix effects during MALDI MS analysis | Relevant since matrix normalization provides accurate concentration profiles, essential for pharmacokinetics analysis.
Roasting Impacts | Degree of roasting in coffee reduces trigonelline concentration | Relevant as food preparation methods modifying active compounds can affect pharmacokinetics when consumed.