## Table 1
Run No | Extraction Time (min) (Factor 1) | Sample Volume (μL) (Factor 2) | Stirring Rate (rpm)(Factor 3) | %ER
1 | 27.5 | 500 | 0 | 57
2 | 50 | 1250 | 600 | 25.7
3 | 5 | 2000 | 300 | 12.2
4 | 27.5 | 500 | 600 | 73.3
5 | 5 | 1250 | 600 | 25.5
6 | 27.5 | 1250 | 300 | 27.5
7 | 50 | 500 | 300 | 46.8
8 | 27.5 | 1250 | 300 | 41.5
9 | 27.5 | 2000 | 0 | 15.6
10 | 5 | 1250 | 0 | 14
11 | 27.5 | 1250 | 300 | 22.5
12 | 50 | 1250 | 0 | 31.8
13 | 5 | 500 | 300 | 44.4
14 | 27.5 | 2000 | 600 | 13.8
15 | 50 | 2000 | 300 | 13.3
16 | 27.5 | 1250 | 300 | 35.8
17 | 27.5 | 1250 | 300 | 33.9

## Table 2
Unnamed: 0_level_0_Added Concentration (ng/mL) | Intra-Day (n = 3)_Precision (%RSD) | Intra-Day (n = 3)_AccuracyRR 1 (%) | Inter-Day (n = 3)_Precision (%RSD) | Inter-Day (n = 3)_AccuracyRR (%)
100 (LLOQ) | 3.3 | 112.2 | 14.7 | 96.8
250 (LQC) | 10.3 | 98.5 | 9.9 | 89.6
750 (MQC) | 7.7 | 100.5 | 3.7 | 91.9
5000 (HQC) | 8.4 | 99.1 | 4 | 95.2

## Freetext Data
Data | Value | Relevance
DOX LOD | 17 ng/mL | Indicates the minimum detectable concentration of doxycycline in the method, showcasing its sensitivity.
DOX LLOQ | 100 ng/mL | Establishes the lowest quantifiable level, making it relevant for bioanalytical quantification.
%RR intra-day | 98.5–112.2% | Evaluates the intra-day recovery precision, demonstrating accuracy for routine analysis.
%RR inter-day | 89.6–96.8% | Reflects the inter-day reliability, ensuring reproducibility of the method over multiple days.
RSD intra-day | ≤10.3% | Demonstrates the precision of repeated measurements within the same day.
RSD inter-day | ≤14.7% | Validates the reproducibility of the analytical procedure across days.
FPSE membrane material | Sol-gel PTHF-coated polyester | Identifies the primary material responsible for extraction efficiency.
Matrix effect | Slope ratio 1.08 | Indicates negligible interference from urine matrix components on analyte extraction.
Optimal extraction time | 24 min | Relevant for establishing the duration that ensures efficient analyte recovery.
Optimal stirring rate | 600 rpm | Describes the parameter essential for maximizing the extraction performance.
Optimal sample pH | 2.5 | Demonstrates that acidic conditions favor efficient capture of DOX, improving method efficacy.
Optimal FPSE surface area | 10 × 10 mm | Defines the membrane dimension critical for effective extraction recovery.
Column type | ACE C18 | Specifies the chromatography column used, directly linked to the analyte's separation efficiency.
Reuse of FPSE membrane | Up to 30 times | Highlights the economic and ecological benefits of the reusable FPSE membrane.
Calibration rule | Determination coefficient = 0.9953 | Confirms the linear response of the method within the tested concentration range.
Desorption solvent | ACN | Selected for effective elution of DOX, influencing the recovery and accuracy of the analyte.
Sample preparation greenness | SPMS score = 6.95 | Demonstrates compliance with green analytical chemistry principles.
Method applicability | BAGI score = 70.0 | Indicates practical suitability for real-world DOX analysis applications.
Validation guideline | FDA bioanalytical guidelines | Ensures the method adheres to standardized criteria for bioanalysis validation.
Overall %ER with optimized FPSE | ~40% | Measures the extraction recovery, denoting method efficiency for DOX quantification.
---
Urinary sample collection | Samples were collected at pre-determined time points (2, 4, 6, 8, 10, and 12 h) following oral administration of DOX-containing tablets | Relevant as it specifies the sampling time points, which is a critical component of pharmacokinetic (PK) study design.
Sample size | Number of samples not specified in the abstract, taken from one volunteer | Relevant, as understanding sample size and demography are needed to evaluate the statistical rigor.
Demographics, narrowly imposed matched the dos-selectivity.. Quantitation >
Lack-of-Fit (LOF) of the model | Non-significant | Indicates the statistical validation and reliability of the fitted second-order polynomial quadratic model used, relevant for extracting quantitative data.
R2 Value | 0.9254 | Demonstrates satisfactory predictability of the statistical model applied to optimize FPSE parameters, suggesting good fitness for extraction analysis.
Type of Model | Second-order polynomial quadratic model | Specifically used for optimizing the FPSE experimental conditions, contributing to process and data accuracy.
Multivariate Regression Approach | Used for model construction | Signifies the application of advanced statistical techniques to build an accurate and robust fit for the study purposes.
Extraction Time | 24 minutes | The optimal extraction time ensures efficient recovery of DOX from the FPSE sorbents, which is a critical parameter for the method's success.
Sample Volume | 500 μL | The sample volume optimization improves the analyte recovery during the FPSE process and was estimated using the Box-Behnken design.
Stirring Rate | 600 rpm | A proper stirring rate enhances mass transfer and analyte extraction, optimized using response surface methodology.
Sample pH | 2.5 | The acidic condition maximizes the polarity effects, aiding the extraction of DOX to the FPSE medium as validated experimentally.
Salt Concentration | 10% w/v NaCl | The ionic strength was optimized to leverage the salting-out effect, enhancing the ER% of DOX without increasing viscosity too much.
Surface Area | 10 × 10 mm | The membrane dimension (equivalent to 100 mm² active area) directly correlates with analyte recovery and was selected based on geometrical limits.
Elution Solvent | Acetonitrile (ACN) | Chosen for its superior elution strength over other tested solvents to desorb DOX from the FPSE membrane surface.
Elution Volume | 500 μL | Optimized to balance sufficient desorption without causing sample dilution, validated through response studies.
Elution Time | 1 minute | Demonstrated adequate recovery within minimal time, enhancing sample throughput.
FPSE Membrane Type | Sol-gel PTHF-modified polyester | Proven to exhibit the highest extraction recovery, optimal for interacting with DOX's functional groups.
Experimental Design Used | Box-Behnken design (BBD) | Applied to determine optimal extraction parameters, maximizing analyte recovery systematically with minimal experimental runs.
Analysis System | HPLC-UV | Chosen analytical method for quantifying DOX, where optimized FPSE parameters directly impacted its applicability.
FPSE Activation Solvent | MeOH/ACN (1:1 v/v) | Pre-treatment ensures the membrane’s readiness and removes potential contaminants, critical for reproducibility.
FPSE Cleaning Solvent After Use | MeOH/ACN (1:1 v/v) | Ensures membrane reusability for at least 30 times without significant loss in extraction efficiency.
pKa values of DOX | 3, 8, and 9.2 | The pKa values are critical in understanding the ionization of doxycycline (DOX) at different pH levels, which influences its solubility, absorption, and excretion, impacting pharmacokinetics.
Sample pH levels | Acidic condition (2.5) and neutral (6.8) | Sample pH influences the polarity and retention of DOX, affecting its extraction efficiency and interaction with membranes, thus impacting the pharmacokinetics analysis.
Salt addition | NaCl concentration of 10% w/v | Salting-out effects improve the recovery of DOX due to reduced solubility at specific ionic strengths, indirectly affecting pharmacokinetic study results.
Extraction time | 24 minutes | Accurate timing is critical for efficient recovery of DOX, which ensures representative pharmacokinetic profiling.
Urinary profile collection time points | 2, 4, 6, 8, 10, and 12 hours after administration | These time points are essential for the pharmacokinetic analysis to monitor the drug's absorption, distribution, metabolism, and excretion phases.
Drug's hydrophilicity/hydrophobicity | Enhanced retention due to polarity and hydrogen bonding | The drug's chemical characteristics, like polarity, impact its pharmacokinetics by influencing tissue absorption and elimination.
Effect of organic solvents on DOX | Acetonitrile (ACN) was most effective | The choice of solvent is key for DOX recovery, which aligns with understanding its bioavailability and excretion profile in pharmacokinetics.
Matrix effects | Negligible impact on analysis with slope ratio of 1.08 | Minimal matrix effects ensure pharmacokinetic results are not skewed by interfering substances in urine samples.