## Table 1
QC (Nominalconc) (ng/mL)_QC (Nominalconc) (ng/mL) | Intra-batch (n = 5)_Measured concMean ± SD (ng/mL) | Intra-batch (n = 5)_RSD% | Intra-batch (n = 5)_Accuracy (%) | Inter-batch (n = 15)_Measured concMean ± SD (ng/mL) | Inter-batch (n = 15)_RSD% | Inter-batch (n = 15)_Accuracy (%)
1 | 1.01 ± 0.04 | 3.48 | 101.29 | 1.04 ± 0.09 | 8.81 | 103.79
2 | 2.08 ± 0.08 | 3.85 | 103.9 | 2.02 ± 0.13 | 6.23 | 101.18
80 | 86.36 ± 1.68 | 1.95 | 107.95 | 79.62 ± 5.76 | 7.23 | 99.52
800 | 867.7 ± 27.56 | 3.18 | 108.46 | 803.06 ± 74.32 | 9.25 | 100.38

## Table 2
Stability experiment | Nominal conc. (ng/mL) | Measured conc.Mean ± SD (ng/mL) | Accuracy (%) | RSD (%)
Autosampler for 24 h | 1 | 0.89 | 88.77 | 4.51
Autosampler for 24 h | 2 | 1.96 | 98.02 | 2.98
Autosampler for 24 h | 80 | 76.53 | 95.67 | 1.9
Autosampler for 24 h | 800 | 752.44 | 94.05 | 4.81
Room temperature for 4 h | 1 | 0.87 | 86.54 | 7.97
Room temperature for 4 h | 2 | 1.85 | 92.25 | 7.23
Room temperature for 4 h | 80 | 79.18 | 98.97 | 2.22
Room temperature for 4 h | 800 | 834.44 | 104.3 | 2.37
3 freeze-thaw cycles at −80°C | 1 | 1 | 100.2 | 4.58
3 freeze-thaw cycles at −80°C | 2 | 1.98 | 98.79 | 1.14
3 freeze-thaw cycles at −80°C | 80 | 84.87 | 106.09 | 1.88
3 freeze-thaw cycles at −80°C | 800 | 819.08 | 102.39 | 7.5
−80°C for 4 months | 1 | 0.99 | 99.17 | 6.34
−80°C for 4 months | 2 | 2.05 | 102.56 | 5.78
−80°C for 4 months | 80 | 84.28 | 105.35 | 4.66
−80°C for 4 months | 800 | 845.12 | 105.64 | 2.68

## Table 3
Baseline information | Modeling group
Number of patients | 50
Number of concentrations | 158
AGE (year) | 60.5 ± 11.9 (53 34–68)
HT (cm) | 73.4 ± 24.4 (158,150–166)
WT (kg) | 163.7 ± 23.0 (61.5 52.5–86)
BMI(kg/m2) | 24.0 ± 2.6 (24.2 17.0–31.6)
Na (mmol/L) | 22.7 ± 14.1 (138.6 123.2–145.2)
K (mmol/L) | 25.4 ± 13.2 (4.1 2.27–5.47)
ALB (g/L) | 66.3 ± 6.1 (41.4 12.2–51.5)
GLB (g/L) | 40.0 ± 3.8 (26.1 15.1–38.1)
TP (g/L) | 26.6 ± 5.0 (67.2 49.0–80.7)
AST (U/L) | 94.9 ± 30.3 (19.8 11.8–327.1)
ALT (U/L) | 5.9 ± 2.4 (16.7 6.6–193.6)
TBIL (μmol/L) | 8.7 ± 23.9 (8.0 3.3–77.0)
DBIL (μmol/L) | 232.9 ± 86.8 (2.2 0.1–49.9)
IBIL (μmol/L) | 10.1 ± 5.3 (5.3 0.3–27.1)
SCR (μmol/L) | 3.5 ± 2.1 (60.5 30.8–419.0)
DRH (yes/no) | 24 (48%)/26 (52%)
MP (yes/no) | 9 (18%)/41 (82%)
LC (yes/no) | 15 (30%)/35 (70)
ER (positive/negative) | 28 (56%)/18 (36%)
PR (positive/negative) | 25 (50%)/21 (42%)

## Table 4
Parameter | Estimates | RSE (%) | SHRINKSD (%)
Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter
CL/F (L/h) | 127 | 14.1 | —
V/F(L) | 3900 | 26.1 | —
KA (h-1) | 0.357 | FIXED | —
Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability
BSV-CL (%CV) | 50.3 | 28.9 | 27.3
BSV-V (%CV) | 95.1 | 23.6 | 23.2
Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability
ERR-1 (%CV) | 28.6 | 5.9 | 15.9

## Table 5
Model no. | Model description | OFV | ΔOFV | P值
Forward inclusion | Forward inclusion | Forward inclusion | Forward inclusion | Forward inclusion
Base model | Base model | −837.585
1 | TP-CL | −849.969 | −12.384 | P<0.05
2 | 1+HT-V | −855.245 | −5.276 | P<0.05
3 | 2+HT-CL | −859.140 | −3.895 | P<0.05
full covariate model | full covariate model | −859.140
Backward elimination | Backward elimination | Backward elimination | Backward elimination | Backward elimination
4 | 3-HT-CL | −855.245 | 3.895 | P> 0.001
5 | 4-HT-V | −849.969 | 5.276 | P> 0.001
6 | 5-TP-CL | −837.585 | 12.384 | P<0.001

## Table 6
KA (h-1) | OFV | CL/F (L/h) | TP-CL/F | V/F(L) | BSV-1 (%CV) | BSV-2 (%CV) | ERR-1 (%CV)
Finalmodel | −849.969 | 88 | 0.376 | 3940 | 0.515 | 0.965 | 0.27
KA = 0.10 | −839.288 | 108 | 0.128 | 2380 | 0.457 | 1.25 | 0.276
KA = 0.30 | −850.167 | 89.5 | 0.346 | 3630 | 0.515 | 0.981 | 0.267
KA = 0.35 | −850.077 | 88.9 | 0.373 | 3900 | 0.515 | 0.966 | 0.269
KA = 0.357 | −849.969 | 88.8 | 0.376 | 3940 | 0.515 | 0.965 | 0.27
KA = 0.40 | −848.965 | 88.7 | 0.393 | 4150 | 0.515 | 0.956 | 0.272
KA = 0.45 | −847.312 | 88.9 | 0.407 | 4370 | 0.515 | 0.948 | 0.276
KA = 0.50 | −847.054 | 89 | 0.409 | 4400 | 0.515 | 0.947 | 0.276

## Table 7
Parameter_Parameter | Final model_Estimates | Final model_RSE% | Final model_SHRINKSD (%) | Bootstrap_Median | Bootstrap_2.5th–97.5th percentile | Relative bias (%)_Relative bias (%)
Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter | Structural model parameter
CL/F (L/h) | 88.8 | 15.1 | — | 82.8 | 36.4∼217.75 | −6.7
TP -CL/F | 0.376 | 18.0 | — | 0.373 | −0.481∼1.272 | −0.8
V/F(L) | 3940 | 25.8 | — | 3770 | 2,538∼6476 | −4.3
KA (h-1) | 0.357 | FIXED | — | — | — | —
Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability | Between-subject variability
BSV-CL (%CV) | 51.5 | 27.3 | 26.5 | 49.5 | 11.9∼75.0 | −3.9
BSV-V (%CV) | 96.5 | 22.6 | 23.2 | 92.5 | 47.0∼29.3 | −4.1
Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability | Residual unexplained variability
ERR-1 (%CV) | 27.0 | 6.6 | 16.5 | 27.0 | 24.0∼36.7 | 0

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Regressionequation of pyrotinib | y = 0.00375–6.31213e−4 (r = 0.9998) | Demonstrates the linearity and accuracy of the UPLC-MS/MS method for pyrotinib concentration measurement.
LLOQ | 1 ng/mL | Indicates the sensitivity of the established method, which is critical for accurate plasma concentration determination.
Accuracy (LLOQ) | 80%–120% | Ensures the reliability of pyrotinib measurement at lower concentration limits.
Precision (RSD at LLOQ) | Less than 15% | Validates the robustness of the UPLC-MS/MS method for determining pyrotinib.
Mean apparent clearance (CL/F) in steady state | 141 L/h | Explains pharmacokinetics and helps assess the drug behavior in the patient population.
Mean elimination half-life (t1/2) | 18.2 h | Provides insight into drug metabolism and excretion in HER2-positive patients.
CL/F from the final model | 88.8 L/h | Reflects real-world pharmacokinetic characteristics and highlights variability from preclinical predictions.
Effect of total protein on CL/F | Significant but with limited magnitude | Suggests monitoring of liver function due to its influence on pyrotinib metabolism.
Apparent volume of distribution (Vd/F) from final model | 3940 L | Provides insight into drug distribution and potential inter-individual variability.
Absorption rate constant (KA) | 0.357 FIXED | Illustrates absorption properties and the necessity for sensitivity analysis during modeling.
Reported covariates impacting distribution | TP (Total Protein), HT (Height) | Highlights the physiological factors that influence pyrotinib clearance and distribution.
Matrix factor (LQC IS-normalized MF) | 89.56% | Confirms consistency in detection across different plasma matrices, ensuring reliability.
Recovery rates at HQC | 82.14% | Demonstrates method robustness and sufficiency for plasma sample analysis.
Concentration range for linearity | 1–1,000 ng/mL | Ensures diverse ranges of pyrotinib can be measured accurately for PPK modeling.
Incidence of adverse events (Diarrhea) | Grade 3–4 diarrhea incidence reached as high as 80% | Impacts clinical dosing strategies due to gastrointestinal side effects.
Main sample demographic | 50 patients with HER2-positive BC | Establishes clinical relevance for population pharmacokinetic modeling and therapeutic adjustments.
Recommendation on dosage adjustment | No adjustment advised despite TP impact | Indicates the limited magnitude of TP influence on overall pharmacokinetics in HER2-positive patients.
Primary extraction method for plasma analysis | Protein precipitation | Highlights cost-effective and sensitive preparation for pyrotinib plasma concentration measurement.
Internal standard used | Apatinib | Demonstrates selection of a structurally similar compound for effective LC-MS/MS testing.
Primary stability test parameters | 4 months at −80°C, freeze-thaw cycles | Validates the reliability of the method across storage conditions.
Dosages in real-world modeling | 240 mg, 320 mg, 400 mg | Reflects variable dosing in practice and its incorporation in PPK modeling.
Approval year in China | August 2018 | Provides historical clinical approval context for pyrotinib use in HER2-positive BC.
Patient sample size | 50 patients | Relevant because the study included a representative sample size of HER2-positive breast cancer patients for analyzing population pharmacokinetics.
Blood samples collected | 158 plasma samples | Relevant because these samples were used for pharmacokinetic analysis and modeling of pyrotinib.
Patient characteristics | HER2-positive breast cancer patients | Relevant because understanding the characteristics of the population being studied is crucial for identifying factors influencing pyrotinib PK.
Age range | 18 to 80 years | Relevant as age can influence drug metabolism and was considered in the covariate analysis.
Exclusion criteria | Missing demographic/laboratory data, incomplete medical records, discontinuation of treatment for over 1 month | Relevant for ensuring the integrity and reliability of the PK dataset.
Blood sampling method | Opportunistic blood sampling | Relevant because this method reflects real-world patient scenarios and variability in pyrotinib therapy.
Eligibility criteria | Regular oral pyrotinib dosages (400 mg, 320 mg, 240 mg) | Relevant for ensuring consistency in the dose-response relationship in PK modeling.
Sampling covariates | Demographic, pathophysiological, pharmacotherapeutic data | Relevant for identifying patient-specific factors impacting pyrotinib pharmacokinetics.
Model type | 1-compartment model | The study describes pharmacokinetics (PK) of pyrotinib using a 1-compartment model, which includes first-order absorption and elimination, aligning with observed plasma concentration patterns found in HER2-positive breast cancer patients.
Absorption model | First-order absorption | Identified as part of the 1-compartment model, this parameter reflects how pyrotinib is absorbed into the bloodstream after oral administration, crucial for understanding variable plasma concentrations in patients.
Elimination model | First-order elimination | This feature of the 1-compartment model is significant because it explains how pyrotinib is processed and cleared from the body, factoring into dosing and adverse reaction management.
Parameterization | CL/F, Vd/F, Ka | These parameters were integrated within the 1-compartment model, providing insights into the apparent clearance, volume of distribution, and absorption rate constant for pyrotinib.
CL/F | 88.8×eTP/67.2×0.376 L/h | CL/F represents the apparent clearance rate of pyrotinib. It was estimated based on data from 50 HER2-positive breast cancer patients using a one-compartment population pharmacokinetic model.
Vd/F | 3940 L | Vd/F is the apparent volume of distribution. It was derived from the pharmacokinetic modeling of plasma concentrations collected from patients and represents how the drug is distributed in the body.
Ka | 0.357 h−1 (FIXED) | The absorption rate constant (Ka) was fixed at 0.357 h−1 based on previously published pyrotinib PPK model estimates to improve parameter stability due to limited real-world absorption phase data.
TP effect on CL/F | eTP/67.2×0.376 | Total protein levels were found to influence the apparent clearance rate of pyrotinib (CL/F), highlighting a relationship between liver function markers and drug metabolism.
PK data | 158 plasma samples from 50 HER2-positive breast cancer patients | Plasma concentrations and covariate information for PK parameter estimation were collected during real-world treatment settings to reflect drug usage variability, including dosage adjustments.
Bootstrap analysis | 1,000 resamples, median parameter agreement | Nonparametric bootstrapping was used to validate parameter estimates, showing agreement with observed data and indicating model robustness.
Visual predictive check (VPC) | Median, 5th, and 95th percentile comparison | Simulated concentrations from the final model were compared with observed plasma data to confirm the predictive accuracy and reliability of the model in describing pyrotinib PK.
Parameter shrinkages | <30% for BSV and RUV | Shrinkage values indicated reliable estimation of the between-subject variability (BSV) and residual unexplained variability (RUV) for CL/F and Vd/F parameters.
Total Protein (TP) | Low serum total protein reduces the clearance rate of pyrotinib in patients | TP is identified as a covariate influencing pyrotinib clearance, indicating liver function abnormalities may affect drug pharmacokinetics.
Liver function | Abnormal liver function impacts pyrotinib clearance and potential adverse reactions | Suggests clinicians need to monitor liver function to prevent hepatotoxicity and optimize treatment.
Age | Incorporated into previous PPK models affecting the apparent distribution volume | Indicates that demographic factors may influence pyrotinib distribution within the body.
Diarrhea | May hinder drug absorption in the gastrointestinal tract | Diarrhea was explored as a potential covariate, reflecting its role in gastrointestinal drug uptake.
Montmorillonite powder | Combination use may decrease pyrotinib bioavailability | Relevant for understanding how concomitant medications might alter pyrotinib pharmacokinetics.
Albumin and Globulin | Components of total serum protein correlated with liver function | Clinically relevant as they signal liver synthesis capacity, impacting overall drug metabolism and clearance.