## Table 1
Response | Abbr. | R2 | Q2
Tazarotene peak area | Area1 | 0.998 | 0.972
Tazarotene retention time | tR1 | 0.999 | 0.999
Tazarotene peak width | Width1 | 0.979 | 0.952
Resolution tazarotenic acid and tazarotene | Res1 | 0.988 | 0.965
Tazarotenic acid peak area | Area2 | 0.996 | 0.985
Tazarotenic acid retention time | tR2 | 0.999 | 0.999
Tazarotenic acid peak width | Width2 | 0.993 | 0.969
Resolution ketoconazole and tazarotenic acid | Res2 | 0.998 | 0.989
Ketoconazole peak area | Area3 | 0.99 | 0.986
Ketoconazole retention time | tR3 | 0.999 | 0.999
Ketoconazole peak width | Width3 | 0.875 | 0.813
Resolution ketoconazole and tazarotene | Res3 | 0.978 | 0.939

## Table 2
Analyte_Analyte | Unnamed: 1_level_0_Unnamed: 1_level_1 | Intraday_Accuracy (%Bias) | Intraday_Precision (%CV) | Interday_Accuracy (%Bias) | Interday_Precision (%CV)
Tazarotene | LLOQ | 13.99 | 19.78 | 18.98 | 15.59
Tazarotene | LQC | 4.73 | 5.8 | 7.97 | 10.08
Tazarotene | MQC | 8.86 | 6.98 | 9.41 | 7.67
Tazarotene | HQC | 5.94 | 7.66 | 4.64 | 6.51
Tazarotenic acid | LLOQ | 10.15 | 5.37 | 10.78 | 11.42
Tazarotenic acid | LQC | 8.42 | 6.05 | 7.79 | 3.1
Tazarotenic acid | MQC | 1.96 | 2.81 | 2.24 | 2.69
Tazarotenic acid | HQC | 2.77 | 1.3 | 4.38 | 4.3

## Table 3
Analyte_Unnamed: 0_level_1 | Concentration (ng/mL)_Unnamed: 1_level_1 | Mean%_Matrix Effect
Tazarotene | LQC | 103.9 ± 2.4
Tazarotene | MQC | 111.2 ± 5.0
Tazarotenic acid | LQC | 118.0 ± 9.3
Tazarotenic acid | MQC | 101.8 ± 4.4

## Table 4
Analyte_Unnamed: 0_level_1 | Concentration (ng/mL)_Unnamed: 1_level_1 | %Bias_RT (8 h) | %Bias_Autosampler (24 h) | %Bias_−20 °C (7 d)
Tazarotene | LQC | 3.37 | 6.79 | 13.74
Tazarotene | HQC | 3.38 | 5.02 | 1.63
Tazarotenic acid | LQC | 10.38 | 10.34 | 0.25
Tazarotenic acid | HQC | 2.49 | 6.56 | 14.52

## Table 5
Experimental Factors_Unnamed: 0_level_1 | Abbreviations_Unnamed: 1_level_1 | Experimental Levels_(−) | Experimental Levels_(0) | Experimental Levels_(+)
Gradient steepness (min) | GrS | 1.6 | 2.1 | 2.6
Amount of organic solvent (%) | %OS | 70 | 75 | 80
Flow rate (mL/min) | FR | 0.3 | 0.4 | 0.5
Column temperature (°C) | Temp | 30 | 35 | 40
Capillary voltage (kV) | CVolt | 0.5 | 0.8 | 1.2
Cone voltage (V) | ConeV | 15 | 18 | 21

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Tazarotene LLOQ | 0.40 ng/mL | This data specifies the lowest limit of quantification for tazarotene, relevant to measuring its low concentration reliably in the study.
Tazarotene LOD | 0.10 ng/mL | Indicates the limit of detection for tazarotene, relevant for understanding the sensitivity of the analytical method.
Tazarotenic Acid LLOQ | 13.32 ng/mL | The lowest concentration of tazarotenic acid quantifiable with reliable accuracy, significant for method sensitivity analysis.
Tazarotenic Acid LOD | 3.33 ng/mL | Minimum detectable concentration of tazarotenic acid, relevant for the analysis of its detection in dermatological studies.
Analytical Range for Tazarotene | 0.4–18,750 ng/mL | Specifies the dynamic range over which tazarotene concentration can be accurately quantified, critical for study robustness.
Analytical Range for Tazarotenic Acid | 13.3–12,500 ng/mL | Critical for demonstrating the method’s effectiveness across a broad range of concentrations for tazarotenic acid.
Linear Coefficient (r2) | ≥0.99 | Confirms the linearity of the analytical method over the specified range, relevant to method accuracy.
Precision | <15% | The precision levels were maintained below 15%, aligning with FDA bioanalytical guidelines, ensuring consistency.
Matrix Effect Range | 100.8% to 118.0% | Indicates variability in signal due to skin matrix components, relevant to assessing the method's reliability in a biological environment.
Stability Test Conditions | RT (8h), 10°C (24h), -20°C (7 days) | These conditions prove the stability of analytes under various study-relevant storage settings.
Stability Results | %bias within ±15% | Ensures analyte stability across tested conditions, significant for storage and method reliability during the experiment.
Porcine Skin Model | Used porcine ears as skin model | Relevant as it evaluates the efficacy of transdermal delivery in a human-analog skin model.
Organic Solvent for Mobile Phase | Acetonitrile | Shows an optimized organic phase, relevant to chromatographic separation and method validation.
Optimal Column Temperature | 35 °C | Part of the optimization process, crucial for consistent peak resolution and analytical performance.
Gradient Steepness | 1.6 min | Indicates optimization of chromatographic separation, improving method efficiency.
Flow Rate | 0.5 mL/min | Relevant in optimization to ensure reliable retention times and resolution of tazarotene and tazarotenic acid.
Capillary Voltage | 1.2 kV | Selected for enhanced peak area, relevant to optimizing sensitivity and accuracy.
Cone Voltage | 15 V | Default setting showing no significant effect, relevant to simplifying the method optimization process.
Validation Guidelines | U.S. FDA bioanalytical guidelines | Contextually relevant to ensure the entire method adheres to standardized accuracy and precision criteria.
Analyte Retention Times | IS: 0.84 min, Tazarotenic Acid: 1.29 min, Tazarotene: 2.09 min | Demonstrates good chromatographic separation, ensuring reliable analysis.
Skin Preparation | Disks trimmed to ~1 mm thickness | Ensures consistency in percutaneous analysis, important for evaluating transdermal delivery feasibility.
Internal Standard Used | Ketoconazole | Crucial for standardizing the quantification process for both tazarotene and tazarotenic acid.
UPLC-QDa Instrument | ACQUITY UPLC H-Class System and ACQUITY QDa Mass Detector | Relevant for providing the technical framework of the analytical method used.
Column Type | Hypersil Gold C18 Selectivity (1.9 µm, 150 × 2.1 mm) | Relevant for chromatographic resolution and separation efficiency in the study.
Solvents for Extraction | Methanol | Used for analyte recovery from porcine skin, critical for quantification.
Skin Model | Porcine skin | The study utilized porcine skin to approximate human skin, which is crucial for understanding drug permeability in dermal pharmacokinetics.
Sample Source | Fresh porcine ears from 6-month-old pigs obtained as by-products from Stjörnugrís abattoir, Reykjavík, Iceland | Indicates the biological matrix and ethical sourcing, relevant to the PK study design in analyzing local tissue sampling.
Skin Preparation | Disks of 1.5 cm radius, approximately 1 mm thick | The preparation of the porcine skin ensures uniformity in sampling, crucial for reproducibility and accurate PK analysis.
Donor Chamber Application Time | 4 hours | The duration the drug was applied impacts the drug release and absorption analysis, a core component of PK studies.
Skin Sample Processing | Cleaned with purified water, dried, and extracted with 1 mL of methanol for ~16 h | Detailed tissue sampling and preparation methods are key to ensuring analyte stability and precise quantification in PK analysis.
Extraction Filtration | 0.45 µm syringe filters used for methanol extracts | Filtration is critical to remove impurities, ensuring reliable PK measurement of analytes like tazarotene and tazarotenic acid.
Analyte Quantification | UPLC-QDa analysis | Highlights the analytical method for measuring drug concentrations in tissue, central to PK study outcomes.
Experimental Validation Guidelines | FDA Bioanalytical Method Validation guidelines | Demonstrates the adherence to international standards, ensuring PK study quality and reproducibility.
Model | Not explicitly stated in the paper | The study does not explicitly describe using a pharmacokinetic model (e.g., 1-compartment, 2-compartment, physiologically based model, or IVIVE), focusing instead on method development and validation for quantifying tazarotene and tazarotenic acid in porcine skin.
Permeability Focus | In vitro permeability using Franz diffusion cells | The paper examines the permeability of tazarotene and its metabolite through porcine skin, relevant for evaluating potential drug delivery and localized treatment mechanisms, though it does not involve a formal pharmacokinetic model.
Purpose | Analytical method development for simultaneous quantification | The paper emphasizes developing and validating a UPLC-QDa method rather than modeling pharmacokinetics or drug distribution, which precludes discussion of compartmental or physiologically based models.
Analytical System | UPLC-QDa | The use of UPLC-QDa for drug quantification underscores the focus on analytical approaches rather than using established pharmacokinetic compartmental models.
Gradient steepness | 1.6 min | Relevant as this was an optimized chromatographic parameter influencing retention time, peak shape, and resolution, developed using the design-of-experiments approach.
Amount of organic solvent | 70% | Relevant as this parameter was optimized based on its effects on peak area, resolution, and retention times of analytes during chromatographic separation.
Flow rate | 0.5 mL/min | Relevant as this parameter was optimized through experimentation to balance resolution and retention time.
Column temperature | 35 °C | Relevant as an optimized chromatographic parameter to ensure peak shape and resolution, determined during method development.
Capillary voltage | 1.2 kV | Relevant as this parameter was found to strongly influence peak area of analytes and was set at its highest value during optimization.
Cone voltage | 15 V | Relevant as this was assessed but determined to have no significant effect; thus, it was set at a default value.
LOD for tazarotene | 0.10 ng/mL | Relevant for method validation to ensure the lowest level of detection, critical for quantifying analyte in porcine skin.
LOD for tazarotenic acid | 3.33 ng/mL | Relevant to verify method sensitivity in detecting the active metabolite in experimental samples.
LLOQ for tazarotene | 0.40 ng/mL | Relevant as this parameter establishes the lowest quantifiable concentration with accuracy, important for method sensitivity.
LLOQ for tazarotenic acid | 13.32 ng/mL | Relevant for determining the lowest quantifiable concentration of the active metabolite in porcine skin.
Calibration range for tazarotene | 0.4–12,500 ng/mL | Relevant as it defines the range of quantifiable concentrations validated for the analyte in the study.
Calibration range for tazarotenic acid | 13.3–12,500 ng/mL | Relevant as this range confirms method applicability for wide variations in analyte concentration.
Ammonium acetate concentration | 5 mM | Relevant as this optimized concentration was chosen for its superior peak asymmetry in delivery of analyte solutions.
Stock solution concentration for tazarotene | 1 mg/mL | Relevant to prepare calibration and QC samples; critical for devising experimental protocols.
Stock solution concentration for tazarotenic acid | 0.5 mg/mL | Relevant for ensuring appropriate concentration control in QC preparation and calibration.
IS concentration in stock solution | 1 mg/mL | Relevant as ketoconazole’s concentration for internal standard ensured consistent response normalization in the validation.
Injection volume | 5 µL | Relevant as the optimized injection volume for chromatographic analysis of analytes during UPLC-QDa operation.
Retention time of tazarotene | 2.09 min | Relevant for identifying and quantifying the analyte in porcine skin samples during UPLC-QDa analysis.
Retention time of tazarotenic acid | 1.29 min | Relevant to achieve chromatographic separation and quantification of the active metabolite.
Retention time of IS (ketoconazole) | 0.84 min | Relevant for ensuring no interference at this point and ensuring accurate normalization of all runs.
Autosampler condition | 10 °C | Relevant as one of the optimal storage conditions assessed for the analytes' stability during method validation.
Long-term storage condition | −20 °C | Relevant for validating analyte stability over 7 days, critical for long-term sample integrity.
Porcine skin thickness | ~1 mm | Relevant as this parameter ensures consistent permeability assessment in the in vitro Franz diffusion cell experiments.
Franz diffusion donor chamber time | 4 hours | Relevant for determining the degree of drug permeation in porcine skin for transdermal drug delivery studies.
Gradient Steepness | Significant negative effect on peak area and resolution, positive effect on retention time | Pharmacokinetics involves drug absorption and distribution, which can be inferred from retention time and resolution in chromatographic analysis.
Organic Solvent Amount | Negative influence on peak area and retention time, positively impacted resolution | Organic solvent levels affect drug solubility, key for pharmacokinetics via transdermal delivery.
Flow Rate | Decrease led to increased retention time and improved resolution | Retention time alterations affect pharmacokinetics by indicating how drug components are segregated during analysis.
Column Temperature | Positively impacted peak area of tazarotenic acid; intermediate (35 °C) chosen | Drug stability and metabolism, critical to pharmacokinetics, can be temperature-dependent.
Capillary Voltage | Significant positive effect on peak areas | Enhances analyte detection, crucial for understanding drug bioavailability.
Cone Voltage | Insignificant influence on any responses | Suggests limited impact on analyte ionization, indirectly influencing pharmacokinetic studies by reducing variability.
Mobile-Phase Composition | Acetonitrile preferred due to decreased retention time and lower pressure compared to methanol | Ensuring analyte stability and efficient separation aids pharmacokinetic profiling.
Matrix Effect | Ranged 100.8%-118.0%, consistent across concentrations | Matrix effects influence analyte detection accuracy, crucial for pharmacokinetic reliability in complex biological samples.
Dilution Integrity | Stable with %bias within ±15% | Relevant to pharmacokinetics as it ensures accurate quantification over varied drug concentrations.
Stability | Tazarotene and metabolite stable at −20 °C and room temperature for specific durations | Drug stability directly impacts pharmacokinetic profiling, ensuring reliability under various conditions.