## Table 1
Ref. | Scope | Target analytes | LOD (ng/mL) | Validated | Purpose | No. of analytes (validated) | Sample type | Extraction | Column | Injection vol. (μL) | Flow rate (mL/min) | Run time (min)
1 | FTX | SCA | 0.25–20 | Yes | Qual | 47 (47) | UR | SLE | Ultra Biphenyl HPLC (100 × 2.1 mm; 3 μm) | 50 | 0.5 | 15
4 | FTX | HAL, OPI, STI, NPS | 0.5–50,000 | Yes | Qual | 137 (259) | BL, UR, PL, TS | LLE | Kinetex C18 (50 × 3.0 mm; 2.6 μm) | 10 | 0.4 | 15.5
2 | MET | ACE, OTH, BB | NP | No | NP | NP | UR | OTH | ReproSil‐Pur C18 (150 × 2.0 mm; 2.4 μm) | 24 | 0.3 | 20
7 | FTX | AMP, ANL, ANE, AED, AD, AH, AP, BZD, BB, CCB, CAR, COC, COX, DIS, MR, OPI, OTH, SCA, SNRI, SNDRI, STI, SCA, ZD | 0.5–2500 | Yes a | Qual | 664 (151) | BL | PP | Kinetex Phenyl‐Hexyl (50 × 2.1 mm; 2.6 μm) | 5 | 0.5 | 8.5
8 | FTX | AD | NP | Yes | Qual/Quant | 39 (33) | BL | PP | Synergi Polar RP (100 × 2.0 mm; 2.5 μm, 100A) | 10 | 0.5 | 20
9 | FTX | AMP, AD, AP, OTH, BZD, COC, STI, ZD |  | No | Qual | 8 | BL, UR, PL, | SPE | Gemini C18 (100 × 1 mm; 3 μm) | 5 | 0.035 | 10
10 | FTX | SCN | 0.05–1 | Yes | Qual | 38 (38) | BL, UR | LLE; SPE | Kinetex C18 (50 × 3.0 mm; 2.6 μm) | 20 | 0.5 | 7
11 | CLN | HAL, OPI, SCA, SCN | 0.04–2.4 (ng/g) | Yes | Qual/Quant | 137 (137) | MEC | SPE | Kinetex C18 (100 × 2.1 mm; 1.7 μm) | 5 | 0.5 | 20
12 | FTX | AMP, SCA | 1 | Yes | Quant | 400 (10) | OF | LLE | Kinetex C18 (50 × 3.0 mm; 2.6 μm) | 10 | 0.4 | 15.5
13 | CLN | SCA | 50 | No | Qual | 1 | UR | LLE | Zorbax Eclipse Plus C18 (100 × 2.1 mm; 1.8 μm) | 5 | 0.3 | 14
14 | CLN, FTX | AMP, ANL, ANE, AD, AP, BZD, COC, DIS, OPI, PDE, SCA, SCN, ZD |  | No | Qual |  | BL | LLE | Synergi Polar RP C18 (100 × 2.0 mm ID; 2.5 μm, 100A) | 10 | 0.5 | 20
15 | FTX | AMP, ANL, ANE, AED, AD, AH, BZD, CAN, MR, OPI, ZD |  | No | Qual | 450 | BL, UR | SPE; DS; PP | HPLC RP (50 × 2.1 mm) | 10 | 1.5 | 6.5
16 | FTX | AMP, AD, AH, AP, BZD, COC, OPI, ZD | 0.5–600 | Yes | Qual/Quant | 24 (24) | BL | PP | Synergi Polar RP (100 × 2.0 mm; 2.5 μm, 100A) | 5 | 0.5 | 12.2
17 | CLN | AMP, ANL, AD, AP, BZD, CAN, CAR, SCA, COC, DIS, HAL, MR, OPI, ZD | 5–100 | No | Qual | 81 (81) | UR | DS | Kinetex C18 (50 × 3.0 mm; 2.6 μm) | 10 | 0.4 | 10
18 | FTX | AED, AD, BZD, COC, DIS, OPI | NP | NP | NP | NP | DUS | OTH | Kinetex C8 (50 × 2.1 mm; 2.6 μm) | 1 | 0.35 | 15
19 | FTX | NPS, NSO, SCA, SCN, OPI | 2–7.5 | Yes | Qual | 132 (132) | DBS | OTH | Kinetex C18 column (100 × 2.1 mm, 1.7 μm) | 5 | 0.5 | 10
20 | FTX | NSO | 0.2–2.4 (pg/mg) | Yes | Qual | 12 (12) | Hair | OTH | Kinetex C18 column (100 × 2.1 mm, 1.7 μm) | 3 | 0.5 | 7

## Table 2
Ref. a | MS b | Spray voltage (kV) | MS acc. time (MS) | MS/MS acc. time (MS) | Total cycle time (s) | SWATH windows | MS/MS m/z range | MS/MS window width(s) | MS/MS variable or fixed | Mass error (ppm) | IR diff. (%) | RT error c | Library score | Library search algorithm
1 | T | 4 | 100 | 25 | 0.9 | 30 | 228–408 | 6 | F | ≤15 | ≤80 | ≤2% | ≥60 | NP
2 | T | 5.2 | 50 | 25 | 1 | 37 | 40–1000 | 15–210 | V | ≤5 | ≤10 | NP | ≥70 | CAND
4 | T | 2.5 | NP | NP | 0.77 | 28 | 100–510 | 6–34 | V | ≤10 | ≤50 | <0.35 min | ≥50 | NP
7 | Q | 2.5 | NP | NP | NP | 14 | 100–650 | 22–121 d | V | ≤5 | ≤20 | ≤5% | ≥60 | NP
8 | T | 5.5 | 100 | 40 | 1.2 | 28 | 100–650 | 20 | F | ≤5 | ≤40 | ≤5% | ≥60 | CONF
9 | T | 4.5 | 50 | 36 | NP | 25 | 100–600 | 21 | F | NP | NP | NP | NP | CAND
10 | T | 4 | NP | NP | 0.91 | 27 | 50–550 | 25 | F | ≤5 | ≤30 | <0.25 min | ≥70 | NP
11 | Q | 3 | NP | NP | 0.564 | 12 | 150–465 | 25 d | V | ≤5 d | ≤2.5 d | ≤2.5% d | ≥70 d | NP
14 | T | 5.5 | 100 | 40 | 1.2 | 28 | 100–650 | 20 | F | ≤5 | ≤40 | ≤5% d | ≥60 | CONF
15 | T, Ti | 2.5 | 100 | 25 | 0.575/ 0.525 | 17/15 e | 40–1000 | 40/V e | F/V | ≤5 | Not used | ≤3% | ≥70 | NP
16 | Tii | 5.5 | 50 | 25 | 0.6 | 22 d | 100‐650 | 25 | F | ≤20 d | ≤15 d | ≤5.4% d | ≥70 d | NP
17 | T | 5.5 | NP | NP | 1 | 30 | 100–650 | 18.5/6–59 | F/V | NP | NP | NP | ≥70 | F/P
18 | T | NP | NP | NP | 0.86 | 25 | 50–950 | 35 | F | ≤5 | ≤10 | ≤5% | ≥70 | NP
19 | Q | NP | 100 | 40 | 0.933 | 18 | 50–575 | NP | V | NP | NP | NP | NP | NP
20 | Q | NP | NP | NP | 0.555 | 12 | 230–450 | NP | V | ≤5 | NP | NP | NP | NP

## Table 3
Mass spectrometer | Spray voltage (kV) | MS/MS m/z range | SWATH window width | Variable or fixed window? | Mass error (ppm) | Isotopic ratio difference (%) | Retention time error (%) | Library score | Papers reviewed (N)
TripleTOF 5600+ | 5.5 | 100–650 | 20–25 | Both | ≤5 | ≤10 to ≤40 | ≤2 to ≤5 | ≥60 to ≥70 | 10
X500R | 2.5 or 3 | 100–650 | 20–25 | Variable | ≤5 | ≤2.5 to ≤5 | ≤2.5 | ≥70 | 4

## Freetext Data
Data | Value | Relevance
The number of SWATH windows used | Ranges from 5 to 37 | Relevant because the overall performance and selectivity of SWATH acquisition depend on the number and optimization of windows for specific analytes/mass ranges.
SWATH window sizes | Fixed-size and variable-sized windows evenly distributed | Relevant because SWATH window type impacts the selectivity of MS/MS spectra, influencing detection and data analysis efficiency.
Typical collision energy (eV) | 35 | Relevant since consistent CID energy across studies supports method reproducibility and accuracy in fragment generation.
Scope of targeted compounds | Includes amphetamines, benzodiazepines, NPS, stimulants, opioids, among others | Relevant because specific drug classes analyzed demonstrate the utility of SWATH in forensic toxicology for diverse substances.
Most common mass error criterion (ppm) | ≤5 | Relevant as precise mass error thresholds ensure accurate analyte identification.
Most common isotopic ratio difference (%) | ≤2.5–≤80 | Relevant because isotopic ratio differences contribute to compound verification within high-resolution mass spectrometry analysis.
Retention time error criteria | Most studies use ≤2% to ≤5%; one uses absolute retention error (<0.35 min) | Relevant for ensuring retention time consistency, which is critical for reliable compound identification.
Library score threshold | ≥70 | Relevant because it ensures a standardized reliability for matching analytes with spectral databases.
Most common LC column type | C18 | Relevant as column selection affects chromatographic separation and resolution, critical for forensic toxicology analyses.
Matrix types analyzed | Blood, urine, hair, plasma, meconium, oral fluid | Relevant because the applicability of SWATH spans diverse biological matrices common in forensic toxicology.
Extraction methods used | Solid-phase, protein precipitation, liquid-liquid extraction | Relevant as extraction methods must align closely with SWATH's untargeted analysis for broad compound detection.
Most common MS instrument for SWATH | Sciex TripleTOF 5600+ system | Relevant because equipment consistency is essential for method validation and inter-study comparability.
Software used for data processing | AnalystTF, MultiQuant, Sciex OS, PeakView, MasterView | Relevant because software capability directly impacts the efficiency of processing large SWATH datasets.
Validation guidelines referenced | ANSI/ASB 036; Peters et al.; ISO/IEC 17025; World Anti-Doping Agency | Relevant because adherence to standardized validation bolsters methodological robustness and reliability for forensic applications.
Challenges with untargeted analysis | Data files are exceptionally large, requiring advanced computing power | Relevant as mitigating computational burdens is necessary for routine SWATH implementation in high-throughput forensic settings.
Compounds challenging to ionize | PB-22 variants had poor ionization in positive mode | Relevant for method development as certain analytes may require alternate criteria or ionization techniques.
Optimization of SWATH window widths | Critical balance between width size and cycle time affects data selectivity and accuracy | Relevant because method refinement enhances performance for diverse forensic toxicology applications.
Comparison to DDA sensitivity | SWATH positively identified more compounds with higher sensitivity in matrices compared to DDA | Relevant as SWATH demonstrated superior capabilities for broad screening in forensic toxicology.
Instrumentation calibration practices | Calibration performed every 2–10 samples or specific intervals | Relevant because frequent calibrations maintain instrument accuracy during high-throughput analysis.
Interferences with SWATH analysis | Example: Lidocaine interfering with norfentanyl identification | Relevant because minimizing compound interferences ensures reliable identification and false-negative mitigation.
Use of positive and negative ionization modes | Challenges in combining modes due to distinct method requirements | Relevant for accommodating diverse chemical properties in forensic substance identification.
Validation criteria commonly assessed | Includes specificity, sensitivity, matrix effects, recovery | Relevant because defining rigorous validation ensures SWATH method reliability in forensic toxicology.
CWS recommendation | Threshold of 70, with library match weight of 70% | Relevant as combined weight scores enhance efficiency and compound identification confidence.
Keywords used for the search | Quadrupole Time of Flight, Toxicology, QTOF, Forensic Toxicology, Sequential Window Acquisition, Data‐Independent Acquisition, SWATH | Highlights the focus areas for reviewing papers on SWATH, indirectly filtering for studies with potential PK data.
Matrices analyzed | Blood, urine, plasma, tissue, meconium, dried urine spots, oral fluid, dried blood spots, hair | Indicates biological matrices studied, relevant for understanding PK sampling.
Blood analyzed in studies | 8 out of 17 | Suggests common sample type and relevance for PK assessments.
Sampling method/device calibration frequency | Calibration device system every 2 hours, five samples, four per batch, or test solution injections | Relates to maintaining instrument accuracy for reliable PK-related mass spectrometry intervals.
Retention time variability monitored | Stable isotope standards, daily test solutions with peak area/RT tracking | Ensures accurate repeated measures for PK sampling time points.
Model Type | Not explicitly modeled (SWATH acquisition methodology) | The review primarily discusses SWATH's data acquisition parameters and practical implementation but does not involve a pharmacokinetic or compartmental model relevant to drug behavior or distribution.
Injection Volume | 5 to 20 μL | The columns used for LC varied, affecting injection volumes for SWATH method optimization.
Column Temperature | 25°C to 45°C | Optimizing SWATH requires tailored column temperature ranges for analyte retention and separation.
Flow Rate | 0.02 to 1.5 mL/min | Various flow rates were employed to ensure ideal chromatographic peak resolution.
Run Time | 6.5 to 40 min | Adjustments aim for sufficient compound interaction with stationary phases during LC analysis.
Typical Mobile Phase A | Water, ammonium acetate, acetic acid, acetonitrile, formic acid, ammonium formate | Mobile phases were vital for compound separation in LC systems.
Typical Mobile Phase B | Methanol, acetonitrile, acetic acid, formic acid | Used for maintaining optimal elution conditions and reproducibility during separation.
Quadrupole MS System | Sciex TripleTOF 5600+ (used by 11 studies) | SWATH effectiveness relies on reliable MS systems to measure accurate precursor ions.
SWATH Windows | 5 to 37 | Parameters of SWATH acquisition must align with the analyte profile distribution for reliable MS/MS data.
SWATH Window Size | 20–25 m/z (common) | Common width balances cycle time and selective product ion generation.
SWATH Range | 50–600 m/z (typical for forensic studies) | Target analytes guide the decision on appropriate SWATH coverage ranges.
Collision Energy | 35 eV | Collision energies optimized for producing distinct fragmentation spectra.
Collision Energy Spread | 15 eV | Spread values fine-tune fragmentation for analytes over various SWATH windows.
Mass Error Acceptability | ≤5 ppm | Ensures precision and confidence identification within high-resolution methods like SWATH.
Retention Time Error | ≤2% to ≤30% or <0.25 to <0.35 min | Critical for identifying compounds consistently across chromatographic peaks.
Isotopic Ratio Difference | ≤2.5% to ≤80% (varied) | Used in SWATH protocols to confirm molecular integrity in HRMS analyses.
Library Score Threshold | ≥70 (common) | Software uses this metric to link analytes confidently to prepared spectral databases.
Software Utilized | AnalystTF, MultiQuant, Sciex OS, PeakView, MasterView | Essential for processing, annotation, and identification in SWATH methods.
Positive Ion Spray Voltage | 2.5 to 5.5 kV | Instrument tuning ensures analyte ionization efficacy for targeted or untargeted detection.
Positive Calibration Frequency | Every 2 to 10 samples | Calibrating reduces instrument variation and improves mass accuracy outputs.
Chromatographic Columns | C18, biphenyl, phenyl-hexyl | SWATH validations use varied columns tailored to analyte properties and extraction methods.
Validation Guidelines | ANSI/ASB 036 Standards | Establishes robust protocols, ensuring SWATH performances align to forensic toxicology demands.
Target Reagents | Internal libraries, standards | Guides accurate calibration and identification for retrospective analysis of novel compounds.
Matrix analyte ionization efficiency | PB-22 variants showed poor ionization in positive mode | Influences how effectively some compounds are ionized, subsequently affecting detectability and pharmacokinetics assessments.
Ionization mode considerations | Positive and negative ionization modes vary in efficiency | Selection of ionization mode affects the ability to profile pharmacokinetics based on compound characteristics like acidity or basicity.
Collision energy optimization | Lower collision energy results in parent ion dominance; higher energies lead to more fragmentation | Different collision energy settings significantly impact how compounds are fragmented and thus analyzed for pharmacokinetics.
Matrix type variability | Blood, urine, plasma, hair, dried blood/urine spots, meconium analyzed | Matrix type can affect analyte recovery and ionization, indirectly impacting pharmacokinetic profiles.
Extraction method dependency | Extraction methods tailored to drug classes and matrix types | Extraction method efficiency directly influences the availability of analytes for measurement, affecting pharmacokinetic conclusions.
Interference minimization in SWATH windows | Compounds coeluting within SWATH isolation windows pose challenges | Proper window optimization mitigates interference, ensuring accurate compound profiling for pharmacokinetic studies.
Retention time errors and chromatographic behavior | Lidocaine interference with norfentanyl due to coelution | Coelution and retention time shifts can distort pharmacokinetic profiling accuracy.
Internal standard optimization | Avoiding shared SWATH windows between deuterated/analyte analogs | Proper separation reduces misinterpretations critical in pharmacokinetic drug behavior study.
Matrix effects in untargeted extraction | More untargeted extraction heightens matrix effects | Extraction breadth influences compound recovery while matrix effects impact pharmacokinetics reliability.
In-source fragmentation adjustments | Controlled fragmentation strength impacts analyte measurements | Directly shapes fragmentation quality critical to pharmacokinetic analysis accuracy.