## Table 1
Compound | Precursor ion (m/z) | Product ion (m/z) | Q1 pre‐bias (V) | Collision energy (V) | Q3 pre‐bias (V)
Tacrolimus (target) | 821.5 | 768.5 | −18.5 | −22.6 | −26.5
Tacrolimus (reference) | 821.5 | 786.45 | −15.2 | −18.6 | −38.9
Ascomycin (target) | 809.55 | 756.4 | −18.5 | −22.8 | −38.9
Ascomycin (reference) | 809.55 | 774.45 | −18.5 | −18.2 | −38.9

## Table 2
Levels | Tacrolimus concentrations (ng/ml) | Matrix effect (accuracy (%CV)) | Recovery (recovery (%CV)) | Intraday accuracy and precision (accuracy (%CV)) | Inter‐day accuracy and precision (accuracy (%CV))
LLOQ | 0.1 |  |  | 108.4 (5.93) | 96.0 (11.52)
LQC | 0.3 | 100.9 (9.09) | 93.0 (7.58) | 98.1 (8.70) | 96.2 (6.55)
MQC | 8 | — | 96.1 (1.68) | 108.8 (2.08) | 109.8 (1.73)
HQC | 20 | 111.6 (1.47) | 97.2 (2.90) | 109.8 (2.81) | 109.7 (2.21)

## Table 3
Clinical information | Patient 1 | Patient 2 | Patient 3 | Patient 4 | Patient 5
Age (year) | 63 | 56 | 47 | 58 | 39
Sex | Female | Male | Female | Female | Male
Types of kidney transplantation | Deceased donor | Deceased donor | Deceased donor | Deceased donor | Living donor
Time after kidney transplantation (month) | 1 | 1 | 1 | 1 | 2
Hemoglobin (g/dL) | 9.6 | 9.4 | 10.7 | 11.9 | 10.9
Serum creatinine (mg/dL) | 2.16 | 1.66 | 1.46 | 1.25 | 1.86
Estimated glomerular filtration rate (mL/min/1.73 m2) | 24 | 46 | 43 | 48 | 45
Albumin (g/dL) | 3.4 | 4.2 | 3.8 | 4.0 | 3.3
CYP3A5 genotypes | *1/*1 | *1/*1 | *1/*3 | *3/*3 | *3/*3
Tacrolimus dose (mg/day) | 9 | 10 | 5 | 3 | 4.5
Intracellular tacrolimus concentration (pg/5×105 cells) | 21.25 | 19.05 | 22.04 | 9.37 | 149.18
Whole blood tacrolimus trough concentration (ng/mL) | 7.8 | 4.4 | 15.9 | 7.4 | 8.5

## Freetext Data
Data | Value | Relevance
Monitoring whole blood tacrolimus concentrations is the standard clinical practice for therapeutic drug monitoring. | Yes | Provides current understanding of monitoring tacrolimus for therapeutic efficacy, establishing baseline relevance to TDM practices.
Some kidney transplant recipients experience allograft rejection or toxicity despite maintaining tacrolimus levels within the recommended therapeutic range. | Yes | Highlights the limitations of current methods, emphasizing the need for improved approaches to understand intracellular effects.
Tacrolimus exerts its primary immunosuppressive effects within lymphocytes, various intracellular quantification methods have been developed to measure its pharmacologically active fraction. | Yes | Demonstrates the rationale for monitoring tacrolimus intracellularly to improve clinical outcomes.
Many of these intracellular methods involve complex steps such as evaporation, reconstitution, or specialized equipment (e.g., magnetic beads, online solid‐phase extraction). | Yes | Establishes the complexity of existing methods and their lack of feasibility for routine clinical use.
This study aimed to develop and validate a streamlined, sensitive, and clinically accessible method for measuring intracellular tacrolimus concentrations in PBMCs. | Yes | The study's objective directly addresses the question of improving intracellular quantification methods.
Tacrolimus concentrations were quantified using LC‐MS/MS, with PBMCs aliquoted into 50 μL volumes containing 5×10⁵ cells and processed via acetonitrile‐based protein precipitation. | Yes | Details the streamlined methodology proposed by the study, providing groundwork for feasibility and clinical accessibility.
The method demonstrated excellent linearity between 0.1 and 25 ng/mL, corresponding to 1–250 pg/5×10⁵ cells (r² = 0.999); high intra‐ and interday accuracy and precision across validation runs; and high recovery rates (93.0%–97.2%). | Yes | The validation confirms the method’s reliability, sensitivity, and clinical utility for intracellular quantification.
Whole blood tacrolimus concentrations remained within the therapeutic range, and intracellular concentrations ranged from 9.37 to 149.18 pg/5×10⁵ cells. | Yes | Highlights the importance of complementary intracellular measurements for understanding tacrolimus pharmacokinetics beyond whole blood levels.
No correlation was observed between intracellular tacrolimus concentrations and whole blood trough concentrations. | Yes | Underscores potential disconnect, emphasizing why intracellular monitoring can uniquely enhance TDM practices.
Validated LC‐MS/MS intracellular quantification provides rapid, accurate data; improves pharmacokinetics and individualized therapy; useful for kidney transplantation. | Yes | Illustrates how the validated method can transform clinical pharmacology practices and patient-specific care.
Sample size of kidney transplant recipients | 5 | Relevant as the study included 5 transplant patients to analyze tacrolimus concentrations, forming the basis of the PK study.
Sample size of healthy volunteers | 6 | Relevant as healthy volunteers provided tacrolimus-free PBMCs, serving as controls for assay development and validation.
Post-transplant period for recipients | 1-2 months | Relevant because the timing ensured all patients were within the critical period for observing PK variability in tacrolimus concentrations.
Blood volume collected from recipients | 20 mL | Relevant as it determines the feasibility of the sampling protocol for transplantation patients.
Blood volume collected from healthy volunteers | 120 mL | Relevant due to its use in validating the methods with sufficient PBMCs in the absence of tacrolimus.
PBMC dilution and processing protocol | Diluted with DPBS, layered over Lymphoprep, lysed with ammonium chloride buffer, and washed before freezing | Relevant as the method ensures consistent and viable PBMC preparation for intracellular tacrolimus quantification.
Cell concentration in each PBMC aliquot | 5×106 cells per aliquot, adjusted further to 5×105 cells | Relevant as the standardized cell count per sample was critical to the study's validity in determining intracellular concentrations.
Sample storage temperature | −80°C | Relevant because low-temperature storage maintained sample integrity for reliable intracellular tacrolimus quantification.
Primary patient population characteristics | Kidney transplant recipients within 2-month post-transplant follow-up | Relevant for ensuring that the study focused on a clinically significant group at high risk for rejection and variable PK responses.
Sampling type and frequency | Single blood draw per participant, not longitudinal | Relevant for understanding study design constraints and single-time-point PK relationship evaluation.
Model used | Not explicitly discussed in the study | The study focused on developing a bioanalytical method for intracellular tacrolimus quantification rather than employing a pharmacokinetic model (e.g., compartment-based or PBPK).
Focus of study | Intracellular quantification of tacrolimus in PBMCs using LC-MS/MS | The research was methodological rather than modeling-oriented, emphasizing analytical validation.
Pharmacokinetics representation | None explicitly provided | The study does not apply a formal pharmacokinetic model but instead assesses intracellular drug concentrations directly in PBMC samples.
Alternative approach | Intracellular tacrolimus concentration reporting | The method indirectly provides pharmacologically relevant insights without deploying standard pharmacokinetic models like 1- or 2-compartment frameworks.
Calibration Curve Range | 0.1–25 ng/mL | Establishes the range for detecting tacrolimus concentrations, which is essential for validating the method's linear response and sensitivity.
Coefficient of Determination (r2) | 0.999 | Demonstrates the method's linearity and reliability across the established concentration range.
Retention Times | Tacrolimus: 3.17 min, Ascomycin: 3.12 min | Ensures chromatographic separation efficiency, which is critical for accurate compound identification and quantification.
Mobile Phase Composition | Water with 20 mM ammonium acetate, 0.1% formic acid (A) and 100% methanol (B) | Establishes optimal chromatographic conditions for robust separation and high sensitivity.
Flow Rate | 0.4 mL/min | Determining flow rate optimizes chromatographic performance and resolution.
Temperature Settings | Column: 50°C, Autosampler: 4°C | Ensures consistent operation and analyte stability under standardized conditions.
Interface Voltage | 1.0 kV | Optimized for maximum ionization and signal response in the MS system.
Heating, Drying, and Nebulizing Gas | 3 L/min each | Optimized for stable ion generation and signal consistency.
Lower Limit of Quantification (LLOQ) | 0.1 ng/mL or 1 pg/5×105 cells | Defines the lowest intracellular tacrolimus concentration reliably quantified, essential for sensitivity assessment.
Intra‐ and Inter‐Day Precision (CV) | 2.08% to 8.70% (Intra‐Day), 1.73% to 6.55% (Inter‐Day) | Validates the method's reproducibility and reliability over time, crucial for clinical application.
Extraction Recovery | 93.0%–97.2% | Indicates efficiency of the extraction process, ensuring maximum analyte recovery for accurate quantification.
Matrix Effect Accuracy | 100.9% (LQC), 111.6% (HQC) | Confirms minimal interference from biological matrix components, enhancing data reliability.
Dwell Time | 200 milliseconds (tacrolimus), 100 milliseconds (ascomycin) | Optimized to ensure stable MRM signal acquisition for accurate quantification.
PBMC Count for Sample | 5×105 cells per 50 μL | Defines sample preparation parameters, balancing sensitivity and sample requirements for practical clinical workflows.
Analysis Runtime | 8 min | Defines the duration for LC‐MS/MS analysis, allowing for efficient throughput in clinical and research applications.
Accuracy | 98.1%–109.8% (Intra‐Day), 96.2%–109.8% (Inter‐Day) | Measured to confirm the method's quantitative reliability across diverse conditions.
Stock Solution Concentrations | Tacrolimus: 1 mg/mL, Ascomycin: 1 mg/mL | Establishes baseline quantification standards crucial for calibration curve preparation.
PBMC Dilution Solvent | 70% methanol | Selected for its superior signal response and extraction efficiency compared to other solvents tested.
Factors influencing pharmacokinetics | CYP3A5 and CYP3A4 polymorphisms | These genetic polymorphisms are highlighted as important factors influencing intracellular tacrolimus disposition and variability in pharmacokinetics.
Factors influencing pharmacokinetics | Hemoglobin concentration | Mentioned as a potential factor affecting tacrolimus levels, indicating its role in influencing drug pharmacokinetics.
Factors influencing pharmacokinetics | Tacrolimus formulation | Extended-release formulations result in higher steady-state intracellular concentrations compared to immediate-release formulations, impacting drug pharmacokinetics.