## Table 1
Cnominal a (µg/ml)_Unnamed: 0_level_1 | Intraday_Cexperimental b (mean ± SDc) (µg/ml) | Unnamed: 2_level_0_Precision (% RSDd) | Unnamed: 3_level_0_Accuracy (% bias) | Interday_Cexperimental (mean ± SD) (µg/ml) | Unnamed: 5_level_0_Precision (% RSD) | Unnamed: 6_level_0_Accuracy (% bias)
QC1 0.1 | 0.110 ± 0.001 | 1.3 | 10.1 | 0.102 ± 0.009 | 9 | 3.8
QC2 1 | 0.989 ± 0.035 | 3.5 | -1.2 | 0.924 ± 0.077 | 8.3 | -7.6
QC3 10 | 10.592 ± 0.285 | 2.7 | 5.9 | 10.141 ± 0.143 | 1.4 | 1.4

## Table 2
Unnamed: 0_level_0_Unnamed: 0_level_1 | Cnominal a (µg/ml)_Unnamed: 1_level_1 | Recovery (%)_Mean ± SD | Unnamed: 3_level_0_RSD (%)
QC1 | 0.1 | 110.0 ± 1.4 | 1.3
QC2 | 1 | 98.9 ± 3.5 | 3.5
QC3 | 10 | 105.9 ± 2.9 | 2.7

## Table 3
Case | Sex | Age(years) | Cause of death | LTGconcentration(µg/ml) | Other compounds(concentration)
1 | Female | 27 | Drug poisoning suicide | 3.04 | Venlafaxine (3.5 µg/ml) Sertraline (2.63 µg/ml) Paracetamol (65.6 µg/ml) Olanzapine (1.34 µg/ml)
2 | Female | 33 | Drug poisoning suicide | 4.59 | Fluoxetine (1.08 µg/ml) Methadone (0.18 µg/ml)
3 | Male | 53 | Drug Overdose | 8.99 | Pregabalin (25.5 µg/ml) Levomepromazine (0.25 µg/ml)
4 | Female | 34 | Natural | 1.26 | ─
5 | Female | 46 | Drug poisoning suicide | 7.36 | Quetiapine (2.0 µg/ml) Lorazepam (0.24 µg/ml) Ethyl alcohol (0.46 g/l)
6 | Male | 79 | Accidental fall | 0.29 | ─
7 | Female | 56 | Drug poisoning suicide | 3.69 | Sertraline (0.25 µg/ml) Carbamazepine (1.33 µg/ml)
8 | Male | 40 | Natural | 0.95 | ─
9 | Male | 63 | Drug poisoning suicide | 2.46 | Gabapentin (7.16 µg/ml) Venlafaxine (0.15 µg/ml) Clomipramine (0.13 µg/ml) Diazepam (0.28 µg/ml) Oxazepam (0.08 µg/ml) Nordiazepam (0.42 µg/ml)
10 | Male | 47 | Drug poisoning suicide | 2.46 | Carbamazepine (0.44 µg/ml) Oxazepam (0.5 µg/ml) Levetirazetam (14.7 µg/ml)
11 | Male | 50 | Traffic accident | 1.22 | Quetiapine (0.23 µg/ml) Clomipramine (0.05 µg/ml)

## Freetext Data
Data | Value | Relevance | Unnamed: 0 | Data | Value | Relevance | Unnamed: 4
LOD | 0.04 µg/ml | The limit of detection indicates the method's sensitivity, crucial for reliably identifying low concentrations of lamotrigine in plasma samples.
LOQ | 0.1 µg/ml | The limit of quantitation highlights the lowest concentration at which the method can quantify lamotrigine accurately, essential for therapeutic and forensic monitoring.
Extraction Method | Liquid-liquid extraction using Na2CO3-NaHCO3 buffer and ethylacetate | Demonstrates the chosen sample preparation technique, optimized for efficiency and simplicity, key to practical forensic applications.
Internal Standard | Chloramphenicol | Ensures accuracy and precision in chromatographic analysis, particularly important in detecting and measuring lamotrigine in complex biological matrices.
Therapeutic Plasma Range of LTG | 1–15 µg/ml | Provides the context for therapeutic drug monitoring, showing where tested samples may fall within safe or therapeutic limits.
Toxic Plasma Range of LTG | 16–47 µg/ml | Relevant for forensic application in determining overdose cases or identifying cause of death.
Linear Range of Method | 0.1–10 µg/ml | Establishes the method's reliability across the concentration range commonly encountered in clinical and postmortem samples.
Mean Correlation Coefficient (r) | 0.9934 | Shows the method’s strong linearity, which is essential for reproducible and reliable quantitative analysis.
Recovery Rate | ≥98.9% | Indicates highly efficient extraction, critical for ensuring accuracy and reproducibility in both research and forensic investigations.
Precision (Intraday and Interday) | Lower than 9.0% | Confirms the method's robustness, ensuring consistent results across multiple measurements in forensic and therapeutic scenarios.
Accuracy Range (Intraday and Interday bias) | -7.6% to 10.1% | Demonstrates the method's reliability in yielding values close to actual concentrations, key for error minimization in toxicological analysis.
Column Used | XBridge® Shield RP18, 4.6 × 250 mm, 5 μm | Highlights the chromatographic setup, relevant for method reproducibility and its application in forensic labs.
Mobile Phase Composition | Acetonitrile-phosphate buffer (pH 6.5; 1mM) (30:70, v/v) | A significant parameter for the chromatographic separation of lamotrigine and internal standard, defining the method's efficiency and specificity.
Flow Rate | 1 ml/min | Indicates the optimized chromatographic conditions enabling effective separation and analysis of lamotrigine in plasma.
Retention Time (LTG) | 5.75 min | Shows the specific detection time for lamotrigine, important for faster analysis in high-throughput forensic cases.
Retention Time (Chloramphenicol) | 8.53 min | Demonstrates the detection time for the internal standard, helping validate the method's consistency across analyses.
Application | Eleven postmortem blood samples | Validates the method’s real-world applicability in forensic toxicology, particularly in identifying lamotrigine concentration in forensic cases.
Postmortem LTG Range | 0.29–8.99 µg/ml | Illustrates the lamotrigine concentrations detected in real forensic cases, aiding interpretation of forensic results.
Cause of Death (Suspected by Examiner) | 7 cases of drug poisoning, others include natural causes, accidental fall, traffic accident | Relevant to interpreting blood lamotrigine levels in the forensic context and correlating concentrations with potential causes of death.
Validation Standards | FDA Guidelines | Establishes compliance with stringent regulatory standards, affirming the method's reliability for forensic and therapeutic drug monitoring.
Additional Drugs Detected | Includes sertraline, paracetamol, olanzapine, quetiapine, etc. | Provides context for mixed-drug toxicity, relevant for interpreting lamotrigine concentrations in polypharmacy cases.
|  |  |  | ------ | ------- | -----------
|  |  |  | Patient Population | Postmortem blood samples received at the Forensic Toxicology Service of the Forensic Sciences Institute of Santiago de Compostela (Spain) | The paper describes the application of the method to real forensic cases for postmortem analysis, showing its relevance to the pharmacokinetics of lamotrigine in a forensic context.
|  |  |  | Blood/Plasma Sampling | Plasma obtained by centrifugation from whole blood stored at −20 °C until use | Indicates the methodology of how plasma samples were prepared and stored, which is crucial in pharmaco/forensic kinetic studies.
|  |  |  | Number of Samples | 11 postmortem blood samples | Establishes the scope of the study in terms of sample size and validates the application of the method.
|  |  |  | Sampling Centrifugation Parameters | 14,000 rpm for 5 min | Describes one aspect of sample preparation, showing the standardization necessary for accurate pharmacokinetic measurements.
|  |  |  | Patient Characteristics | Sex, age, suspected cause of death provided for forensic cases | Helps contextualize the population and conditions under which the pharmacokinetic data was analyzed in a forensic context.
|  |  |  | Temperature and Storage | Plasma stored at -20°C | Details on how samples were preserved contribute to the accuracy of pharmacokinetics in studies involving metabolites and stability.
Model | Not mentioned | The paper does not describe or utilize any pharmacokinetic models such as 1-compartment, 2-compartment, physiologically based models, or IVIVE. The focus is on developing and validating an analytical method for determining lamotrigine in plasma for forensic and therapeutic purposes.
Lamotrigine therapeutic plasma concentration range | 1–15 µg/ml | Relevant as it provides the therapeutic range of lamotrigine estimated for clinical and monitoring purposes.
Lamotrigine toxic plasma concentration range | 16–47 µg/ml | Relevant as it indicates the toxic range of lamotrigine, important for forensic investigations of overdoses.
Calibration curve linear range | 0.1–10 µg/ml | Relevant because it demonstrates the method's ability to quantify lamotrigine in plasma within this concentration range.
Calibration curve mean correlation coefficient (r) | 0.9934 | Relevant as it validates the linearity of the HPLC method.
Limit of detection (LOD) | 0.04 µg/ml | Relevant for determining the method's sensitivity to low concentrations of lamotrigine.
Limit of quantification (LOQ) | 0.1 µg/ml | Relevant as it sets the lowest concentration of lamotrigine quantifiable with acceptable precision and accuracy.
Retention time for lamotrigine | 5.75 min | Relevant as it specifies the HPLC parameter for identifying lamotrigine.
Retention time for chloramphenicol (Internal Standard) | 8.53 min | Relevant because it supports the detection and correction for variations during analysis.
Mobile phase proportion | Acetonitrile-phosphate buffer (30:70, v/v) | Relevant as it specifies the prepared mixture for optimal chromatographic separation.
Mobile phase pH | 6.5 | Relevant for ensuring ideal chromatographic conditions for lamotrigine.
Flow rate | 1 ml/min | Relevant because it is a key parameter in achieving optimal separation during HPLC analysis.
Injection volume | 20 µl | Relevant as it dictates the quantified sample size for repeatable HPLC analysis.
Run time | 10 min | Relevant because it defines the duration of each sample analysis in the HPLC procedure.
Recovery from plasma | ≥98.9% | Relevant as it confirms the efficiency of the extraction method in recovering lamotrigine from plasma samples.
Intra- and interday precision values | ≤9.0% | Relevant as it confirms the reproducibility of the HPLC method under the same (intra) and different (inter) conditions.
Intra- and interday accuracy values | −7.6% to 10.1% | Relevant as it validates the accuracy of the measurements compared to expected values.
Extraction solvent | Ethylacetate | Relevant as it influences the efficiency of the liquid-liquid extraction step for lamotrigine.
Buffer used in extraction | Na2CO3-NaHCO3 buffer, pH 10 | Relevant for adjusting plasma sample pH to optimize drug extraction.
Glucuronide metabolite determined | No, only parent drug | Relevant because the study focuses on lamotrigine rather than its metabolite for monitoring or forensic use.
HPLC column used | XBridge® Shield RP18 (4.6 × 250 mm, 5 µm) | Relevant as it specifies the chromatographic hardware.
Detector wavelengths | 305.7 nm (lamotrigine), 276.0 nm (chloramphenicol) | Relevant for monitoring and identifying sample components in the HPLC analysis.
Postmortem lamotrigine concentration range | 0.29–8.99 µg/ml | Relevant for the forensic application of the method to real case samples.
Metabolism Variability | The inter- and intraindividual pharmacokinetic variability of LTG is a well-known fact. | Relevant because variability influences the need for individual dosing adjustments.
Concomitant Therapies | The metabolism and elimination half-time of LTG can be influenced by some concomitant therapies with other medications. | Relevant as co-administration with other drugs can alter LTG pharmacokinetics.
Pregnancy | LTG pharmacokinetics and metabolism could be affected by pregnancy. | Relevant as pregnancy is a physiological condition that alters drug metabolism.
Diseases | Certain diseases can affect LTG pharmacokinetics. | Relevant because pathological states could lead to altered LTG metabolism.
Age | LTG pharmacokinetics and metabolism could be affected by age. | Relevant because age-related changes in liver or renal function influence pharmacokinetics.
Genetic Polymorphisms | Genetic polymorphisms can impact LTG pharmacokinetics. | Relevant as genetic variation can alter drug-metabolizing enzymes affecting plasma levels of LTG.
Renal Replacement Therapy | LTG pharmacokinetics and metabolism could be affected by renal replacement therapy. | Relevant since impaired drug excretion or clearance in patients on therapy can affect LTG levels.