## Table 1
Organs | Activity concentration (MBq/mL)
Lungs | 0.0445
Liver | 0.2531
Bones | 0.0576
Left kidney | 0.5074
Right kidney | 0.5155
Spleen | 0.5313
Tumor | 0.9564
Background | 0.0526

## Table 2
Unnamed: 0_level_0_Scenario | Algorithm_COL | Algorithm_COL‐filter | Algorithm_OSI
Baseline | 0.62 ± 0.20 | 0.71 ± 0.19 | 0.99 ± 0.004
40% Threshold | 0.64 ± 0.18 | 0.57 ± 0.28 | —
Kidney's masking | 0.87 ± 0.07 | 0.90 ± 0.06 | —

## Freetext Data
Data | Value | Relevance
Respiratory motion impacts | Causes blurring artifacts in reconstructed SPECT images | This is central to the study, as it examines how respiratory motion affects image quality and dosimetry accuracy.
OSI method correlation | 0.99 ± 0.004 with the ground truth signal | Confirms the OSI system’s effectiveness in accurately capturing respiratory motion compared to other methods.
Effectiveness of kidney masking | 0.90 ± 0.06 correlation with filtering in COL | Supports that while kidney masking improves COL, it is less effective than OSI for motion signal extraction.
Respiratory cycles used in simulation | Divided into seven amplitude-based segments | Demonstrates how the study simulated breathing phases to improve phase sorting efforts in SPECT imaging.
Using 4D reconstruction (4D-Recon) | Improved RC and CRC compared to non-MC | Directly highlights the benefits of motion-corrected reconstruction of SPECT images for more accurate data recovery.
Validation with patient CBCT data | Respiratory signal correlation shows same breathing frequency of 0.2839 Hz | Confirms clinical applicability of OSI and its alignment with CBCT-based breathing signals.
PyTomography library | Released as an open-source platform for reconstruction algorithms | Provides accessible tools to reproduce and expand upon the study’s findings.
ROI masks in respiratory signal extraction | Not required in OSI method | Demonstrates OSI’s efficiency and lower complexity compared to other methods requiring masks like COL.
Impact of motion correction | Improves radiopharmaceutical therapy dosimetry | Essential relevance to therapeutic optimization, targeting absorbed dose accuracy.
GPU acceleration | Iteration efficiency enabling faster reconstructions | Addresses the practical challenge of implementing motion-corrected 4D SPECT reconstruction clinically.
Noise handling in projections | Added Poisson noise for realistic simulation | Necessary for testing robustness and accuracy of motion-correction under typical clinical conditions.
Limitations of COL method | Misclassified phases can result in mixed and blurred reconstructions | Explains why OSI is more accurate and reliable for motion-correction tasks.
Patient groups and OSI validation | Applied to normal-sized adults; additional studies needed for pediatric or obese populations | Highlights potential for broader clinical applicability and areas for further research.
Experimental validation need | Requires anthropomorphic phantom with injector for realistic testing | Identifies the current study as proof-of-concept and future steps for validation with clinical data.
Respiratory signal frequency | 3.5 seconds per cycle observed in CBCT and OSI patient data | Validates the OSI method’s alignment with actual patient respiratory patterns.
SIMIND utilization for SPECT simulation | Monte Carlo program used for projection simulation | Provides the study’s computational basis for validating reconstruction methods.
Patient population | Normal-sized adult patients | Necessary patient group for validating the proof-of-concept stage of the OSI respiratory phase sorting and motion correction method, which was tailored to standard SPECT imaging parameters.
Patient population | XCAT 4D digital phantom simulations and a single patient CBCT scan | Both were used to test the feasibility and accuracy of the proposed methods, drawing parallels with clinical applications while avoiding actual patient exposure during early stages.
Blood/tissue sampling | Not applicable | The study does not address pharmacokinetic studies or involve blood/tissue sampling time points; its focus revolves around imaging-related motion correction, signal extraction, and algorithm application.
Sample size | Single patient and phantom data | Limited sample size due to exploratory nature of study demonstrating the method's clinical feasibility rather than broad clinical validation.
Sampling time points | Cone-beam CT (CBCT) sampling interval: 0.182 seconds; OSI depth camera interval: 0.033 seconds | Relevant as temporal alignment in imaging processes is critical for obtaining accurate respiratory signals and facilitating motion correction in reconstructions.
Tissue sampling analog | Tumor ROI and Liver ROI from XCAT phantom | Used for contrast recovery coefficient (CRC) analysis as surrogate measures for imaging accuracy rather than direct tissue sampling applicable in pharmacokinetics studies.
Digital phantom model | 4D XCAT phantom | The digital 4D XCAT phantom was used in the study to simulate realistic anthropomorphic configurations for SPECT imaging, incorporating respiratory motion across phases, which is critical for testing respiratory signal extraction and image reconstruction algorithms.
Physiological model simulations | Tumor motion dependent on position within patient's body | The study used the XCAT phantom's activity settings to simulate tumor motion effects during respiratory cycles, reflecting physiological behavior essential for testing motion-incorporated methods.
Deformation vector field model | DVF integrated into OSEM reconstruction | This physiologically inspired model captures internal deformations due to respiratory motion, enabling realistic motion-corrected SPECT reconstruction.
Gaussian registration approach | Gaussian mixture model (GMM) | Applied to register point clouds across respiratory phases, the GMM model simulates anatomical shifts due to breathing, aligning closely with physiologically based considerations.
Noise simulation model | Poisson noise added to projections | This model accounted for realistic signal variations in clinical scans, aiding in testing the robustness of the motion-correction approach in physiologically relevant conditions.
Photopeak energy range in TEW scatter correction | 187.2–228.8 keV | Relevant because these parameters are essential for accurately modeling scatter correction in SPECT simulations.
Lower energy window in TEW scatter correction | 169.4–187.2 keV | Relevant as it defines one of the three critical windows for the scatter correction method used in simulations.
Higher energy window in TEW scatter correction | 228.8–252.9 keV | Relevant as it determines the upper bound for scatter correction, directly impacting image artifact reduction.
Gaussian noise standard deviation for respiratory surface simulation | 0.5 mm | Relevant for evaluating the robustness of the OSI method against optical signal noise.
Kernel dimensions for COL filtering | 32x32 spatial and 2 temporal dimensions | Relevant because these filtering parameters are used to preprocess data for respiratory signal extraction.
Duration times for breathing cycle gates | 4.2 s, 2.4 s, 5.4 s, and 3.0 s | Relevant as these parameters determine the temporal binning for phase sorting in the reconstruction process.
Gaussian filter standard deviation for smoothing OSI signal | 2 | Relevant because it is applied to reduce high-frequency noise in the OSI-extracted respiratory data, improving signal accuracy.
X-ray voltage for CBCT scan | 120 kVp | Relevant as it defines the imaging condition for CBCT, which generates reference respiratory signals for validation.
X-ray current for CBCT scan | 20 mA | Relevant because it impacts the quality of CBCT projections, which are used as comparative ground truth for respiratory signals.
Exposure time for CBCT projections | 16 ms | Relevant as it determines the temporal resolution of CBCT data used to validate OSI-derived respiratory signals.
Sampling interval for CBCT projections | 0.182 s | Relevant because it sets the timing scale for comparing respiratory signals extracted from CBCT and OSI methods.
Sampling interval for depth camera | 0.033 s | Relevant as it defines the temporal resolution for OSI respiratory signal acquisition, allowing high-fidelity signal capture.
Dimensions of SPECT projections | 128x128 pixels | Relevant because these dimensions were specified for simulated projection data, essential for reconstruction quality.
Pixel dimensions for body surface region in attenuation map ROI | 64x64 pixels | Relevant as it sets the spatial scale for respiratory signal extraction using the OSI method.
Voxel dimensions for Monte Carlo simulations | 25 time points with 0.1 s intervals | Relevant as these dimensions define the temporal granularity for motion-incorporated reconstruction simulations.
Discrete Fourier transform frequency for patient respiratory motion | 0.2839 Hz | Relevant because the frequency confirms alignment between OSI-based signals and ground truth CBCT measurements.
Mean counts normalized to organ activity levels | Activity settings derived from 6.85 GBq labeled DOTATATE | Relevant since these counts are adjusted to mimic realistic dosage conditions for clinical SPECT scans and dosimetry evaluations.
Matrix characteristics from SIMIND system map alignments | Geometry transformation, scatter correction, attenuation correction, PSF modeling | Relevant because these characteristics are integrated into Monte Carlo simulations, ensuring image reconstruction realism.
Activity settings | Activity derived from SPECT images acquired 1 h after injecting 6.85 GBq of DOTATATE | Demonstrates injection activity dose influences pharmacokinetics.
Dosimetry impact | Respiratory motion reduces activity recovery and tumor/non-tumor ratios by an average of 30% | Highlights how uncorrected respiratory motion affects pharmacokinetic accuracy in determining absorbed doses.
Image noise | Poisson noise added to simulated SPECT projections | Noise levels impact the quantification and pharmacokinetic assessment in imaging data.
Scan time variance | Comparison of 15-s and 150-s projection scan times for noise vs. noiseless modes | Longer scan times provide clearer data, influencing reliability in pharmacokinetic analysis.
Injection activity | Increasing activity dose or isotope gamma yields due to noiseless mode simulations | High activity doses improve signal quality and pharmacokinetic data accuracy.
Organ motion | Tumor and kidney motion dependent on respiratory phase | Demonstrates organ movement directly impacts pharmacokinetics and dosimetry results.