## Table 1
nominal conc. (ng/mL) | Givosiran (%) | Givosiran AS(N-1)3′ (%) | Inclisiran (%)
LQC (10) | 103 ± 9.26 | 109 ± 8.28 | 112 ± 9.21
MQC (150) | 93.3 ± 5.45 | 93.3 ± 2.97 | 102 ± 2.09
HQC (400) | 89.9 ± 3.91 | 87.7 ± 1.84 | 95.3 ± 2.59

## Freetext Data
Data | Value | Relevance
Developed extraction method for GalNAc-siRNA | Differential Protein Precipitation Technique (DPPT) using optimized acetonitrile (ACN) mix | Highlights novel methodology designed to improve siRNA recovery and quantification in biological matrices.
Optimization solvent used for protein precipitation | 55% acetonitrile concentration determined optimal for GalNAc-siRNA recovery | Focuses on enhancing siRNA extraction efficiency for LC/MS/MS analysis.
LC/MS sensitivity achieved | Single-digit ng/mL range for GalNAc-siRNA quantification | Demonstrates the advancement of sensitivity levels critical for pharmacokinetic and toxicokinetic studies.
FDA-approved GalNAc-siRNAs analyzed | Givosiran, Lumasiran, Inclisiran, Vutrisiran, and Givosiran metabolite AS(N-1)3′ | Relevant as the study quantifies clinically utilized siRNAs, validating the method for regulated bioanalysis.
Comparison of DPPT with extraction methods | DPPT recovery outperformed SPE, showed performance comparable to hybridization | Emphasizes improvement in cost-efficiency, robustness, and scalability of siRNA extraction techniques.
In vivo rat plasma analysis | Plasma assays successfully quantified Givosiran, Inclisiran, and Givosiran metabolite AS(N-1)3′ | Demonstrates practical application of DPPT for pharmacokinetics and metabolite quantification.
Mass spectrometry instruments used | Thermo QE Plus Orbitrap and Sciex QTRAP 6500 | Relevant for understanding instrumental setups critical for sensitive detection and quantification of siRNAs.
Chromatographic method | Ion-pairing reverse phase HPLC with Phenomenex bioZen Oligo column | Highlights LC separation methodology crucial for accurate siRNA analysis.
Workflow validation | Multiplex calibration standards and cross-interference testing between siRNAs | Signifies robustness and adaptability of the DPPT workflow for simultaneous siRNA and metabolite analysis.
Quantitative validation parameters | Accuracy within ±10%; precision within 15% across QC levels | Demonstrates reliability, reproducibility, and robustness of the DPPT methodology.
Potential applications | Broad adaptability for siRNA pharmacokinetics, toxicokinetics, and metabolite studies | Relevance in further applying DPPT for diverse bioanalytical assays in drug development domains.
Improved efficiency of sample preparation | Eliminates reliance on complex reagents or prolonged assay development | Directly addresses challenges associated with traditional methods in regulated bioanalysis.
Species tested for recovery | Mouse, rat, and monkey plasma | Establishes wide applicability across preclinical species models.
Study funding and support | Supported by Takeda Development Center Americas Inc | Signals credibility and resources backing the research methodology.
Adaptability to other conjugates | Feasibility extending to siRNA linked to peptides or lipids depending on molecular size | Essential for expanding usage to emerging siRNA therapeutic designs beyond GalNAc conjugates.
Sample size | 4 rats per time point | Relevant for designing the PK study to ensure statistical robustness.
Blood sampling time points | 0.25, 1, 2, 4, 8, and 24 hours post-administration | Reflects the temporal resolution for assessing pharmacokinetic parameters.
Patient population | Female Sprague-Dawley rats, 8–10 weeks old, approximately 300 g | Critical for understanding the experimental model and its applicability to PK studies.
Drug administration method | Single subcutaneous (SC) administration | Relevant as it specifies the route of drug delivery, influencing absorption and PK profile.
Dosage | 10 mg/kg for Givosiran, 6 mg/kg for Inclisiran | Important for determining exposure levels and PK behavior.
Post-sample storage condition | Plasma samples stored at −80 °C until analysis | Ensures sample integrity, which is crucial for accurate PK quantification.
Model | Pharmacokinetic parameters for siRNAs were evaluated using plasma concentration vs time curves | The relevance lies in demonstrating a single-compartment pharmacokinetic assessment for siRNA studies, useful for accurate quantification and comparison with preclinical data.
Model | Pharmacokinetic data for Givosiran and Inclisiran were extracted from rat plasma samples post-administration | This is relevant as the plasma concentration time curves suggest a simplified single-compartment PK model, aiding in PK comparisons.
Model | Comparison of DPPT methodology with SPE approach for plasma quantification | This highlights the workflow used in siRNA extraction and its validation in pharmacokinetic modeling, supporting the measurable analyte recovery efficiency within a PK framework.
Model Process | Plasma sampling from rats at 0.25, 1, 2, 4, 8, and 24 h after administration | Relevant to PK modeling as time-series plasma concentration data informs the single-compartment model approach used for deriving pharmacokinetic parameters.
Model Tools | LC/MS/MS-based quantification coupled with DPPT method for extracting siRNAs | Relevant as the analytical techniques and PK quantification method imply a modeling approach compatible with simplified compartmental or linear models for siRNA PK studies.
LLOQ for Givosiran | 2 ng/mL | Relevant for determining the sensitivity of the assay and quantification limits in plasma.
LLOQ for Inclisiran | 6 ng/mL | Relevant for gauging the lower limit sensitivity for specific siRNA within the assay.
Acetonitrile concentration for Givosiran extraction in plasma | 55% | Estimated through acetonitrile titration to optimize siRNA recovery and protein precipitation.
Recovery rates for siRNA at different QC levels in rat plasma | Approximately 100% | Relevant for validating the robustness and efficiency of the DPPT method.
Optimal precursor-product transitions for Givosiran antisense strand | 755.3 > 632.1 | Used for LC-MS/MS quantification and signal optimization.
Optimized reconstitution volumes | 80 μL | Important for post-precipitation recovery of siRNA in the analysis workflow.
Injection volume for LC-MS/MS analysis | 25 μL | Ensures precise quantification in the analytical process.
Chromatographic retention for siRNA multiplex | Phenomenex bioZen oligo column | Indicates the suitability of separation parameters for multi-siRNA assays.
PK parameters of Givosiran | Comparable to published data | Shows validation and reliability of the method for pharmacokinetic studies.
MRM dwell time optimization | Enhanced sensitivity to 1 ng/mL | Improves assay sensitivity, particularly for low-dose studies.
Timing and force for centrifugation | 5 min at 1500g | Critical for protocol consistency in siRNA sample preparation from plasma.
GalNAc-siRNA conjugates | Used as ligands for ASGPR expressed on hepatocytes | GalNAc conjugation facilitates liver-targeted delivery, significantly influencing pharmacokinetics by enhancing tissue specificity.
Molecular Weight | Givosiran MW 16.3 kDa | Molecular weight impacts solubility and bioavailability, affecting pharmacokinetics.
Acetonitrile Optimization | 55% ACN identified for protein precipitation | Optimized ACN concentration affects siRNA recovery from plasma, critical for accurate pharmacokinetic measurement.
FDA-approved siRNAs | Givosiran, Lumasiran, Inclisiran, Vutrisiran | Pharmacokinetics studied for these siRNAs under standardized conditions, reflecting consistency in observed PK profiles.
Subcutaneous Administration Dosing | Givosiran: 10 mg/kg; Inclisiran: 6 mg/kg | Specific dosing directly influences pharmacokinetics parameters like plasma concentration and time curves.
Pharmacokinetic Parameters Validation | Correlation between DPPT and SPE within ±20% | Factors like recovery methods validated to ensure accurate PK data generation.
Plasma Protein Interaction | High-abundance proteins removed via DPPT | Plasma protein binding impacts siRNA pharmacokinetics; removal reduces interference and enhances recovery for PK analysis.