## Table 1
Gamma camera | Discovery NM 530c | Infinia | Infinia.1
Type of Crystal | CZT | NaI(Tl) | NaI(Tl)
Collimator | Multi-pinhole | Low energy parallel hole | Low energy parallel hole
Acquisition parameters | Acquisition parameters | Acquisition parameters | Acquisition parameters
Number of projections | 19 | 60 | 60
Angular range | 180° | 180° | 180°
Voxel size (mm × mm) | 4 × 4 | 6.6 × 6.6 | 6.6 × 6.6
Total counts collected | 1.6 Mc (stress&rest) | 4Mc (rest) - 3Mc (stress) | 4Mc (rest) - 3Mc (stress)
Reconstruction parameters | Reconstruction parameters | Reconstruction parameters | Reconstruction parameters
Reconstruction algorithm (iteration & subsets) | Iterative 3D 60 × 1 | FBP Butterworth (order 10, cutoff .4 cm−1) | WBR As defined by the manufacturer (Xpress3 setup)
Post reconstruction filter | Butterworth (order 7, cutoff .37 cm−1) | – | –
Resolution correction | - | – | 3D modeling of the PSF in the system matrix
Noise regularization | Green One-Step-Late (OSL) correction with α = .5 ÷ β = .4 | – | STANDARD strength (ST)
Slice thickness, mm | 4.0 | 6.6 | 6.6

## Table 2
Compartment | Volume(mL) | Activity(MBq) | Activity concentration (MBq/mL) | Activity concentration ratio with respect to chest
LV wall | 121.43 | 20.4 | 0.168 | 20.4
Inner chamber | 63.89 | 0.5 | 0.008 | 1.0
Perfusion defect, PD | 3.8 | 0 | 0 | 0
Liver | 1166 | 117.6 | 0.101 | 12.2
Chest | 9704 | 80 | 0.008 | -

## Table 3
Compartment_Compartment | Effective half-life(minutes)_Effective half-life(minutes) | Residual 99mTc stress activity(MBq)_Residual 99mTc stress activity(MBq) | Total rest 99mTc activity(Residual + R × stress activity)(MBq)_R = 1.0 | Total rest 99mTc activity(Residual + R × stress activity)(MBq)_R = 1.5 | Total rest 99mTc activity(Residual + R × stress activity)(MBq)_R = 2.0 | Total rest 99mTc activity(Residual + R × stress activity)(MBq)_R = 2.5 | Total rest 99mTc activity(Residual + R × stress activity)(MBq)_R = 3.0
Normal myocardium (LV wall) | 278 | 13 | 33.4 | 43.6 | 53.8 | 64 | 74.2
Inner chamber | 278 | 0.3 | 0.9 | 1.1 | 1.4 | 1.6 | 1.9
Ischemic myocardium (PD) | 224 | 0 | 0.6 | 1 | 1.3 | 1.6 | 1.9
Liver | 67 | 18.3 | 135.9 | 194.7 | 253.5 | 312.3 | 371.1
Chest | 278 | 51.1 | 131.1 | 171.1 | 211.1 | 251.1 | 291.1

## Table 4
Session_Session | Scanner/software combination_Scanner/software combination | Lesion position_anterior | Lesion position_septal | Lesion position_lateral | Lesion position_posterior | Unnamed: 6_level_0_Mean + sd
1 | Discovery NM 530c | 56.1 ± 2.4 | 47.5 ± 3.0 | 35.3 ± 2.8 | 32.8 ± 2.1 | 42.9 + 9.9
1 | InfiniaWBR | 43.4 ± 10.3 | 30.6 ± 5.7 | 29.4 ± 9.2 | 35.6 ± 5.1 | 34.7 + 8.5
1 | InfiniaFBP | 45.4 ± 2.8 | 33.6 ± 5.8 | 34.0 ± 4.4 | 25.6 ± 3.8 | 35.1 + 9.4
1 | Mean + sd | 48.5 + 8.4 | 38.7 + 9.1 | 32.8 + 6.5 | 31.7 + 5.5
2 | Discovery NM 530c | 12.8 + 4.6 | 13.0 + 7.7 | 10.2 + 5.3 | 11.2 + 4.7 | 11,8 + 5.8
2 | InfiniaWBR | 10.9 + 5.6 | 11.6 + 4.6 | 8.8 + 2.8 | 7.2 + 4.5 | 9.5 + 4.7
2 | InfiniaFBP | 13.5 + 3.9 | 8.2 + 4.5 | 10.4 + 3.6 | 6.7 + 2.8 | 9.8 + 4.5
2 | Mean + sd | 12.3 + 4.9 | 11.3 + 4.6 | 9.7 + 4.1 | 8.5 + 4.6

## Table 5
Scanner/software combination_Scanner/software combination | Activity concentration ratio R_1 | Activity concentration ratio R_1.5 | Activity concentration ratio R_2 | Activity concentration ratio R_2.5 | Activity concentration ratio R_3
Discovery NM 530c | 20.4 + 4.5 | 14.6 + 2.3 | 8.5 + 1.6 | 7.7 + 2.1 | 7.9 + 2.9
InfiniaWBR | 14.8 + 4.7 | 9.8 + 4.2 | 8.1 + 2.3 | 8.0 + 4.5 | 6.1 + 2.3
InfiniaFBP | 16.0 + 4.0 | 8.8 + 3.0 | 8.3 + 3.7 | 8.2 + 3.6 | 8.1 + 2.5
Mean ± sd | 17.2 + 5.0 | 11.3 + 4.1 | 8.3 + 2.5 | 7.8 + 3.4 | 7.3 + 2.7

## Freetext Data
Data | Value | Relevance
Minimal 99mTc rest-stress activity concentration ratio (R) to minimize ghosting | 2:1 | Relevant because the study aimed to determine the optimal R to minimize the ghosting effect in single-day stress-first myocardial perfusion imaging (MPI).
Delay between stress and rest studies in the experiment | 3 hours | Relevant because the study used this delay to simulate conditions and assess ghosting effects appropriately.
Impact of R values greater than 2:1 | No significant improvement in net contrast (NC) | Relevant because the study concludes that increasing R above 2:1 is unnecessary, which influences the recommended practice.
Reconstruction algorithms used | Filtered Back Projection (FBP), Wide Beam Reconstruction (WBR), Iterative 3D | Relevant because these methods impacted the evaluation of NC and the imaging quality in different scanner/software combinations.
Primary imaging equipment used | Infinia (General Electric), Discovery NM 530c with Alcyone technology | Relevant as the choice of equipment directly influenced the results regarding the optimal R and NC outcomes.
Position of the perfusion defect (PD) with higher NC | Anteroseptal regions | Relevant because the study found higher NC in anteroseptal positions, which affects the analysis of ghosting effects by position.
Rest-Stress activity ratio suggested by EANM guidelines | 3:1 | Relevant as it is the current recommendation that this study challenges by demonstrating evidence for a lower R ratio.
Change in net contrast (NC) from R=1 to R=2 | Significant decrease (17.2% to 8.3%) | Relevant as the study illustrated a marked difference in ghosting effect reduction within this R range.
Scanner/software combination with the highest NC | CZT-based camera (Discovery NM 530c) | Relevant because it highlights the impact of different imaging technologies on NC outcomes.
Limitations addressed regarding the validated delay | 3-hour delay may not reflect all clinical practices, such as 2-hour delays | Relevant as this limitation indicates the potential variability of the study’s findings under shorter delays in clinical settings.
Rationale for optimizing R | Reduce radiation exposure to patients and maintain image quality | Relevant because the study emphasizes balancing image quality with radiation safety in MPI protocols.
Goal of study design | Experimentally determine the minimal R required to minimize ghosting | Relevant as this directly aligns with the aim of identifying protocol changes that optimize patient outcomes.
Performance difference between solid-state and conventional cameras | Solid-state cameras showed higher NC, especially in posterior positions | Relevant as the study compares imaging efficacy between technologies to validate findings across setups.
Numeric activity concentrations of phantom LV wall and PD | Provided in Tables 2 and 3 | Relevant as these data illustrate experimental inputs critical to demonstrating NC variability with different R values.
Anthropomorphic phantom used | Chest phantom with inserts simulating lungs, liver, LV wall, LV inner chamber, and PD | Relevant as a phantom was used to simulate anatomical structures for controlled experimental conditions.
Simulated Perfusion Defect | Non-radioactive water to simulate 100% ischemic region | Relevant to evaluate the severity of ghosting effects in phantom imaging.
Stress and Rest Activity Ratio (R) | R values: 1.0, 1.5, 2.0, 2.5, and 3.0 | Relevant as different ratios were tested to identify the minimal R for optimal imaging.
Delay Between Stress and Rest Studies | 3 hours | Relevant for determining residual activity and ghosting effect over time.
Gamma Cameras Used | Infinia (General Electric) and Discovery NM 530c | Relevant as different imaging hardware was evaluated for NC differences.
Reconstruction Protocols | Filtered Back Projection (FBP) and Wide Beam Reconstruction (WBR) | Relevant as different software approaches were tested for imaging accuracy.
PD Positioning | Anterior, lateral, posterior, and septal LV walls | Relevant to study the variability of ghosting effects in different LV regions.
NC Calculation Method | Regions of interest (ROI) on LV wall and PD on reconstructed images | Relevant as it quantifies the imaging outcome directly related to the study aim.
Total Phantom Acquisitions | 80 acquisitions | Relevant to the experimental scale for assessing NC variability across conditions.
Controls | Blank study (homogeneous activity) for calibration | Relevant to establish a baseline for contrast normalization in experimental data.
Effective Half-Life Assumption | Time intervals for residual activity calculated using decay correction | Relevant to simulate realistic physiological activity decay.
Model Utilized | Anthropomorphic Phantom Model | The study utilized an anthropomorphic phantom model simulating myocardial perfusion, enabling a controlled environment to experimentally investigate stress and rest imaging.
Model Description | Static Phantom Model | This is relevant as the static nature of the model excluded potential physiological noise, making contrast measurements more reliable.
Phantom Compartments | Cardiac Insert with Simulated LV Wall, LV Chamber, Perfusion Defect (PD), Liver, Lungs, Mediastinum | Relevant because these compartments mimic the anatomy and radionuclide distribution critical for assessing the ghosting effect in MPI.
Approach to Ischemic Territory | Simulated Worst-case Ischemic Territory | Relevant as the model assumes a pathological extreme (100% ischemic under stress and normal under rest) to rigorously test crosstalk and ghosting effects in rest imaging.
Compartment Activity Dynamics | Effective Half-life Modeling Across Phantom Compartments | This detail explains how residual activity from stress imaging contributes to the next phase, central to optimizing the activity ratio.
Delay Between Protocol Phases | 3-hour Interval Between Stress and Rest Imaging | Relevant as the model quantified the cross-talk reduction efficacy within this timing, specifically optimizing the rest-to-stress activity ratio.
Scanner Types | Cadmium-Zinc-Telluride (CZT) Camera & Conventional Gamma Camera | Important to evaluate the model across different scanner technologies to generalize findings for clinical applications.
Reconstruction Algorithms | Filter-Back Projection (FBP) and Wide Beam Reconstruction (WBR) | Relevant for determining the role of image processing protocols on observed outcomes within the model.
Perfusion Defect Placement | Placement in Various Myocardial Wall Regions | This variation modeled physiological heterogeneity in perfusion defects, adding relevance to the clinical applicability of the findings.
Net Contrast Definition | Difference between Image Contrast and Blank Contrast | Relevant to link model performance with clinical outcome measures and justify the optimization criteria for activity ratios.
Rest-Stress Activity Ratio (R) | 2:1 | The paper experimentally determines that a 2:1 rest-stress activity ratio achieves the optimal reduction of the ghosting effect for single-day stress-first myocardial perfusion imaging with a 3-hour delay.
Delay between Stress and Rest Studies | 3 hours | The 3-hour delay was chosen to allow the decay of residual stress activity to minimize its contribution to the rest images, supporting the parameter estimation.
Gamma Cameras | Infinia and Discovery NM 530c (CZT-based) | These two gamma cameras, with different technologies, were used to acquire the images and estimate NC under varying rest-stress activity ratios (R).
Reconstruction Algorithms | Filtered Back Projection (FBP), Wide Beam Reconstruction (WBR), Iterative 3D | These algorithms were employed to reconstruct images and compare the net contrast (NC) for different conditions, affecting parameter estimation.
Effective Half-Lives | Modeled for each compartment | The decay of activity in each compartment after stress injection used effective half-lives to simulate residual activity, critical for estimating the ghosting effect.
Perfusion Defect (PD) Positions | Anterior, Lateral, Posterior, Septal | The positioning of the perfusion defects was systematically varied to evaluate its influence on NC and to estimate its role relative to other parameters.
Net Contrast (NC) | Derived from Short Axis Slice ROI data | NC was calculated to measure differences in image quality based on varying scanner/software combinations and rest-stress activity ratios, serving as the main outcome parameter.
Phantom Model | Anthropomorphic Phantom (Torso Phantom™ and Cardiac Insert™) | Used to simulate the myocardial perfusion imaging conditions under controlled parameters like R, PD locations, and scanners.
Administration Activity for Rest Phase | Twice the stress activity | Data showed that this lower R value is sufficient to minimize NC without unnecessary radiation, providing one of the study's estimated parameter values.
Body Attenuation Impacts on NC | Significant effect | Values were shown to differ significantly between anteroseptal and posterolateral wall regions, demonstrating the relevance of attenuation in estimating NC.
Scanner/Software Combination Effect on NC | CZT > Infinia/WBR ≈ Infinia/FBP | This comparison indicates a higher net contrast for CZT cameras, one of the estimated outcomes.
Guideline Recommended Activity Ratios | Common: 3:1 | The paper contests the guideline-recommended ratio and establishes an experimental base for the 2:1 estimation.
Overall Acquisition Counts | 4 Mc (Infinia) and 1.6 Mc (Discovery) | These acquisition parameters were relevant for ensuring consistency in the data used for NC estimation across different cameras.
Total Radiation Exposure | ~9-13.5 mSv in standard procedures | Used as a baseline to compare the potential dose reduction achieved with a lower R of 2:1, influencing parameter evaluation.
Position of PD Impact | Higher NC in anteroseptal vs. posterolateral positions | This specific PD-related data explains spatial variability in ghosting effect estimation.
LCPD Reduction with Time or Increasing R | R Values: 24.2% (1.0) to 9.6% (3.0) | LCPD values were calculated as intermediate parameters showing decreasing contrast with increasing R, supporting optimized R estimation.
Contrast Recovery Difference | Significantly higher in CZT gamma cameras | This parameter illustrates the distinct imaging performance between scanner types, critical for NC estimation.
Normalization Methods | Blank Phantom Study for BCPD Evaluation | This method was employed to isolate specific imaging effects and improve net contrast estimates for given parameters.
Scheffé Post Hoc Test on R | Significant differences up to R=2, not beyond | A statistical method used to validate that 2:1 is the optimal R, influencing parameter confidence.
Statistical Tests | Three-way ANOVA, Post Hoc Analysis | These were used to analyze parameter impacts on NC and confirm the significance of the experimental findings.
Activity concentration ratio R | A rest-stress ratio of 2 is sufficient to minimize ghosting in myocardial perfusion imaging. | Rest-stress activity ratio R directly influences the residual activity and cross-talk in rest imaging, affecting the pharmacokinetics of tracer distribution.
Residual activity from stress study | Residual stress activity decreases significantly with a 3-hour delay, impacting rest imaging. | Residual activity reflects the tracer pharmacokinetics over time due to biological and physical decay, essential in optimizing imaging protocols.
Effective half-times of compartments | Effective half-lives were used to calculate residual activity in phantom compartments. | Effective half-times are pivotal in modeling the kinetics of tracer decay, influencing ghosting effects and contrast.
Position of perfusion defect | Anteroseptal defects show higher NC than posterolateral defects. | Differences in NC among myocardial positions highlight the impact of physiological and anatomical factors on tracer distribution pharmacokinetics.
Scanner and reconstruction protocol | Solid-state cameras showed higher perfusion defect contrast, independent of activity ratios. | Camera type and reconstruction protocols affect image contrast and thus the pharmacokinetic assessment of radiotracer uptake and distribution.
Delay between stress and rest studies | A 3-hour delay was used to simulate reduced residual tracer activity. | The time delay influences tracer clearance kinetics and redistribution, aligning imaging with optimized pharmacokinetics.
Design of anthropomorphic phantom | Phantom compartments were filled based on standardized tracer activity to simulate physiological conditions. | Ensures consistency in evaluating tracer pharmacokinetics across different imaging settings and scenarios.
Radiation dose reduction | Lower activity ratio (2:1) reduces patient radiation dose without loss of diagnostic quality. | Lowering the activity ratio adjusts tracer pharmacokinetics to achieve diagnostic imaging with lower radiation exposure to the patient.