## Table 1
Authors | Acid | Concentration (M) | Reaction Time (min) | Temp (°C)
Li et al. [19] | sulfuric | 0.08–0.1 | 10 | room
Jansson et al. [20] | sulfuric | 1 | 15–20 | room
Gobin et al. [21] | sulfuric | 0.5 | 60 | room
Gikas et al. [18] | sulfuric | 0.5 | 60 | room
Mercier et al. [22] | sulfuric | 1 | 30 | room
Zhao et al. [15] | sulfuric | 0.5 | 15 | room
Bihan et al. [16] | sulfuric | 1 | 60 | room

## Table 2
Analyte (μg mL−1) | Accuracy *(n = 3, %Error) | Repeatability * (n = 3, %RSD) | Intermediate Precision (%RSD) | Autosampler Stability (n = 3, %RSD) | Benchtop Stability (n = 3, %RSD) | Robustness (n = 3, %RSD)
CSA
1.81 | <6.15 | <3.71 | 1.86 | 2.78 | 3.45 | <4.45
2.41 | <1.41 | <2.55 | 1.28
3.61 | <11.05 | <5.61 | 9.07 | 1.15 | 3.12 | <3.12
4.82 | <4.71 | <1.73 | 4.23
6.02 | <2.26 | <5.14 | 3.44
6.62 | <3.21 | <5.42 | 3.58 | 1.96 | 2.95 | <2.14
CSB
4.19 | <1.71 | <5.71 | 5.16 | 2.53 | 3.56 | <4.27
5.59 | <1.68 | <3.80 | 2.48
8.39 | <2.02 | <4.39 | 5.59 | 1.84 | 3.78 | <2.95
11.18 | <5.33 | <2.55 | 2.13
13.98 | <5.07 | <3.82 | 2.93
15.38 | <4.61 | <4.85 | 3.71 | 1.69 | 3.17 | <1.97
CMS
2 | <11.01 | <5.41 | 5.96
6 | <13.21 | <5.71 | 5.74 | 2.35 | 7.54 | <4.12
8 | <7.91 | <4.27 | 5.06
12 | <4.79 | <4.54 | 5.98 | 1.87 | 5.58 | <4.05
16 | <4.71 | <3.84 | 2.30
20 | <1.53 | <1.85 | 1.29
22 | <0.40 | <0.53 | 0.37 | 2.56 | 5.87 | <3.94
| LOD (μg mL−1) |  | LOQ (μg mL−1)
CSA | 0.29 |  | 0.88
CSB | 1.38 |  | 4.18
CMS | 1.92 |  | 5.83

## Table 3
Temp (°C) | kt (min−1) | t1/2 (0.693/K) (min)
20 * | 0.0003 | 2310
40 ** | 0.0146 | 47.47
50 ** | 0.0709 | 9.78
60 ** | 0.4485 | 1.55

## Freetext Data
Data | Value | Relevance
Rate constant of CMS at 40°C | 0.0146 min−1 | Relevant because it helps define the hydrolysis reaction at a specific temperature, which is crucial for determining CMS degradation kinetics.
Rate constant of CMS at 50°C | 0.0709 min−1 | Relevant because this value is essential in modeling the reaction kinetics at elevated temperatures and comparing reaction rates at different conditions.
Rate constant of CMS at 60°C | 0.4485 min−1 | Relevant because it establishes the fast hydrolysis of CMS at high temperatures, which is critical for ensuring complete conversion to CS in analysis.
Activation energy (Ea) of CMS hydrolysis | 148,230 J mol−1 | Relevant as it provides the energetic barrier necessary for the degradation reaction, supporting accurate kinetic modeling via Arrhenius equations.
Half-life (t1/2) of CMS at 40°C | Not provided but derived with other data | Relevant for understanding time dynamics of CMS degradation under mild conditions, useful for designing experimental protocols.
Half-life (t1/2) of CMS at 50°C | Not provided but derived with other data | Relevant for pragmatically calculating exposure times to fully hydrolyze CMS during clinical or research analysis procedures.
Half-life (t1/2) of CMS at 60°C | 10 min approx (total hydrolysis time) | Relevant as it establishes optimized hydrolysis time for complete CMS conversion, enhancing measurement accuracy.
Hydrolysis conditions for complete degradation of CMS | 0.5 M sulfuric acid at 60°C for 10 min | Relevant because this defines the conditions needed for full conversion of CMS to CS, crucial for accurate CMS quantification.
CMS hydrolysis methodology effect on plasma analysis | Partial hydrolysis at room temperature underestimated CMS levels | Relevant because it highlights how hydrolysis conditions impact plasma sample analysis and quantitation.
Validated chromatography parameters for UPLC | BEH C8 column, 0.1% formic acid as eluent | Relevant for method validation supporting robust separation and quantitation of CMS and CS in samples.
Application to plasma | Method verified unhydrolyzed CMS upon acidic hydrolysis at 20­°C | Relevant as it confirms the implications on pharmacokinetics studies and toxicological assessments.
Accuracy of methodology for CSA | % error from nominal values presented as low. | Relevant in enabling precision modeling towards burst-rate/extraction quantitation traceability in spiked human contexts etc.
Plasma samples | Spiked plasma samples with CMS | Relevant because plasma was used in the study to monitor CMS hydrolysis kinetics in the presence of sulfuric acid.
PK study method | Indirect CMS determination post-hydrolysis | Relevant because the study's design focused on understanding CMS pharmacokinetics through its breakdown to CS in plasma samples.
CMS levels | Aimed for spiked levels of 20 μg mL−1 and 60 μg mL−1 | Relevant because these levels were selected to mimic anticipated CMS concentrations in patients after specific dosing protocols (routine and loading).
Sampling size description | Human plasma samples, 50 μL each, drug-free | Relevant because the study utilized plasma volumes indicative of typical pharmacokinetic experimental designs but specific patient sample sizes weren't provided.
Hydrolysis validation | Method tested in human plasma for verification | Relevant because plasma hydrolysis experiments were done to validate CMS degradation patterns applicable to PK study aims.
Sampling time points | 2 min intervals first 10 min; 10 min onwards | Relevant because the study outlined temporal sampling to capture rapid and steady-state kinetics.
Temperature study | Hydrolysis monitoring at different temperatures (20 °C to 60 °C) | Relevant because understanding drug persistence and breakdown kinetics at varying conditions contributes to PK insights.
Patient population described | Not indicated in the study | Relevant to acknowledge that this study used human plasma samples but did not specify characteristics of a patient cohort for PK analysis.
CMS degradation model | First-order for the first 10 minutes | Relevant because the study develops a reaction model indicating CMS hydrolysis follows first-order kinetics initially.
Hydrolysis extended model | Combination of reaction orders | Relevant because this expanded model captures the comprehensive degradation pattern beyond the initial phase.
Simulation software | Tenua—the kinetics simulator for Java 2.1 | Relevant because the software modeled CMS hydrolysis kinetics to refine the degradation model.
Rate constants | Calculated at various temperatures | Relevant because rate constants inform the dynamic model transition and compartmental interaction.
Arrhenius plot | Used for temperature dependence of rate constants | Relevant as it provides details on kinetic modeling and chemical activation modeling within compartments.
CMS degradation temperature | 40 °C, 50 °C, 60 °C | These temperatures are relevant for studying the hydrolysis of CMS using accelerated conditions to optimize the reaction.
Rate constant kt (40 °C) | 0.0146 min−1 | This parameter was estimated using experimental data and is crucial for understanding the hydrolysis kinetics of CMS at this temperature.
Rate constant kt (50 °C) | 0.0709 min−1 | This value reflects faster CMS degradation and indicates temperature dependence, estimated from kinetic modeling via Tenua.
Rate constant kt (60 °C) | 0.4485 min−1 | This value shows substantial hydrolysis acceleration at higher temperature, analyzed using input to Tenua software.
Activation energy Ea | 148,670 J mol−1 (Arrhenius plot), 148,230 J mol−1 (Tenua modeling) | These parameters estimate the energy required for CMS hydrolysis and quantify temperature dependency derived from experiments and theoretical modeling.
Initial sulfuric acid concentration | 0.5 M | This concentration is critical for hydrolysis and was chosen based on prior methodologies.
t1/2 for CMS degradation at 40 °C | 59.6 min | This parameter was calculated using kinetic models to quantify the hydrolysis rate.
t1/2 for CMS degradation at 50 °C | 9.9 min | Represents significant hydrolysis acceleration and was derived from experimental data interpreted via Tenua.
t1/2 for CMS degradation at 60 °C | 1.5 min | Demonstrates rapid hydrolysis at high temperature, estimated through simulations and experiments.
CMS remaining after hydrolysis (40 °C) | 50% | Quantifies the extent of reaction under these conditions, calculated from experimental data.
CMS remaining after hydrolysis (50 °C) | 30% | Indicates incomplete hydrolysis at this intermediate temperature, derived from experimental plots.
CMS remaining after hydrolysis (60 °C) | <10% | Suggests near-complete hydrolysis under optimal conditions, validated experimentally and theoretically.
CMS content in pharmaceutical products | Approximately 80 mg in 1 MIU vial | Estimated following European Medicines Agency guidelines for quality control purposes.
Arrhenius pre-exponential factor | lnA constant | Associated with the reaction modeling from temperature-dependent kinetic theory using the Arrhenius equation.
Calibration range for CMS and CS | 2 to 22 μg mL−1 | Parameters for experimental quantitation derived from standardized calibration curves.
LOQ for CMS | 5.83 μg mL−1 | Estimated as the limit for accurate quantitative measurements, critical for pharmacokinetics studies.
LOD for CMS | 1.92 μg mL−1 | Identified as the detection threshold to ensure reliable measurements across experimental setups.
Calibration equations | y = 130.1(±2.6)x − 195.3(±12.1) for CSA; y = 125.2(±5.1)x − 372.8(±55.0) for CSB; y = 1.425(±0.285)x² + 20.97(±7.19)x + 131.6(±37.0) for CMS | Standardized equations for accurate CMS and CS quantitation, derived from experimental calibration.
Chemical Structure of CMS | CMS components differ in the degree of sulfomethylation and substitution of amine groups. | Variations in CMS structure influence pharmacokinetics by altering plasma concentration of active colistin.
CMS Hydrolysis by Acid | CMS is hydrolyzed by sulfuric acid to its active form, colistin (CS). | Incomplete hydrolysis impacts accurate measurement of CMS pharmacokinetics as residual CMS can lead to underestimation.
Temperature Effect on Hydrolysis | Complete hydrolysis requires 0.5 M sulfuric acid at 60 °C. | Temperature impacts pharmacokinetic studies by determining accurate CMS conversion rates for plasma concentration assessment.
Sulfuric Acid Concentration | 0.5 M is optimal for hydrolysis. | Influences the extent and rate of CMS activation to CS, critical for dosage and therapeutic regimen.
Duration of Hydrolysis | Complete CMS hydrolysis achieved within 10 min at 60 °C. | The reaction time frame affects pharmacokinetic data precision and CMS quantitation.
Ratio of CSA to CSB | Different batches show variability in CSA and CSB ratio (30.1% and 69.9%). | Inter-batch variability impacts the consistency of pharmacokinetics in therapeutic use.
Matrix Effect in Plasma | Plasma matrix can interfere with direct CMS quantitation. | Defines a barrier in pharmacokinetic studies, requiring adjusted methodologies for accurate CMS measurement.
Activation Energy Calculated | 148,670 J mol−1 | Energy requirement relates to the efficiency of CMS hydrolysis, thus influencing pharmacokinetics modeling.
CSA and CSB Stability | CSA and CSB are stable under experimental conditions. | Ensures pharmacokinetic results are not artifactually skewed by degradation of active forms.
CMS Hydrolysis Completion at 60°C | <10% CMS remains active after reaction at 60 °C. | Pharmacokinetic factor ensuring all CMS converts to active CS for measurement accuracy.