## Table 1
0 | 1 | 2 | 3
Lidocaine | Lidocaine | Lidocaine | Lidocaine
Theoretical Conc.(ng/mL) | Measured Conc.(Mean ± S.D., ng/mL) | Precision (CV, %) | Accuracy (%)
Inter-day
1 | 1.07 ± 0.07 | 6.90 | 107.35
3 | 3.17 ± 0.14 | 4.27 | 105.78
80 | 79.81 ± 9.33 | 11.68 | 99.77
400 | 370.68 ± 7.55 | 2.04 | 92.67
Intra-day
1 | 0.99 ± 0.14 | 13.94 | 98.80
3 | 3.03 ± 0.15 | 5.09 | 100.99
80 | 77.47 ± 3.19 | 4.11 | 96.83
400 | 367.38 ± 18.42 | 5.01 | 91.85
MEGX | MEGX | MEGX | MEGX
Theoretical Conc.(ng/mL) | Measured Concentration(Mean ± S.D., ng/mL) | Precision (CV, %) | Accuracy (%)
Inter-day
1 | 0.97 ± 0.09 | 9.14 | 96.70
3 | 3.11 ± 0.17 | 5.47 | 103.61
80 | 82.95 ± 4.82 | 5.81 | 103.69
400 | 356.84 ± 8.01 | 3.98 | 89.21
Intra-day
1 | 1.00 ± 0.10 | 9.72 | 99.50
3 | 3.12 ± 0.17 | 5.55 | 104.14
80 | 77.87 ± 9.48 | 12.17 | 97.34
400 | 370.94 ± 33.10 | 8.92 | 92.73
GX | GX | GX | GX
Theoretical Conc.(ng/mL) | Measured Conc.(Mean ± S.D., ng/mL) | Precision (CV, %) | Accuracy (%)
Inter-day
1 | 1.09 ± 0.05 | 4.70 | 108.76
3 | 3.07 ± 0.25 | 8.03 | 102.35
80 | 79.93 ± 5.58 | 6.98 | 99.91
400 | 402.79 ± 16.76 | 4.16 | 100.70
Intra-day
1 | 1.03 ± 0.09 | 8.21 | 103.62
3 | 3.00 ± 0.11 | 3.82 | 100.02
80 | 78.70 ± 8.71 | 11.07 | 98.38
400 | 421.79 ± 37.28 | 8.84 | 105.45

## Table 2
Model | Model Description | −2LL | AIC | BIC
100 | One compartment model with zero-order absorption | 2055.87 | 2071.87 | 2094.63
101 | One compartment model with first-order absorption | 2030.97 | 2046.97 | 2069.66
102 | One compartment model with first-order absorption with lag time | 2042.75 | 2062.75 | 2091.11
103 | One compartment model with first-order and zero-order absorption | 2049.48 | 2073.48 | 2102.65
104 | One compartment model with transit model absorption | 2042.76 | 2066.76 | 2100.79
105 | One compartment model with zero-order and transit model absorption | 2032.19 | 2064.19 | 2109.57
106 | One compartment model with combined first-order and transit model absorption | 2026.92 | 2058.92 | 2104.3
200 | Two compartment model with first-order absorption | 2028.62 | 2052.62 | 2081.84
201 | Two compartment model combined first-order and transit model absorption | 2019.79 | 2059.79 | 2121.83
202 | Two compartment model combined first-order and transit model absorption with non-linear clearance using Michaelis-Menten equation | 2015.44 | 2059.44 | 2116.52

## Table 3
Group | Compound | Half-life (h) | Cmax or Co (ng/mL) | Tmax (h) | AUCinf (h × ng/mL)
Group 1 | Lidocaine | 1.34 (0.06) | 6710.62 (2089.38) | - | 1228.75 (87.41)
(0.3% solution, IV) | MEGX | 0.88 (0.16) | 197.49 (177.72) | 0.25 (0.11) | 97.38 (29.15)
(0.3% solution, IV) | GX | 2.58 (0.03) | 61.78 (22.44) | 0.33 (0.24) | 1786.53 (32.59)
Group 2 | Lidocaine | 1.44 (0.07) | 542.48 (102.20) | 0.61 (0.24) | 856.03 (82.67)
(0.3% solution, SC) | MEGX | 1.60 (0.32) | 11.77 (11.08) | 0.78 (0.39) | 27.23 (16.80)
(0.3% solution, SC) | GX | 3.19 (0.11) | 14.71 (4.52) | 2.00 (0) | 108.14 (47.37)
Group 3 | Lidocaine | 1.20 (0.13) | 1204.21 (535.43) | 0.58 (0.20) | 2588.77 (847.10)
(LHA 0.3%, SC) | MEGX | 0.98 (0.35) | 80.03 (80.50) | 0.81 (0.24) | 197.19 (219.90)
(LHA 0.3%, SC) | GX | 2.81 (0.89) | 44.87 (29.13) | 3.00 (1.16) | 270.83 (102.72)
Group 4 | Lidocaine | 0.94 (0.22) | 2034.27 (616.60) | 0.54 (0.24) | 3088.04 (267.43)
(LHA 1%, SC) | MEGX | 0.75 (0.35) | 132.13 (95.55) | 0.75 (0.20) | 295.73 (177.43)
(LHA 1%, SC) | GX | 1.64 (0.92) | 143.95 (21.66) | 2.67 (1.15) | 1442.35 (1533.06)
Group 5 | Lidocaine | 1.52 (0.19) | 6332.16 (2168.15) | 1.44 (0.66) | 22470.67 (5474.96)
(LHA 3%, SC) | MEGX | 1.12 (0.22) | 469.36 (266.15) | 2.25 (1.26) | 1979.03 (1477.58)
(LHA 3%, SC) | GX | 4.05 (0.65) | 424.31 (155.67) | 4.00 (0) | 3811.32 (1839.31)

## Table 4
Parameter (Unit)_Parameter (Unit) | Definition_Definition | Estimate_Estimate | CV (%)_CV (%) | Bootstrap 95% CI_(Lower, Upper)
Fixed effect | Fixed effect | Fixed effect | Fixed effect | Fixed effect
Ka1 (h−1) | Absorption rate constant of first-order absorption | 5.92 | 12.97 | (5.19, 6.64)
V1/F (L) | Apparent volume of distribution of compartment 1 | 2.57 | 13.66 | (2.23, 2.89)
V2/F (L) | Apparent volume of distribution of compartment 2 | 0.07 | 3.22 | (0.06, 0.07)
CLd/F (L/h) | Inter-compartmental Clearance | 0.13 | 0.37 | (0.1323, 0.1332)
Fr | Fraction of the dose absorbed by first-order absorption | 0.373 | 1.19 | (0.371, 0.374)
MTT (h) | Mean Transit Time | 0.64 | 11.35 | (0.57, 0.70)
Ntr | Number of transit compartments | 4.97 | 0.17 | (4.96, 4.98)
Ka2(h−1) | Absorption rate constant from the final transit compartment to the central compartment | 1.67 | 4.73 | (1.59, 1.74)
Vmax (nmol/h) | Maximum rate of reaction | 423962.94 | 10.05 | (383,479.15, 464,446.73)
Km (nmol/L) | Michaelis-Menten constant | 136808.67 | 18.62 | (112,613.9, 161,003.44)
CLm1/F (L/h) | Apparent Metabolite (MEGX) clearance | 14.94 | 15.31 | (12.76, 17.11)
Fm1 | Fraction of the parent converted to first metabolite | 0.65 | 1.06 | (0.644, 0.646)
CLm2/F (L/h) | Apparent Metabolite clearance | 1.09 | 4.58 | (1.04, 1.14)
Fm2 | Fraction of the first metabolite converted to second metabolite | 0.47 | 13.67 | (0.46, 0.47)
Random effects | Random effects | Random effects | Random effects | Random effects
ω V | IIV of V | 0.13 | 9.23 | (0.127, 0.152)
ω CLd | IIV of CLd | 0.19 | 6.84 | (0.181, 0.208)
ω Vmax | IIV of Vmax | 0.08 | 7.50 | (0.077, 0.089)
ω Km | IIV of Km | 0.17 | 7.06 | (0.159, 0.183)
ω CLm1 | IIV of CLm | 0.38 | 6.84 | (0.350, 0.402)
ω CLm2 | IIV of CLm2 | 0.23 | 6.96 | (0.216, 0.248)
Residual error | Residual error | Residual error | Residual error | Residual error
ε1 | Proportional error of Lidocaine | 0.49 | 2.02 | (0.485, 0.504)
ε2 | Proportional error of MEGX | 0.58 | 3.20 | (0.562, 0.597)
ε3 | Proportional error of GX | 0.41 | 3.99 | (0.399, 0.430)

## Freetext Data
Data | Value | Relevance
Linearity range | 1–500 ng/mL | This range corresponds to the calibration curve for lidocaine, MEGX, and GX used to ensure reliable PK analysis.
Correlation coefficient (r2) | >0.99 | Indicates excellent linearity of the bioanalysis method, directly relevant for accurate PK modeling.
Dose-normalized Cmax for Group 2 (0.3% lidocaine SC solution) | 135.62 ± 25.55 ng/mL | Provides a baseline for comparing PK differences against LHA-lidocaine formulations.
Dose-normalized Cmax for Group 3 (0.3% LHA) | 144.31 ± 66.55 ng/mL | Critical for evaluating the impact of hyaluronic acid on lidocaine PK properties.
Dose-normalized AUCinf for Group 2 (0.3% lidocaine SC solution) | 214.01 ± 20.67 ng×h/mL | Establishes a reference for systemic drug exposure due to SC injection.
Dose-normalized AUCinf for Group 3 (0.3% LHA) | 310.69 ± 108.57 ng×h/mL | Helpful in assessing systemic exposure when lidocaine is combined with HA.
Retention time of lidocaine in LC-MS/MS | 3.5 min | Essential for confirming the specific detection conditions used in pharmacokinetic measurements.
Tested administration types | IV and SC | Key to understanding the differing drug profiles between direct intravenous application and subcutaneous LHA.
Lidocaine Tmax for Group 3 (0.3% LHA) | Approx. 0.75 h | Relevant in comparing absorption rates between SC solutions and LHA formulations.
Metabolite Tmax for MEGX (Group 3) | Close to 0.75 h | Confirms the rapid metabolism of lidocaine to MEGX, relevant in PK modeling.
Fm1 (Lidocaine to MEGX fraction) | ~64% | Demonstrates metabolic conversion rates, critical for understanding active metabolite behavior.
Fm2 (MEGX to GX fraction) | ~47% | Highlights the secondary metabolic conversion necessary for metabolite profiling.
Sampling time range | 0–12 h | Defines the temporal scope for plasma concentration measurements essential in building the PK model.
Km for Lidocaine clearance (SC LHA) | 136.81 µM | Provides insight into the MM-mediated non-linear clearance under LHA conditions.
Bioanalysis plasma volume used | 50 µL | Relevant in reducing sample requirements while maintaining analytical accuracy.
Bootstrap validation iterations | 1000 datasets | Demonstrates the reliability and robustness of the PK model validation.
Rat strain used | Male Sprague-Dawley | Relevant for extrapolating results to species with similar lidocaine metabolism kinetics.
Injection volume for SC solutions | Adjusted to avoid toxicity | Highlights safety adjustments in the experiment's design for ethical and practical reasons.
Visual predictive check (VPC) status | Successful model prediction | Confirms that the final PK model aligns well with observed data trends.
Michaelis-Menten clearance justification | Plasma concentrations >10% of Km during absorption | Supports the choice of MM for lidocaine PK modeling under certain dosing scenarios.
Final model validation approach | Goodness-of-fit plots and bootstrap | Indicates the strength of statistical and data-fit validation methods applied in the study.
Disease relevance | Human-rat similarities in lidocaine metabolism | Discusses how findings could apply to human clinical settings for safety assessment.
Sample Size | 25 male Sprague-Dawley rats | Relevant as it specifies the population used for the PK study.
Animal Weight Range | 342 to 370 g | Important to describe the characteristics of the sample population.
Housing Conditions | Ventilated room, temperature 23 ± 2 °C, relative humidity 50 ± 10%, 12-hour light/dark cycle | Relevant to understand the controlled environment for the study.
Cage Placement | Two rats per cage | Relevant to describe housing conditions of the sample population.
Acclimation Period | One week | Relevant as it ensures the animals were adjusted to their new environment before the study.
Drug Administration Groups | Five groups: two groups receiving 0.3% lidocaine solution intravenously and subcutaneously; three groups receiving 0.3%, 1%, or 3% LHA subcutaneously | Highlights the structure of the study design and dosing groups.
Blood Sampling Time Points | 0.17, 0.33, 0.50, 0.75, 1, 2, 4, 8, and 12 hours after administration | Relevant as it defines the temporal sampling strategy for PK data collection.
Blood Processing | Collected via jugular veins into heparinized tubes and centrifuged immediately | Essential to understand the sampling and storage method affecting data integrity.
Storage Conditions | Plasma samples stored at −80 °C | Relevant to maintain sample stability for accurate analysis.
Rat Age | 8–12 weeks | Relevant as age can influence pharmacokinetics and ensures the use of an appropriate age range.
IACUC Approval | IACUC190041, 30 January 2019, CHA University | Relevant to confirm ethical compliance in animal study protocols.
Drug Delivery Volumes | Approximately 0.5 mL for 0.3% lidocaine solution and 1 mL for LHA | Relevant for detailing the administered doses for intravenous and subcutaneous groups.
Time Frame for Sampling | 12 hours post-administration | Relevant since it ensures temporal coverage for pharmacokinetic profiling.
Nominal Sampling Time Justification | Set considering previously reported half-life of lidocaine (1.2 ± 0.3 h) | Relevant for the rationale behind the sampling time points selection.
Two-compartment model | The lidocaine PK characteristics were best captured by a two-compartment model | This model was selected as the optimal one to describe the observed bi-exponential decay of lidocaine plasma concentration after SC administration of LHA, which is central to evaluating its pharmacokinetic behavior.
Combined first-order and transit absorption | The two-compartment model incorporated combined first-order and transit absorption | It captured the multiple absorption peaks observed with lidocaine plasma concentration after SC LHA administration, enhancing the accuracy of PK modeling.
Michaelis-Menten and first-order elimination kinetics | Lidocaine clearance was described by a combination of Michaelis-Menten (non-linear) and first-order elimination kinetics | This reflects the non-linear elimination of lidocaine at higher plasma levels due to enzyme metabolism saturation, crucial for understanding its pharmacokinetics.
Parent-metabolite modeling | Two one-compartment models were consecutively added to the parent model to represent its metabolites, MEGX and GX | This allowed simultaneous evaluation of lidocaine and its metabolites' pharmacokinetics, providing a comprehensive understanding of the drug and its active byproducts.
Non-linear Mixed Effect Modeling (NLME) | NLME was utilized for parameter estimation using various diagnostic and goodness-of-fit criteria | NLME modeling was necessary for building a predictive PK model of lidocaine and its metabolites after different formulations and routes of administration.
Half-life (IV Lidocaine Group) | 1.2 ± 0.3 hours | The half-life parameter was used to design the sampling timeline, showing typical elimination behavior for lidocaine in rats.
Half-life (SC Lidocaine Solution Group) | Bi-exponential decay observed | Indicates two-compartment behavior typical for lidocaine pharmacokinetics, which guided model choice.
Cmax (IV Lidocaine Group) | 1677.66 ± 522.35 ng/mL (dose-normalized) | Describes the peak plasma concentration for IV administration; provides baseline for comparison with SC and LHA injections.
AUCinf (IV Lidocaine Group) | 307.19 ± 21.80 ng×h/mL (dose-normalized) | Area under the curve for IV injection serves as a reference to evaluate the effect of SC and LHA formulations.
Cmax (SC Lidocaine Solution Group) | 135.62 ± 25.55 ng/mL (dose-normalized) | Peak concentration in SC administration shows slower absorption compared to IV, relevant for absorption modeling.
AUCinf (SC Lidocaine Solution Group) | 214.01 ± 20.67 ng×h/mL (dose-normalized) | Indicates systemic exposure post-SC administration and serves as a comparison for LHA formulations.
Cmax (0.3% LHA Group) | 144.31 ± 66.55 ng/mL (dose-normalized) | Peak concentration for 0.3% LHA injection enables assessment of absorption and release profiles provided by HA interaction.
AUCinf (0.3% LHA Group) | 310.69 ± 108.57 ng×h/mL (dose-normalized) | Overall exposure provides insight into the pharmacokinetic effect of 0.3% lidocaine in HA compared to solutions.
Cmax (1% LHA Group) | 71.93 ± 19.72 ng/mL (dose-normalized) | Reflects drug release kinetics in larger concentrations of lidocaine within LHA matrix.
AUCinf (1% LHA Group) | 111.20 ± 12.03 ng×h/mL (dose-normalized) | Shows systemic lidocaine exposure at higher LHA concentrations, signifying no major PK alteration.
Cmax (3% LHA Group) | 76.64 ± 27.45 ng/mL (dose-normalized) | Peak concentration for 3% lidocaine manifests delayed release behavior but no toxic levels.
AUCinf (3% LHA Group) | 271.42 ± 68.15 ng×h/mL (dose-normalized) | Area under the curve at higher doses confirms absorption differences without significant PK changes.
Fm1 | 0.64 (64%) | Fraction of lidocaine metabolized to MEGX; underscores rapid metabolic processes incorporated into the model.
Fm2 | 0.47 (47%) | Fraction of MEGX metabolized to GX, helping to understand metabolite dynamics during PK evaluation.
Km | 136.81 µM | Estimated from the pharmacokinetic model for Michaelis–Menten clearance of lidocaine, supporting non-linear elimination behavior.
Elimination Rate (First Order) | Estimated alongside MM clearance | First-order elimination was combined with Michaelis–Menten to account for both linear and non-linear elimination patterns.
Goodness-of-Fit | Diagnostic Plots | Residual errors and concentration predictions justify the model's reliability in capturing the lidocaine PK dynamics.
Bootstrap Results | Within 95% CI of PK Estimates | Validation of PK parameters ensures robustness of the developed pharmacokinetic modeling approach.
--- | --- | ---
Route of Administration | Intravenous (IV) and Subcutaneous (SC) | Relevance: The study compared pharmacokinetics of lidocaine based on different administration routes, highlighting their influence on drug absorption and elimination.
Formulation | Lidocaine solution (0.3%) and hyaluronic acid filler containing lidocaine (0.3%, 1%, 3%) | Relevance: Shows the influence of formulation type on lidocaine's pharmacokinetics, particularly related to its encapsulation in LHA.
Absorption Model | Combined first-order and transit absorption model | Relevance: This model accounts for observed multi-peak behavior in the absorption phase, suggesting formulation effects on lidocaine's pharmacokinetics.
Elimination Model | Michaelis–Menten (MM) clearance with first-order elimination | Relevance: Different clearance mechanisms were employed to accurately capture lidocaine’s elimination, especially at higher doses found in LHA injections, indicating dose-dependent pharmacokinetics.
Enzyme Metabolism | Cytochrome P450-mediated metabolism | Relevance: Demonstrates an intrinsic factor affecting lidocaine's pharmacokinetics, emphasizing enzymatic pathways are critical for metabolizing the drug into MEGX and GX.
Species | Sprague-Dawley rats used | Relevance: The animal model influences pharmacokinetics due to species-specific metabolism, with findings extrapolated to human applications cautiously.
Dose Dependence | Exponential increase in AUC with increasing dose of lidocaine in LHA | Relevance: Indicates non-linear pharmacokinetics at higher lidocaine concentrations, a critical factor in dose-related effects.
Metabolite Conversion Fractions | ~64% of lidocaine converted to MEGX, ~47% MEGX to GX | Relevance: Indicates metabolic pathway efficiency impacting pharmacokinetic profiles of active metabolites.
Age and Sex of Animals | Male Sprague-Dawley rats (8–12 weeks) | Relevance: Biological variables like age and sex of rats could influence pharmacokinetics outcomes.
Administered Volume | 0.5 mL for 0.3% lidocaine solution; 1 mL for LHA injections | Relevance: Administration volume differences affect drug absorption and distribution characteristics.
Injected Lidocaine Dose | 4 mg/kg for solution (IV/SC); 3, 10, 30 mg/kg for LHA (SC) | Relevance: Dose level is a determinant for pharmacokinetics with implications on Cmax and AUC differences across formulations.
Plasma Concentration Trends | Bi-exponential decay post-SC administration of LHA | Relevance: Observed plasma profiles influence the chosen two-compartment model, reflecting distribution and elimination characteristics of lidocaine influenced by LHA formulation.
Conversion Dynamics | Rapid conversion of lidocaine into MEGX within first hours | Relevance: Emphasizes the temporal impact of metabolism on pharmacokinetics after administration.
Species Similarity with Humans | Rats share great similarity in lidocaine metabolic pathways | Relevance: Justifies use of rat model for studying lidocaine pharmacokinetics and potential human extrapolation.
Repeated Peaks Observed | Multiple peaks were seen for SC administration | Relevance: Points to complex absorption kinetics due to LHA formulations indicating delayed or varied release of lidocaine.
Km Value | In vivo estimate for metabolism to MEGX: 136.81 µM | Relevance: Indicates enzyme saturation kinetics influence on pharmacokinetics for metabolism-dependent clearance.