## Table 1
0 | 1
The PCR reaction mixture (per reaction)
2x ddPCR Supermix for Probes (No dUTP) | 11 μL
Primer [2 μmol/L (final conc. 100 nmol/L)] | 1.1 μL
Probe [2 μmol/L (final conc. 100 nmol/L)] | 1.1 μL
Restriction enzyme mix 10 U/μL | 0.55 μL
H2O | 3.85 μL
CAR-T transgene plasmid or QC sample | 4.4 μL
Total | 22 μL

## Table 2
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| (A) | Exo-gene HIS3 (copy/μL) | Exo-gene HIS3 (copy/μL) | Exo-gene HIS3 (copy/μL) | Exo-gene HIS3 (copy/μL) | Recovery (%) | (B) | Exo-gene LEU2 (copy/μL) | Exo-gene LEU2 (copy/μL) | Exo-gene LEU2 (copy/μL) | Exo-gene LEU2 (copy/μL) | Recovery (%)
| (A) | Pre-spike | Pre-spike | Post-spike | Post-spike | Recovery (%) | (B) | Pre-spike | Pre-spike | Post-spike | Post-spike | Recovery (%)
| (A) | Mean | S.D. | Mean | S.D. | Mean | (B) | Mean | S.D. | Mean | S.D. | Mean
1% Mouse blood | LQC | 5.4 | 2.0 | 6.9 | 0.5 | 78.4 | LQC | 9.9 | 3.0 | 9.0 | 1.1 | 109.6
1% Mouse blood | MQC | 49.8 | 5.3 | 60.6 | 0.8 | 82.2 | MQC | 80.2 | 22.5 | 80.3 | 2.6 | 99.9
1% Mouse blood | HQC | 430.3 | 21.8 | 540.3 | 12.7 | 79.6 | HQC | 635.0 | 104.9 | 752.7 | 27.7 | 84.4
5% Mouse blood | LQC | 4.2 | 0.3 | 5.9 | 0.8 | 71.3 | LQC | 7.1 | 1.2 | 8.2 | 1.4 | 86.9
5% Mouse blood | MQC | 43.1 | 4.4 | 61.7 | 0.5 | 69.8 | MQC | 64.0 | 5.0 | 83.5 | 3.8 | 76.7
5% Mouse blood | HQC | 385.7 | 8.3 | 568.0 | 8.7 | 67.9 | HQC | 515.0 | 14.4 | 769.3 | 4.5 | 66.9
10% Mouse blood | LQC | 4.4 | 0.3 | 6.2 | 0.9 | 70.1 | LQC | 5.1 | 1.2 | 7.9 | 0.8 | 63.9
10% Mouse blood | MQC | 39.6 | 2.5 | 61.7 | 1.3 | 64.2 | MQC | 51.0 | 1.1 | 85.6 | 1.4 | 59.5
10% Mouse blood | HQC | 364.7 | 27.7 | 561.0 | 12.0 | 65.0 | HQC | 496.7 | 20.8 | 759.3 | 26.4 | 65.4
50% Mouse blood | LQC | 5.5 | 0.6 | 5.7 | 0.9 | 96.5 | LQC | 9.0 | 0.9 | 8.0 | 0.7 | 111.6
50% Mouse blood | MQC | 59.4 | 2.8 | 62.6 | 1.8 | 94.9 | MQC | 78.0 | 5.1 | 81.7 | 2.7 | 95.4
50% Mouse blood | HQC | 575.3 | 6.8 | 548.0 | 9.6 | 105.0 | HQC | 781.0 | 24.0 | 742.7 | 24.8 | 105.2
100% Mouse blood | LQC | 8.0 | 0.9 | 6.9 | 0.5 | 115.5 | LQC | 8.9 | 1.0 | 8.3 | 0.6 | 107.7
100% Mouse blood | MQC | 67.0 | 2.9 | 60.5 | 0.5 | 110.9 | MQC | 88.7 | 3.1 | 78.2 | 1.5 | 113.3
100% Mouse blood | HQC | 601.3 | 26.6 | 579.0 | 13.5 | 103.9 | HQC | 837.3 | 18.3 | 798.0 | 28.8 | 104.9
| (C) | CAR-T cells (copy/μL) | CAR-T cells (copy/μL) | CAR-T cells (copy/μL) | CAR-T cells (copy/μL) | Recovery (%)
| (C) | Pre-spike | Pre-spike | Theoretical | Theoretical | Recovery (%)
| (C) | Mean | S.D. | Theoretical | Theoretical | Mean
1% Mouse blood | (A): LQC; Mean: 12.7; S.D.: 1.1; Mean: 13.2; S.D.: 13.2; Mean: 96.0
1% Mouse blood | (A): MQC; Mean: 93.5; S.D.: 14.8; Mean: 132.2; S.D.: 132.2; Mean: 70.7
1% Mouse blood | (A): HQC; Mean: 1307.0; S.D.: 29.0; Mean: 1322.3; S.D.: 1322.3; Mean: 98.8
5% Mouse blood | (A): LQC; Mean: 10.3; S.D.: 1.6; Mean: 13.2; S.D.: 13.2; Mean: 78.1
5% Mouse blood | (A): MQC; Mean: 92.8; S.D.: 12.1; Mean: 132.2; S.D.: 132.2; Mean: 70.2
5% Mouse blood | (A): HQC; Mean: 772.7; S.D.: 58.2; Mean: 1322.3; S.D.: 1322.3; Mean: 58.4
10% Mouse blood | (A): LQC; Mean: 7.7; S.D.: 0.6; Mean: 13.2; S.D.: 13.2; Mean: 58.2
10% Mouse blood | (A): MQC; Mean: 55.8; S.D.: 3.2; Mean: 132.2; S.D.: 132.2; Mean: 42.2
10% Mouse blood | (A): HQC; Mean: 700.3; S.D.: 75.4; Mean: 1322.3; S.D.: 1322.3; Mean: 53.0
50% Mouse blood | (A): LQC; Mean: 13.8; S.D.: 3.0; Mean: 13.2; S.D.: 13.2; Mean: 104.4
50% Mouse blood | (A): MQC; Mean: 135.3; S.D.: 18.2; Mean: 132.2; S.D.: 132.2; Mean: 102.3
50% Mouse blood | (A): HQC; Mean: 1170.7; S.D.: 276.3; Mean: 1322.3; S.D.: 1322.3; Mean: 88.5
100% Mouse blood | (A): LQC; Mean: 10.2; S.D.: 1.0; Mean: 13.2; S.D.: 13.2; Mean: 77.4
100% Mouse blood | (A): MQC; Mean: 145.3; S.D.: 4.0; Mean: 132.2; S.D.: 132.2; Mean: 109.9
100% Mouse blood | (A): HQC; Mean: 1390.3; S.D.: 146.3; Mean: 1322.3; S.D.: 1322.3; Mean: 105.1

## Table 3
Unnamed: 0 | Quantitative PCR | Droplet digital PCR
Calibration curve | External calibration | Not required for absolute quantification
Precision | Relatively larger variations | Consistently shown lower variations
Sensitivity | Comparable limit of quantification | Comparable limit of quantification
Quantification | Rely on amplification efficiency | End-point approach (more tolerant to PCR inhibitor)
Duplexing assay | FAM / HEX (VIC) Wider calibration ranges | FAM / HEX (VIC) Narrower calibration ranges

## Freetext Data
plaintext | Data | Value | Relevance
Relevance
Relevant, as ddPCR was used to characterize cellular kinetics and biodistribution of CAR-T cells in vivo.
Relevant as the study discusses the absence of a standardized protocol and introduces the duplexing ddPCR approach for normalization.
Relevant, as this data outlines the in vivo expansion, contraction, and persistence profile essential for pharmacokinetic assessment.
Relevant, as it critically enhances consistency and scalability in the ddPCR assay workflow for CAR-T cellular kinetics.
Relevant, as these units meet both regulatory requirements and improve pharmacological analyses.
Relevant as the paper aligns its ddPCR-based approach with these recommendations for transgene detection.
Relevant, as these challenges directly influence the reliability of the cellular kinetics and biodistribution data obtained using ddPCR.
Relevant, because comparing ddPCR and flow cytometry validates the cellular kinetics trend seen in both methods.
Relevant, as the tumor tissue analysis provides insights into CAR-T cell penetration and persistence relevant for solid tumor therapy.
Relevant, as it highlights critical pharmacokinetics related to solid tumor targeting and efficacy.
Relevance
The study was conducted in immunodeficient mice with human tumors to evaluate CAR-T cell kinetics.
Relevant to the robustness and reproducibility of CAR-T kinetics data.
Describes the route and dosage of CAR-T administration crucial for PK study design.
Ensures comprehensive assessment of CAR-T cellular kinetics over time.
Enables the evaluation of CAR-T biodistribution in targeted and non-targeted tissues.
Relevant to standardizing mouse tumor burden for assessing CAR-T efficacy.
Defines the administered dose, critical for interpreting PK and biodistribution results.
Relevant to preserving sample integrity for accurate PK analysis.
| Model Type | Cellular kinetics and biodistribution study model using ddPCR | Relevant because the study established a standardized ddPCR approach to characterize CAR-T cellular kinetics and biodistribution.
| Compartmental Analysis | Not explicitly described as 1-compartment or 2-compartment model | Relevant because the study focuses on cellular kinetics and biodistribution without specifying a compartmental framework, aligning with the assessment of CAR-T cell expansion and persistence.
| Methodology | Standardized ddPCR assay with automated gDNA extraction and reference gene normalization | Relevant because this approach was central to evaluating cellular kinetics, potentially substituting for traditional compartmental models in this specific context.
| The thermal cycling condition | 95 °C for 5 min (1 cycle), 40 cycles at 95 °C for 0.5 min, and 63 °C for 2 min, and hold at 4 °C | These parameters detail the conditions under which the ddPCR reaction was conducted, which is crucial for amplifying the target transgene.
| Limit of quantification (LOQ) | ≤50 copies per 1 µg genomic DNA | This is significant as it aligns with FDA regulatory guidance for transgene detection in cellular kinetics and biodistribution studies.
| Limit of detection (LOD) | 0.35 copies/µL reaction | This value represents the ddPCR system's sensitivity in detecting the lowest concentration of the CAR-T transgene.
| Maximum gDNA input in ddPCR reaction | 200 ng per reaction | This value ensures sufficient DNA for accurate reference gene detection during assays.
| Linear range for standard curve | 1.27–3460 copies/μL reaction | Defines the ddPCR system's quantifiable range for accurate detection of gene targets.
| Copy number concentration calculation parameter (Vdroplet) | 0.85 nL | A critical parameter to estimate transgene concentration per droplet based on Poisson statistics.
| gDNA purity (A260/A280 ratios) | 1.92 ± 0.10 for blood, 1.93 ± 0.04 for tissue samples | Indicates high-quality DNA, which is essential for accurate ddPCR results.
| Intra-assay %CV (precision) for QC samples | Within 22.5% | Demonstrates the method's reproducibility during repeated runs within the same assay.
| Intra-assay %RE (% accuracy) for QC samples | Between -9.6% and -5.1% of nominal values | Confirms assay accuracy and reliability for cellular kinetics studies.
| Exo-gene recovery from blood | 60–100% | Demonstrates the effectiveness and variability of the gDNA extraction method from blood samples.
| Freezer storage stability | Stable at -80 °C for at least 2 months | Highlights the stability of the samples for long-term analysis, ensuring reliable post-collection diagnostics.
| Annealing/extension temperature | 63 °C | Identifies the optimal temperature for primer binding and efficient amplification during ddPCR.
| Copy number dynamic range of detection | 3030 copies/μL reaction for reference gene | Ensures that reference gene detection remains within the quantifiable limits of the ddPCR system.
| Droplet partitioning number | 16,048 ± 1495 | Helps evaluate the variability in droplet generation, impacting assay precision.
| CAR-T transgene LLOQ and LOD in unit copy/μg gDNA | 127 and 35 respectively | These values are central to standardizing ddPCR sensitivity per regulatory recommendations.
| Tumor-associated factors | Lack of specific solid tumor-associated antigen, its expression level, and heterogeneity | These factors influence the effectiveness and pharmacokinetics of CAR-T cell therapy in solid tumor environments.
| T cell-associated factors | T cell exhaustion and lack of persistence | Directly impacts the cellular kinetics, biodistribution, and durability of CAR-T cells, affecting their pharmacokinetics.
| Host-associated factors | Immunosuppressive tumor microenvironment and insufficient T cell infiltration | These factors disrupt the distribution and function of CAR-T cells, influencing their pharmacokinetics.
| Physiological functions of targeted cell type | Abundance and properties of CAR targeting antigen | The pharmacokinetics of CAR-T cells is influenced by these physiological variables of the target antigen.
| Lymphodepleting chemotherapy | Improves CAR-T cell persistence and lowers the risk of CD19+ relapse | This preconditioning regimen has a direct effect on CAR-T cell pharmacokinetics by enhancing cellular expansion.
| gDNA content and recovery variability | Individual differences in recovery and gDNA content in different matrices (e.g., blood, tissues) | This affects the accuracy of transgene copy number measurement and pharmacokinetics interpretation.
| Transgene copy number unit | Normalizing by copy/μL blood or mg tissue offers better accuracy during CAR-T expansion phases | The choice of unit affects how pharmacokinetic data for CAR-T cells is interpreted.
| Sample matrix properties | Different recovery rates in blood, liver, tumor, and kidney homogenates | This influences the biodistribution profile and affects how pharmacokinetics is assessed.
| Expansion and persistence phases of CAR-T | Rapid multi-log expansion in 7-10 days post-administration followed by contraction | Highlights the time-dependent pharmacokinetic behavior of CAR-T cells.
| Route of administration | Intravenous administration leads to rapid tissue distribution | This route impacts the initial pharmacokinetic profile and biodistribution of CAR-T cells.