## Table 1
Unnamed: 0_level_0_Unnamed: 0_level_1 | 3′-SL_PA_Quant a/PA_Qual b | 6′-SL_PA_Quant/PA_Qual
MQC | 108.6 | 1.745
Rat plasma 1 | 106.2 | 1.721
Rat plasma 2 | 106.5 | 1.747
Rat plasma 3 | 105.4 | 1.737
Rat plasma 4 | 111.1 | 1.683
Rat plasma 5 | 120.4 | 1.728
Rat plasma 6 | 101.6 | 1.742
Mean | 108.5 | 1.729
CV(%) c | 5.5 | 1.3

## Table 2
Unnamed: 0_level_0_Unnamed: 0_level_1_Unnamed: 0_level_2_Unnamed: 0_level_3 | Nominal Concentration (ng/mL)_3′-SL_LLOQ_20 | Nominal Concentration (ng/mL)_3′-SL_LQC_60 | Nominal Concentration (ng/mL)_3′-SL_MQC_600 | Nominal Concentration (ng/mL)_3′-SL_HQC_7500 | Nominal Concentration (ng/mL)_6′-SL_LLOQ_20 | Nominal Concentration (ng/mL)_6′-SL_LQC_60 | Nominal Concentration (ng/mL)_6′-SL_MQC_600 | Nominal Concentration (ng/mL)_6′-SL_HQC_7500
(A) Intra-day (n = 6) | (A) Intra-day (n = 6) | (A) Intra-day (n = 6) | (A) Intra-day (n = 6) | (A) Intra-day (n = 6) | (A) Intra-day (n = 6) | (A) Intra-day (n = 6) | (A) Intra-day (n = 6) | (A) Intra-day (n = 6)
Mean concentration | 19.3 | 57.9 | 552 | 6970 | 19.9 | 58.5 | 641 | 7960
CV (%) a | 2.8 | 2.8 | 1.4 | 3.0 | 2.3 | 5.0 | 2.3 | 2.5
RE (%) b | −3.8 | −3.4 | −8.1 | −7.1 | −0.3 | −2.5 | 6.8 | 6.1
(B) Inter-day (n = 18) | (B) Inter-day (n = 18) | (B) Inter-day (n = 18) | (B) Inter-day (n = 18) | (B) Inter-day (n = 18) | (B) Inter-day (n = 18) | (B) Inter-day (n = 18) | (B) Inter-day (n = 18) | (B) Inter-day (n = 18)
Mean concentration | 18.9 | 58.2 | 542 | 6998 | 19.5 | 58.5 | 615 | 7550
CV (%) | 3.1 | 2.6 | 2.3 | 3.0 | 3.9 | 4.2 | 3.6 | 4.6
RE (%) | −5.4 | −3.1 | −9.7 | −6.7 | −2.7 | −2.4 | 2.5 | 0.7

## Table 3
Unnamed: 0_level_0_Unnamed: 0_level_1_Unnamed: 0_level_2_Unnamed: 0_level_3 | Nominal Concentration (ng/mL)_3′-SL_MQC_600 | Nominal Concentration (ng/mL)_3′-SL_HQC_7500 | Nominal Concentration (ng/mL)_6′-SL_MQC_600 | Nominal Concentration (ng/mL)_6′-SL_HQC_7500
(A) Matrix effect (IS normalized, n = 6) | (A) Matrix effect (IS normalized, n = 6) | (A) Matrix effect (IS normalized, n = 6) | (A) Matrix effect (IS normalized, n = 6) | (A) Matrix effect (IS normalized, n = 6)
Mean concentration (%) | 113.9 | 103.1 | 101.9 | 108.4
CV (%) a | 6.4 | 4.5 | 8.8 | 4.2
(B) Recovery (n = 6) | (B) Recovery (n = 6) | (B) Recovery (n = 6) | (B) Recovery (n = 6) | (B) Recovery (n = 6)
Mean concentration (%) | 88.6 | 94.7 | 89.0 | 91.4
CV (%) | 10.3 | 7.5 | 6.3 | 6.2

## Table 4
Unnamed: 0_level_0_Unnamed: 0_level_1_Unnamed: 0_level_2_Unnamed: 0_level_3 | Nominal Concentration (ng/mL)_3′-SL_LQC_60 | Nominal Concentration (ng/mL)_3′-SL_MQC_600 | Nominal Concentration (ng/mL)_3′-SL_HQC_7500 | Nominal Concentration (ng/mL)_6′-SL_LQC_60 | Nominal Concentration (ng/mL)_6′-SL_MQC_600 | Nominal Concentration (ng/mL)_6′-SL_HQC_7500
Endogenous concentration (ng/mL) a | 483 | 483 | 483 | 45.5 | 45.5 | 45.5
Adjusted QC concentration (ng/mL) b | 543 | 1083 | 7983 | 106 | 646 | 7546
Measured concentration (ng/mL) | 501 | 1024 | 7554 | 97.7 | 651 | 7756
CV (%) c | 1.4 | 2.2 | 2.2 | 7.6 | 2.7 | 3.4
RE (%) d | −7.8 | −5.5 | −5.4 | −7.4 | 0.9 | 2.8

## Table 5
Unnamed: 0_level_0_Unnamed: 0_level_1_Unnamed: 0_level_2_Unnamed: 0_level_3 | Nominal Concentration (ng/mL)_3′-SL_LQC_481 | Nominal Concentration (ng/mL)_3′-SL_HQC_7500 | Nominal Concentration (ng/mL)_6′-SL_LQC_37.5 | Nominal Concentration (ng/mL)_6′-SL_HQC_7500
(A) Benchtop stability at room temperature (24 °C, 4 h; n = 3) | (A) Benchtop stability at room temperature (24 °C, 4 h; n = 3) | (A) Benchtop stability at room temperature (24 °C, 4 h; n = 3) | (A) Benchtop stability at room temperature (24 °C, 4 h; n = 3) | (A) Benchtop stability at room temperature (24 °C, 4 h; n = 3)
Mean concentration (ng/mL) | 463 | 6890 | 37.0 | 7490
CV (%) a | 1.6 | 4.3 | 4.6 | 7.1
RE (%) b | −3.7 | −8.1 | −1.3 | −0.1
(B) Post-preparative stability (10 °C, 26 h; n = 3) | (B) Post-preparative stability (10 °C, 26 h; n = 3) | (B) Post-preparative stability (10 °C, 26 h; n = 3) | (B) Post-preparative stability (10 °C, 26 h; n = 3) | (B) Post-preparative stability (10 °C, 26 h; n = 3)
Mean concentration (ng/mL) | 482 | 7090 | 34.7 | 7210
CV (%) | 3.3 | 1.6 | 2.8 | 0.6
RE (%) | 0.1 | −5.5 | −7.4 | −3.9
(C) Freeze–thaw stability (4 cycles; n = 3) | (C) Freeze–thaw stability (4 cycles; n = 3) | (C) Freeze–thaw stability (4 cycles; n = 3) | (C) Freeze–thaw stability (4 cycles; n = 3) | (C) Freeze–thaw stability (4 cycles; n = 3)
Mean concentration (ng/mL) | 465 | 6900 | 38.9 | 7180
CV (%) | 3.2 | 0.5 | 11.5 | 2.2
RE (%) | −3.5 | −8.0 | 3.9 | −4.3
(D) Long-term stability (−80 °C, 37 days; n = 3) | (D) Long-term stability (−80 °C, 37 days; n = 3) | (D) Long-term stability (−80 °C, 37 days; n = 3) | (D) Long-term stability (−80 °C, 37 days; n = 3) | (D) Long-term stability (−80 °C, 37 days; n = 3)
Mean concentration (ng/mL) | 465 | 6750 | 35.4 | 7020
CV (%) | 5.1 | 2.3 | 1.3 | 3.7
RE (%) | −3.4 | −10.0 | −5.4 | −6.4

## Table 6
Unnamed: 0_level_0_Unnamed: 0_level_1 | 3′-SL (mg/kg)_100 | 3′-SL (mg/kg)_500 | 3′-SL (mg/kg)_2000 | 6′-SL (mg/kg)_100 | 6′-SL (mg/kg)_500 | 6′-SL (mg/kg)_2000
t1/2 (h) | 6.5 | 4.9 | 3.4 | 2.8 | 1.8 | 1.8
Cmax (ng/mL) | 536 ± 105 a | 1100 ± 101 | 1930 ± 273 | 235 ± 2 | 958 ± 216 | 1620 ± 85
Tmax (h) | 2.0 | 1.0 | 0.5 | 1.0 | 1.0 | 1.0
AUClast (ng·h/mL) | 4000 ± 438 | 5700 ± 698 | 12000 ± 1390 | 991 ± 190 | 3270 ± 316 | 7620 ± 622
AUCinf (ng·h/mL) | 5570 | 7030 | 13300 | 1050 | 3290 | 7660
CL (mL/h/kg) | 18000 | 71100 | 150000 | 95000 | 152000 | 261000
Vd (mL/kg) | 168000 | 499000 | 737000 | 383000 | 400000 | 687000

## Freetext Data
Data | Value | Relevance
Calibration Curve Range | 20-10,000 ng/mL | This range represents the linearity for 3′-SL and 6′-SL quantification, crucial for ensuring accurate pharmacokinetic analysis.
Limit of Quantification | 20 ng/mL | Indicates the sensitivity of the LC-MS/MS method, which is vital for detecting low concentrations of 3′-SL and 6′-SL in plasma.
Sample Preparation Solvent | Methanol | Methanol was used for protein precipitation, simplifying the preparation and improving safety by avoiding toxic chloroform.
Column Used | Waters Atlantis HILIC (50 mm × 2.1 mm, 3 µm) | The HILIC column was optimized for achieving selectivity and good peak resolution for 3′-SL and 6′-SL.
Mobile Phase Composition | 10 mM ammonium acetate (pH 4.5) and acetonitrile | This composition optimized chromatographic separation and enhanced sensitivity and resolution.
Animal Used | Male Sprague-Dawley rats | Rats were selected as the model organism to evaluate pharmacokinetics for 3′-SL and 6′-SL.
Doses Administered | 100, 500, 2000 mg/kg | These dosing regimens were used to generate pharmacokinetic data for 3′-SL and 6′-SL.
MS/MS Ion Transitions | m/z 632.4→290.0 (quant), 632.4→572.2 (qual), and 636.2→293.0 (IS) | Specifies the monitoring ions, ensuring selectivity and accuracy in the LC-MS/MS quantification.
AUC for 3′-SL | 4,000, 5,700, 12,000 ng·h/mL (for 100, 500, 2,000 mg/kg) | Reflects the drug exposure in plasma, showing dose-dependent pharmacokinetics for 3′-SL.
AUC for 6′-SL | 991, 3,270, 7,620 ng·h/mL (for 100, 500, 2,000 mg/kg) | Indicates the systemic exposure of 6′-SL, also demonstrating dose-dependent behavior.
Elimination Half-Life for 3′-SL | 3.4–6.5 hours | Relevant for understanding how long 3′-SL persists in the system post-administration.
Elimination Half-Life for 6′-SL | 1.8–2.8 hours | Indicates that 6′-SL is cleared more rapidly than 3′-SL.
Systemic Clearance for 3′-SL | 18,000–150,000 mL/h/kg | Highlights the non-linear elimination kinetics observed for 3′-SL across dose ranges.
Systemic Clearance for 6′-SL | 95,000–261,000 mL/h/kg | Demonstrates faster clearance compared to 3′-SL, relevant for dose optimization.
Vd for 3′-SL | 168,000–737,000 mL/kg | Illustrates extensive tissue distribution of 3′-SL.
Vd for 6′-SL | 383,000–687,000 mL/kg | Indicates significant tissue distribution for 6′-SL, highlighting its pharmacokinetic behavior.
Freeze-Thaw Stability | Stable for four cycles | Ensures the reproducibility of data from plasma samples stored and thawed multiple times.
Long-Term Stability | Stable at −80 °C for 37 days | Supports reliability in long-term sample storage for pharmacokinetic studies.
Surrogate Matrix | Purified water | Used for calibration due to the presence of endogenous 3′-SL and 6′-SL in rat plasma, improving quantification accuracy.
Accuracy Range | −1.7% to 2.2% (3′-SL), −2.5% to 2.3% (6′-SL) | Ensures the method's reliability within specified limits as per FDA guidelines for bioanalytical validation.
Study Design | Total of 27 seven-week-old male Sprague-Dawley rats | The study used this specific number and type of animal model to evaluate the pharmacokinetics (PK) of 3′-SL and 6′-SL.
Plasma Sampling Time Points | 0, 0.5, 1, 2, 4, 8, and 12 h post-dose | Sampling across these time points allowed for capturing the temporal plasma concentration profiles of 3′-SL and 6′-SL.
Rat Subgroups | Divided into groups of 3 animals/time point/sex/group | The subgrouping ensured robust data points for each blood sampling time while maintaining ethical animal use.
Rat Weight Range | 243–277 g | Standardized rat weight ensured all animals were in similar physiological states, which is critical for consistent PK data.
Dose Volume | 10 mL/kg with distilled water | This dosing parameter controlled for volume-related variability across administrations in PK characterization.
Sample Collection Method | Blood samples obtained from the rat tail vein | This sampling method ensured minimal stress to the animals and accurate plasma extraction for analysis.
Sample Processing | Blood centrifuged at 20,740× g, at 4 °C, for 3 min | Processing methodology ensured plasma separation and quality for subsequent analysis.
Storage of Plasma Samples | Stored at −80 °C | Proper storage conditions preserved the integrity of the samples for accurate PK measurements.
Ethical Approval | Protocol reviewed by IACUC and accredited by AAALAC International | Ethical oversight ensured compliance with animal research standards and reliability of results.
Population Details | Male Sprague-Dawley rats, 7 weeks old | The selected demographic was consistent with preclinical PK studies to evaluate drug absorption and metabolism.
Model | Non-compartmental method | The non-compartmental method was used to analyze plasma concentration-time data, which is integral for understanding the pharmacokinetic behavior of 3′-SL and 6′-SL post-administration in rats.
Calibration curve correlation coefficient | At least 0.999 | Demonstrates the linearity in the surrogate matrix for 3′-SL and 6′-SL quantification.
Accuracy of calibration for 3′-SL | Ranged from −1.7% to 2.2% | Indicates compliance with acceptance criteria for nominal concentration within ±15%.
Accuracy of calibration for 6′-SL | Ranged from −2.5% to 2.3% | Highlights precision in the quantitative analysis.
Matrix effect for 3′-SL (MQC) | 113.9% | Determines how the matrix influences analyte detection, critical for assay validity.
Matrix effect for 3′-SL (HQC) | 103.1% | Assesses analyte reliability at higher concentrations.
Matrix effect for 6′-SL (MQC) | 101.9% | Ensures that matrix does not compromise sensitivity at medium concentrations.
Matrix effect for 6′-SL (HQC) | 108.4% | Critical for assessing reproducibility in surrogate matrix studies.
Recovery for 3′-SL (600 ng/mL) | 88.6% | Reflects efficiency in sample extraction and method reliability at medium levels.
Recovery for 3′-SL (7500 ng/mL) | 94.7% | Necessary for reproducibility validation at high levels.
Recovery for 6′-SL (600 ng/mL) | 89.0% | Ensures reliability for medium concentration in plasma samples.
Recovery for 6′-SL (7500 ng/mL) | 91.4% | Confirms high-concentration method robustness.
Half-life (t1/2) for 3′-SL | Ranged from 3.4 to 6.5 h | Indicates the elimination rate and supports pharmacokinetic characterization.
Half-life (t1/2) for 6′-SL | Ranged from 1.8 to 2.8 h | Highlights faster elimination compared to 3′-SL.
AUClast for 3′-SL (100 mg/kg) | 4000 ng·h/mL | Demonstrates dose-dependent pharmacokinetics for 3′-SL.
AUClast for 3′-SL (500 mg/kg) | 5700 ng·h/mL | Represents systemic exposure after administration at medium dose.
AUClast for 3′-SL (2000 mg/kg) | 12000 ng·h/mL | Provides exposure profile at the highest dose studied.
AUClast for 6′-SL (100 mg/kg) | 991 ng·h/mL | Reflects exposure differences between the two isomers at the low dose.
AUClast for 6′-SL (500 mg/kg) | 3270 ng·h/mL | Shows pharmacokinetic linearity at medium doses.
AUClast for 6′-SL (2000 mg/kg) | 7620 ng·h/mL | Demonstrates saturation effects at high doses.
Systemic clearance (CL) for 3′-SL | Ranged from 18,000 to 150,000 mL/h/kg | Indicates dose-dependent elimination in nonlinear kinetics.
Systemic clearance (CL) for 6′-SL | Ranged from 95,000 to 261,000 mL/h/kg | Supports rapid clearance and nonlinear pharmacokinetics.
Volume of distribution (Vd) for 3′-SL | 168,000–737,000 mL/kg | Explains substantial tissue distribution and nonlinear characteristics.
Volume of distribution (Vd) for 6′-SL | 383,000–687,000 mL/kg | Highlights a high tissue uptake potential compared to physiological body fluids.
Stability under benchtop conditions for 3′-SL | −8.1% to −3.7% accuracy; 1.6% to 4.3% precision | Assures assay reproducibility under routine handling.
Stability under benchtop conditions for 6′-SL | −1.3% to −0.1% accuracy; 4.6% to 7.1% precision | Confirms analyte stability in handling conditions.
Carryover evaluation for 3′/6′-SL and IS | None detected at ULOQ level | Ensures the absence of contamination artifacts in subsequent samples.
Dilution integrity at 50,000 ng/mL for 3′-SL | −6.0% accuracy; 0.7% precision | Validates quantification for samples exceeding ULOQ.
Dilution integrity at 50,000 ng/mL for 6′-SL | −0.3% accuracy; 0.8% precision | Confirms method robustness for high concentrations.
Freeze-and-thaw stability for 3′-SL | −8.0% to −3.5% accuracy; 0.5% to 3.2% precision | Shows stability across cycles, mimicking routine sample handling.
Freeze-and-thaw stability for 6′-SL | −4.3% to 3.9% accuracy; 2.2% to 11.5% precision | Verifies resistance to degradation in sample processing.
Long-term stability at −80°C for 3′-SL | Stable for 37 days; accuracy −10.0% to −3.4%; precision 2.3% to 5.1% | Supports extended storage for future testing.
Long-term stability at −80°C for 6′-SL | Stable for 37 days; accuracy −6.4% to −5.4%; precision 1.3% to 3.7% | Confirms suitability for prolonged study retention.
Selectivity was monitored by comparing peak area ratios of qualification and quantification ion transitions between samples in plasma and surrogate matrix | Comparable ratios with no marked differences found; endogenous compound measured accurately | This confirms accurate quantification of endogenous compounds like 3′-SL and 6′-SL, which affects overall pharmacokinetics interpretation.
HILIC phase column used for separation of 3′-SL and 6′-SL | Improved chromatographic selectivity and fast resolution | HILIC column selectivity ensures precise peak separation, critical for pharmacokinetics measurements.
m/z quantification values for SL and IS | 3′-SL/6′-SL m/z 632.4→290.0; IS m/z 636.2→293.0 | Precision in ion selection assists in pharmacokinetic analysis and identification.
Matrix effect value | 101.9%–113.9% for 3′-SL and 101.9%–108.4% for 6′-SL at MQC and HQC levels | High matrix effect indicates robust signal, influencing accurate pharmacokinetics results.
Recovery percentage | 88.6%–94.7% for 3′-SL and 89.0%–91.4% for 6′-SL | High recovery rate supports reliable extraction from plasma, crucial for pharmacokinetics.
Endogenous concentration impacts calibration curves | Calibration adjusted based on endogenous levels (483 ng/mL for 3′-SL, 45.5 ng/mL for 6′-SL) | Proper adjustment ensures the observed pharmacokinetics are accurate despite endogenous presence.
Dose dependence observed in pharmacokinetics | AUClast showed non-linear increase with dose: 4000–12,000 ng·h/mL for 3′-SL; 991–7620 ng·h/mL for 6′-SL | Illustrates non-linear kinetics influencing drug absorption and clearance.
Elimination half-life (t1/2) | 3.4–6.5 h for 3′-SL, 1.8–2.8 h for 6′-SL | Different elimination rates reflect varying pharmacokinetics profiles for the two forms.
Systemic clearance (CL) values | 3′-SL: 18,000–150,000 mL/h/kg; 6′-SL: 95,000–261,000 mL/h/kg; dose-dependent change | Indicates non-linear elimination mechanisms influencing pharmacokinetics.
Volume of distribution (Vd) values | 3′-SL: 168,000–737,000 mL/kg; 6′-SL: 383,000–687,000 mL/kg | High tissue distribution indicates significant extravascular pharmacokinetics activity.
Storage stability assessment | Stable for 37 days at −80 °C with acceptable deviation range | Stability of 3′-SL and 6′-SL under storage conditions supports reliable pharmacokinetics data collection.