## Table 1
Day_Day_ATR | Calibration Curve Data_Equation_ATR | Calibration Curve Data_r2_ATR | Back-calculated Accuracy (%)_Back-calculated Accuracy (%)_ATR | Calibrated Concentration Range (nmol/L)_Calibrated Concentration Range (nmol/L)_ATR
1 | Y = 0.0157x + 0.0042 | 0.9990 | 96.1–104 | 1.79–358
2 | Y = 0.0187x + 0.0047 | 0.9994 | 98.1–104
3 | Y = 0.0149x + 0.0028 | 0.9970 | 94.4–107
ATRL | ATRL | ATRL | ATRL | ATRL
1 | Y = 0.0274x + 0.0009 | 0.9965 | 90.4–107 | 1.85–370
2 | Y = 0.0273x + 0.0003 | 0.9988 | 94.5–102
3 | Y = 0.0198x + 0.0000 | 0.9979 | 93.5–106
2OATR | 2OATR | 2OATR | 2OATR | 2OATR
1 | Y = 0.0109x + 0.0029 | 0.9999 | 98.9–102 | 1.74–348
2 | Y = 0.0085x + 0.0012 | 0.9983 | 95.6–105
3 | Y = 0.0115x + 0.0010 | 0.9997 | 97.8–102
2OATRL | 2OATRL | 2OATRL | 2OATRL | 2OATRL
1 | Y = 0.0226x + 0.0101 | 0.9999 | 98.9–102 | 1.80–359
2 | Y = 0.0169x + 0.0012 | 0.9983 | 95.6–105
3 | Y = 0.0153x + 0.0038 | 0.9982 | 97.8–102
4OATR | 4OATR | 4OATR | 4OATR | 4OATR
1 | Y = 0.0185x + 0.0037 | 0.9973 | 94.4–106 | 1.74–348
2 | Y = 0.0167x + 0.0006 | 0.9984 | 96.1–104
3 | Y = 0.0141x + 0.0007 | 0.9990 | 96.4–104
4OATRL | 4OATRL | 4OATRL | 4OATRL | 4OATRL
1 | Y = 0.0191x + 0.0014 | 0.9952 | 90.6–110 | 1.80–359
2 | Y = 0.0153x + 0.0011 | 0.9972 | 92.4–104
3 | Y = 0.0120x + 0.0013 | 0.9970 | 91.2–104

## Table 2
Unnamed: 0 | ATR + ATRL | ATR + MET
Unweighted linear least squares | Unweighted linear least squares | Unweighted linear least squares
Intercept | 0.0000 | 0.0017
Linear coefficient (slope) | 0.0293 | 0.0290
NSSR | 6.5410 | 5.2886
Unweighted second-order least squares | Unweighted second-order least squares | Unweighted second-order least squares
Intercept | 0.0001 | −0.0004
Linear coefficient | 0.0410 | 0.0434
Second-order coefficient | −0.0184 | −0.0073
NSSR | 3.7376 | 102.3
Unweighted third-order least squares | Unweighted third-order least squares | Unweighted third-order least squares
Intercept | 0.0006 | 0.0007
Linear coefficient | 0.0208 | 0.0271
Second-order coefficient | 0.0659 | 0.0157
Third-order coefficient | −0.0816 | −0.0075
NSSR | 7.8302 | 4.4192
1/x2-weighted linear regression | 1/x2-weighted linear regression | 1/x2-weighted linear regression
Intercept | 0.0000 | 0.0000
Linear coefficient (slope) | 0.0429 | 0.0363
NSSR | 3.6669 | 1.5784
Theil’s regression | Theil’s regression | Theil’s regression
Intercept | 0.0001 | 0.0000
Linear coefficient (slope) | 0.0338 | 0.0327
NSSR | 5.4048 | 2.1529
Theil’s regression with Siegel correction | Theil’s regression with Siegel correction | Theil’s regression with Siegel correction
Intercept | 0.0001 | 0.0000
Linear coefficient (slope) | 0.0353 | 0.0332
NSSR | 5.4125 | 2.1363

## Freetext Data
Data | Value | Relevance
Summary of Methods for ATR Analysis | A LC-MS/MS method was developed for ATR, ATRL, and related metabolites; details on mobile phases, stationary phases, and ion transitions are provided. | Developing and validating a precise bioanalytical method is critical to enable the TDM of ATR for precision pharmacotherapy.
Calibration Range | Calibration curves with concentrations of 1.0–200 ng/mL were utilized to evaluate ATR and its metabolites. | Understanding the calibration range helps ensure the methodological accuracy necessary for PK modeling and reliable drug monitoring.
Limit of Detection (LOD) | The LOD for each analyte was 0.05 fmol. | Highlights the sensitivity of the developed LC-MS/MS method, which aids in detecting minute ATR-related substances in serum.
Matrix Effects | Internal standard-corrected matrix factors ranged from 95.7–111% at low levels and 96.6–110% at high levels. | Indicates the method's robustness and consistency in accounting for variability in different biological matrices, essential for clinical applications.
Pharmacokinetic Modeling Relevance | ATR + ATRL and ATR + MET combined concentrations showed more reliable pharmacokinetic trends and error estimation, validated by NPAG models. | Addresses how precision pharmacotherapy can benefit from NPK models derived using this validated methodology.
Accuracy Range for Individual Analytes | Accuracy varied slightly below acceptable levels at low concentrations and consistently underestimated concentrations at higher levels in validation tests. | This metric demonstrates how individual analytes may introduce variability without aggregation for ATR monitoring.
Accuracy Range for Combined Concentrations | Combined accuracy was generally within guideline-accepted ranges, especially for ATR + ATRL and ATR + MET across spiking levels. | Aggregated concentrations mitigate errors seen in individual measurements, facilitating better TDM effectiveness.
Regression Models for Assay Error | Linear regressions (Theil’s method) for ATR + ATRL yielded slopes of 0.0293-0.0429 and narrow NSSRs for reliable error estimation. | Enables precision-focused error quantification, a crucial input for dose optimization algorithms in TDM.
Pharmacokinetics Post Dose | ATR metabolites (acid/lactone forms) were detectable in serum by 2 hours post-dose administration. | Demonstrates the rapid systemic absorption and metabolism of ATR, validating the biomonitoring framework.
Metabolite Concentration Ratios | (4OATR + 4OATRL)/(ATR + ATRL) ratios were dose-dependent and varied significantly over time, with greater ratios observed at 40 mg ATR doses compared to 20 mg. | Highlights dose and time-dependent pharmacokinetic effects, relevant for individualized ATR therapy and SAMS risk evaluation.
Precision Metrics at Combined Levels | ATR + MET combined concentrations exhibited RSD values consistently below 15%, satisfying precision guidelines for analytical methods. | Reinforces the suitability of aggregated data for nonparametric modeling and clinical application robustness.
Clinical Study Demographics | The study involved 29 outpatient subjects who received a single ATR dose of either 20 mg (n=24) or 40 mg (n=5). | Establishes a clinical context for validating the TDM approach under controlled conditions.
Patient Sample Size | 29 outpatients | Relevant because it determines the statistical power and applicability of the PK study findings.
Patient Population | Outpatients requiring antihyperlipidemic treatment but previously not receiving ATR | Relevant because it ensures the study evaluates the effects of ATR on a naïve population for accurate observation of PK parameters.
Blood Collection Volumes | 2 mL blood per sampling | Relevant as it specifies the sample size used for quantification of ATR and metabolites levels in serum.
Blood Sampling Time Points | 0 h (before ATR administration) and post-dose at 2 h, 4 h, and 6 h | Relevant because it establishes the timing structure necessary to study ATR absorption, metabolism, and systemic exposure dynamics.
Prescription Doses | ATR 20 mg (n=24) or 40 mg (n=5) | Relevant as it accounts for interindividual and dose-dependent variability within PK analysis.
Project Identifier | 197/2017 | Relevant to ethical compliance and ensuring clinical validity of study design and execution.
Model Used | Nonparametric pharmacokinetic modeling (NPK) based on the nonparametric adaptive grid (NPAG) algorithm | The paper focuses on precision pharmacotherapy using therapeutic drug monitoring (TDM), and the NPAG framework is employed to create population models for individualized dose adjustments.
Software Utilized for Model Construction | PmetricsTM package in R | This software is relevant as it implements the NPAG algorithm for nonparametric pharmacokinetic modeling, enabling individualized drug therapy predictions based on patient-specific data.
Pharmacokinetic Inputs | ATR + ATRL and ATR + MET concentrations | These aggregated drug/metabolite measures are integral to the modeling process, demonstrating the reliance on both parent compound and active metabolites for building precise pharmacokinetic models.
Output of Pharmacokinetic Models | Individual 24-hour posterior time-concentration curves | These outputs are essential for assessing systemic exposure, tailoring dosing schedules, and mitigating adverse outcomes, which align with goals of precision pharmacotherapy.
Regression Type Used | Weighted nonlinear regression using reciprocal of variance for optimal fitting | This statistical method underpins the reliability of pharmacokinetic predictions by minimizing variance in concentration data, directly relevant to model accuracy.
Assay Error Integration | Linear relationship between concentration and SD modeled via Theil’s regression with Siegel correction | Incorporating robust assay error quantifications into the pharmacokinetic models ensures accurate predictions and meaningful clinical application.
Purpose of Model | Precision pharmacotherapy for atorvastatin | The model is designed specifically for optimizing atorvastatin therapy by predicting individual drug concentrations and adjusting dosage regimens.
Calibration model determination coefficient (r2) | Between 0.9858–0.9985 | Indicates linearity and fitting accuracy of the calibration models, essential for quantifying ATR and metabolites.
Single-point calibration lowest calibrator concentrations | 1.74–1.85 nmol/L | Used to estimate low-level analyte concentrations in the matrix effectively.
Regression weights for calibration | 1/x2 | Selected weighting scheme ensures optimal calibration performance, reducing errors at lower concentrations.
Regression algorithm for assay error estimation | Theil’s regression with Siegel correction | Robust nonparametric method to evaluate error across fitted concentration range, ensuring reliability in pharmacokinetic modeling.
Assay standard deviation slopes for ATR + ATRL | 0.0293–0.0429 | Reflects the relationship between measured assay variability and analyte concentrations, foundational for error modeling.
Assay standard deviation intercepts for ATR + ATRL | 0.0000–0.0001 | Baseline error at theoretical zero drug concentration provides context for regression accuracy.
Assay standard deviation slopes for ATR + MET | 0.0290–0.0363 | Determines error trends specific to cumulative ATR metabolites, vital for pharmacokinetic precision.
Assay standard deviation intercepts for ATR + MET | 0.0000–0.0017 | Metric used in assay error models to understand inherent bioanalytical variability.
Sum of Squared Residuals Normalized (NSSR) for ATR + ATRL models | 3.6669–7.8302 | Quantifies the fit quality across ranges using various regression algorithms for ATR + ATRL concentrations.
Sum of Squared Residuals Normalized (NSSR) for ATR + MET models | 1.5784–5.2886 | Indicates the goodness-of-fit for assay error models applied to cumulative ATR metabolites.
Individual analyte limit of detection (LOD) | 0.05 fmol | Demonstrates the sensitivity of the LC-MS/MS method for detecting ATR-related substances in serum.
Analyte retention times | ATR (3.6 min), ATRL (3.7 min), 2OATR and 2OATRL (3.3 min), 4OATR and 4OATRL (2.4–2.5 min), IS (3.6 min) | Crucial LC-MS/MS parameters for substance separation and identification.
Analyte product ion masses (target ions) | ATR (m/z 440), ATRL (m/z 448), 2OATR (m/z 440), 2OATRL (m/z 448), 4OATR (m/z 440), 4OATRL (m/z 448), IS (m/z 440) | Defines the specific ion transitions monitored, enabling accurate quantitation of analytes.
Internal standard matrix factor range | 95.7–111% (low spiking) and 96.6–110% (high spiking) | Confirms matrix stability across analyte concentration levels, correcting quantitation for variability.
Accuracy range for ATR + MET | 87.6–114% | Illustrates how combined analyte concentrations lead to acceptable bioanalytical performance.
Sampling time points post ATR intake | 2 h, 4 h, 6 h | Key pharmacokinetics and metabolism evaluation time points for assessing ATR exposure and systemic dynamics.
Patient dosage comparison ratios | (4OATR + 4OATRL)/(ATR + ATRL) ratios statistically higher for 40 mg vs 20 mg at all time points | Highlights dose-dependence in metabolite ratios linked to ATR therapy outcomes.
Posterior population pharmacokinetic model evaluation times | Individual 24-hour curves | Population-level modeling time spans relevant for constructing precision pharmacotherapy dosing regimens.
Regression algorithm for calibration curves | Weighted linear regression (1/x2 weights) | Optimizes calibration reliability across diverse analyte concentrations for pharmacokinetic relevance.
Metabolite formation rate | Limited production rate of 2OATR and less intensive formation of 4OATR | These are critical in understanding how atorvastatin and its metabolites behave within the body, influencing overall pharmacokinetics.
Dose variation | Differences in dose (20 mg vs. 40 mg) affect metabolite/parent drug (4OATR + 4OATRL)/(ATR + ATRL) concentration ratios | Dose-dependent pharmacokinetic variations can impact drug efficacy and safety outcomes.
Time post-dose | Changes in metabolite concentration ratios after 2 h, 4 h, and 6 h | Time-dependent changes are central to understanding drug metabolism and systemic exposure patterns.
Interconversion dynamics | Rapid interconversion between acid and lactone forms in vitro | Conversion between forms influences measured concentrations and pharmacokinetic interpretations.
Physiological traits | Interindividual differences in traits like nutrition, smoking | Physiological variations can alter the drug metabolism process, impacting pharmacokinetic models.
Statin-Associated Muscle Symptoms (SAMS) | Relationship suggested between 4OATRL levels and SAMS | Relevance lies in the pharmacokinetic link between metabolite levels and adverse drug reactions.