## Freetext Data
Data | Value | Relevance
Separation column | Accucore aQ column | Relevant as it specifies the column used for separating vincristine and the internal standard, which is crucial for accurate LC-MS/MS analysis.
Flow rate | 0.4 mL/min | Relevant as it ensures optimal chromatography conditions for consistent separation and detection.
Run time | 2.2 minutes | Relevant because the rapid run time enhances throughput for pharmacokinetic studies in mice.
Ion mode | Positive | Relevant because the selected ionization mode is critical for detecting vincristine in LC-MS/MS assays.
Calibration curve linearity | r2 > 0.99, n = 8 | Relevant because it demonstrates the reliability and robustness of the method's quantification range.
Lower limit of quantitation | 2.5 ng/mL | Relevant since it indicates the sensitivity of the method, which is crucial for detecting low vincristine concentrations in micro volumes of plasma.
Matrix effect | 108–110% | Relevant as it demonstrates that the plasma matrix has minimal interference with the method, ensuring high accuracy.
Extraction recovery | 88.4–107% | Relevant because it confirms the efficiency of sample preparation, which directly affects quantification accuracy.
Intra-day precision | <15% | Relevant as consistency within a single day’s tests ensures the reliability of results for pharmacokinetic profiling.
Inter-day precision | <15% | Relevant to ensure reproducibility in results across multiple days, supporting valid pharmacokinetic inference.
Accuracy range | 91.7–107% | Relevant as it ensures the method provides reliable concentration measurements critical for pharmacokinetic evaluation.
Application | Pharmacokinetic profile of vincristine in wild-type and CYP3A-deficient mice | Relevant because the goal of the study was to understand drug-drug interactions and sources of pharmacokinetic variability.
Purpose | Mechanistic insight into drug-drug interactions and vincristine-induced peripheral neuropathy variability | Relevant as it aligns the method's development and application with the broader aim of addressing clinical challenges.
Calibration Curves | Up to 250 ng/mL, linear (r2 > 0.99, n = 8) | Relevant for defining concentrations in micro volumes of plasma, which supports pharmacokinetic study accuracy.
Lower Limit of Quantitation | 2.5 ng/mL | This methodological limit is crucial for measuring pharmacokinetics of vincristine at low levels in small sample sizes.
Internal Standard | [2H3]-vincristine | Use of an internal standard ensures precise quantitation necessary for a pharmacokinetic study.
Column Type | Accucore aQ | Ensures optimal separation of vincristine for accurate plasma sampling in pharmacokinetic profiling.
Matrix Effect | 108–110% | Demonstrates the method reliability used during plasma sampling in PK analysis.
Extraction Recovery | 88.4–107% | Ensures efficient plasma retrieval for studying drug concentrations.
Run Time | 2.2 min | Enables rapid plasma processing consistent with timely pharmacokinetic sample analysis.
Flow Rate | 0.4 mL/min | Assists in plasma separation required for pharmacokinetic study design.
Mouse Population | Wild-type and CYP3A-deficient mice | Population specifically relevant for assessing drug metabolism and inter-individual variability in PK study.
Model | Pharmacokinetic profiling | The paper utilizes pharmacokinetic profiling in wild-type and CYP3A-deficient mice to assess vincristine's behavior, which informally aligns to PK modeling but does not explicitly state the use of a specific compartmental model.
LC-MS/MS mode | Positive ion mode | Indicates the analytical technique and ionization method used for measurement, relevant to understanding the conditions under which vincristine was quantified.
Column type | Accucore aQ column | Specifies the chromatographic column used for separation, relevant for method reproducibility and performance.
Mobile phase flow rate | 0.4 mL/min | Details the mobile phase flow rate, essential for replicating experimental conditions.
Run time | 2.2 min | The method's run time is crucial for efficiency and throughput in the analysis of vincristine.
Calibration curve linearity | r2 > 0.99 | Demonstrates method reliability and accuracy in quantifying vincristine across concentrations, improving confidence in results.
Calibration range | Up to 250 ng/mL | Describes the concentration range over which the method is validated, relevant for determining sensitivity and application scope.
Lower limit of quantitation | 2.5 ng/mL | Shows the method's sensitivity in detecting vincristine at low concentrations, relevant for pharmacokinetic analysis in small sample volumes.
Matrix effect | 108–110% | Evaluates the influence of plasma components on ionization efficiency, crucial for ensuring measurement accuracy.
Extraction recovery | 88.4–107% | Measures the efficiency of extracting vincristine from plasma samples, impacting method reliability.
Precision (intra-day and inter-day) | <15% | Indicates the method's consistency over time, important for validating pharmacokinetic experiment results.
Accuracy | 91.7–107% | Shows how close the method's measurements are to the true value, ensuring result validity.
Pharmacokinetic application | Wild-type and CYP3A-deficient mice | Identifies the test subjects used for applying the validated method, directly tied to estimating inter-individual pharmacokinetic variability.
Matrix effect for vincristine | 108–110% | Matrix effects influence the ability to accurately and reproducibly measure drug concentrations, thereby affecting pharmacokinetics.
Extraction recovery for vincristine | 88.4–107% | Extraction recovery impacts the accuracy and reproducibility of measured pharmacokinetic parameters by determining how effectively the drug can be extracted from plasma samples.
CYP3A-deficiency | Mentioned in methodology | CYP3A plays a role in drug metabolism, and its deficiency affects vincristine pharmacokinetics and leads to variability in drug disposition.
Inter-individual variability in pharmacokinetics | Linked to vincristine-induced neuropathy | Identifying sources of variability is critical for understanding differences in drug exposure and subsequent toxicities such as neuropathy.