## Table 1
Stability Test | Ascorbic Acid | Mean Recovery%
Short-Term Stability (4 h, RT) | No | 76.7 ± 11.2
Short-Term Stability (4 h, RT) | Yes | 97.0 ± 5.9
Long-Term Stability(14 days, −80 °C) | No | 93.7 ± 8.8
Long-Term Stability(14 days, −80 °C) | Yes | 94.8 ± 3.2
Auto-Sampler Stability (24 h) | No | 98.0 ± 11.7
Auto-Sampler Stability (24 h) | Yes | 96.1 ± 7.9
Freeze-Thaw(−80 °C to RT) | No | 70.7 ± 4.4
Freeze-Thaw(−80 °C to RT) | Yes | 96.5 ± 1.6

## Table 2
Stability Test | Nominal Concentration (ng/mL) | Mean Recovery% ± SD
Short-Term Stability(4 h, RT) | 15 | 102.4 ± 4.4
Short-Term Stability(4 h, RT) | 75 | 97.1 ± 3.3
Short-Term Stability(4 h, RT) | 750 | 91.4 ± 3.9
Long-Term Stability(14 days, −80 °C) | 15 | 96.0 ± 4.3
Long-Term Stability(14 days, −80 °C) | 75 | 93.8 ± 1.4
Long-Term Stability(14 days, −80 °C) | 750 | 94.7 ± 3.9
Auto-Sampler Stability(24 h) | 15 | 89.6 ± 7.7
Auto-Sampler Stability(24 h) | 75 | 97.2 ± 8.7
Auto-Sampler Stability(24 h) | 750 | 101.6 ± 1.9
Freeze Thaw Stability(−80 °C to RT) | 15 | 95.1 ± 0.8
Freeze Thaw Stability(−80 °C to RT) | 75 | 98.3 ± 0.4
Freeze Thaw Stability(−80 °C to RT) | 750 | 96.1 ± 1.2

## Table 3
Nominal Concentration (ng/mL) | Extraction Recovery (Mean ± SD, %) | Matrix Effect(Mean ± SD, %)
15 | 95.8 ± 1.5 | 3.79 ± 0.53
75 | 98.3 ± 1.7 | 8.73 ± 1.71
750 | 91.2 ± 2.4 | 3.40 ± 1.36

## Table 4
QC_QC | Nominal Concentration (ng/mL)_Nominal Concentration (ng/mL) | Intra-Day (n = 6)_Accuracy (RE, %) | Intra-Day (n = 6)_Precision (CV, %) | Inter-Day (n = 6)_Accuracy (RE, %) | Inter-Day (n = 6)_Precision (CV, %)
LLOQ | 5 | 5.6 | 8.28 | 9.69 | 11.5
Low | 15 | 10.1 | 3.49 | 5.78 | 7.29
Medium | 75 | 2.88 | 1.96 | 5.52 | 4.58
High | 750 | 3.4 | 3.03 | 5.45 | 3.99

## Table 5
Nominal Concentration (ng/mL) | Dilution Factor | Accuracy (RE%) (n = 6) | Precision (CV%) (n = 6)
5000 | 5 | 7.35 | 5.67
5000 | 10 | 6.87 | 3.66
5000 | 20 | 3.77 | 8.91
5000 | 50 | 7.03 | 4.95

## Table 6
Parameters | Mean ± SD
AUC0–10 (mg.h/L) * | 3.12 ± 1.32
AUC0–∞ (mg.h/L) * | 3.18 ± 1.36
T1/2 (h) * | 1.86 ± 0.22
CL (L/h/kg) * | 2.31 ± 0.90
Vss (L/kg) * | 4.93 ± 2.00
MRT (h) * | 1.98 ± 0.03

## Freetext Data
Data | Value | Relevance
--- | --- | ---
OJT007 | Methionine aminopeptidase 1 (MetAP1) inhibitor | Relevant because it is the drug being studied for its pharmacokinetic properties and leishmanicidal activity.
UPLC-MS/MS Method | Developed and validated for quantification of OJT007 | Critical for answering questions about the analytical technique used to study OJT007 pharmacokinetics.
Calibration Curve Range | 5 to 1000 ng/mL | Relevant for demonstrating the method's sensitivity and suitability for detecting OJT007 in plasma.
Column | Acquity UPLC BEH C18 (2.1 × 50 mm, 1.7 μm) | Indicates the specific chromatographic setup employed in the analysis.
Mobile Phase Composition | 0.1% formic acid in acetonitrile and 0.1% formic acid in water | Relevant to understanding the separation and detection mechanism for OJT007.
Flow Rate | 0.4 mL/min | Critical for understanding chromatographic conditions and method development.
Mass Spectrometer | 4000 QTRAP® | Relevant to identifying the equipment used for quantification of OJT007.
LLOQ | 5 ng/mL | Indicates the sensitivity of the assay, relevant to its validation and application.
Selectivity and Reproducibility | Validated according to FDA guidelines | Vital for ensuring the reliability of the pharmacokinetic data produced.
Matrix Effect | 7.96% | Relevant for demonstrating negligible environmental interference during OJT007 quantification in plasma.
Extraction Recovery | 95.1% (mean) | Relevant as it establishes the efficiency of the method for plasma sample preparation.
Animal Model | Male Sprague–Dawley (SD) rats | Provides context for the biological relevance of the pharmacokinetics studied.
Dosing Route | Intravenous (IV) | Relevant because it defines the administration method and its impact on pharmacokinetics.
Stability | Stable under processing and storage conditions | Critical for ensuring reliability of data during analytical handling and storage.
Half-Life (t1/2) | 1.86 h | Relevant for describing the elimination kinetics of OJT007.
Volume of Distribution (Vss) | 4.93 L/kg | Indicates tissue distribution, essential for pharmacokinetic evaluation of OJT007.
Systemic Clearance (CL) | 2.31 L/h/kg | Relevant to understanding the body's efficiency in eliminating OJT007.
Plasma Concentration Range (AUC0→∞) | 3.18 mg.h/L | Highlights the exposure of the organism to drug over time, critical for pharmacokinetics.
Internal Standard | Voriconazole | Relevant because it anchors calibration and quantification accuracy in plasma samples.
Three jugular vein-cannulated, healthy, adult, male Sprague–Dawley rats | 3 | This indicates the sample size and the specific population used in the study, which is crucial for understanding the pharmacokinetic analysis applicability.
Blood sampling volume | 0.2 mL | Specifies the volume collected at each time point, which is essential for sample handling and subsequent analysis.
Blood sampling time points | Before dosing, and at 0.033, 0.0833, 0.25, 0.5, 1, 1.5, 2, 4, 6, 8, 10, and 24 h post-dose | Describes the frequency and timing of sampling, which affects the resolution and reliability of the pharmacokinetic profile.
Single-dose study design | 5 mg/kg intravenous dose | Highlights the dosing regimen and administration route, key factors in designing pharmacokinetics studies.
Rat population | Healthy male adult Sprague–Dawley rats | Indicates the biological model for the study, relevant when translating results to potential human applications.
Addition of ascorbic acid | 0.5% w/v to plasma samples | Relevant for assessing drug stability during storage and handling, ensuring reliability in pharmacokinetics data.
Storage of samples | Stored at −80 °C until analysis | Details handling conditions to preserve sample integrity, critical for accurate pharmacokinetic evaluation.
Plasma concentration versus time profiles | Biexponential disposition | Indicates that OJT007 follows a 2-compartment model after intravenous administration, as biexponential disposition suggests a distribution and elimination phase.
Mean systemic clearance (CL) | 2.31 L/h/kg | Supports the pharmacokinetic profiling using compartment models as clearance is a key parameter in interpreting biexponential drug disposition.
Volume of distribution at steady-state (Vss) | 4.93 L/kg | Volume values exceeding total body water support tissue partitioning, consistent with a multi-compartment model.
Terminal elimination half-life | 1.86 hours | Used in noncompartmental analysis, relevant for characterizing elimination after the distribution phase in a 2-compartment model.
Mean residence time (MRT) | 1.98 hours | Consistent with modeling approaches that assess drug retention in compartments before elimination.
Terminal elimination half-life (t1/2) | 1.86 h | This parameter reflects the drug's duration in the bloodstream and is crucial to understanding how long OJT007 remains active; it was estimated from plasma concentration–time profiles.
Plasma clearance (CL) | 2.31 L/h/kg | This parameter describes the body's efficiency in eliminating the drug, relevant for assessing systemic clearance; it was derived from plasma concentration–time curves.
Volume of distribution at steady-state (Vss) | 4.93 L/kg | This parameter indicates the extent of drug distribution across tissues; it was calculated using non-compartmental analysis from rat pharmacokinetics.
Mean Residence Time (MRT) | 1.98 h | MRT quantifies the average time a drug molecule stays in the body, important for dosing strategies; it was estimated using non-compartmental analysis.
Area under the curve to the last quantified time (AUC0–last) | 3.12 mg·h/L | This parameter measures the drug's total exposure in plasma over time, obtained from measured time-concentration data in rats.
Area under the curve extrapolated to infinity (AUC0–∞) | 3.18 mg·h/L | AUC0–∞ represents the theoretical total exposure of the drug, useful for understanding overall drug pharmacokinetics; it was calculated using the log-linear trapezoid method.
Injection dose | 5 mg/kg | This is the administered intravenous dose, estimated as part of the controlled experimental setup to evaluate pharmacokinetics in male SD rats.
Animal model | Male Sprague-Dawley rats | The pharmacokinetic parameters were estimated using this specific biological model, making it relevant for preclinical drug testing.
Timepoints for blood sampling | Pre-dose, and 0.033, 0.0833, 0.25, 0.5, 1, 1.5, 2, 4, 6, 8, 10, and 24 h post-dose | These time intervals ensured appropriate data collection to construct plasma concentration–time profiles for parameter estimation.
Addition of ascorbic acid | Increased short-term and freeze-thaw stability of OJT007 in rat plasma by 20% | Relevant as it highlights how ascorbic acid prevents oxidation of OJT007 during storage and handling, impacting pharmacokinetic accuracy.
High liver extraction | Systemic clearance (CL) of 2.31 L/h/kg approximates hepatic blood flow in rats | Relevant because it demonstrates the significant role liver metabolism plays in the pharmacokinetics of OJT007.
Volume of distribution at steady state (Vss) | 4.93 L/kg, greater than total body water in rats | Relevant as it indicates drug distribution into tissues, which impacts pharmacokinetic parameters.
OJT007 oxidation | Phenol group in OJT007's chemical structure prone to oxidation | Relevant because drug instability due to oxidation can affect pharmacokinetics during analysis.
Gradient elution in UPLC-MS/MS | Ensures appropriate chromatographic retention and separation | Relevant due to the need for precise quantification affecting pharmacokinetic calculations.
Autosampler stability | OJT007 stable in processed plasma samples for 24 h at 15 °C | Relevant as degradation of the drug during analysis could influence pharmacokinetic outcomes.