## Table 1
Concentration in ng/mL_Concentration in ng/mL | BNB_Mean a | BNB_SD | BNB_RSD % | BNB_Accuracy % | ENF_Mean a | ENF_SD | ENF_RSD % | ENF_Accuracy %
5 | 5.72 | 0.13 | 2.27 | 114.35 | 5.7 | 0.04 | 0.63 | 113.94
10 | 10.09 | 0.36 | 3.58 | 100.93 | 10.56 | 0.06 | 0.57 | 105.57
15 (LQC) | 14.98 | 0.24 | 1.6 | 99.84 | 15.24 | 0.14 | 0.94 | 101.63
20 | 19.46 | 0.36 | 1.86 | 97.29 | 20.17 | 0.35 | 1.75 | 100.86
30 | 29.62 | 0.32 | 1.08 | 98.75 | 30.8 | 0.18 | 0.57 | 102.66
50 | 49.48 | 1.41 | 2.85 | 98.96 | 49.87 | 0.76 | 1.52 | 99.75
80 | 82.15 | 2.4 | 2.92 | 102.69 | 79.06 | 1.3 | 1.65 | 98.83
100 | 98.21 | 1.36 | 1.39 | 98.21 | 97.41 | 0.77 | 0.79 | 97.41
150 (MQC) | 148.71 | 1.51 | 1.02 | 99.14 | 149.3 | 0.83 | 0.55 | 99.53
200 | 200.18 | 1.42 | 0.71 | 100.09 | 199.68 | 1.47 | 0.74 | 99.84
300 | 303.91 | 5.47 | 1.8 | 101.3 | 302.84 | 1 | 0.33 | 100.95
400 (HQC) | 396.97 | 2.22 | 0.56 | 99.24 | 400.59 | 3.46 | 0.86 | 100.15
500 | 500.44 | 2.89 | 0.58 | 100.09 | 498.75 | 2.08 | 0.42 | 99.75
% Recovery |  |  |  | 100.84 |  |  |  | 101.61
SD |  |  |  | 4.29 |  |  |  | 4.2

## Table 2
HLM Matrix | HLM Matrix.1 | HLM Matrix.2 | HLM Matrix.3 | Mean | SD | % RSD | % Accuracy
BNB | Conc. in ng/mL | 15.00 (LQ) | Intra-day assay * | 14.98 | 0.2 | 1.31 | 99.8
BNB | Conc. in ng/mL | 15.00 (LQ) | Inter-day assay ** | 15.02 | 0.37 | 2.48 | 104
BNB | Conc. in ng/mL | 150.00 (MQ) | Intra-day assay | 148.71 | 1.24 | 0.83 | 99.1
BNB | Conc. in ng/mL | 150.00 (MQ) | Inter-day assay | 148.68 | 1.37 | 0.92 | 100
BNB | Conc. in ng/mL | 400.00 (HQ) | Intra-day assay | 396.97 | 1.81 | 0.46 | 99.2
BNB | Conc. in ng/mL | 400.00 (HQ) | Inter-day assay | 397.78 | 3.52 | 0.88 | 101
ENF | Conc. in ng/mL | 15.00 (LQ) | Intra-day assay | 15.24 | 0.12 | 0.77 | 101
ENF | Conc. in ng/mL | 15.00 (LQ) | Inter-day assay | 15.16 | 0.39 | 2.6 | 96.1
ENF | Conc. in ng/mL | 150.00 (MQ) | Intra-day assay * | 149.3 | 0.67 | 0.45 | 99.5
ENF | Conc. in ng/mL | 150.00 (MQ) | Inter-day assay | 148.2 | 1.88 | 1.27 | 96.7
ENF | Conc. in ng/mL | 400.00 (HQ) | Intra-day assay | 400.59 | 2.83 | 0.71 | 100
ENF | Conc. in ng/mL | 400.00 (HQ) | Inter-day assay | 399.8 | 2.92 | 0.73 | 100

## Table 3
Concentration(ng/mL)_Concentration(ng/mL)_Concentration(ng/mL) | HLM Matrix_BNB_15 | HLM Matrix_BNB_150 | HLM Matrix_BNB_400 | HLM Matrix_ENF_15 | HLM Matrix_ENF_150 | HLM Matrix_ENF_400
Mean a | 15.09 | 148.56 | 398.35 | 15.15 | 148.4 | 400.35
Recovery (%) | 100 | 99.1 | 99.6 | 101 | 98.9 | 100
SD | 0.38 | 1.3 | 3.55 | 0.36 | 1.79 | 3.03
Precision (RSD %) | 2.51 | 0.87 | 0.89 | 2.38 | 1.21 | 0.76

## Table 4
Unnamed: 0 | Nominal Concentration(ng/mL) | Mean (ng/mL) | Recovery % | Precision (RSD %)
BNB | Room temperature for 8 h | 14.89 ± 0.2 | 99.25 | 3.07
BNB | 15 | 14.89 ± 0.2 | 99.25 | 3.07
BNB | 150 | 147.38 ± 2.74 | 98.25 | 1.7
BNB | 400 | 395.31 ± 4.14 | 98.85 | 1.23
BNB | Three freeze–thaw cycles | 14.75 ± 0.27 | 98.32 | 0.46
BNB | 15 | 14.75 ± 0.27 | 98.32 | 0.46
BNB | 150 | 145.18 ± 2.04 | 96.79 | 2.52
BNB | 400 | 389.91 ± 3.19 | 97.48 | 4.87
BNB | Stored at 4 °C for 24 h | 15.01 ± 0.42 | 100.05 | 2.8
BNB | 15 | 15.01 ± 0.42 | 100.05 | 2.8
BNB | 150 | 146.38 ± 3.99 | 97.59 | 2.73
BNB | 400 | 397.31 ± 4.89 | 99.33 | 1.23
BNB | Stored at −20 °C for 30 days
BNB | 15 | 14.51 ± 0.67 | 96.72 | 4.59
BNB | 150 | 146.58 ± 2.39 | 97.72 | 1.63
BNB | 400 | 395.11 ± 4.57 | 98.78 | 1.16
ENF | Room temperature for 8 h
ENF | 15 | 15.25 ± 0.3 | 101.64 | 2
ENF | 150 | 150.83 ± 4.17 | 100.55 | 2.76
ENF | 400 | 405.84 ± 4.45 | 101.46 | 1.1
ENF | Three freeze–thaw cycles
ENF | 15 | 14.61 ± 0.26 | 97.37 | 1.8
ENF | 150 | 145.83 ± 3.93 | 97.22 | 2.7
ENF | 400 | 398.64 ± 3.95 | 99.66 | 0.99
ENF | Stored at 4 °C for 24 h
ENF | 15 | 14.51 ± 0.35 | 97.37 | 2.37
ENF | 150 | 143.43 ± 2.85 | 96.95 | 1.96
ENF | 400 | 392.84 ± 3.16 | 98.21 | 0.81
ENF | Stored at −20 °C for 30 days
ENF | 15 | 15.03 ± 0.28 | 100.18 | 1.84
ENF | 150 | 144.83 ± 3.90 | 96.55 | 2.69
ENF | 400 | 393.64 ± 3.05 | 98.41 | 0.77

## Table 5
Parameters_Parameters | ENF_ENF Alone | ENF_ENF with BNB | BNB_BNB Alone | BNB_BNB with ENF
Regression equation a | y = −0.0161x + 4.6059 | y = −0.0151x + 4.6042 | y = −0.0115x + 4.6096 | y = −0.0119x + 4.605
Slope | 0.0161 | 0.0151 | 0.0115 | 0.0119
t1/2 b | 43.1 min | 45.9 min | 60.3 min | 58.2 min
CLint c | 16.09 µL/min/mg | 15.09 µL/min/mg | 11.49 µL/min/mg | 11.89 µL/min/mg
R2 d | 0.9972 | 0.9906 | 0.9757 | 0.9817

## Table 6
Agilent 1200 HPLC | Agilent 1200 HPLC.1 | Triple Quadrupole 6410 QqQ | Triple Quadrupole 6410 QqQ.1
Isocratic mobile phase | ACN (38%) | ESI source | Positive mode
Isocratic mobile phase | 10 mM ammonium formate in H2O (62%) adjusted with formic acid to pH 3.8 | ESI source | Drying gas: N2 gasPressure (60 psi)Flow rate (12 L/min)
Isocratic mobile phase | Injection volume: 2 μL | ESI source | Drying gas: N2 gasPressure (60 psi)Flow rate (12 L/min)
Isocratic mobile phase | Flow rate: 0.2 mL/min | ESI source | Drying gas: N2 gasPressure (60 psi)Flow rate (12 L/min)
Agilent Hypersil BDS-C18 | Length 125 mm,fully porous particle size (3.0 μm) andinternal diameter (2.0 mm) | ESI source | Source temperature: 350 °C
Agilent Hypersil BDS-C18 | Length 125 mm,fully porous particle size (3.0 μm) andinternal diameter (2.0 mm) | ESI source | Capillary voltage: 4000 V
Agilent Hypersil BDS-C18 | Length 125 mm,fully porous particle size (3.0 μm) andinternal diameter (2.0 mm) | Mode | MRM mode
Agilent Hypersil BDS-C18 | Length 125 mm,fully porous particle size (3.0 μm) andinternal diameter (2.0 mm) | Collision cell gas | Nitrogen with high purity
Analytes | Binimetinib (BNB) | BNB MRM transitions | m/z 441 → m/z 379, FVa: 140 V, CEb: of 22 eV
Analytes | Binimetinib (BNB) | BNB MRM transitions | m/z 441 → m/z 165, FV: 140 V, CE: of 20 eV
Analytes | Encorafenib (ENF) | ENF MRMTransitions | m/z 540 → m/z 508, FV: 135 V, CE: 18 eV
Analytes | Encorafenib (ENF) | ENF MRMTransitions | m/z 540 → m/z 359, FV: 140 V, CE: 20 eV
IS | Avitinib (AVB) | AVB MRM transitions | m/z 488 → m/z 433, FV: 145 V, CE: of 15 eV
IS | Avitinib (AVB) | AVB MRM transitions | m/z 488 → m/z 403, FV: 145 V, CE: of 16 eV

## Freetext Data
Data | Value | Relevance
Composite Site Lability (CSL) of Binimetinib (BNB) | 0.9775 | Indicates the lability of BNB to liver metabolism, which is essential for understanding its metabolic stability.
Composite Site Lability (CSL) of Encorafenib (ENF) | 0.9108 | Indicates the lability of ENF to liver metabolism, influencing its metabolic stability.
Major CYP Isoform Metabolizing BNB and ENF | CYP3A4 | Defines the metabolic pathway, explaining the role of CYP3A4 in metabolism.
BNB In Vitro Half-Life (t1/2) | 60.3 min | Determines the metabolic stability of BNB by illustrating its clearance rate.
ENF In Vitro Half-Life (t1/2) | 43.1 min | Reflects ENF's metabolic stability, giving insight into its clearance profile.
BNB Intrinsic Clearance (CLint) | 11.49 µL/min/mg | Quantifies the metabolism rate of BNB in vitro, thus affecting bioavailability/treatment regimen.
ENF Intrinsic Clearance (CLint) | 16.09 µL/min/mg | Quantifies ENF's metabolism rate in vitro, key for evaluating its bioavailability/treatment regimen.
BNB and ENF Combined Influence on Each Other's Metabolism | No Significant Effect | Reveals no pharmacokinetic interactions affecting metabolic stability when co-administered.
FDA-Recommended Dose of BNB | 45 mg, twice daily | Information critical for clinical relevance and dosing protocols in treating melanoma.
FDA-Recommended Dose of ENF | 450 mg, once daily | Details essential for standard treatment regimens and maintaining therapeutic levels.
BNB Recoverability from HLM Matrix | 99.73% ± 0.78% | Demonstrates the accuracy of extraction processes in LC-MS/MS methodology.
ENF Recoverability from HLM Matrix | 100.1% ± 1.1% | Indicates method efficiency in extracting ENF for LC-MS/MS analyses.
Cytotoxicity Predictions for BNB (DEREK) | Nephrotoxicity (equivocal) | Provides potential side effects, relevant for safety evaluations.
Cytotoxicity Predictions for ENF (DEREK) | Hepatotoxicity (plausible), Phototoxicity (equivocal) | Reveals possible toxicological alerts needed in risk assessment.
Method Run Time for LC–MS/MS | 6 min | Highlights procedural efficiency in simultaneous quantification of BNB and ENF.
Correlation Coefficient (R²) for Calibration | 0.9997 (BNB), 0.9998 (ENF) | Validates the linearity and precision of the developed LC-MS/MS method.
Stability of BNB in Laboratory Conditions | 96.55–101.64% | Confirms that storage conditions do not degrade BNB significantly, relevant for handling and analysis.
Stability of ENF in Laboratory Conditions | 96.79–100.05% | Ensures ENF's chemical stability during laboratory procedures.
Predicted Toxicity Screening Tool Used | DEREK | Indicates technology used for safety profiling and ensuring drug design compliance.
ENF and BNB Concentration in HLM Matrix | 1 µM | Relevant because the metabolic stability assessments were performed by incubating ENF and BNB at 1 µM concentration with HLMs, which is critical for determining pharmacokinetic (PK) parameters.
Sample Collection Time Points | 0, 1, 2.5, 7.5, 15, 30, 50 min | Relevant for understanding how time kinetics of drug degradation were measured, which directly impacts the PK study's structure for determining in vitro half-life and intrinsic clearance.
Sample Preparation | Phosphate buffer, pH 7.4, containing 3.3 mM MgCl2 | Relevant since the sample preparation conditions are crucial for maintaining the metabolic integrity of liver microsomes, impacting the accuracy of PK assessments.
Incubation Conditions | Pre-incubated at 37 °C for 10 min and initiated with 1 mM NADPH | Relevant because these conditions are necessary for initiating hepatic metabolism, mimicking physiological conditions for PK studies.
PK Study Focus | Assay in human liver microsomes (HLMs) | Relevant as the PK study design revolves around using HLMs, key to evaluating drug metabolism and intrinsic clearance rates.
Study Matrix and Analyte | Human Liver Microsome Matrix | Relevant to explain the biological context in which ENF and BNB PK stability dynamics were studied.
Number of QC Samples Per Condition | Multiple QC levels (LQ, MQ, HQ at 15, 150, 400 ng/mL) | Relevant because assessing different quality control levels ensures precise concentration quantification, critical for PK parameter calculation.
Precision and Stability Method | Multiple replicates per sample (six calibration curves) | Relevant because replicates help in establishing the reliability of time-course PK data, ensuring the reproducibility of metabolic rate constants.
Metabolite Monitoring | Analyte concentration decrease over time | Relevant as tracking the decrease informs on the clearance rates, directly tying into PK dynamics.
In vitro metabolic clearance model | Well-stirred model | Relevant because the well-stirred model was used for in vitro drug metabolism experiments to calculate ENF and BNB's intrinsic clearance and in vitro half-life.
Composite site lability model | Composite Site Lability (CSL) | Relevant as the CSL model in silico was used to predict the lability of sites to liver metabolism, contributing to understanding drug stability for ENF and BNB.
Cloe PK simulation software | Physiologically-based pharmacokinetic simulation model (PBPK) | Relevant because it predicts in vivo pharmacokinetics of ENF and BNB, based on in vitro metabolism data.
Calibration Curve Range (ENF and BNB) | 5–500 ng/mL | The calibration curve range determines the quantifiable limits for ENF and BNB in the human liver microsome matrix, essential for accurate metabolic studies.
Regression Equation (ENF) | y = 2.3299x − 4.5808 (R2 = 0.9998) | Describes the linearity and sensitivity of the established method for ENF quantification, critical for method validation.
Regression Equation (BNB) | y = 0.5287x − 2.2924 (R2 = 0.9997) | Describes the linearity and sensitivity of the established method for BNB quantification, ensuring accurate measurements in the specified range.
Intrinsic Clearance (CLint, ENF) | 16.09 µL/min/mg | Measured from human liver microsomes (HLMs), indicating moderate clearance and bioavailability predictions for ENF.
Intrinsic Clearance (CLint, BNB) | 11.49 µL/min/mg | Estimated from HLM metabolic studies, relevant for understanding the clearance and metabolic behavior of BNB.
In Vitro Half-Life (t1/2, ENF) | 43.1 min | Indicates drug stability in the HLM system and contributes to understanding how long ENF remains intact during metabolism.
In Vitro Half-Life (t1/2, BNB) | 60.3 min | Reflects BNB's stability in the HLM incubation system, important for predicting its metabolic rate and dosing.
CYP450 Isoform Role (ENF and BNB) | CYP3A4 | Identified through the WhichP450 module and HLM data, this enzyme plays a major role in metabolizing both drugs, influencing their clearance and interaction profiles.
Composite Site Lability (CSL, ENF) | 0.9108 | The result shows ENF's vulnerability to liver metabolism, derived from the StarDrop WhichP450 module.
Composite Site Lability (CSL, BNB) | 0.9775 | Indicates metabolic lability of BNB, assessed via in silico modeling, correlating with in vitro studies.
Specific Retention Time (ENF) | 4.32 min | Measurement from the LC–MS/MS study, crucial for identifying ENF during chromatographic separation.
Specific Retention Time (BNB) | 1.89 min | Critical for isolating BNB in the LC–MS/MS assay, ensuring accurate quantification in biological matrices.
Specific Retention Time (AVB, Internal Standard) | 2.88 min | Ensures peak resolution and method accuracy in the chromatographic baseline for reproducibility.
Regression Equation (Slope, ENF Alone) | −0.0161 (R2 = 0.9997) | Used to calculate intrinsic clearance and half-life from metabolic stability curves in experimental assays.
Regression Equation (Slope, ENF Mixed with BNB) | −0.0151 (R2 = 0.9906) | Evaluates ENF metabolism when co-administered with BNB, verifying no significant interaction.
Regression Equation (Slope, BNB Alone) | −0.0115 (R2 = 0.9757) | Used to calculate intrinsic clearance, helping assess BNB's independent metabolism.
Regression Equation (Slope, BNB Mixed with ENF) | −0.0119 (R2 = 0.9817) | Indicates metabolic stability of BNB in the presence of ENF, supporting co-administration findings.
Detection Method | LC–MS/MS with MRM Mode | Chosen for its sensitivity, specificity, and accuracy in simultaneous quantification of ENF and BNB in human liver microsomes.
Matrix Recovery (ENF) | 100.1% ± 1.1% | Indicates the efficiency of the extraction method for ENF from the HLM matrix, ensuring accurate results.
Matrix Recovery (BNB) | 99.73% ± 0.78% | Demonstrates the suitability of the extraction procedure, confirming minimal loss and reliable BNB quantification.
Matrix Effect (ENF) | 98.7% ± 2.1% | Represents inhibition or enhancement by the HLM matrix, confirming negligible interference in the ionization of ENF.
Matrix Effect (BNB) | 99.12% ± 3.2% | Shows minor influence by the HLM matrix on the ionization process, validating accuracy for BNB estimation.
Analyte Stability at −20°C (ENF) | 96.55–101.64% over 30 days | Confirms long-term stability of ENF under laboratory protocol storage, essential for experimental consistency.
Analyte Stability at −20°C (BNB) | 96.79–100.05% over 30 days | Ensures BNB stability over prolonged periods, aligning with experimental needs.
Composite Site Lability (CSL) of BNB | 0.9775 | Indicates the vulnerability of BNB to liver metabolism by CYP3A4, which influences its pharmacokinetics.
Composite Site Lability (CSL) of ENF | 0.9108 | Suggests moderate lability of ENF to liver metabolism, affecting its pharmacokinetics.
Main CYP involved in BNB metabolism | CYP1A2, CYP2C19, and UGT1A1 | Specific enzymes involved in BNB metabolism influence clearance and pharmacokinetic behavior.
Main CYP involved in ENF metabolism | CYP3A4 | ENF metabolism by CYP3A4 significantly impacts its pharmacokinetic profile.
Intrinsic Clearance (CLint) for ENF | 16.09 µL/min/mg | Demonstrates a moderate level of clearance for ENF, affecting its pharmacokinetics.
Intrinsic Clearance (CLint) for BNB | 11.49 µL/min/mg | Indicates moderate clearance for BNB, influencing its pharmacokinetics.
In vitro half-life (t1/2) of ENF | 43.1 min | Reflects the time for ENF to decrease in systemic circulation, key for pharmacokinetics.
In vitro half-life (t1/2) of BNB | 60.3 min | Indicates BNB's stability and duration in systemic circulation, critical for pharmacokinetics.
Effect of concurrent use on ENF metabolism | Slightly slower ENF metabolism | Suggests negligible interaction affecting ENF pharmacokinetics when combined with BNB.
Effect of concurrent use on BNB metabolism | Slightly faster BNB metabolism | Demonstrates minimal alteration in pharmacokinetics of BNB when combined with ENF.
DEREK toxicology alert for BNB | Halogenated benzene leads to nephrotoxicity (equivocal) | Could affect pharmacokinetics through renal functions.
DEREK toxicology alert for ENF | Hepatotoxicity (plausible), phototoxicity (equivocal) | Suggests potential liver involvement that can impact the metabolism and pharmacokinetics of ENF.
Matrix effects for ENF | 98.7% | Minimal impact suggests reliable pharmacokinetic assessment.
Matrix effects for BNB | 99.12% | Indicates low interference, supporting accurate pharmacokinetic profiling.
Plasma accumulation warning | Slow bioaccumulation of ENF and BNB | Impacts pharmacokinetics over time due to the risk of drug buildup in plasma.
Role of metabolism in drug disposition | Both ENF and BNB metabolized primarily in the liver | Highlights how pharmacokinetics of both drugs are influenced by hepatic metabolism.