## Table 1
Unnamed: 0_level_0_Unnamed: 0_level_1_Unnamed: 0_level_2 | HC_VT_Test | HC_VT_Retest | HC_VT_%TRT | HC_DVR (plasma input)_Test | HC_DVR (plasma input)_Retest | HC_DVR (plasma input)_%TRT | HC_SRTM BPND_Test | HC_SRTM BPND_Retest | HC_SRTM BPND_%TRT | HC_SRTM R1_Test | HC_SRTM R1_Retest | HC_SRTM R1_%TRT | AD_VT_Test | AD_VT_Retest | AD_VT_%TRT | AD_DVR (plasma input)_Test | AD_DVR (plasma input)_Retest | AD_DVR (plasma input)_%TRT | AD_SRTM BPND_Test | AD_SRTM BPND_Retest | AD_SRTM BPND_%TRT | AD_SRTM R1_Test | AD_SRTM R1_Retest | AD_SRTM R1_%TRT
Hippocampus | 20.6 (3.0) | 17.8 (1.1) | –1.1 (6.2) | 3.6 (0.4) | 3.2 (0.4) | –8.8 (6.0) | 2.3 (0.4) | 1.9 (0.3) | –14.4 (14.4) | 1.9 (0.2) | 1.9 (0.2) | –3.7 (8.4) | 16.3 (1.3) | 16.8 (1.8) | 3.3 (9.1) | 3.0 (0.4) | 3.2 (0.3) | 7.4 (14.8) | 2.0 (0.1) | 1.3 (0.6) | –19.5 (-) | 1.8 (0.2) | 1.9 (0.2) | 3.6 (9.1)
Medial Temporal Lobe | 21.4 (2.8) | 18.8 (1.0) | –8.2 (4.2) | 3.7 (0.4) | 3.4 (0.4) | –7.2 (5.8) | 3.2 (0.3) | 3.0 (0.4) | –10.2 (11.1) | 1.8 (0.2) | 1.7 (0.2) | –2.9 (9.3) | 17.7 (1.6) | 18.3 (2.1) | 3.4 (9.4) | 3.3 (0.5) | 3.5 (0.3) | 7.5 (16.2) | 2.4 (1.3) | 3.1 (0.5) | –0.3 (21.8) | 1.7 (0.2) | 1.8 (0.2) | 4.1 (9.4)
Cerebellum | 18.1 (1.8) | 16.4 (1.3) | –7.2 (4.9) | 3.2 (0.3) | 3.0 (0.4) | –6.1 (7.7) | 1.8 (0.5) | 1.7 (0.5) | –10.9 (12.1) | 2.5 (0.1) | 2.1 (0.9) | –2.8 (6.7) | 15.5 (1.4) | 16.3 (1.9) | 4.7 (9.0) | 2.9 (0.3) | 3.1 (0.3) | 8.8 (12.8) | 1.3 (0.7) | 1.7 (0.5) | 15.8 (16.6) | 1.7 (1.2) | 2.4 (0.6) | 7.6 (14.8)
Brainstem | 8.4 (0.9) | 7.9 (1.0) | –4.8 (4.2) | 1.5 (0.2) | 1.4 (0.2) | –3.7 (5.4) | 0.5 (0.2) | 0.4 (0.2) | –11.8 (17.8) | 1.4 (0.6) | 1.6 (0.2) | –2.7 (6.6) | 7.4 (0.7) | 7.5 (0.8) | 1.4 (12.3) | 1.4 (0.1) | 1.4 (0.1) | 5.5 (7.7) | 0.4 (0.1) | 0.5 (0.1) | 10.7 (18.2) | 1.7 (0.1) | 1.5 (0.7) | 0.9 (8.4)
Caudate Nucleus | 22.9 (3.3) | 20.6 (2.3) | –7.6 (6.8) | 3.9 (0.5) | 3.7 (0.5) | –7.6 (6.8) | 2.5 (0.4) | 2.2 (0.4) | –9.2 (5.9) | 2.3 (0.3) | 2.2 (0.5) | –0.8 (6.5) | 19.2 (2.2) | 20.5 (3.0) | 10.3 (17.8) | 3.6 (0.5) | 3.9 (0.6) | 10.3 (17.8) | 2.1 (0.5) | 2.2 (0.4) | 9.9 (22.4) | 2.1 (0.3) | 2.1 (0.2) | 2.0 (10.9)
Putamen | 28.7 (3.6) | 25.8 (1.2) | –5.5 (4.4) | 4.9 (0.4) | 4.7 (0.5) | –5.5 (4.4) | 3.3 (0.3) | 3.0 (0.4) | –5.3 (8.0) | 2.8 (0.2) | 2.7 (0.3) | –2.0 (5.7) | 25.9 (3.2) | 26.9 (2.9) | –3.9 (8.2) | 4.8 (0.5) | 5.2 (0.5) | 3.9 (17.8) | 3.1 (0.3) | 3.3 (0.4) | 3.8 (16.1) | 2.8 (0.3) | 2.9 (0.4) | 3.2 (9.5)
Thalamus | 19.8 (3.5) | 17.7 (2.7) | –5.8 (5.4) | 3.5 (0.6) | 3.2 (0.6) | –6.6 (5.4) | 2.2 (0.6) | 2.0 (0.5) | –7.3 (11.6) | 2.6 (0.3) | 2.5 (0.3) | –5.4 (7.1) | 14.8 (0.9) | 16.0 (2.3) | 7.2 (16.3) | 2.8 (0.5) | 3.1 (0.5) | 7.2 (16.3) | 1.6 (0.5) | 1.6 (0.6) | 9.4 (12.4) | 2.0 (0.9) | 2.2 (0.4) | –0.5 (13.1)
Whole Brain (grey matter) | 21.9 (3.0) | 19.4 (1.3) | –7.7 (4.3) | 3.8 (0.4) | 3.5 (0.4) | –6.6 (6.1) | 2.4 (0.3) | 2.2 (0.4) | –8.2 (9.6) | 2.4 (0.2) | 2.3 (0.3) | –1.9 (6.3) | 18.2 (1.5) | 18.9 (1.8) | 3.4 (8.1) | 3.4 (0.4) | 3.6 (0.3) | 7.5 (12.7) | 2.3 (0.1) | 2.2 (0.3) | –7.6 (13.4) | 2.3 (0.2) | 2.3 (0.2) | 1.6 (10.0)

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Tracer Kinetic Models | 1T2k_VB and 2T4k_VB described [11C]UCB-J kinetics equally well (based on AIC) | Relevant as the study evaluates suitable models for [11C]UCB-J PET imaging, influencing the reliability of synaptic density quantification.
Scan Duration | 60 minutes sufficient for reliable estimation for both plasma input and reference tissue models | Relevant to determining the adequacy and practicality of scan protocols in clinical and research settings.
Test–Retest Variability | Whole-brain grey matter TRT for VT: -2.2% ± 8.5%; DVR: 0.4% ± 12.0%; SRTM BPND: -8.0% ± 10.2% | Relevant in assessing long-term repeatability of quantitative [11C]UCB-J PET imaging in clinical trials.
Test–Retest Reliability | Variability <15% (1SD) averaged across subjects for VT, DVR, and SRTM BPND | Relevant as it evaluates whether [11C]UCB-J can reliably monitor changes in synaptic integrity for longitudinal trials.
SV2A Regional Binding Difference | Significant reduction in hippocampus VT for AD (20.9% compared to HCs in test scans) | Relevant for identifying synaptic loss in AD patients, a primary focus of imaging biomarkers in neurodegeneration.
Synaptic Pathology | [11C]UCB-J binds to SV2A, reflecting presynaptic density | Relevant since SV2A binding correlates with synaptic function, critical in understanding AD pathology.
Arterial Blood Sampling | Utilized for kinetic modeling with time-corrected individual plasma input functions | Relevant as arterial sampling accuracy impacts quantitative reliability in PET imaging studies.
Simplified Reference Tissue Model | SRTM-derived BPND correlated with plasma input DVR but showed ~25% underestimation | Relevant as it supports the exploration of simplified non-invasive methods for clinical viability.
SUVr Time Intervals | SUVr40–60min displayed better correlation with DVR; SUVr70–90min (HCs only) showed least negative bias | Relevant for optimizing simplified metrics as potential surrogates for full kinetic modeling.
Systematic Retest Bias | Systematic lower values in retest scans observed for VT, DVR, and SRTM BPND in HCs | Relevant as it raises potential biological effects, like acute stress, impacting test-retest consistency.
Center-Specific Observations | Variability observed between Amsterdam UMC and UMCG centers, particularly in VT values | Relevant to generalizability and multicenter study implications for biomarker standardization.
Role of White-Matter Centrum Semi-Ovale | Used as a reference region; no significant VT difference between AD and HC groups | Relevant as reference region accuracy influences SRTM reliability and is paramount for quantifications.
Hippocampus Findings | Average VT reduction for AD versus HCs (11.8% significance in test + retest scans combined) | Relevant to the focus on hippocampal synaptic density reduction linked to AD progression.
Funding Source | Rodin Therapeutics Inc. provided funding for the study | Relevant for disclosing potential conflicts and study design influences.
Ethical Compliance | Approved by Medical Review and Ethics Committees; followed Declaration of Helsinki | Relevant for ensuring study adherence to ethical standards in human research.
Test-retest interval | 28 days | Relevant as it provides the timeline for repeatability assessment in the study design.
Patient sample size | 9 healthy controls (HCs) and 8 Alzheimer’s disease (AD) patients | Relevant to understanding the population sizes and groups studied to determine [11C]UCB-J repeatability.
Inclusion criteria for AD patients | Probable AD defined by NIA-AA guidelines, abnormal Aβ42 in CSF (<813 pg/mL) or abnormal amyloid-β PET, and MMSE score between 18-26 | Relevant as it describes the characteristics of the patient population studied for synaptic density imaging.
Inclusion criteria for HCs | Cognitively normal, no cognitive complaints, MMSE score ≥27 | Relevant for establishing the control population in the study.
Scan duration for HCs | 90 minutes for PET scans, subsequently reduced to 60 minutes | Relevant as it shows the acquisition protocol for evaluating kinetics and repeatability in HCs.
Scan duration for AD patients | 60 minutes for PET scans | Relevant as it presents the scanning protocol specifically used for AD patients.
Tracer injection dosage | 373 ± 22 MBq for HCs, 320 ± 39 MBq for AD patients | Relevant as it details the administered tracer dose, critical for pharmacokinetics and image acquisition.
Blood sampling | Continuous sampling for 60 minutes in HCs, 30 minutes in AD patients | Relevant to outlining how the plasma input functions were determined for modeling.
Manual blood sampling | 5-7 mL collected at intervals (5, 10, 15, 20, 40, 50, 60 minutes) | Relevant as it supports metabolite correction and plasma-to-whole blood ratios in the study design.
Arterial cannula for sampling | Radial artery for tracer time-course determination | Relevant as arterial input function is critical for kinetic modeling in PET studies.
Reference region for analysis | Centrum semi-ovale (white matter) | Relevant as it defines how the reference region was used in kinetic modeling to estimate non-specific binding.
MRI acquisition for co-registration | 3.0-T Philips Ingenuity and 1.5-T Siemens Aera used for T1-weighted MRI | Relevant as T1-weighted MRI was essential for precise co-registration with PET data in the study.
PET scanners used | Ingenuity TF PET/CT (Amsterdam UMC), Biograph mCT PET-CT (UMCG) | Relevant for understanding the multicenter setup and instrumentation variability.
Exclusions | Two scans excluded due to motion artifacts, one scan failed due to tracer production issues, and one AD patient discontinued | Relevant for assessing the final sample size and technical challenges in the study.
In vivo kinetic model | 1T2k_VB (1-tissue compartment model with blood volume parameter) | Demonstrates an adequate model for describing [11C]UCB-J kinetics in the brain during PET imaging, fulfilling the study's objective of identifying an optimal tracer kinetic model.
Alternative model | 2T4k_VB (2-tissue reversible compartment model with blood volume parameter) | Mentioned as a competing model based on Akaike information criterion (AIC), highlighting its potential but reinforcing the preference for 1T2k_VB due to reliability issues with parameter estimation.
Akaike Information Criterion (AIC) | Used for model assessment | Relevant for comparing models (1T2k_VB vs. 2T4k_VB) and determining optimal model preferences for [11C]UCB-J kinetics.
Measurement parameters | VT (volume of distribution), K1 (tracer delivery rate) | Used to validate the chosen model (1T2k_VB), ensuring its suitability to quantify SV2A density in the human brain.
Validation approach | 60-min scan sufficient for reliable estimates | Confirms the practicality and robustness of the chosen 1T2k_VB model within a reduced scan duration.
Simplified analysis method | SRTM (Simplified Reference Tissue Model) | Although not the primary model, its use is discussed for practical and non-invasive quantification, demonstrating the broader applicability of kinetic models to different settings.
--- | --- | ---
Test-retest repeatability (TRT) for VT, DVR, SRTM BPND averaged over all subjects | <15% (1 SD) for all parameters | Indicates the repeatability of the parameter estimates and adequacy of [11C]UCB-J PET quantitative analysis.
K1 values derived from 1T2k_VB model (HC, Whole brain grey matter) | 0.39 ± 0.06 mL/cm3 | Reflects tracer delivery and kinetics in healthy controls.
K1 values derived from 1T2k_VB model (AD patients, White-matter SO) | 0.16 ± 0.20 mL/cm3 | Demonstrates reduced tracer delivery to the reference region in Alzheimer’s disease patients.
VT values (HC, Whole brain grey matter, 1T2k_VB model) | 19.32 ± 2.59 | Shows total volume of distribution of [11C]UCB-J in a larger brain region in healthy controls.
VT values (AD patients, White-matter SO, 1T2k_VB model) | 5.36 ± 0.77 | Quantifies the distribution in reference tissue and suggests no significant differences between groups for this region.
Plasma input-derived DVR (Whole brain grey matter) | HCs: -6.6% ± 6.1; AD patients: 7.5% ± 12.7 | Describes synaptic density relative to plasma reference and highlights differences between groups.
SRTM-derived BPND (Whole brain grey matter) | HCs: -8.2% ± 9.6; AD patients: -7.6% ± 13.4 | Represents synaptic density estimates in a non-invasive model, showing underperformance in Alzheimer’s.
SUVr40–60min TRT (Whole brain grey matter) | HCs: -3% ± 5.0; AD patients: 5% ± 9.1 | Evaluates tracer uptake stability and comparison methodology derived from simplified reference metrics.
Plasma input-derived VT (HC Hippocampus) | 20.6 ± 3.0 | Regionally-specific brain volume of distribution in healthy subjects.
Plasma input-derived VT (AD Hippocampus) | 16.3 ± 1.3 | Informs synaptic density reduction in the Alzheimer’s hippocampus compared to controls and corresponds to disease pathology.
SUVr50–60min TRT (HC & AD, Whole brain grey matter) | HCs: 0% ± 5.4; AD: 4% ± 10.3 | Simplifies quantification and evaluates uptake consistency using post-injection time-window metrics.
Metabolite fractions | [11C]UCB-J metabolized relatively fast in the plasma with parent fractions of about 60% at 5 min to only 20% after 55 min post-injection | Relevant because metabolite fraction influences pharmacokinetics by determining the proportion of active tracer available for imaging.
Kinetic model | [11C]UCB-J kinetics were well described by a reversible single tissue compartment model with VB fraction as a fit parameter | Relevant as kinetic models guide pharmacokinetic assessments and establish appropriate mathematical frameworks for tracer distribution.
Scan duration | Reducing scan duration to 60 min had negligible effects on K1 and VT values compared to 90 min scans | Relevant because scan duration directly affects the reliability and precision of pharmacokinetic parameter estimation.
Stress factors | Acute stress possibly leading to changes in readily releasable pools of synaptic vesicles affecting the tracer kinetics | Relevant as external biological factors like stress could alter pharmacokinetic behavior and tracer uptake.
Use of reference region | White matter (centrum semi-ovale) used as a reference region, but potential issues due to differing kinetic behavior | Relevant because the choice and behavior of a reference region can influence parameter estimates and pharmacokinetics.
Variability between centers | Differences in metabolite measurement methodologies may contribute to variability in parameter estimations | Relevant as inter-center methodological variability could influence pharmacokinetic data consistency across studies or centers.
SUVr time intervals | SUVr40–60 showed higher correlation with plasma input DVR than SUVr50–60 or SUVr70–90 | Relevant as variability in selected time intervals for SUVr affects pharmacokinetics' representation and meaningful comparisons.
Blood-brain barrier kinetics | Tracer influx (K1) in centrum semi-ovale was significantly lower than in other brain regions | Relevant because regional differences in tracer influx reflect variations in blood-brain barrier kinetics, affecting pharmacokinetics.
Biological differences | Observed lower parametric values in retest scans, suspected due to reduced stress levels | Relevant as underlying biological changes between scans could impact pharmacokinetic profiles, biasing test-retest metrics.