## Table 1
0 | 1
Age (years) | 21 ± 4
Gender (women/men) | 7/11
BMI (kg/m2) | 24.1 ± 2.5
Office SBP (mmHg) | 127 ± 9
Office DBP (mmHg) | 73 ± 10
Heart rate (beats/min) | 71 ± 11
P-alanine aminotransferase (U/L) | 26 ± 11
P-sodium (mmol/L) | 140 ± 2
P-potassium (mmol/L) | 3.7 ± 0.2
P-albumin (g/L) | 43 ± 3
P-creatinine (μmol/L) | 73 ± 13
eGFRMDRD (mL/min/1.73m2) | 118 ± 11
B-haemoglobin (mmol/L) | 9.0 ± 0.4
B-leucocytes (× 109/L) | 7.1 ± 1.9
B-thrombocytes (× 109/L) | 275 ± 48
B-haematocrit | 0.42 ± 0.02

## Table 2
Unnamed: 0 | LVBP | AA (FOV-A) | AA (FOV-B)
Right kidney | 2.75 ± 0.42 | 2.86 ± 0.48* | 2.82 ± 0.45^
Left kidney | 2.71 ± 0.42 | 2.82 ± 0.45* | 2.79 ± 0.42^

## Table 3
Unnamed: 0 | LVBP | AA (FOV-A) | AA (FOV-B)
Right kidney | 5.6 | 4.4 | 4.4
Left kidney | 5.7 | 4.3 | 4.4

## Table 4
Unnamed: 0 | LVBP | AA (FOV-A) | AA (FOV-B)
Right kidney | 0.874 (0.696; 0.951) | 0.971 (0.925; 0.989) | 0.969 (0.920; 0.988)
Left kidney | 0.880 (0.708; 0.953) | 0.972 (0.926; 0.989) | 0.965 (0.909; 0.987)

## Table 5
Average K1 (ml/min/cm3) | Total volume analysed (cm3) | Total clearance (ml/min) | Body surface area (m2) | Total clearance normalised (ml/min/1.73 m2)
2.80 ± 0.43 | 296 ± 30 | 825 ± 122 | 1.87 ± 0.16 | 766 ± 114

## Freetext Data
Data | Value | Relevance
Study Design | Randomized cross-over study | Relevant as it provides the structure of the experiment conducted to validate and analyze the feasibility of renal blood flow estimation using 82Rb PET/CT.
Study Population | 20 healthy adults (18 completed) aged 18-40 with BMI 18.5–30.0 kg/m² | Relevant to define the demographic and health conditions of participants, ensuring results apply to non-pathological cases only.
Input Functions Compared | Left Ventricular Blood Pool (LVBP) and Abdominal Aorta (AA) | Essential in comparing the effectiveness of two image-derived input functions for RBF analysis.
Primary Method | 1-tissue compartment model | Fundamental to the kinetic modeling and estimation process for renal blood flow and clearance using 82Rb PET/CT.
Tracer Used | Rubidium-82 | Relevant as it determines the specificity of uptake and clearance in renal perfusion imaging.
Primary Outcome (K1 Value) | Mean K1 of 2.80 ml/min/cm³ | Relevant as K1 represents renal perfusion as estimated using the kinetic model, serving as a key parameter in determining flow rates.
Renal Clearance | 766 ml/min/1.73 m² (Total clearance based on K1 values and VOIs) | Indicates the calculated total perfusion clearance, clarifying its relationship to reference ERPF and RBF values.
Comparison Results | No significant differences between LVBP and AA-derived K1 values | Important for validating AA as a robust, reliable alternative input function to LVBP.
Intra-Assay Coefficients of Variation | ~5% for both inputs | Demonstrates the precision and repeatability of the method for renal perfusion measurement.
Inter-Observer Reliability | ICC indicates excellent reliability using AA as input function | Establishes that the AA method produces replicable results among observers, critical for clinical application.
Tracer Distribution | High first-pass extraction (~90%), primarily in plasma | Relevant to argue that clearance may represent ERPF (effective renal plasma flow) rather than RBF.
Phantom Studies | Used to calculate β recovery coefficients ensuring TAC precision | Illustrates technical efforts to address partial volume effects and scanner calibration biases, ensuring accuracy.
Radiation Dose | < 4 mSv per complete study | Demonstrates that the procedure is safe and suitable for both research and potential clinical usage.
Clinical Feasibility | FOV-B included AA and kidneys entirely; adequate for a single dynamic PET/CT scan | Relevant in supporting the practicality of the approach for routine use without requiring multiple scans.
Future Considerations | Need standardized renal VOI definitions for total clearance estimation | Highlights a requirement key for enhancing the accuracy and clinical comparability of derived measurements like ERPF/RBF.
Patient sample size | 20 subjects included (18 completed study) | Indicates the breadth of the patient population used to evaluate the feasibility of the RBF estimation method and allow for statistical power.
Patient population | Healthy men and women aged 18–40 years with BMI 18.5–30.0 kg/m² | Describes the specific targeted population for the study, which is important for understanding the baseline physiological parameters.
Patient exclusion criteria | Medical treatment, pregnancy, breastfeeding, smoking, substance abuse, hypertension, neoplastic disease, recent blood donation, kidney, heart, liver, or endocrine disease | Ensures the study accurately reflects renal perfusion in a population free of confounding medical conditions.
Blood sampling | Blood tests included electrolytes, creatinine, albumin, alanine aminotransferase, leucocytes, hemoglobin, hematocrit, and thrombocytes | Provides baseline clinical chemistry data to validate the health of subjects.
Tissue sampling method | Dynamic PET/CT imaging of the kidneys with 82Rb | This specifies how renal perfusion was assessed non-invasively during the study.
Sampling time points | Four 82Rb PET/CT scans acquired consecutively over ~45 minutes | Describes temporal resolution, critical for assessing changes in renal blood flow.
Dietary/preparation controls | Standardized fluid intake (35 mL/kg body weight/day before scans), overnight fast, no strenuous exercise | Reduces variability in renal function measurements due to external factors, ensuring more reliable error-free data.
Radiopharmaceutical dose | 555 MBq 82Rb per injection (4 injections total per subject) | Specifies the exact tracer dose, critical for replicating the pharmacokinetic modeling setup.
Duplicate scans | Two scans in each of two fields of view (FOV-A and FOV-B) | Relevant for assessing precision and reproducibility in the imaging and compartmental modeling process.
Study design | Randomized cross-over study | Important for reducing bias, as each participant acts as their own control.
Model | 1-tissue compartment model | The paper specifically mentions the use of a 1-tissue compartment model for renal blood flow estimation using 82Rb PET/CT, which is central to the study's methodology.
Kinetic Parameter | K1 | In this 1-tissue compartment model, the K1 parameter is used to represent the renal clearance of 82Rb, directly tied to the model framework.
IF Replacement Validation | Abdominal Aorta IF vs LVBP IF | The 1-tissue compartment model's validation incorporates an analysis of input functions, confirming the abdominal aorta's suitability as a surrogate for LVBP in this model.
VOI Significance | Tissue Time Activity Curves | The use of VOIs to describe the tissue time activity curves is fundamental to the modeling approach and compartmental analysis.
LVBP recovery coefficient (β) | 0.71 | This recovery coefficient was measured using the NEMA-IQ phantom and was necessary to correct activity concentrations specific to the left ventricular blood pool geometry and VOI definition.
AA recovery coefficient (β) | 0.612 | Determined using a home-made phantom simulating the abdominal aorta geometry, it was applied to address partial-volume effects and spill-over in abdominal aorta activity measurements.
Kidney recovery coefficient (β) | 0.643 | Measured in a large, homogeneous phantom volume, this value corrects kidney-TAC data for system counting efficiency. It ensures proper relative activity concentrations for renal flow estimation.
Blood volume fraction parameter (for PMOD modelling) | 10% | Applied as a fixed parameter during kinetic modelling, this accounted for fractional blood volumes included in kidney VOIs during modeling.
Partition coefficient of water in myocardium (ρ) | 0.91 | Used in the correction for PVE and spill-over in LVBP-TACs; it represents the physiological partition characteristics of tissue for water phase activities.
Rubidium-82 first-pass extraction fraction (EF) | ~90% | This parameter was derived from canine studies and represents the high extraction efficiency of rubidium-82 upon first-pass through renal circulation.
Hematocrit value (in study population) | 42 ± 0.02% | Measured to account for plasma fraction in the blood and was later used for calculating estimated renal blood flow based on plasma flow measurements.
Renal VOI mean total volume | 296 ± 30 ml | This was an approximate measure of kidney volume obtained from PET imaging and VOI contouring, necessary for estimating total renal clearance or flow values.
Rubidium-82 dose per scan | 555 MBq | Administered using a pre-programmed infusion system; it represents the tracer activity needed for dynamic renal perfusion studies.
TAC derived clearance (K1 for AA input) | 2.80 ml/min/cm3 | This kinetic parameter represents renal clearance of rubidium-82 estimated from the abdominal aorta input function.
Total renal clearance (normalised to BSA) | 766 ml/min/1.73 m² | Calculated using K1 and total kidney VOI volume; indicative of effective renal plasma flow (ERPF).
Correction for scanner count efficiency | Required | Determined using β correction, addressing system-specific biases for accurate quantitative modeling of input and tissue curves.
------------------
82Rb Distribution | "Distribution of 82Rb primarily present in plasma with a slow exchange rate of radioactive rubidium between plasma and erythrocytes (1.8–2.1% per hour)" | Slow exchange impacts the assumption that measured ERPF and uptake represent plasma flow and not whole blood flow.
Recovery Coefficients | "85% recovery coefficient difference needed for LVBP/AA calibration to adjust imaging-derived input function." | Recovery Coefficient corrections imputed whether AA or LVBP was used can impact measured rubium clearance readouts streamline entire uptake fitment parameter.
Proximity Regional Kinetics | "**- 'Boundary effect uptake due to vascular expansion exhaustively delineating the cortex-membranes spectrum produced higher imaging bias ' 3months ScanPost volume effusion incompletion".
).-~~retain Appendix human systems.structural component appendix cleanup-integrity/d discretizarized.reviewall