## Table 1
Analytes | Retention time (min) | Detect mode | Precursor | Product | Collision energy (eV) | RF lens (V) | Fragmentor voltage (V)
G-Rh1 | 4.75 | ESI | 637.3583 | 475.5166 | 40.287 | 198.371 | 175
G-Rb1 | 8.7 | ESI | 1107.556 | 945.5067783.4598621.4125 | 55 | 259.652 | 220
G-Rc | 10.14 | ESI | 1077.5464 | 945.4226783.4203621.2607459.5873 | 49.792 | 247.82 | 175
G-Rd | 12.51 | ESI | 945.4976 | 783.8463621.5194459.2995 | 45.646 | 276.337 | 220
G-Rg3 (IS) | 13.28 | ESI | 783.489 | 621.4325459.3777 | 41.449 | 298.483 | 175

## Table 2
Analytes | Calibration curves | Linear range (ng/mL) | R2 | LLOD (ng/mL) | LLOQ (ng/mL)
G-Rh1 | y = 0.0006x + 0.0015 | 5–10000 | 0.9997 | 1.5 | 5
G-Rb1 | y = 0.0001x + 0.0005 | 5–10000 | 0.9993 | 1.5 | 5
G-Rc | y = 0.0002x + 0.0010 | 5–10000 | 0.9999 | 1.5 | 5
G-Rd | y = 0.0005x + 0.0028 | 5–10000 | 0.9999 | 1.5 | 5

## Table 3
Analytes | Concentration (ng/mL) | Intraday RSD (%) | Interday RSD (%) | Accuracy (RE%) | Recovery (%) | Matrix effect (%)
G-Rh1 | 25 | 9.43 | 9.69 | 0.58 | 90.65 ± 2.34 | 95.67 ± 2.45
G-Rh1 | 250 | 0.95 | 0.49 | 3.84 | 93.67 ± 4.08 | 87.37 ± 8.45
G-Rh1 | 2500 | 1.21 | 2.95 | 4.08 | 96.59 ± 0.62 | 97.57 ± 3.11
G-Rb1 | 25 | 6.65 | 6.21 | −3.47 | 86.06 ± 2.57 | 91.33 ± 0.96
G-Rb1 | 250 | 0.98 | 4.56 | −1.44 | 91.86 ± 2.25 | 94.22 ± 1.47
G-Rb1 | 2500 | 3.5 | 2.38 | 2.38 | 94.19 ± 1.55 | 95.55 ± 1.22
G-Rc | 25 | 5.35 | 6.21 | −7.44 | 89.46 ± 5.13 | 89.42 ± 3.17
G-Rc | 250 | 4.38 | 3.28 | 6.34 | 91.28 ± 4.56 | 94.43 ± 5.85
G-Rc | 2500 | 3.86 | 4.61 | −6.51 | 93.60 ± 2.02 | 96.85 ± 7.33
G-Rd | 25 | 6.29 | 4.82 | −8.92 | 87.64 ± 4.87 | 91.78 ± 5.38
G-Rd | 250 | 1.65 | 2.2 | −5.12 | 90.87 ± 0.56 | 96.65 ± 3.97
G-Rd | 2500 | 3.87 | 4.51 | 7.70 | 96.86 ± 5.08 | 89.94 ± 3.77

## Table 4
Analytes_Analytes | Concentration (ng/mL)_Concentration (ng/mL) | Short term (24 h, room temperature)_RE (%) | Short term (24 h, room temperature)_RSD (%) | Long term (15 days, −20°C)_RE (%) | Long term (15 days, −20°C)_RSD (%) | Freeze-thaw (3 cycles)_RE (%) | Freeze-thaw (3 cycles)_RSD (%) | Postpreparative (8 h, 4°C)_RE (%) | Postpreparative (8 h, 4°C)_RSD (%)
G-Rh1 | 25 | 4.78 | 3.69 | −3.78 | 0.58 | 1.04 | 4.13 | 5.46 | 1.65
G-Rh1 | 250 | −4.64 | 4.57 | −7.34 | 7.66 | 3.48 | 3.62 | 3.87 | 3.64
G-Rh1 | 2500 | 3.75 | 2.56 | 6.66 | 5.93 | 4.86 | 0.78 | 5.19 | 4.79
G-Rb1 | 25 | 1.76 | 4.87 | 1.22 | 6.21 | 5.87 | 4.42 | 5.55 | 7.03
G-Rb1 | 250 | −2.24 | 1.02 | 2.22 | 0.75 | −9.34 | 2.77 | 2.74 | 3.25
G-Rb1 | 2500 | 2.08 | 3.62 | −3.06 | 4.24 | 3.98 | 2.95 | −7.34 | 1.58
G-Rc | 25 | −3.43 | 4.02 | 4.43 | 4.89 | −6.43 | 4.93 | −4.39 | 5.63
G-Rc | 250 | −6.34 | 4.38 | 6.32 | 7.36 | −5.65 | 4.7 | 4.53 | 1.07
G-Rc | 2500 | 2.08 | 1.66 | 8.15 | 3.18 | 4.01 | 4.89 | 3.75 | 0.73
G-Rd | 25 | 3.98 | 5.42 | 4.83 | 3.28 | 5.43 | 3.34 | −6.3 | 5.79
G-Rd | 250 | −7.43 | 0.72 | −1.37 | 3.33 | −8.43 | 4.72 | 7.64 | 3.85
G-Rd | 2500 | −3.87 | 2.09 | 2.65 | 3.23 | −1.75 | 4.05 | 3.85 | 0.17

## Table 5
Parameters | G-Rh1 | G-Rb1 | G-Rc | G-Rd
Normal | Normal | Normal | Normal | Normal
C max (mg/L) | 15.163 ± 0.815 | 349.840 ± 6.238 | 7.741 ± 0.366 | 97.458 ± 1.800
T max (h) | 0.50 ± 0.01 | 1.00 ± 0.01 | 1.00 ± 0.01 | 1.00 ± 0.01
AUC 0-72 (mg/L ∗ h) | 128.871 ± 68.509 | 10399.870 ± 5196.010 | 228.760 ± 110.731 | 2061.658 ± 1011.618
AUC 0-∞ (mg/L ∗ h) | 129.100 ± 68.507 | 10585.975 ± 5201.551 | 229.541 ± 110.102 | 2062.555 ± 1011.536
t 1/2 (h) | 10.731 ± 0.905 | 17.774 ± 0.207 | 9.659 ± 1.093 | 9.631 ± 0.206
CLz/F (L/h/kg) | 621.227 ± 54.664 | 17.096 ± 0.382 | 647.808 ± 36.107 | 64.895 ± 2.255
MRT (h) | 22.278 ± 10.621 | 15.952 ± 0.851 | 16.111 ± 2.798 | 13.997 ± 0.390
Model | Model | Model | Model | Model
C max (mg/L) | 20.010 ± 1.027 ∗∗ | 385.694 ± 8.339 ∗ | 12.497 ± 0.809 ∗∗ | 104.959 ± 5.034
T max (h) | 0.50 ± 0.01 | 1.00 ± 0.02 | 1.00 ± 0.01 | 1.00 ± 0.03
AUC 0–72 (mg/L ∗ h) | 148.939 ± 62.329 ∗ | 26347.000 ± 13042.423 ∗ | 295.337 ± 165.908 | 2583.439 ± 1254.680 ∗
AUC 0-∞ (mg/L ∗ h) | 149.172 ± 62.330 ∗ | 29419.304 ± 12850.460 ∗ | 295.641 ± 166.081 | 2587.285 ± 1253.860 ∗
t 1/2 (h) | 9.765 ± 0.825 | 13.472 ± 0.588 ∗∗ | 8.166 ± 0.881 | 10.198 ± 0.511
CLz/F (L/h/kg) | 544.957 ± 6.150 | 11.994 ± 0.385 ∗ | 450.788 ± 23.974 | 55.744 ± 2.366 ∗∗
MRT (h) | 16.589 ± 1.745 | 19.683 ± 0.793 ∗ | 14.639 ± 0.190 | 15.126 ± 0.671

## Freetext Data
Data | Value | Relevance
The established method | "UHPLC-QQQ-MS for simultaneous determination of G-Rh1, G-Rb1, G-Rc, and G-Rd in rat plasma using ginsenoside G-Rg3 as IS" | This refers to the paper's aim of developing a sensitive methodology to quantify ginsenosides in plasma.
Sample preparation | "Biological samples were prepared by protein precipitation, using a calibration curve range of 5-10,000 ng/mL" | Demonstrates the preparation method used and its relevance to quantification.
Liver metabolism impact | "Oxidative damage to hepatocytes and altered CYP450 enzyme activity in depression model rats" | Highlights the biological significance of the study in understanding altered pharmacokinetics due to depression.
Validation parameters | "R2 > 0.999 for linearity, LLOQ at 5 ng/mL, precision RSD < 10%, extraction recoveries > 86%" | Shows how the method was validated for precision, accuracy, and recovery in plasma analysis.
Effect of UVB radiation | "UVB-induced depression changed internal environment and liver metabolism" | Explains why the depression model group's absorptions were higher than the normal group.
Pharmacokinetic parameters affected in depression models vs normal rats | "Increased AUC (p < 0.05 for G-Rh1, G-Rb1, G-Rd) and decreased CLz/F in depressed rats" | Indicates pharmacokinetic changes due to depression, important for understanding ginsenoside bioavailability.
Use of MS in determination | "UHPLC-MS/MS operated under negative mode MRM, separation on Ascentis Express C18 column" | Reflects methodological precision for quantifying ginsenosides.
Tests used for depression model validation | "Sucrose preference, forced swimming, and open-field tests showed significant behavioral differences" | Confirms the relevance and validity of the depression model utilized in the study.
Supportive funding | "National Natural Science Foundation of China Grant No. 82073969" | Indicates institutional backing and the resources enabling study execution.
Significance of ginsenosides | "G-Rh1, G-Rb1, G-Rc, and G-Rd show potential neuroprotective and antidepressant effects" | Links pharmacokinetics to therapeutic potential for depressive disorders.
Patient population | 48 male Wistar rats (6∼8 weeks old, 180 ± 20 g) | The study design used a specific rat population to mimic normal and depression groups for pharmacokinetic analysis.
Animal group divisions | Randomly divided into two groups: normal group (24 rats) and depression model group (24 rats) | The division into two groups is relevant to compare the pharmacokinetics between normal and depressed conditions.
Depression model induction | Depression model group induced by UVB radiation with a total dose of 5.12 J·cm−2 over 22 days | The design of the study includes depression induction to evaluate effects on pharmacokinetics.
Oral administration dose | 80 mg/kg of G-Rh1, G-Rb1, G-Rc, or G-Rd solutions | Dose information is relevant to the pharmacokinetic analysis and the evaluation of absorption/metabolism of ginsenosides.
Sampling time points | 0.08, 0.17, 0.33, 0.5, 1.0, 2.0, 4.0, 6.0, 8.0, 12, 24, 36, 48, and 72 hours | Comprehensive sampling time points are critical for creating detailed pharmacokinetic profiles.
Blood sample collection | Obtained via the rats' orbital vein (about 250 μL per time point) | The method of sample collection is part of the PK study design, ensuring sufficient blood volume for plasma analysis.
Storage conditions for plasma | Plasma samples were stored at −80°C until analysis | Proper storage conditions ensure the stability of analytes for accurate PK measurements.
Study replication | 6 rats per group per analyte (n=6) | Replication increases the statistical validity of the pharmacokinetic findings.
The pharmacokinetic model used | Two-compartment model | The paper specifies that a two-compartment pharmacokinetic model was employed to calculate the relationship between plasma concentration and time data of the ginsenosides, highlighting the methodological framework for analyzing drug distribution and elimination in the study.
Retention time | 4.75 min for G-Rh1, 8.70 min for G-Rb1, 10.14 min for G-Rc, 12.51 min for G-Rd, 13.28 min for IS | These retention times ensure reliable chromatographic separation, crucial for the simultaneous quantification of ginsenosides in rat plasma.
LLOQ | 5 ng/mL for all analytes | The LLOQ value indicates the sensitivity of the method, enabling measurement of low concentrations of ginsenosides in plasma.
Linearity (R2) | > 0.999 for all analytes | This high correlation coefficient reflects the method's accuracy for quantifying ginsenosides over a wide concentration range.
Recoveries | 86.06–96.86% for all analytes | These high recovery rates confirm the method's effectiveness in plasma extraction and support reliable quantitative analysis.
Matrix effects | 87.37–97.57% for all analytes | These values indicate minimal interference from the plasma matrix, ensuring that the results are accurate and reproducible.
Intraday precision (RSD) | ≤9.69% | Demonstrates the method's reliability within a single day.
Interday precision (RSD) | ≤9.69% | Indicates consistency of the method across multiple days.
Accuracy (RE) | −8.92% to 7.70% | Ensures the method accurately measures ginsenoside concentrations.
Stability under short-term storage | RE: −9.34 to 8.15 | Confirms the stability of analytes at room temperature for 24 hours.
Stability under long-term storage | RE: −9.34 to 8.15 | Verifies analyte stability when stored at −20°C for 15 days.
Stability under freeze/thaw cycles | RE: −9.34 to 8.15 | Indicates analyte integrity after three freeze-thaw cycles.
Mean plasma Tmax | 0.5 h for G-Rh1, ~1 h for others | Indicates the time to reach peak plasma concentration, important for understanding absorption dynamics.
Cmax | Increased in depression model rats for G-Rh1, G-Rb1, and G-Rc | Relevant for showing higher absorption rates in the depression model group.
AUC | Higher in depression model rats for G-Rh1, G-Rb1, G-Rd | Reveals how depression affects systemic exposure to ginsenosides.
CLz/F | Decreased in depression model rats | Lower clearance rates in model rats suggest impaired liver metabolism due to depression.
T1/2 | Longer for all analytes in depressions rats | Indicates prolonged elimination half-life, reflecting altered pharmacokinetics in pathological states.
Flow rate in UHPLC | 0.3 mL/min | A controlled parameter that ensures optimal separation and quantification within the defined runtime.
Column temperature | 35°C | Ensures consistent performance in the chromatographic separation of analytes.
MS mode | Negative MRM (Multiple Reaction Monitoring) | Critical for the detection and accurate quantification of ginsenosides in plasma.
Liver metabolism | Altered by depression induced by UVB radiation, which affects pharmacokinetics | The paper discusses how depression induces oxidative damage to hepatocytes, altering liver metabolism and affecting pharmacokinetics.
CYP450 enzyme activity | Inhibited in depression, affecting ginsenoside concentration | Depression's effect on CYP450 enzyme activity is proposed to increase blood concentration of ginsenosides, influencing absorption and metabolism.
Internal environment changes | Depression alters the internal environment of rats, increasing ginsenoside bioavailability | Changes in the internal environment due to depression directly impact the pharmacokinetic behavior of ginsenosides in rats.
Hepatic oxidative damage | Depression leads to oxidative damage in liver cells | This contributes to the alteration in pharmacokinetics, as liver functionality is critical in drug metabolism.
Bioavailability improvement in depression model | Elevated levels of ginsenoside absorption observed in the depression group | Demonstrates the influence of pathological states on pharmacokinetics.
Depression-induced changes | Affected AUC and Cmax, with increases in the depression group | Highlights how depression changes drug absorption rates, critical pharmacokinetic parameters.