## Table 1
Unnamed: 0 | Oxygenator | Reservoir | Arterial filter | Venous filter cardiotomy | Defoaming sponge | Silicone tubing | PVC tubing | Priming volume
Neonatal roller | Capiox® FX05, Terumo Europe NV, Leuven, Belgium, Hollow fiber, Polycarbonate housing, polypropylene membrane 0.5 m2, priming volume 43ml, X-coating™ | Open hardshell polycarbonate, minimum capacity 15 ml, maximum capacity 1,000 ml | Integrated polyester screen type, Surface area 130 cm2, pore size 32μm | Polyester screen type, pore size 47μm | Polyurethane | Sorin® Kids neonate set, custom made, Sorin Group, Mirandola, Italy, 0.02 m2 contact surface area, Phisio coating | Sorin® Kids neonate set, custom made, Sorin Group, Mirandola, Italy, 0.07 m2 contact surface area, Phisio coating | 230 ml
Neonatal Centrifugal, BP-50 Bio-Pump®, Medtronic, Minneapolis, MN, USA, Pump casing polycarbonate, priming volume 48 ml | Capiox® FX05, Terumo Europe NV, Leuven, Belgium, Polycarbonate housing, polypropylene membrane 0.5 m2, priming volume 43 ml, X-coating™ | Open hardshell polycarbonate, minimum capacity 15 ml, maximum capacity 1,000 ml | Integrated polyester screen type, Surface area 130 cm2, pore size 32μm | Polyester screen type, pore size 47μm | Polyurethane | Sorin® Kids neonate set, custom made, Sorin Group, Mirandola, Italy, 0.02 m2 contact surface area, Phisio coating | Sorin® Kids neonate set, custom made, Sorin Group, Mirandola, Italy, 0.07 m2 contact surface area, Phisio coating | 230 ml
Infant Roller | Sorin Kids D101, Sorin Group, Mirandola, Italy, Hollow fiber, Polycarbonate housing, polypropylene membrane 0.61 m2, priming volume 87 ml, Phisio coating | Open hardshell, polycarbonate, minimum capacity 30 ml, maximum capacity 1,500 ml | Sorin Kids D131 stand-alone arterial filter, Sorin Group, Mirandola, Italy, Polycarbonate housing, phosphorylchloride screen type membrane, Surface area 27 cm2, pore size 40μm, priming volume 28 ml | Polyester, pore size 51μm | Polyurethane | Sorin® Kids, custom made, Sorin Group, Mirandola, Italy 0.02, m2 contact surface area, Phisio coating | Sorin® Kids custom made, Sorin Group, Mirandola, Italy, 0.08 m2 contact surface area, Phisio coating | 420 ml
Pediatric Centrifugal, Revolution, Sorin Group, Mirandola, Italy. Pump casing polycarbonate priming volume 57 ml | Capiox® FX15, Terumo Europe NV, Leuven, Belgium, Hollow fiber, Polycarbonate housing, polypropylene membrane 1.5 m2, priming volume 144 ml, X-coating™ | Open hardshell polycarbonate, minimum capacity 70 or 200 ml, maximum capacity 3,000 or 4,000 ml | Integrated polyester screen type, Surface area 360 cm2, pore size 32μm | Polyester screen type, pore size 47μm | Polyurethane |  | Sorin® Kids Pediatric set, custom made, Sorin Group, Mirandola, Italy, 0.11 m2 contact surface area, Phisio coating | 700 ml

## Table 2
Unnamed: 0 | Age (months, median, range) | Weight (kg, median, range) | BSA (median, range) | Gender (M/F, n) | Cyanosis (n) | Preoperative treatment with diuretics (n) | Preoperative treatment for PHT with sildenafil (n) | STSEACTS mortality category (median, range)
All (n = 36) | 7.2 (0.2–117.2) | 7.8 (3–33.5) | 40 (21–117) | 22/14 | 12 | 20 | 2 | 2 (1–5)
Neonates (n = 5) | 0.36 (0.2–0.5) | 3.2 (3–3.6) | 22 (21–23) | 4/1 | 2 | 3 | 1 | 3 (2–4)
Infants (n = 17) | 3.7 (1.3–11.2) | 5.9 (3.4–9.7) | 34 (23–47) | 10/7 | 6 | 12 | 0 | 2 (1–5)
Preschool (n = 7) | 28.4 (23.6–36.8) | 10.7 (10–15) | 51 (49–62) | 5/2 | 4 | 4 | 1 | 2 (2–4)
School (n = 7) | 57.6 (48.5–117.2) | 17.7 (12.7–33.5) | 74 (60–117) | 3/4 | 0 | 1 | 0 | 2 (1–4)

## Table 3
Unnamed: 0 | Unnamed: 1 | Oxygenator | Pump-type roller | Priming volume % circulating volume | Perfusion time (min; median, range) | Cross-clamp time (min; median, range) | Min T (median, range) | SCP (n) | UF (n) | Priming PC 0 (n) | Priming FFP 0 (n)
All (n = 36) |  |  | 30 | 48.5 (23.1–133) | 147 (41–319) | 90.5 (0–177) 0 = 2 | 32 (19–36) | 4 | 29 | 10 | 6
Arterial (n = 5) | Switch 3 DSAS 1 Aorta 1 | Fx05 | 3 | 88.5 (82.7–133) | 216 (185–280) | 134 (104–177) | 32 (20–32) | 2 | 5 | 0 | 0
Infants (n = 17) | VSD 5 AVSD 4 TOF 4 PCPC 1 aorta 2 | Fx05 | 15 | 52.6 (36.4–108.7) | 146 (41–319) | 80 (0–167) | 32 (19–36) | 2 | 14 | 4 | 4
Preschool (n = 7) | Mitral valve 2 TOF 1 PCPC 1 TCPC 2 | Fx05 2 D101 5 | 7 | 39.1 (26.9–53.1) | 156 (92–196) | 86 (47–127) | 31 (30–32) | 0 | 6 | 4 | 0
School (n = 7) | VSD 3 AVSD 1 RVOT 2 LVOT 1 | D101 5 Fx15 2 | 5 | 30.7 (23.1–53.3) | 103 (46–217) | 59 (0–111) | 32 (28–34) | 0 | 4 | 2 | 1

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Study registration | Dutch Trial Register (NTR3579; https://www.trialregister.nl/trial/3428) | Relevant as it provides the official registration details of the study, ensuring transparency and accountability.
Population age range | Patients younger than 18 years | Relevant because the study focuses on pediatric patients undergoing CPB and investigates age-related pharmacokinetic variability.
Exclusion criteria | No informed consent, no use of CPB planned, no methylprednisolone received | Important for understanding the specific parameters defining the study population.
Methylprednisolone dosage | 30 mg/kg administered intravenously after induction of anesthesia | Relevant to determining the pharmacokinetic parameters under study and their clinical application in CPB procedures.
Primary objective | To describe total MP plasma concentrations during CPB in pediatric patients after a single IV bolus dose | Central to the study's aim of understanding MP pharmacokinetics in children undergoing CPB.
Observation of plasma concentration decrease | Median decrease of 26.8% on initiation of CPB | Highlights a significant effect of CPB initiation on MP plasma levels.
Primary analysis method | Linear mixed-effects modeling | Relevant because this method was used to analyze plasma concentration trends over time.
Significant covariates | Age group (neonates), volume of cell saver blood processed >91 mL/kg | Key determinants of differences in plasma MP concentration trends and slopes.
Half-life of MP by age group | Neonates >6 h, infants 4.7 h, preschool children 3.6 h, school children 4.7 h | Reflects age-dependent pharmacokinetic variation, crucial for dosing considerations.
Pharmacokinetics framework | One-compartment model with first-order elimination | Relevant for explaining the drug's behavior during the study period.
Effect of age on clearance (Cl) | Neonates have lower Cl compared to older pediatric patients | Important for dosing adjustments in neonates.
Effect of CPB initiation | Decrease in plasma MP concentration partly explained by hemodilution and metabolism | Highlights the impact of CPB on drug distribution and metabolism.
Influence of sildenafil for PHT | Observed trend toward a lower intercept in MP concentration-time curve | Suggests potential drug-drug interaction or influence on MP pharmacokinetics.
Temperature management observation | Deep hypothermia showed a lower intercept and less steep slope, normothermia steeper slope | Relevant for exploring how CPB temperature strategies affect MP pharmacodynamics.
Plasma concentration variability | Large interindividual variability in MP plasma levels | Essential for understanding limitations and challenges in achieving predictable drug concentrations.
Observed concentration comparisons with prior studies | Similar MP plasma concentrations achieved as prior pediatric CPB studies | Adds validity by confirming findings with pre-existing literature.
Primary limitation | Small population size (36 patients) | Explains the potential limitations of generalizability and statistical power of the findings.
Recommended further research | Exploring MP pharmacodynamics in CPB and influence of co-medications like sildenafil | Identifies knowledge gaps and next steps for refining treatment strategies in CPB cases.
Patient Sample Size | 39 patients included (36 evaluated after exclusions) | The sample size directly determines the study's power and represents the patient population on which the pharmacokinetics (PK) were assessed.
Exclusion Criteria | Three patients excluded: two had missing data, and one received two MP doses | Exclusion criteria are relevant to understand how the study ensured data quality and reliability.
Age Group Classification | Neonates (0–30 days), Infants (30 days–1 year), Preschool Children (1–4 years), School Children (4–12 years) | The classification is essential for analyzing the developmental factors affecting PK parameters in patient subgroups.
Sampling Points | Median of 7 samples per patient (range = 6–10 intraoperative samples); additional 1–4 postoperative samples for six patients | Time points of blood sampling are critical to generating a PK concentration-time profile and assessing drug distribution and clearance.
Blood Sampling Method | 2 mL EDTA tubes from the arterial line; stored at 4°C and later frozen at −80°C | The sampling and storage methods ensure accurate and stable measurement of methylprednisolone plasma concentrations.
Patient Inclusion Criteria | Patients under 18 years undergoing elective congenital cardiac surgery with cardiopulmonary bypass (CPB) | Inclusion criteria define the population targeted for the study to address the effect of CPB on methylprednisolone pharmacokinetics.
Measurement Method | Liquid chromatography tandem mass spectrometry | The method is relevant as it ensures sensitive and accurate concentration measurements of methylprednisolone for PK analysis.
Study Location | Department of Cardiothoracic Surgery and Pediatric ICU of Erasmus Medical Center, Rotterdam, Netherlands | Knowing the study location provides insights into the context and specific population studied.
Key Time Points Emphasized | After arterial line placement, before CPB initiation, after achieving full CPB flow, after reaching target CPB temperature, and post-weaning from CPB | Detailed sampling time points are necessary for rigorous PK modeling and understanding the influence of CPB on MP plasma concentrations.
Duration of Study | 3.5 years | The study duration ensures sufficient data collection across diverse patient scenarios and CPB parameters.
Patient Characteristics Collected | Age, sex, weight, body surface area, and preoperative treatments | These covariates help explain interindividual variability in PK parameters and their relationship with the surgery and CPB.
Institutional Protocol | Preoperative informed consent from legal guardians and patients aged 12–18 | Ensures ethical compliance and contextual relevance of the study design.
CPB Contextual Factors Collected | Priming volume, type of oxygenator and AV tubing, hypothermia level, use of hemofiltration | CPB-related data provide critical variables for assessing their influence on drug absorption, distribution, and metabolism during surgery.
The pharmacokinetics of methylprednisolone was analyzed using a one-compartment model with first-order elimination | One-compartment model | Relevant because the study specifically used a one-compartment model to calculate the decrease of MP plasma concentration and interpret pharmacokinetic parameters.
Hemisuccinate dose | 30 mg/kg | The paper investigates the pharmacokinetics of a single intravenous bolus dose of methylprednisolone hemisuccinate (MP) administered based on weight, examining its plasma concentration during cardiopulmonary bypass (CPB).
Observed decrease in plasma concentration on CPB initiation | Median 26.8%, Range 13.9–48.14%, p < 0.001 | This data was measured directly from the patient's plasma levels to evaluate the pharmacokinetic parameter changes during CPB.
Calculated half-life for neonates | Longer than 6 hours | This parameter is estimated from model-based concentration–time curves after CPB initiation, showing slower clearance in neonates.
Calculated half-life for infants | 4.7 hours | Derived from the linear mixed-effects modeling, representing clearance differences for infants.
Calculated half-life for preschool children | 3.6 hours | Estimated from mixed-effects modeling, indicating developmental differences in MP pharmacokinetics.
Calculated half-life for school-aged children | 4.7 hours | Modeled data demonstrating MP dynamics in older pediatric populations undergoing CPB.
Intercept value for neonates (suggestive of lower plasma concentration at the start of CPB) | p = 0.02 | Estimated through linear mixed-effects modeling, indicating a larger volume of distribution (Vd) for neonates.
Slope of concentration vs. time for neonates (clearance comparative) | p = 0.048 | Modeled to show less steep clearance for neonates, impacting methylprednisolone's effective concentration.
Decrease in MP plasma concentration due to metabolism | Median 6.4%, Range 3.4–16.5% | Estimated using one-compartment pharmacokinetic modeling; elucidates less significant gradual elimination before CPB effects.
Expected decrease in plasma concentration based on hemodilution alone | Median 31.6%, Range 18.8–57.1% | These values are calculated mathematically using blood priming and patient circulating volumes to estimate dilution impacts.
Volume of distribution (Vd) suggested differences for neonates | Larger than other age groups | Derived from lower intercept in neonates, modeled from administered dose and observed plasma concentrations.
Volume of priming fluid (neonates as % of circulating volume) | Median 88.5%, Range 82.7–133% | Quantified as a surrogate input into assessing how priming influences MP concentration by introducing dilution effects.
Volume of priming fluid (neonates per kg of patient weight) | Median 80 ml/kg, Range 74–120 ml/kg | Specific to neonates, this parameter sources hemodynamic dilution modeling for CPB's effects on drug plasma levels.
Time difference between MP dose administration and CPB initiation (for first-run CPB initiation analysis) | Median 70 min, Range 35–151 min | Used to track elimination and distribution prior to CPB for initial pharmacokinetic baselines.
Proposed sildenafil influence on intercept | Non-significant lower intercept | While not conclusive in this study, trends suggest potential interactions between sildenafil and MP pharmacokinetics, requiring further evaluations.
Model analysis software | R Core Team with package lme4 | Software used for analyzing mixed-effects models and estimating pharmacokinetic parameters from collected plasma concentration data.
Measured MP plasma concentration before CPB initiation | Median 10.6 μg/L, Range 5.3–23.3 μg/L | Empirical data used to set pre-CPB baselines for pharmacological impact analysis.
Measured MP plasma concentration after CPB initiation | Median 7.3 μg/L, Range 4.1–7.4 μg/L | These values serve as a post-CPB reference point for assessing changes in drug concentration due to CPB effects like dilution or metabolism.
MP hemisuccinate metabolism half-life | 20–30 minutes | Literature-informed baseline for prodrug conversion rates to MP, relevant to onset timing calculations in pharmacokinetics.
Total number of intraoperative blood samples | Median 7 samples per patient, Total 268 samples | Defines the scope and resolution of data collection required for kinetic parameter estimations through dynamic conditions.
Liquid chromatography tandem mass spectrometry recovery rate | Close to 100% | Ensures analytical validity of concentration measurements, eliminating false variability in parameter estimations.
Age Group | Neonates, Infants, Preschool, School-age children | Age groups impact pharmacokinetics by influencing methylprednisolone (MP) plasma concentration and clearance rates, particularly with neonates exhibiting a lower intercept and less steep slope in concentration-time curves.
Volume of Cell Saver Blood Processed | >91 ml/kg vs. <26 ml/kg categories | Larger cell saver blood processed volumes were associated with a lower intercept and less steep slope in MP plasma concentration-time curves, indicating an influence on drug distribution and metabolism.
Treatment for Pulmonary Hypertension with Sildenafil | Sildenafil-treated patients show a potential lower intercept for MP concentration | Sildenafil treatment may alter MP's pharmacokinetics, suggesting possible interactions that need further investigation.
Hypothermia | Moderate hypothermia (28–32°C), deep hypothermia (<20°C), normothermia (>35°C) | Temperature management during cardiopulmonary bypass impacts MP plasma concentration-time slope, influencing clearance dynamics.
Volume of Priming Fluid | Correlated with hemodilution effects | Larger priming fluid volumes cause hemodilution, which influences the initial decrease in observed MP plasma concentration.
Protein Binding | MP binding to albumin approximately 78% | While total MP plasma levels were measured, protein binding affects the biologically active unbound drug fraction, potentially altering pharmacokinetics.
Perfusion Duration | Longer perfusion times correlated with certain age groups | Extended perfusion times may impact drug distribution, especially in neonates, and affect MP plasma concentration.