## Table 1
Effluent Rate(mL/min)_Effluent Rate(mL/min) | HF1400 (n = 6, Mean ± SD)_Imipenem | HF1400 (n = 6, Mean ± SD)_Relebactam | M150 (n = 6, Mean ± SD)_Imipenem | M150 (n = 6, Mean ± SD)_Relebactam
Sieving coefficients | Sieving coefficients | Sieving coefficients | Sieving coefficients | Sieving coefficients
16.7 | 1.06 ± 0.2 | 0.95 ± 0.08 * | 1.19 ± 0.2 | 1.07 ± 0.06 *
33.3 | 1.1 ± 0.2 | 1.00 ± 0.04 * | 1.1 ± 0.2 | 1.08 ± 0.1 *
50 | 1.01 ± 0.2 | 0.94 ± 0.08 | 1.3 ± 0.2 | 1.12 ± 0.06
Saturation coefficients | Saturation coefficients | Saturation coefficients | Saturation coefficients | Saturation coefficients
16.7 | 1.2 ± 0.3 | 1.2 ± 0.06 * | 0.9 ± 0.4 | 0.9 ± 0.2 *
33.3 | 1.7 ± 1.3 | 1 ± 0.2 | 0.99 ± 0.5 | 0.9 ± 0.5
50 | 1.2 ± 0.3 | 1.1 ± 0.1 | 1.23 ± 0.1 | 1.1 ± 0.1
100 | 1.1 ± 0.2 | 1.02 ± 0.1 * | 1.17 ± 0.2 | 0.9 ± 0.05 *

## Table 2
Pharmacokinetic Parameters | Imipenem [12] | Relebactam [13,14]
Vd (L/kg) | 0.34 ± 0.1 (0.21−0.63) | 0.19 ± 0.11 (0.08−0.53)
Free Fraction | 0.8 ± 0.16 (0−1) | 0.78 ± 0.2 (0−1)
NR CL (mL/min) | 100.5 ± 28 (53−160) | 11.7 ± 3.3 (11.2−12.2)
Sieving coefficient | 1 ± 0.2 (0−1) | 1 ± 0.04 (0−1)
r2 weight & Vd | 0.17
r2 weight & NR CL | 0.013
Weight ± SD (kg) | 86.6 ± 29.2 ( 40 - ∞ ) [15] | 86.6 ± 29.2 ( 40 - ∞ ) [15]

## Table 3
Antimicrobial Dosing | 40% fT > 1 × MIC | 40% fT > 4 × MIC | 100%fT > MIC
Imipenem | Imipenem | Imipenem | Imipenem
200 mg q6h | 100% | 0% | 0%
300 mg q6h | 100% | 2% | 0%
400 mg q6h | 100% | 28.6% | 33.5%
500 mg q6h | 100% | 66.1% | 60%
600 mg q6h | 100% | 90.8% | 77.2%

## Freetext Data
Data | Value | Relevance
Neither imipenem nor relebactam adsorbed to CRRT apparatus | True | Relevant to assessing if adsorption mechanisms limit the drugs' effectiveness in CRRT.
CLTM of imipenem and relebactam approximated effluent rates in CH and CHD | True | Addresses transmembrane clearance behavior critical for dosing adjustments in CRRT.
Monte Carlo Simulation used for dose recommendations in CRRT | Yes | Highlights the method for calculating optimal dosing based on clearance and pharmacodynamic targets.
Imipenem/relebactam stable in 37°C bovine blood for 1 hour | True | Ensures the stability of medications, ruling out degradation as an influencing factor in clearance rates.
Dosage of 200 mg/100 mg for imipenem/relebactam every 6 hours achieves standard pharmacodynamic targets in CRRT | True | Directly informs dosing recommendations for critically ill patients.
Imipenem dosage of 600 mg every 6 hours needed for stringent pharmacodynamic targets | True | Determines higher dosage required for improved efficacy against infections in CRRT patients.
Relebactam achieves >90% PTA across dosing regimens for stringent PD target | True | Indicates reliable attainment of pharmacodynamic efficacy for relebactam regardless of dose.
Hemodiafilter type does not influence imipenem clearance in CH and CHD | True | Observational data confirms predictable clearance behavior, aiding consistent modeling in simulations.
CLTM observed aligns with effluent flow rates in CRRT | True | Confirms expected performance of CRRT systems directly relevant to drug clearance modeling.
Higher non-renal clearance in AKI vs. end-stage kidney disease patients impacts dosing | True | Explains the increased dosage needs in acute kidney injury (AKI) patients on CRRT.
CRRT membrane adsorption of relebactam/imipenem is unlikely | True | Validates that adsorption to apparatus does not interfere with drug removal or efficacy.
Sieving and saturation Coefficients for imipenem, relebactam, and urea ~1 | Yes | Supports findings of consistent and predictable solute removal by the filters used in CRRT models.
Monte Carlo Simulation assumed uninterrupted 48-hour CRRT | True | Simulation parameters critical for accuracy of dosing recommendations in consistent CRRT operation.
Dosing recommendation for CRRT patients higher than end-stage kidney disease doses | True | Ensures appropriate adjustments for critically ill patients undergoing CRRT.
Ex vivo CRRT clearance results align with previous in vivo studies | Consistent | Validates the study's methodology and findings with established clinical data.
Study used Qb of 200 mL/min and Quf of 17-50 mL/min in CH study | True | Relevant for replicating and understanding the study's step-by-step methodology in drug clearance evaluation.
Relebactam clearance affected by dialysate flow rate in CHD | True | Highlights specific conditions under which relebactam clearance changes in CRRT modalities.
--- | --- | ---
Study Design | Ex vivo study using bovine blood in CH and CHD setups | Understanding the setup helps clarify how pharmacokinetics (PK) of imipenem and relebactam were assessed accurately in this study.
Sample Source | Bovine blood (pH regulated, citrate-anticoagulated) | The use of bovine blood instead of human blood establishes the matrix employed for PK measurements.
Patient Surrogate | Bovine blood heated to 37 °C | Simulates the physiological conditions similar to human critically ill patients undergoing CRRT.
Hemodiafilters Used | HF1400 and Multiflow-150 with surface areas of 1.4 m2 and 1.5 m2, respectively | The choice of hemodiafilters impacts the evaluation of drug clearance and potential adsorption.
Sampling Time Points (Degradation) | Blood samples collected at 0, 5, 10, 20, 30, and 60 minutes | These time points ensure the detection of potential drug degradation or concentration changes.
CH Sampling Time Points | Collected after 4 min (Quf 50 mL/min), 6 min (Quf 33 mL/min), and 12 min (Quf 17 mL/min) | Ensures appropriate timing in determining transmembrane clearance in continuous hemofiltration.
CHD Sampling Time Points | Collected after 3 min (Qd 100 mL/min), 4 min (Qd 50 mL/min), 5 min (Qd 33.3 mL/min), and 9 min (Qd 16.6 mL/min) | Relevant to accurately calculate saturation coefficients and transmembrane clearance in continuous hemodialysis.
Blood Volume | 2 liters of blood used for recirculation | Provides adequate volume to evaluate consistent clearance patterns across hemodiafilter circuits.
Replications | 6 experiments conducted per configuration (degradation, adsorption, CH, and CHD for each hemodiafilter) | Ensures sufficient statistical power and reliability of results for PK modeling.
Blood Preparation | Albumin concentration ~3 g/dL | Simulates conditions often observed in critically ill patients undergoing CRRT.
Drug Stabilization | Imipenem stabilized with pH-controlled buffer (1:1 MES and 50% ethylene glycol) | Prevents drug degradation during the study and ensures reliable PK measurements.
Dialysate and Ultrafiltration Rates | Qd: 17, 33, 50, 100 mL/min; Quf: 17, 33, 50 mL/min | Varied flow rates help assess the effect of CRRT parameters on imipenem/relebactam clearance.
Model | Ex vivo validated bovine blood CH and CHD model | The study utilized a validated ex vivo model involving bovine blood to simulate continuous hemofiltration (CH) and continuous hemodialysis (CHD), which is central to determining the clearance (CLTM) and adsorption of imipenem/relebactam.
Monte Carlo Simulation | Monte Carlo Simulation (MCS) | MCS was employed to integrate the clearance data into designing dosing recommendations for critically ill patients undergoing CRRT, ensuring its use in pharmacodynamic target evaluations.
Hemodiafilters | HF1400 (Polyarylethersulfone) and Multiflow-150 (AN69) | These hemodiafilters supported the ex vivo model to assess the impact of different filters on the clearance of imipenem and relebactam.
Hemofiltration/Dialysis Rates | Ultrafiltration rates: 17, 33, 50 mL/min; Dialysis rates: 17, 33, 50, 100 mL/min | These flow rates were fundamental to the ex vivo model, and the clearance variability was assessed against these parameters.
Stabilizing Buffer | pH-controlled stabilizing buffer for imipenem | The buffer played a vital role in maintaining imipenem stability during experiments, which supported the validity of the ex vivo study model.
Sieving Coefficient (SA) for Imipenem | Approximately 1 | Indicates transmembrane permeability of imipenem; derived from ex vivo data.
Sieving Coefficient (SA) for Relebactam | Approximately 1 | Indicates transmembrane permeability of relebactam; derived from ex vivo data.
Volume of Distribution (Vd) for Imipenem | Modeled in Monte Carlo Simulation (MCS) | Critical PK parameter used to determine drug distribution; obtained from published clinical studies and internal manufacturer data.
Volume of Distribution (Vd) for Relebactam | Modeled in MCS | Critical PK parameter used to determine drug distribution; obtained from internal manufacturer data.
Nonrenal Clearance (CLNR) for Imipenem | Modeled in MCS | Reflects observed clearance independent of renal function; based on published clinical studies.
Nonrenal Clearance (CLNR) for Relebactam | Modeled in MCS | Reflects observed clearance independent of renal function; based on internal manufacturer-specific data.
Effluent Rate (Qeff) for CRRT | 25 mL/kg/h | Used as the standard in MCS simulations; derived from Kidney Disease: Improving Global Outcomes (KDIGO) recommendations.
Ultrafiltration Rate (Quf) | 17, 33, and 50 mL/min | Experimental flow rates used in the ex vivo CH study to determine imipenem/relebactam CLTM.
Dialysate Flow Rates (Qd) | 17, 33, 50, and 100 mL/min | Experimental flow rates used in the ex vivo CHD study to determine imipenem/relebactam CLTM.
Probability of Target Attainment (PTA) Minimum Threshold | ≥90% | Standard threshold used in MCS simulations for determining optimal dosing efficacy; set based on prior literature.
Pharmacodynamic (PD) Target for Imipenem | ≥40% fT > MIC | Determines drug efficacy; utilized for PTA modeling in the MCS.
Pharmacodynamic (PD) Target for Relebactam | ƒAUC0–24 h/MIC ≥ 7.5 | Determines drug efficacy; utilized for PTA modeling in the MCS.
Correlation between Body Weight and Vd for Imipenem | r2 = Derived | Parameter incorporated into MCS simulations; derived from available pharmacokinetic data.
Protein Binding Assumption | ~3 g/dL Bovine Albumin | Relevant to clearance and drug interaction modeling; experimental surrogate for critically ill patients in CRRT.
Sieving coefficient | Sieving coefficient (SC) consistently approximated 1 for imipenem and relebactam | The SC determines whether drugs are cleared across the hemodiafilter membrane and reflects their behavior in CRRT, influencing pharmacokinetics.
Blood flow rate | 200 mL/min was used in experiments | Blood flow rate affects clearance calculations, a key aspect of pharmacokinetics in CRRT.
Dialysate flow rate | Dialysate flow rates (Qd) of 17 mL/min, 33 mL/min, 50 mL/min, and 100 mL/min assessed impact | Dialysate flow rate directly affects transmembrane clearance (CLTM), influencing drug pharmacokinetics.
Ultrafiltrate flow rate | Ultrafiltrate flow rates (Quf) of 17, 33, and 50 mL/min tested | Ultrafiltrate flow rate impacts drug removal efficiency, a factor in pharmacokinetics.
Hemodiafilter type | Tested two hemodiafilters: HF1400 (polyarylethersulfone) and Multiflow-150 (AN69) | Different materials and designs can alter drug clearance, influencing pharmacokinetics.
pH stabilization | MES buffer with pH-controlled stabilizer used for imipenem stability | Stabilization ensures no degradation of the drug, critical for pharmacokinetics accuracy.
Albumin concentration | Bovine albumin concentration ~3 g/dL used | Albumin concentration impacts protein binding, affecting drug bioavailability and pharmacokinetics.
Non-renal clearance | Higher non-renal clearance in acute kidney injury patients highlighted | Non-renal clearance affects dosing and overall drug pharmacokinetics in CRRT patients.
Body weight | Weight range (40 kg to no maximum) incorporated in Monte Carlo Simulation | Body weight influences volume of distribution (Vd) and clearance, key pharmacokinetic parameters.
Volume of distribution (Vd) | Parameter modeled in Monte Carlo Simulation | Vd affects drug concentration and distribution, central to pharmacokinetics.
Correlation between body weight and Vd | r^2 correlations derived and included in simulations | Displays how body weight affects Vd, influencing drug pharmacokinetics predictions.
Mic flow rates impact | Qd of 1 L/h and 6 L/h had significant impact on relebactam CLTM during CHD (p < 0.05) | Indicates flow rates can selectively influence pharmacokinetics of specific drugs during CRRT.