## Table 1
Spiked concentration (ng/mL) | Intraday (ng/mL) | Interday (ng/mL)
10 | 9.33 ± 1.48 | 10.3 ± 1.46
400 | 412.5 ± 1.16 | 386.3 ± 1.94
2000 | 2112.4 ± 1.44 | 1960.7 ± 2.06

## Table 2
Analyte_Analyte | Spiked concentration (ng/mL)_Spiked concentration (ng/mL) | Absolute matrix effect_Mean (%) | Absolute matrix effect_RSD (%) | Extraction recovery_Mean (%) | Extraction recovery_RSD (%)
IPA | 10 | 111.5 | 11.6 | 113.4 | 9.5
IPA | 400 | 119 | 7.1 | 103.9 | 4.9
IPA | 2000 | 110.6 | 9.4 | 110.2 | 8.3

## Table 3
Spiked concentration(ng·mL−1)_Spiked concentration(ng·mL−1) | Three freeze-thaw_Measured (ng·mL−1) | Short-term_Measured (ng·mL−1) | Postpreparative_Measured (ng·mL−1) | Long-term_Measured (ng·mL−1)
10 | 10.27 ± 0.56 | 9.65 ± 0.07 | 9.56 ± 0.88 | 10.79 ± 1.46
400 | 421.8 ± 1.08 | 407.0 ± 0.34 | 371.2 ± 1.44 | 363.5 ± 1.82
2000 | 1967 ± 0.34 | 1840 ± 1.6 | 2012 ± 0.12 | 1908.3 ± 0.92

## Table 4
PK parameters_PK parameters | i.v._5 (mg/kg) | p.o._50 (mg/kg) | p.o._100 (mg/kg) | p.o._200 (mg/kg)
C max1 (ng·mL−1) | 1740.1 ± 456.0 | 83.7 ± 32.9 | 296.4 ± 75.1 | 246.23 ± 94.4
T max1 (h) | 0 ± 0 | 0.9 ± 0.1 | 0.6 ± 0.3 | 0.65 ± 0.1
C max2 (ng·mL−1) | / | 61.6 ± 46.2 | 284.9 ± 183.4 | 286.9 ± 217.2
T max 2 (h) | / | 6.4 ± 2.6 | 6.0 ± 1.4 | 8.80 ± 1.1
AUC(0~24) | 744.7 ± 139.9 | 886.6 ± 636.2 | 2604.5 ± 1629.2 | 3184.7 ± 1721.0
AUC(0~∞) (ng·h·mL−1) | 818.4 ± 66.2 | 923.3 ± 613.7 | 2643.9 ± 1640.0 | 3193.4 ± 1719.7
CL/F (L·h−1) | 6.1 ± 0.5 | 70.3 ± 33.7 | 59.0 ± 44.0 | 79.8 ± 42.0
t 1/2 (h) | 6.6 ± 5.9 | 10.4 ± 9.8 | 5.5 ± 2.3 | 3.6 ± 1.0
MRT (h) | 1.4 ± 0.4 | 9.3 ± 1.3 | 7.6 ± 1.3 | 7.9 ± 0.5

## Freetext Data
Data | Value | Relevance
--- | --- | ---
Academic Editor | Nahide Gulsah Deniz | Confirms the editor of the paper, indicating its academic credibility.
IPA Purity | >98% | Describes the quality standard of the isopimaric acid used in the study.
Internal Standard (IS) Purity | >98% | Ensures the reliability of betulinic acid as a comparative standard in LC-MS/MS analysis.
LC-MS Column | Agilent HC-C18 (250 mm × 4.6 mm, 5 μm) | Specifies the chromatographic column that achieved separation of IPA in plasma, critical to the analytical method.
Mobile Phase Composition | Methanol 0.5% formic acid (91:9, v/v) | Indicates the mobile phase used for isocratic elution in LC-MS analysis of IPA.
Administration Routes | Oral (50, 100, 200 mg/kg), Intravenous (5 mg/kg) | Describes how IPA was administered to rats for pharmacokinetic evaluation.
Detection Mode | SIM, m/z 301.2 [M-H]− for IPA; m/z 455.3 [M-H]− for IS | Provides the ion transitions monitored for quantifying IPA and IS, a core part of method development.
Absolute Bioavailability | 11.9% (50 mg/kg), 17.5% (100 mg/kg) | Indicates the efficiency of IPA absorption via the oral route, critical for pharmacokinetic profiling.
Elimination Half-Life (T1/2) for Oral Doses | 10.4 h (50 mg/kg), 5.5 h (100 mg/kg), 3.6 h (200 mg/kg) | Provides key pharmacokinetic parameter for IPA's clearance, demonstrating dose-dependent variation.
Matrix Effect | 120.6%-131.5% | Ensures that the matrix effects in plasma were consistent and within acceptable range, supporting method reliability.
Extraction Recovery Rate | 103.9%-113.4% | Shows robust IPA recovery performance during plasma sample preparation.
Sample Stability | Stable across all tested conditions including 24 h at room temperature and 30 days at -20°C | Supports IPA's chemical stability under laboratory and analytical conditions.
Pharmacokinetic Parameter Tool | DAS 3.2.6 program | Provides computational methodology used to derive key pharmacokinetic parameters.
Calibration Curve for IPA | 4-4000 ng/mL, equation y = 1.548x − 0.0047, r = 0.9987 | Confirms the analytic linearity of IPA quantification, supporting the validity of the LC-MS/MS approach.
Limit of Detection (LLOD) | 2 ng/mL | Highlights the sensitivity of the LC-MS/MS analytical method for IPA.
Limit of Quantification (LLOQ) | 4 ng/mL | Sets the lowest reliable quantifiable IPA concentration for pharmacokinetics.
Funding Source | National Science Fund for Distinguished Young Scholars (No.81325024) | Indicates financial support for the study, highlighting its research backing.
Animal Model | Male Sprague-Dawley rats (220-250 g) | Describes the animal models used for IPA pharmacokinetic studies, critical for experimental reproducibility.
Oral Tmax | 0.6-0.9 h for first peak, 6.0-8.8 h for second peak | Suggests secondary absorption of IPA post oral dosing.
Key Finding for Oral Dosing | Nonlinear pharmacokinetics observed; absorption peaks at 100 mg/kg | Highlights crucial pharmacokinetic behavior potentially relevant to IPA's dosage optimization.
Male Sprague-Dawley rats weight | 220-250 g | The study specifically used male Sprague-Dawley rats within this weight range, emphasizing controlled conditions for pharmacokinetic assessments.
Patient sample size | 20 rats | The number of rats used ensures adequate representation for meaningful pharmacokinetic evaluation.
IPE doses for oral administration | 50, 100, or 200 mg/kg | The range of oral doses supports analyzing dose-dependent pharmacokinetics.
IPE dose for intravenous administration | 5 mg/kg | A single intravenous dose served as a control for assessing absolute bioavailability and circulation dynamics.
Blood sampling time points for intravenous administration | 0, 0.083, 0.167, 0.25, 0.5, 0.75, 1, 2, 3, 4, 6, 8, and 12 h | These time points provide a thorough assessment of plasma concentration over a sufficient pharmacokinetic window for intravenous administration.
Blood sampling time points for oral administration | 0.167, 0.333, 0.5, 0.75, 1, 1.5, 2, 4, 6, 8, 12, and 24 h | These time intervals allow for analyzing absorption, distribution, metabolism, and excretion of IPA following oral administration.
Patient population | Male Sprague-Dawley rats from Shanghai Slac Laboratory Animal Co., Ltd. | Provides context for the reliability and standardized conditions of the study by indicating the source and type of test subjects.
Rat acclimatization conditions | Climate-controlled facility at 22 ± 2°C, 46 ± 20% relative humidity, and 12 h light/dark cycle | Controlled environment ensures minimized variability in pharmacokinetic responses due to external factors.
Fasting period before dosing | 12 h-fast | Standardized fasting reduces variability in gastrointestinal absorption dynamics for oral doses.
Noncompartmental Model | Pharmacokinetics of IPA were analyzed using noncompartmental methods. | The paper outlines the use of a noncompartmental model to calculate pharmacokinetic parameters, which is a critical detail for understanding the approach used to study IPA distribution and elimination.
LC Column Type | Agilent HC-C18 column (250 mm × 4.6 mm, 5 μm) | Relevant as the parameter specifies the chromatographic separation conditions used for IPA quantification.
Mobile Phase Composition | Methanol:0.5% formic acid (91:9, v/v) | Relevant because this parameter is essential for liquid chromatography and was used to separate IPA in plasma.
Flow Rate | 1 mL/min | Relevant as an instrumental parameter critical for the consistent separation process in LC.
Electrospray Ionization Mode | Negative ion mode | Relevant since it ensures the sensitivity and selectivity of MS for IPA detection.
Monitoring Ion for IPA | m/z 301.2 [M-H]− | Relevant because it identifies the specific ion used for IPA quantification in the mass spectrometer.
Monitoring Ion for Internal Standard (IS) | m/z 455.3 [M-H]− | Relevant as it corresponds to the IS used to standardize IPA quantification.
LLOQ (Lower Limit of Quantification) | 4 ng/mL | Relevant as this defines the lowest plasma concentration of IPA that was reliably quantified.
LLOD (Lower Limit of Detection) | 2 ng/mL | Relevant as this parameter indicates the sensitivity of the developed LC-MS/MS for detecting IPA.
Injection Volume | 40 μL | Relevant because it specifies the plasma sample volume used in the LC-MS system per analysis.
Concentration Range for Calibration Curve | 4-4000 ng/mL | Relevant for determining the quantifiable range in which IPA was analyzed in plasma samples.
Calibration Curve Regression Equation | y = 1.548x − 0.0047 (r = 0.9987) | Relevant as it highlights the linearity of IPA quantification in the studied concentration range.
Intra-assay Precision | 5.8-7.4% | Relevant for assessing repeatability in IPA detection within a single assay day.
Inter-assay Precision | 7.3-10.3% | Relevant for evaluating reproducibility of IPA analysis across multiple days.
Recovery at QC Low Concentration | 103.9% | Relevant as it demonstrates efficiency in IPA extraction from plasma samples at a low concentration.
Bioavailability at 50 mg/kg Oral Dose | 11.9% | Relevant for understanding IPA absorption efficiency following oral administration at this dose level.
Bioavailability at 100 mg/kg Oral Dose | 17.5% | Relevant as it provides insights into IPA's pharmacokinetic profile and systemic availability at this dose.
Half-life at 50 mg/kg Oral Dose | 10.4 ± 9.8 hours | Relevant because it denotes the persistence of IPA in circulation following oral administration at this dose.
Half-life at 100 mg/kg Oral Dose | 5.5 ± 2.3 hours | Relevant for comparing dose-dependent pharmacokinetics of IPA after oral administration.
Extraction Solvent | Ethyl acetate:n-hexane (4:1) | Relevant as it impacted IPA recovery, enhancing the assay's performance for plasma quantification.
Stability (Room Temperature, 2 Hours) | Stable | Relevant for validating short-term stability of IPA in plasma storage conditions.
Autosampler Stability (24 Hours) | Stable | Relevant as it ensures reliability of IPA measurement during instrumental processing.
Long-term Stability (-20°C, 30 Days) | Stable | Relevant for confirming IPA storage conditions for prolonged pharmacokinetic analyses.
Plasma Collection Timepoints (i.v.) | 0, 0.083, 0.167, 0.25, 0.5, 0.75, 1, 2, 3, 4, 6, 8, 12 hours | Relevant as they determined the timing for pharmacokinetics sampling for IPA administered intravenously.
Plasma Collection Timepoints (p.o.) | 0.167, 0.333, 0.5, 0.75, 1, 1.5, 2, 4, 6, 8, 12, 24 hours | Relevant because these timepoints were essential in oral IPA pharmacokinetics data acquisition.
Tmax at 100 mg/kg Oral Dose | 0.6 ± 0.3 hours | Relevant for timing peak IPA plasma concentration following oral administration of this dose.
Factors | Gastric emptying rate | Gastric emptying rate is mentioned as influencing oral drug bioavailability and pharmacokinetics, relevant to understanding variability in IPA absorption.
Factors | Gastrointestinal motility | Gastrointestinal motility contributes to the absorption and systemic circulation dynamics of orally administered IPA.
Factors | Systemic metabolism | Systemic metabolism impacts oral drug bioavailability, highlighting a key factor in IPA pharmacokinetic behaviors.
Observation | Secondary absorption in intestines | Secondary absorption was noted in rats, indicating reabsorption in the gastrointestinal tract as an influencing factor for oral IPA administration.
Result | Nonlinear pharmacokinetics | Nonlinear pharmacokinetic properties observed for IPA suggest that this factor affects its absorption, distribution, or elimination in the tested dose range.