## Freetext Data
Data | Value | Relevance
--- | --- | ---
Purpose | To develop an ex vivo system capable of rapidly evaluating arterial drug levels in living, isolated porcine carotid arteries. | This information sets the primary objective of the study, which is crucial to understanding the purpose and scope of the paper.
Methods | A vascular bioreactor system was developed to house native porcine carotid arteries under physiological flow conditions for evaluating catheter-based drug delivery devices. | A clear explanation of methodology is essential to link the purpose of the paper to how the study was conducted.
Ex Vivo Drug Testing Devices | Paclitaxel-coated balloon and perfusion catheter device | Indicates the interventional vascular devices tested, which directly relates to the purpose of evaluating such drug delivery systems.
Ex Vivo Drug Concentration (DCB) | 48.49 ± 24.09 ng/mg | Quantifies the effectiveness of the drug-coated balloon (DCB) in the ex vivo system, tied to evaluating drug pharmacokinetics.
Ex Vivo Drug Concentration (Perfusion Catheter) | 25.42 ± 9.74 ng/mg | Data related to how well the drug is delivered and retained in arteries using the perfusion catheter.
In Vivo Drug Concentration (DCB) | 59.23 ± 41.27 ng/mg | Used to validate the ex vivo pharmacokinetic data, making it crucial for proving the reliability of the system.
In Vivo Drug Concentration (Perfusion Catheter) | 23.43 ± 20.23 ng/mg | Reflects the in vivo counterpart for comparison, showing the system's ability to mimic true biological conditions.
Statistical Difference (DCB Drug Delivery, Ex Vivo vs. In Vivo) | p = 0.67 | Establishes that no significant differences were observed, reinforcing the system's validity.
Statistical Difference (Perfusion Catheter Drug Delivery, Ex Vivo vs. In Vivo) | p = 0.87 | Confirms that ex vivo data aligns with in vivo results, important for verifying the model's accuracy.
Ex Vivo System Design | Flow reservoir, gear pump, vessel housing compartment, distal flow constrictor | Details the components of the bioreactor that make the pharmacokinetics evaluation possible, tying to the methodological advancements described in the study.
Working Pressure for Ex Vivo System | 120 mmHg systolic, 80 mmHg diastolic | Shows how physiological conditions were simulated, relevant for assessing the study's realism.
Flow Rates in Ex Vivo System | 15 to 150 ml/min | Provides insight into the bioreactor's capacity to mimic in vivo conditions.
Wall Shear Stress Range | 1.3 to 19.0 dynes/cm² | Important for showing biomechanical relevance of the ex vivo system to real-life artery conditions.
Artery Source | Porcine carotid arteries harvested from pigs at a local abattoir | Indicates the biological model used, ensuring relevance and reproducibility in a preclinical context.
Fresh Artery Viability Duration | Up to 7 days under perfusion conditions | Highlights the operational time frame and suitability of the arteries in the ex vivo setup.
Parallel Testing Tool | Pig ilio-femoral injury model | Establishes a key aspect for validating ex vivo data, ensuring the direct link to primary in vivo testing.
Motivation | Reducing the time, cost, and animal usage associated with drug delivery testing | Explains the rationale behind developing the ex vivo system, making it directly relevant to the study's goals.
Validated Drug | Paclitaxel | Central to the study as the primary example of drug retention and delivery tested.
Extended Validation | Used Boston Scientific Synergy Monorail DES for extended testing | Provides further evidence of system flexibility and accuracy, expanding its applicability to various devices.
Extended Validation Data (DES Drug Retention) | 1.862 ± 1.317 ng/mg at 3 days | Indicates the ability of the system to measure long-term pharmacokinetics, a secondary but critical layer of testing.
Pharmacokinetic Importance | Acute transfer and retention of paclitaxel are the most influential aspects of drug delivery | Ties directly to the study's goal of evaluating acute pharmacokinetics for vascular devices.
Sample Size | n = 4 per time point for ex vivo studies and n = 4 for in vivo studies | Relevant to understanding the sample size used to statistically analyze pharmacokinetics in ex vivo and in vivo conditions.
Blood/Tissue Sampling Timepoints | Tissues were harvested 1 hour post-drug delivery for paclitaxel arterial concentration measurement | Relevant as it specifies the pharmacokinetic sampling time point, critical for studying acute drug retention.
Patient Population | Porcine carotid arteries were used ex vivo; in vivo studies used female pigs (12.3–14.1 kg) | Relevant to identify the biological model used for cross-comparison of pharmacokinetics between ex vivo and in vivo conditions.
Anesthesia and Sacrifice Details | Pigs were anesthetized and euthanized 1 hour post-treatment using Fatal-Plus | Relevant for ethical standards and ensuring tissue sampling integrity in in vivo PK studies.
Parallel Validation | Parallel in vivo studies were performed to validate ex vivo arterial paclitaxel concentrations | Relevant for demonstrating the PK study design's robustness and cross-validation across models.
Drug Delivery Methods | Perfusion catheter and drug-coated balloon (DCB) utilized for paclitaxel delivery | Relevant to understanding the specific devices tested for drug delivery, important for PK dynamics.
Model | Ex vivo vascular bioreactor system with native porcine carotid arteries under physiological flow conditions | The study utilizes an ex vivo system as the pharmacokinetic model to simulate artery drug retention and mimic in vivo conditions, providing a novel approach to study drug kinetics.
Model Validation | In vivo pig ilio-femoral injury model comparison | The ex vivo model is validated against an in vivo pig model, ensuring the reliability of the ex vivo system for drug pharmacokinetics.
Model Specificity | Pulsatile ex vivo system to determine pharmacokinetics in a native blood vessel | The ex vivo bioreactor model is uniquely designed to replicate the pulsatile flow and mechanical environment of blood vessels, crucial for studying drug delivery dynamics.
Pressure conditions in bioreactor | Systolic pressure: 120 mmHg, Diastolic pressure: 80 mmHg | These parameters represent physiological flow conditions and are critical for mimicking in vivo environments in the ex vivo bioreactor system.
Flow rate in bioreactor | 15 to 150 ml/min | These values are necessary to replicate hemodynamic conditions similar to native arterial environments.
Wall shear stress in bioreactor | 1.3–19.0 dynes/cm² | Mimics reported pig arterial wall shear stress values, essential for maintaining native-like mechanical stress during the experiment.
Incubation of arteries in bioreactor | Dulbecco's Modified Eagle's Medium (DMEM), 10% fetal bovine serum, 1% antibiotic-antimycotic | Establishes the biochemical conditions needed to support artery function ex vivo.
Paclitaxel concentrations in arteries (ex vivo) | DCB-treated: 48.49 ± 24.09 ng/mg, Perfusion catheter-treated: 25.42 ± 9.74 ng/mg | These values were derived using LC-MS/MS analysis and show acute drug transfer efficiency of the delivery devices in the bioreactor setting.
Paclitaxel concentrations in arteries (in vivo) | DCB-treated: 59.23 ± 41.27 ng/mg, Perfusion catheter-treated: 23.43 ± 20.23 ng/mg | Measurements from the pig ilio-femoral injury model validate the ex vivo system by providing comparable data under living conditions.
Drug retention analysis duration in bioreactor | 1 hour post-treatment | Relevant for studying initial acute drug transfer, the focus of this investigation.
Drug retention analysis approach | Liquid chromatography-tandem mass spectrometry (LC-MS/MS) | Important for accurately quantifying paclitaxel levels in arterial tissue segments across both ex vivo and in vivo conditions.
Drug-eluting stent (DES) study time point | 3-day drug retention analysis | Evaluates the potential of the bioreactor system for extended time-frame experiments, indicating versatility beyond acute studies.
Stented artery drug retention value | 1.862 ± 1.317 ng/mg (SynergyTM DES, everolimus) | Provides additional validation of the system's capacity to measure arterial drug retention for different devices, even under prolonged conditions.
Use of drug carriers (excipients) | Reported as influencing pharmacokinetics to optimize and increase arterial drug retention | Drug carriers can modify how drugs are administered and retained, impacting overall delivery efficiency to tissues.
Duration of drug delivery | Variation in the duration of drug delivery affects arterial drug retention | The total exposure time impacts the drug transfer to the artery and retention, which is a critical pharmacokinetic parameter.
Balloon pre-treatments | Balloon preparation techniques before drug-coated balloon deployment can influence pharmacokinetics | Pre-treatments may impact the drug adhesion and elution during device deployment.
Balloon coating techniques | Different coating methods for drug-coated balloons affect pharmacokinetics | The method of coating impacts drug transfer and retention in arterial tissues, critical for device efficiency.
Wall shear stress values | Ranged from 1.3 to 19.0 dynes/cm2 in the ex vivo bioreactor system | Shear stress conditions may alter drug transfer rates and adherence to arterial tissues.
Inflation pressure of the drug-coated balloon | Determined by manufacturer to achieve 5–10% arterial overstretch | Overstretch affects drug penetration into arterial walls, influencing pharmacokinetics.
Paclitaxel delivery duration | 30 seconds for drug-coated balloons and 2 minutes for perfusion catheters | The time directly influences how much drug enters the artery acutely.
Choice of drug delivery platform | Drug-coated balloons (DCBs) vs. perfusion catheters | Different devices inherently affect the pharmacokinetics depending on their mode of drug delivery.
Blood-drug interaction | Highlighted as a significant factor missing in ex vivo studies | Blood components can affect drug solubility and interaction, influencing pharmacokinetics.
Artery condition (e.g., healthy or diseased) | Present study used only healthy arteries | Pathological differences could affect drug absorption and retention, making artery condition a critical factor.