## Table 1
Method Characteristic | Results
Retardation factor (RF) | 0.57 ± 0.05
Range [μg/spot] | 20.0–80.0
Linearity [μg/spot] | A = 105.0(±5.1)x + 971.5(±273.2) n = 7; r = 0.994; s = 268.4; F = 428; p < 0.0001
Limit of Detection (LOD) [(g/spot] | 5.8
Limit of Quantification (LOQ) [(g/spot] | 17.4
For capsules
Accuracy
for 80% valproic acid added (n = 6) | R = 97.8%; CV = 0.81%
for 100% valproic acid added (n = 6) | R = 98.2%; CV = 0.61%
for 120% valproic acid added (n = 6) | R = 99.0%; CV = 0.67%
Precission (CV, [%])
Intraday
for 60.0 (g/spot (n = 3) | 1.18
for 40.0 (g/spot (n = 3) | 2.48
for 20.0 (g/spot (n = 3) | 2.23
Interday
for 60.0 (g/spot (n = 3) | 1.16
for 40.0 (g/spot (n = 3) | 2.19
for 20.0 (g/spot (n = 3) | 2.89
Robustness (CV, [%]) | robust

## Table 2
Method Characteristic | Results
Retardation factor (RF) | 0.57 ± 0.05
Range [μg/spot] | 1.0–2.0
Linearity [μg/spot] | A = 6883.6(±34.2)·x − 979.9(±308.8) n = 11; r = 0.996; s = 211.3; F = 1167; p < 0.0001
Limit of Detection (LOD) [(g/spot] | 0.32
Limit of Quantification (LOQ) [(g/spot] | 0.97
For capsules
Accuracy
for 80% valproic acid added (n = 6) | R = 101.1%; CV = 1.11%
for 100% valproic acid added (n = 6) | R = 99.3%; CV = 1.38%
for 120% valproic acid added (n = 6) | R = 99.8%; CV = 1.98%
Precission (CV, [%])
Intraday
for 1.2 (g/spot (n = 3) | 0.99
for 1.5 (g/spot (n = 3) | 1.87
for 1.8 (g/spot (n = 3) | 2.22
Interday
for 1.2 (g/spot (n = 3) | 2.08
for 1.5 (g/spot (n = 3) | 1.99
for 1.8 (g/spot (n = 3) | 1.86
Robustness (CV, [%]) | robust

## Table 3
Chromatographic Conditions Changed_Chromatographic Conditions Changed_Chromatographic Conditions Changed | Detection Method_A_%CV | Detection Method_A_% Assay of Valproic Acid | Detection Method_B_%CV | Detection Method_B_% Assay of Valproic Acid
Acetone content (±0.5 mL) | 1.08 | 95.5 | 1.12 | 97.5
Ammonia content (±0.2 mL) | 0.84 | 96.4 | 0.78 | 96.9
Mobile phase volume (±5 mL) | 0.99 | 95.9 | 0.95 | 97.9
Time of activation of chromatographic plate (±5 min) | 0.56 | 96.5 | 0.78 | 96.5
Time of saturation of chromatographic chamber (±3 min) | 0.96 | 96.7 | 0.95 | 98.1

## Table 4
No._No. | Assay Using Detection Method_A | Assay Using Detection Method_B
1 | 276.4 | 289.6
2 | 295.8 | 295.4
3 | 281.6 | 288.8
4 | 285.7 | 284.8
5 | 283.1 | 286.0
6 | 294.8 | 293.9
7 | 289.7 | 291.7
8 | 296.8 | 299.1
9 | 288.5 | 292.3
10 | 293.7 | 287.8
Average | 288.6 | 290.9
Label claimed | 300 | 300
Amount of valproic acid (%) in relations to the label claim | 96.2% | 97.0%
Standard deviation (SD) | 6.84 | 4.42
Coefficient of variation [CV, %] | 2.37 | 1.52
Comparison of detection methods A and B | Comparison of detection methods A and B | Comparison of detection methods A and B
t test | t calculated | 0.893
t test | t(95%.18) tabulated | 2.101
test | F calculated | 2.39
test | F(95%. f 1 = f2 = 9) tabulated | 3.18

## Table 5
Analytical Method_Analytical Method | LOD in the Unit_According to the Literature Data | LOD in the Unit_Converted to mol/dm3 | Refs._Refs.
HPLC with coulometric electrochemical detection | 0.75 pmol/mL | 0.75 × 10−9 | [14]
RP-HPLC | 5.4411 µg/mL | 3.77 × 10−5 | [17]
RP-HPLC | 30.38 µg/mL | 1.82 × 10−4 | [20]
HPLC | 6.8 µg/mL | 4.72 × 10−5 | [23]
GC-FID | 0.8 µg/mL | 5.55 × 10−6 | [35]
GC-FID | 0.05 µg/mL | 3.47 × 10−7 | [37]
Square wave voltammetry | 21.05 µg/mL | 1.46 × 10−4 | [41]
TLC with using CuSO4 for detection | 5.8 µg/spot | 8.04 × 10−3 | in this work
TLC with using a 2′,7′-dichlorofluorescein-aluminum chloride-iron (III) chloride for detection | 0.32 µg/spot | 4.44 × 10−4 | in this work

## Freetext Data
Data | Value | Relevance
Valproic Acid Drug Analysis Method | TLC-densitometry using aluminum silica gel plates | The paper details the development and validation of TLC-densitometric methods for accurate determination of valproic acid in pharmaceutical formulations.
Mobile Phase Composition | Acetone–water–chloroform–ethanol–ammonia (30:1:8:5:11) | This mobile phase was proven to produce compact chromatographic bands, making it an optimal choice for valproic acid analysis.
Detection Reagent | 2% aqueous CuSO4×5H2O solution | One of the methods validated for detecting valproic acid with high sensitivity.
Alternate Detection Reagent | 2′,7′-dichlorofluorescein-aluminum chloride-iron (III) chloride system | This method was also used as a visualizing agent and shown to be more sensitive for lower concentrations.
Limit of Detection Using CuSO4 | 5.8 μg/spot | Indicates the sensitivity of the method using CuSO4 solution as a visualizing reagent, relevant for determining low levels of valproic acid.
Limit of Detection Using Dichlorofluorescein System | 0.32 μg/spot | The dichlorofluorescein system demonstrated greater sensitivity, relevant for analyses of minimal concentrations.
Quantification Range Using CuSO4 | 20–80 μg/spot | Ensures the method accurately quantifies valproic acid within this concentration range.
Quantification Range Using Dichlorofluorescein System | 1.0–2.0 μg/spot | Demonstrates applicability for quantitative analysis at very low concentrations.
Validation Parameter - Accuracy | Recovery coefficient CV < 2% | Confirms the method reliably determines valproic acid contents without significant bias.
Validation Parameter - Precision | Coefficient of variation CV < 3% | Asserts intraday and interday precision ensuring reproducibility.
Statistical Comparison of Methods | Insignificant differences at t-test 0.893 < 2.101; F-test 2.39 < 3.18 | Indicates both methods are interchangeable depending on sample concentration, enhancing practicality in different laboratory settings.
Valproic Acid Content Determined | 96.2% using CuSO4; 97.0% using Dichlorofluorescein | Within the 90–110% range required by the American Pharmacopoeia, proving compliance and reliability of the method.
Comparison with Other Analytical Techniques | Comparable to RP-HPLC and square wave voltammetry | Establishes TLC-densitometric method as a viable alternative where advanced methods may not be available.
Advantage of TLC | Simplicity, speed, low cost | Highlights the practical benefits making TLC suitable for routine laboratory work.
Need for Derivatization | Not required for this TLC method | Saving time and simplifying the process compared to other methods requiring pre-chromatographic derivatization.
Standard solution used | Valproic acid (EP Reference Standard, Sigma-Aldrich, St Louis, MO, USA) | Provides information on the source of the drug studied in the validation process, though unrelated to direct PK study demographics or design.
Patient population description | Not specified in the paper | The study does not involve a traditional patient population; focuses on pharmaceutical preparation analysis.
Biological sample type considered | Not applicable | The paper mentions determination of valproic acid in pharmaceutical preparations, not biological fluids, indicating a lack of bio-study components.
Sampling time points | Not applicable | There are no time points specified as the study is not a pharmacokinetic-focused approach in live subjects.
Analysis focus | Drug detection in Convulex capsules | Relevant in methodological setup but not related to live patient pharmacokinetics.
Validation methodology | Linearity, precision, accuracy, robustness evaluated | Part of analytical validation instead of patient-centered PK studies.
Model Used | Thin Layer Chromatographic Method (TLC) | This method was used to determine valproic acid content in Convulex capsules rather than pharmacokinetic modeling.
Model Details | TLC combined with densitometric analysis | The study focuses on TLC as an analytical model to quantify valproic acid instead of a pharmaceutical modeling approach like 1-compartment or 2-compartment models.
Derivatization Requirement | No derivatization required for valproic acid in the TLC method | Although not a pharmacokinetic model, this detail highlights simplicity and precision in determining valproic acid concentration directly in capsules.
Activation Temperature of TLC plates | 120°C | Ensures proper activation of silica gel plates for consistent chromatographic analysis.
Activation Time of TLC plates | 30 minutes | Critical for reliable plate preparation before spotting samples.
Mobile Phase Composition | Acetone–water–chloroform–ethanol–ammonia (30:1:8:5:11) | Optimized for effective separation of valproic acid spots on TLC plates.
Detection Method A Solution | 2% CuSO4×5H2O solution | Used for visualizing valproic acid spots through copper valproate interaction.
Detection Method B System | 2′,7′-dichlorofluorescein-aluminum chloride-iron (III) chloride | Provides enhanced visibility and sensitivity for detecting lower valproic acid concentrations.
Detection Method A Drying Temperature | 120°C | Ensures stable detection for copper valproate formation.
Detection Method A Drying Time | 6 minutes | Necessary for completing copper valproate visualization on TLC plates.
Detection Method B Dipping Sequence | Solution I (0.05% 2′,7′-dichlorofluorescein in ethanol) → Solution II (1% ethanolic aluminum chloride) → Solution III (1% aqueous iron(III) chloride) | Key sequence for successful visualization in Detection Method B.
Spectrodensitometric Analysis Wavelength for CuSO4 | 650 nm | Optimal wavelength for densitometric scanning after CuSO4-based detection.
Spectrodensitometric Analysis Wavelength for Detection B | 550 nm | Selected for optimal densitometric scanning after visualization with 2′,7′-dichlorofluorescein-aluminum chloride-iron (III) chloride.
Linear Range for Detection A | 20–80 µg/spot | Crucial for quantifying valproic acid using 2% CuSO4 detection.
Linear Range for Detection B | 1–2 µg/spot | Enables precise measurement of valproic acid at lower concentrations with enhanced sensitivity.
Limits of Detection for Detection A | 5.8 µg/spot | Represents method sensitivity using CuSO4 for visualization.
Limits of Detection for Detection B | 0.32 µg/spot | Higher sensitivity obtained using 2′,7′-dichlorofluorescein-aluminum chloride-iron (III) chloride system.
Limits of Quantification for Detection A | 17.4 µg/spot | Represents measurable quantitative threshold for Detection A.
Limits of Quantification for Detection B | 0.97 µg/spot | Demonstrates enhanced quantitative sensitivity of Detection B system.
Robustness Variation Parameters | ±0.5 mL acetone, ±0.2 mL ammonia, ±5 mL mobile phase, ±5 min plate activation, ±3 min chamber saturation | Examines reliability of method under small procedural changes.
Statistical Testing Outcome | t-test: 0.893 < 2.101; F-test: 2.39 < 3.18 | Confirms reproducibility and interchangeability of two detection methods.
Valproic Acid Content for Detection A | 96.2% | Validates compliance with pharmacopoeial standards for content within capsules.
Valproic Acid Content for Detection B | 97.0% | Demonstrates label claim compliance using a more sensitive detection approach.
Valproic acid alleviates CNS injuries | Through anti-inflammatory, anti-apoptotic, and neurotrophic effects | Demonstrates that pharmacokinetics may be influenced by the drug's multi-pathway mechanism in CNS recovery.
Pre-chromatographic derivatization of valproic acid | Can lower its limit of detection values | Suggests the impact of chemical modification on detection limits and bioavailability screening in pharmacokinetics studies.