## Freetext Data
Data | Value | Relevance
Contrast-agent concentration linear increase | 0.17 mM/min | Demonstrates the functional accuracy of the DP4 phantom and its ability to simulate dynamic perfusion changes in real-time.
Measurement accuracy of concentration | 96% | Validates the reliability of the DP4 phantom's assessment for contrast-agent dynamics.
Injection rate of gadoteridol | 0.24 mL/s, 4 mL | Establishes the experimental conditions essential for proper phantom operation, ensuring consistency and reproducibility.
Repeatability of CEC in the phantom | 0.997 (ICC) | Highlights the precision and consistency of the DP4 phantom as a calibration tool.
Number of imaging institutions | 2 | Confirms the multi-institutional nature of validation, ensuring robust testing in varied clinical environments.
Number of MRI scanners/vendors | 3 scanners from 3 vendors | Covers the flexibility and generalizability of the DP4 phantom across platforms.
Number of human subjects | 5 | Indicates the scale of human trials performed to validate the clinical utility of the DP4 phantom.
ICC of Ktrans in TM before correction | 0.34 | Reflects the limited reproducibility of qDCE-MRI measurements without DP4-based error correction.
ICC of Ktrans in TM after correction | 0.93 | Shows the improved reproducibility of qDCE-MRI measurements achieved using the DP4 phantom.
ICC of Ktrans in ETM before correction | 0.39 | Demonstrates the variability in reproducibility levels using an alternative pharmacokinetic model.
ICC of Ktrans in ETM after correction | 0.98 | Indicates the significant reproducibility improvement using DP4 error correction with the ETM model.
ICC of Ktrans in SSM before correction | 0.72 | Indicates better baseline reproducibility in the SSM model compared to others prior to error correction.
ICC of Ktrans in SSM after correction | 0.86 | Highlights further improvement in reproducibility for qDCE-MRI measurements using the DP4 phantom in the SSM model.
Phantom type | Disposable point-of-care portable perfusion phantom (DP4) | Specifies the focus of the paper and the device under investigation.
DP4 phantom purpose | Single-use and reference for error detection in qDCE-MRI | Directly addresses the phantom's role in improving MRI measurement accuracy.
PK models used for analysis | Tofts model (TM), extended Tofts model (ETM), shutter speed model (SSM) | Defines the pharmacokinetic frameworks utilized to evaluate reproducibility and impact of the phantom.
Regions evaluated for PK parameters | Liver, spleen, pancreas, paravertebral muscle | Specifies clinical areas analyzed, reflecting the phantom's practical relevance to human tissue imaging.
Five healthy human subjects | 5 | This specifies the patient sample size, which is critical to understanding the study's design and reproducibility.
Imaged concurrently with the DP4 phantom at two institutes using three 3T MRI scanners from three different vendors | N/A | This highlights the diversity in imaging equipment and locations, which affects the robustness of the study design.
Regions of liver, spleen, pancreas, and paravertebral muscle | Liver, spleen, pancreas, paravertebral muscle | Indicates the targeted tissues for PK parameter calculations, relevant to tissue sampling focus.
Pharmacokinetic parameters calculated based on the Tofts model, extended Tofts model, and shutter speed model | TM, ETM, SSM | Provides details on the methods used for PK data analysis, which informs the study design strategy.
Reproducibility of PK parameters evaluated with the intraclass correlation coefficient (ICC) over three measurements | Three measurements | Specifies the measurement frequency, a key aspect of the study design to ensure data reliability and consistency.
Pharmacokinetic (PK) Model | Tofts Model (TM) | The TM is a commonly used one-compartment model for DCE-MRI and provides foundational pharmacokinetic parameters relevant to tissue characterization.
Pharmacokinetic (PK) Model | Extended Tofts Model (ETM) | The ETM builds on the Tofts Model to account for additional physiological nuances and is applied in this study for more comprehensive PK analysis in tissues.
Pharmacokinetic (PK) Model | Shutter Speed Model (SSM) | The SSM is another advanced model applied in this study, providing alternate analytical perspectives on dynamic contrast processing and its relationship to tissue perfusion.
Contrast-agent concentration change rate | 0.17 mM/min | This is the rate of contrast-agent concentration change in the DP4 phantom, measured to evaluate the phantom's reliability as a reference model.
Contrast-agent injection rate | 0.24 ml/s | This parameter was set to measure the linear increase of the contrast-agent concentration in the DP4 phantom, showcasing its controlled and predictable response.
Volume of gadoteridol used | 4 ml | This was the constant volume of contrast agent injected into the phantom, critical for creating reference data.
Measurement accuracy of contrast-agent concentration | 96% | This demonstrates the reliability of the DP4 phantom in accurately measuring contrast-agent changes.
Repeatability of the contrast enhancement curve (CEC) in the phantom | 0.997 (ICC) | This value quantifies the reliability of the DP4 phantom’s CEC over repeated tests in a single MRI scanner.
Reproducibility of Ktrans ICC in TM before correction | 0.34 | This pharmacokinetic parameter was calculated from human tissue and demonstrates baseline variability without using the DP4 corrections.
Reproducibility of Ktrans ICC in TM after correction | 0.93 | This improved ICC value post-DP4 correction highlights the effectiveness of the phantom in enhancing parameter reproducibility.
Reproducibility of Ktrans ICC in ETM before correction | 0.39 | This parameter provides a baseline variability for the extended Tofts model before leveraging the DP4 for correction.
Reproducibility of Ktrans ICC in ETM after correction | 0.98 | This corrected value reflects the DP4’s capability to significantly enhance measurement accuracy in the ETM.
Reproducibility of Ktrans ICC in SSM before correction | 0.72 | This value represents baseline variability for the shutter speed model prior to DP4-based error correction.
Reproducibility of Ktrans ICC in SSM after correction | 0.86 | This corrected value illustrates the improvement in reproducibility, validating the impact of the DP4 phantom on the SSM-derived parameter.
Pharmacokinetic models used | TM, ETM, SSM | These models were applied to calculate PK parameters from human tissue, which are central to assessing the DP4’s utility in reducing variability.
Anatomical regions for PK parameter calculation | Liver, spleen, pancreas, paravertebral muscle | These human tissue regions were the source from which PK parameters were estimated, forming the core application of qDCE-MRI and DP4 validation.
Contrast-agent concentration in the DP4 phantom | Linearly increased over 10 minutes at 0.17 mM/min | This data demonstrates the controlled environment the phantom provides, allowing accurate pharmacokinetic parameter measurement.
Injection rate of gadoteridol | Constant rate of 0.24 ml/s, 4 ml total | The controlled injection rate is a factor influencing the consistency of pharmacokinetics by maintaining predictable contrast concentration changes.
Repeatability of the Contrast Enhancement Curve (CEC) | ICC of 0.997 in the phantom | The high repeatability indicates that the phantom minimizes variability, highlighting factors that influence pharmacokinetics in human measurements.
Variability in pharmacokinetic models pre-correction | TM ICC: 0.34, ETM ICC: 0.39, SSM ICC: 0.72 | These pre-correction values reflect the influence of scanner and protocol differences on pharmacokinetic reproducibility.
Improved ICC of pharmacokinetic models post-correction | TM ICC: 0.93, ETM ICC: 0.98, SSM ICC: 0.86 | This demonstrates that error correction using the DP4 phantom mitigates influencing factors, improving reproducibility of pharmacokinetics.
Pharmacokinetic parameter assessed | Volume transfer constant (Ktrans) | Ktrans variability and correction reflect scanner and protocol factors influencing pharmacokinetics.
Scanner and vendor differences | Three 3T MRI scanners from three different vendors | The variability across scanners emphasizes the impact of technical factors on pharmacokinetics, addressed by using the DP4 phantom.